## BoQ1
Government eProcurement System Created By: Keishing Honpam Created Date/Time: 17-Sep-2020 05:50 PM Tender Title: AMC for Operation and Maintenance of E and M Installation at Residential colony, Hanger substation, Pump houses and AAI/BCAS Office Complex at LGBI Airport Guwahati Tender ID: 2020_AAI_54120_1
Tender Inviting Authority:
Name of Work: AMC for O&M of E&M Installation at Residential colony, Old RHQ Bldg, Hanger substation, Pump houses and AAI/BCAS Office Complex at LGBI Airport Guwahati. (2020-22)
Contract No: 2020_AAI_54120_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s North East Electricals(GSTN-18AGLPD8831B1ZJ) |  | PAN POLAR ENGINEERS PVT. LTD.(GSTN-07AABCP0844P1Z5) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | Sterling And Wilson Pvt. Ltd(GSTN-19AAACS9939D1Z1) |  | ABHISHEK ASSOCIATES(GSTN-24ADZPD4239Q1ZT) |  | M/s J H Associates(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH I: AMC of E & M installation installed in old RED building, AAI residential colony & CISF barracks (i/c operation of DG set).
2.00 | Maintenance and operation of all E & M installations round the clock basis at old RED Building, Residential colony , Colony Hostel / Guest House , Community center hall, Transmitting station, CISF barracks, Colony pump houses, Power House, kahikuchi (Except D.G Set) complete as required and attending the complaints / faults/break downs complaints and taking rectification action ensuring serviceability / satisfactory working condition of the system, carrying out preventive maintenance, maintenance of records/documentation /store/dismantle materials etc as per the detailed specifications, terms and condition on all working days including sundays and holidays complete as per special conditions of contract.
3.00 | a) For 1st year | 11.00 | Month | 0.00 | 304000.00 | 3344000.00 | 243245.00 | 2675695.00 | 215816.00 | 2373976.00 | 300000.00 | 3300000.00 | 250476.00 | 2755236.00 | 300000.00 | 3300000.00 | 2373976.00 | Manish Electricals
4.00 | b) For 2nd year | 12.00 | Month | 0.00 | 304000.00 | 3648000.00 | 243245.00 | 2918940.00 | 215816.00 | 2589792.00 | 300000.00 | 3600000.00 | 250476.00 | 3005712.00 | 300000.00 | 3600000.00 | 2589792.00 | Manish Electricals
5.00 | Operation of DG sets in three shifts (1 operator in each shift of 8 Hr.) for supply of smooth essential electrical power supply in AAI residential colony, pump houses, street lights,CISF Barracks, Transmitting Station, AAI Hostal, Community center hall etc. on all working days i/c sundays and holidays complete as per special condition of contract.
6.00 | a) For 1st year | 11.00 | Month | 0.00 | 82000.00 | 902000.00 | 80000.00 | 880000.00 | 172000.00 | 1892000.00 | 87434.00 | 961774.00 | 78282.00 | 861102.00 | 79000.00 | 869000.00 | 861102.00 | ABHISHEK ASSOCIATES
7.00 | b) For 2nd year | 12.00 | Month | 0.00 | 83000.00 | 996000.00 | 80000.00 | 960000.00 | 172000.00 | 2064000.00 | 87434.00 | 1049208.00 | 78282.00 | 939384.00 | 79000.00 | 948000.00 | 939384.00 | ABHISHEK ASSOCIATES
8.00 | Rewinding of ceiling fans/exhaust fans/air circulator of all sizes & makes i/c transporting the same to workshop from site and back to site from workshop complete as required.
9.00 | a) For 2nd year | 100.00 | each | 0.00 | 300.00 | 30000.00 | 275.00 | 27500.00 | 600.00 | 60000.00 | 100.00 | 10000.00 | 300.00 | 30000.00 | 200.00 | 20000.00 | 10000.00 | Sterling And Wilson Pvt. Ltd
10.00 | Replacement of ball bearings of ceiling fans/exhaust fans/air circulator of all sizes & makes i/c transporting the same to workshop from site and back to site from workshop complete as required
11.00 | a) For 2nd year | 100.00 | each | 0.00 | 200.00 | 20000.00 | 225.00 | 22500.00 | 180.00 | 18000.00 | 100.00 | 10000.00 | 100.00 | 10000.00 | 200.00 | 20000.00 | 10000.00 | Sterling And Wilson Pvt. Ltd, ABHISHEK ASSOCIATES
12.00 | Spray painting of existing outdoor panels/feeder pillars, junction boxes with one or more coat of synthetic enamel paint of approved brand and shade including cleaning and scrapping the existing surface complete as per site requirements.
13.00 | a) For 2nd year | 100.00 | Sqm | 0.00 | 200.00 | 20000.00 | 115.00 | 11500.00 | 200.00 | 20000.00 | 100.00 | 10000.00 | 80.00 | 8000.00 | 200.00 | 20000.00 | 8000.00 | ABHISHEK ASSOCIATES
14.00 | Painting of street lighting poles of different heights upto 11mtr with aluminium paint of one or more coat of approved brand i/c cleaning & scrapping the existing surface complete as per actual site requirements.
15.00 | a) For 2nd year | 100.00 | each | 0.00 | 300.00 | 30000.00 | 500.00 | 50000.00 | 400.00 | 40000.00 | 100.00 | 10000.00 | 750.00 | 75000.00 | 300.00 | 30000.00 | 10000.00 | Sterling And Wilson Pvt. Ltd
16.00 | Execution of item of schedule of rates 'CPWD DSR 2018' as and when required for attending breakdown, repair & maintenance and upkeep of internal and external electrical installations as per direction of E-I-C at different locations in residential colony, CISF barrack, Old RED building transmitting station, power house, and pump houses and ancillary building etc. complete as per the special terms and conditions in addition to General Terms and conditions of contract as required. The bidder shall quote the rate in INR only for the job corresponding to Rs. 1,00,000/- and percentage (%) above/below shall be calculated by AAI and paid accordingly.
17.00 | a) For 2nd year | 1.00 | Job | 0.00 | 100000.00 | 100000.00 | 75000.00 | 75000.00 | 90000.00 | 90000.00 | 78000.00 | 78000.00 | 80000.00 | 80000.00 | 115000.00 | 115000.00 | 75000.00 | PAN POLAR ENGINEERS PVT. LTD.
18.00 | SH II: Operation and maintenance of water pumping sets in AAI residential colony & CISF Barrack.
19.00 | Operation of submersible and monoblock motor pump set along with starter panel i/c valve operation of water treatment plant in two shift for smooth water supply in AAI residentials colony on all working days i/c saturday, sunday and holidays as per special condition of contract etc as required and upto satisfaction of engineer-in-charge.
20.00 | a) For 1st year | 12.00 | Months | 0.00 | 138000.00 | 1656000.00 | 96000.00 | 1152000.00 | 88653.00 | 1063836.00 | 165000.00 | 1980000.00 | 133587.00 | 1603044.00 | 136000.00 | 1632000.00 | 1063836.00 | Manish Electricals
21.00 | b) For 2nd year | 12.00 | Months | 0.00 | 138000.00 | 1656000.00 | 96000.00 | 1152000.00 | 88653.00 | 1063836.00 | 165000.00 | 1980000.00 | 133587.00 | 1603044.00 | 136000.00 | 1632000.00 | 1063836.00 | Manish Electricals
22.00 | Lifting and lowering of submersible pump motor set for carrying out necessary minor repairing/replacement of pump set/pipe/accessories for the following capacity from the depth up to 80 feet including dismantling of the existing column pipe, cable etc and re-installation of pump and motor set in the bore well along with all necessary work like providing and fixing of required gasket & nut bolts, and welding & threading of GI pipe and flange etc. wehrever required and making connection to the discharge line after dry revolution test complete as required.(Excluding Supply of pumpset/ GI pipe, /accessories)
23.00 | i) For 1st year a) Above 7.5 HP to 12.5 HP | 4.00 | Job | 0.00 | 4000.00 | 16000.00 | 4500.00 | 18000.00 | 6000.00 | 24000.00 | 2000.00 | 8000.00 | 1000.00 | 4000.00 | 4000.00 | 16000.00 | 4000.00 | ABHISHEK ASSOCIATES
24.00 | ii) For 2nd year a) Above 7.5 HP to 12.5 HP | 8.00 | Job | 0.00 | 4500.00 | 36000.00 | 4500.00 | 36000.00 | 8000.00 | 64000.00 | 2000.00 | 16000.00 | 1000.00 | 8000.00 | 4500.00 | 36000.00 | 8000.00 | ABHISHEK ASSOCIATES
25.00 | Rewinding of following submersible / monoblock motor with copper conductor of suitable size i/c carrying out necessary repairs and servicing of other internal parts of pump and motor, repalcement of bearings, insulation and lubrication, assembling and re- installation, testing, & commissioning (dismantled material / wire shall be property of tenderer) i/c dismantling and transportation to work shop and back.
26.00 | i) For 1st year
27.00 | a) Above 5 HP to 7.5 HP monoblock motor | 2.00 | Job | 0.00 | 6000.00 | 12000.00 | 3000.00 | 6000.00 | 6000.00 | 12000.00 | 3000.00 | 6000.00 | 2000.00 | 4000.00 | 5000.00 | 10000.00 | 4000.00 | ABHISHEK ASSOCIATES
28.00 | b) 5/7.5 HP submersible motor | 2.00 | Job | 0.00 | 5000.00 | 10000.00 | 3500.00 | 7000.00 | 8000.00 | 16000.00 | 4000.00 | 8000.00 | 2000.00 | 4000.00 | 6000.00 | 12000.00 | 4000.00 | ABHISHEK ASSOCIATES
29.00 | c) 10 HP submersible motor | 2.00 | Job | 0.00 | 9000.00 | 18000.00 | 7000.00 | 14000.00 | 10500.00 | 21000.00 | 3000.00 | 6000.00 | 2000.00 | 4000.00 | 6000.00 | 12000.00 | 4000.00 | ABHISHEK ASSOCIATES
30.00 | d) 12.5 HP submersible motor | 2.00 | Job | 0.00 | 6000.00 | 12000.00 | 8000.00 | 16000.00 | 14000.00 | 28000.00 | 6000.00 | 12000.00 | 2000.00 | 4000.00 | 5000.00 | 10000.00 | 4000.00 | ABHISHEK ASSOCIATES
31.00 | ii) For 2nd year
32.00 | a) Above 5 HP to 7.5 HP monoblock motor | 6.00 | Job | 0.00 | 4500.00 | 27000.00 | 3000.00 | 18000.00 | 6000.00 | 36000.00 | 3000.00 | 18000.00 | 2000.00 | 12000.00 | 4000.00 | 24000.00 | 12000.00 | ABHISHEK ASSOCIATES
33.00 | b) 5/7.5 HP submersible motor | 2.00 | Job | 0.00 | 4500.00 | 9000.00 | 3500.00 | 7000.00 | 9000.00 | 18000.00 | 4000.00 | 8000.00 | 2000.00 | 4000.00 | 5000.00 | 10000.00 | 4000.00 | ABHISHEK ASSOCIATES
34.00 | c) 10 HP submersible motor | 4.00 | Job | 0.00 | 9000.00 | 36000.00 | 7000.00 | 28000.00 | 11500.00 | 46000.00 | 3000.00 | 12000.00 | 2000.00 | 8000.00 | 8000.00 | 32000.00 | 8000.00 | ABHISHEK ASSOCIATES
35.00 | d) 12.5 HP submersible motor | 4.00 | Job | 0.00 | 6000.00 | 24000.00 | 8000.00 | 32000.00 | 15000.00 | 60000.00 | 6000.00 | 24000.00 | 2000.00 | 8000.00 | 5000.00 | 20000.00 | 8000.00 | ABHISHEK ASSOCIATES
36.00 | Cleaning of aeration tank including rubbing and scrapping of side walls, removing of scale / fungers formation, reaplacemnt of minor worn out hard ware items and painting of sprinkler pipe and wire mess along with otherassociated accessories with one or more coat with red-oxide / enamell paint complete to the satisfaction of engineer- in- charge.
37.00 | a) For 2nd year | 7.00 | Job | 0.00 | 2500.00 | 17500.00 | 8000.00 | 56000.00 | 30000.00 | 210000.00 | 3000.00 | 21000.00 | 2500.00 | 17500.00 | 2000.00 | 14000.00 | 14000.00 | M/s J H Associates
38.00 | Dismantling, cleaning of dust, painting and refixing of wodden strips upto "1.5m x .05m x .01m" at the existing aeration tank at different pump houses etc complete as required.
39.00 | a) For 2nd year | 6.00 | Job | 0.00 | 500.00 | 3000.00 | 8000.00 | 48000.00 | 1000.00 | 6000.00 | 1500.00 | 9000.00 | 100.00 | 600.00 | 500.00 | 3000.00 | 600.00 | ABHISHEK ASSOCIATES
40.00 | Replacement of painted merine type wooden strips upto "1.5m x .05m x .01m" sizes at the existing aeration tank at different pump houses etc. including hard ware item if required complete as required.
41.00 | a) For 2nd year | 600.00 | each | 0.00 | 180.00 | 108000.00 | 5.00 | 3000.00 | 1500.00 | 900000.00 | 250.00 | 150000.00 | 50.00 | 30000.00 | 180.00 | 108000.00 | 3000.00 | PAN POLAR ENGINEERS PVT. LTD.
42.00 | Complete servicing & over hauling of following Monoblack pump sets i/c replacement of bush / ball bearings, wornout internal parts such as impeller, shaft and associated spares etc. As required.
43.00 | a) For 1st year i) 5 HP to 7.5 HP monoblock pump set | 2.00 | Job | 0.00 | 4000.00 | 8000.00 | 2500.00 | 5000.00 | 3000.00 | 6000.00 | 5000.00 | 10000.00 | 2000.00 | 4000.00 | 4000.00 | 8000.00 | 4000.00 | ABHISHEK ASSOCIATES
44.00 | b) For 2nd year ii) 5 HP to 7.5 HP monoblock pump set. | 3.00 | Job | 0.00 | 4000.00 | 12000.00 | 2500.00 | 7500.00 | 4000.00 | 12000.00 | 5000.00 | 15000.00 | 2000.00 | 6000.00 | 4000.00 | 12000.00 | 6000.00 | ABHISHEK ASSOCIATES
45.00 | Complete servicing & over hauling i/c replacement of bush/ball beraing,thrust bearings, wornout internal parts such as impellers and aossociated spares , shaft etc of following submersible pumpset.
46.00 | a) For 1st year 5 HP to 7.5 HP submersible pump set. | 1.00 | Job | 0.00 | 4000.00 | 4000.00 | 2500.00 | 2500.00 | 4000.00 | 4000.00 | 5000.00 | 5000.00 | 2000.00 | 2000.00 | 3000.00 | 3000.00 | 2000.00 | ABHISHEK ASSOCIATES
47.00 | b) For 2nd year 5 HP to 7.5 HP submersible pump set. | 1.00 | Job | 0.00 | 4000.00 | 4000.00 | 2500.00 | 2500.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 2000.00 | 2000.00 | 3000.00 | 3000.00 | 2000.00 | ABHISHEK ASSOCIATES
48.00 | c) For 1st year 10 HP to 12.5 HP submersible pump set. | 4.00 | Job | 0.00 | 4200.00 | 16800.00 | 6000.00 | 24000.00 | 6000.00 | 24000.00 | 5000.00 | 20000.00 | 2000.00 | 8000.00 | 4000.00 | 16000.00 | 8000.00 | ABHISHEK ASSOCIATES
49.00 | d) For 2nd year 10 HP to 12.5 HP submersible pump set. | 6.00 | Job | 0.00 | 2500.00 | 15000.00 | 6000.00 | 36000.00 | 7000.00 | 42000.00 | 5000.00 | 30000.00 | 2000.00 | 12000.00 | 2000.00 | 12000.00 | 12000.00 | M/s J H Associates, ABHISHEK ASSOCIATES
50.00 | Providing and fixing the following G.I. pipes ‘B’ class in bore well for submersible pump sets complete with suitable flange / long thread coupling, gaskets, threading & welding with 10 feet length each etc complete as required.
51.00 | a) For 2nd year 80 MM dia | 30.00 | Meter | 0.00 | 510.00 | 15300.00 | 520.00 | 15600.00 | 1200.00 | 36000.00 | 550.00 | 16500.00 | 600.00 | 18000.00 | 500.00 | 15000.00 | 15000.00 | M/s J H Associates
52.00 | SH III: AMC of E&M installations in hanger sub station.
53.00 | Operation and maintenance of all E & M installations round the clock basis at hangar sub station (i/c operation of D.G Sets & Pumps) as required and attending the complaints / faults and taking rectification action ensuring serviceability / satisfactory working condition of the system, carrying out preventive maintenance, maintenance of records/documentation /store/dismantle materials etc as per the detailed specifications, terms and condition on all working days including saturday, sunday and holiday.
54.00 | a) For 1st year | 12.00 | Months | 0.00 | 123000.00 | 1476000.00 | 169000.00 | 2028000.00 | 95000.00 | 1140000.00 | 115350.00 | 1384200.00 | 119761.00 | 1437132.00 | 120000.00 | 1440000.00 | 1140000.00 | Manish Electricals
55.00 | b) For 2nd year | 12.00 | Months | 0.00 | 123000.00 | 1476000.00 | 169000.00 | 2028000.00 | 95000.00 | 1140000.00 | 115350.00 | 1384200.00 | 119761.00 | 1437132.00 | 120000.00 | 1440000.00 | 1140000.00 | Manish Electricals
56.00 | SH:IV Maintenance & Operation of E & M Installation of AAI/BCAS Sub Station (i/c operation of D.G Set & Pumps).
57.00 | Maintenance and operation of all E & M installations round the clock basis at BCAS Sub Station (i/c operation of D.G Sets & Pumps) along with operation of lift & fire alarm system at BCAS / AAI integrated office complete as required and attending the complaints / faults/break downs complaints and taking rectification action ensuring serviceability / satisfactory working condition of the system, carrying out preventive maintenance, maintenance of records/documentation /store/dismantle materials etc as per the detailed specifications, terms and condition on all working days including saturdays, sundays and holidays.
58.00 | a) For 1st year | 12.00 | Month | 0.00 | 204000.00 | 2448000.00 | 233724.00 | 2804688.00 | 258723.00 | 3104676.00 | 238199.00 | 2858388.00 | 249099.00 | 2989188.00 | 203000.00 | 2436000.00 | 2436000.00 | M/s J H Associates
59.00 | b) For 2nd year | 12.00 | Month | 0.00 | 204000.00 | 2448000.00 | 233724.00 | 2804688.00 | 258723.00 | 3104676.00 | 238199.00 | 2858388.00 | 249099.00 | 2989188.00 | 203000.00 | 2436000.00 | 2436000.00 | M/s J H Associates
60.00 | Lifting and lowering of 10 HP submersible pump motor set for carrying out necessary minor repairing/replacement of pump set/pipe/accessories for the following capacity from the depth up to 80 feet including dismantling of the existing column pipe, cable etc and re-installation of pump and motor set in the bore well along with all necessary work like providing and fixing of required gasket & nut bolts, and welding & threading of GI pipe and flange etc. wehrever required and making connection to the discharge line after dry revolution test complete as required.(Excluding Supply of pumpset/ GI pipe, /accessories)
61.00 | a) For 1st year | 1.00 | Job | 0.00 | 3800.00 | 3800.00 | 3000.00 | 3000.00 | 8000.00 | 8000.00 | 5000.00 | 5000.00 | 1000.00 | 1000.00 | 4000.00 | 4000.00 | 1000.00 | ABHISHEK ASSOCIATES
62.00 | b) For 2nd year | 1.00 | Job | 0.00 | 3800.00 | 3800.00 | 3000.00 | 3000.00 | 9000.00 | 9000.00 | 5000.00 | 5000.00 | 1000.00 | 1000.00 | 4000.00 | 4000.00 | 1000.00 | ABHISHEK ASSOCIATES
63.00 | Rewinding of following submersible / monoblock motor with copper conductor of suitable size i/c carrying out necessary repairs and servicing of other internal parts of pump and motor, repalcement of bearings, insulation and lubrication, assembling and re- installation, testing, & commissioning (dismantled material / wire shall be property of tenderer) i/c dismantling and transportation to work shop and back.
64.00 | a) For 2nd year 1.5 HP monoblock | 2.00 | Job | 0.00 | 3500.00 | 7000.00 | 800.00 | 1600.00 | 2500.00 | 5000.00 | 4000.00 | 8000.00 | 2000.00 | 4000.00 | 4000.00 | 8000.00 | 1600.00 | PAN POLAR ENGINEERS PVT. LTD.
65.00 | b) For 2nd year 10 HP submersible | 1.00 | Job | 0.00 | 4500.00 | 4500.00 | 5000.00 | 5000.00 | 12000.00 | 12000.00 | 10000.00 | 10000.00 | 2000.00 | 2000.00 | 5000.00 | 5000.00 | 2000.00 | ABHISHEK ASSOCIATES
66.00 | Complete servicing & overhauling i/c replacement of bush/ball/thrust bearings, wornout internal parts such as impeller, associated spares, shaft etc of following submersible /monoblock pumpset .
67.00 | a) For 2nd year 1.5 HP monoblock | 2.00 | Job | 0.00 | 5000.00 | 10000.00 | 500.00 | 1000.00 | 1500.00 | 3000.00 | 4000.00 | 8000.00 | 2000.00 | 4000.00 | 4000.00 | 8000.00 | 1000.00 | PAN POLAR ENGINEERS PVT. LTD.
68.00 | b) For 2nd year 10 HP submersible | 1.00 | Job | 0.00 | 6000.00 | 6000.00 | 4000.00 | 4000.00 | 9000.00 | 9000.00 | 11020.00 | 11020.00 | 2000.00 | 2000.00 | 5000.00 | 5000.00 | 2000.00 | ABHISHEK ASSOCIATES
69.00 | Complete servicing & over hauling i/c replacement of bush/ball bearings, wornout internal parts such as impeller and associated spares, shaft etc of following monoblock pumpset for fire hydrant system.
70.00 | a) For 2nd year 50 HP Monoblock | 1.00 | Job | 0.00 | 8000.00 | 8000.00 | 15000.00 | 15000.00 | 15000.00 | 15000.00 | 12000.00 | 12000.00 | 2000.00 | 2000.00 | 1000.00 | 1000.00 | 1000.00 | M/s J H Associates
71.00 | b) For 2nd year 7.5 HP Monoblock | 1.00 | Job | 0.00 | 7000.00 | 7000.00 | 1000.00 | 1000.00 | 3000.00 | 3000.00 | 10000.00 | 10000.00 | 2000.00 | 2000.00 | 8000.00 | 8000.00 | 1000.00 | PAN POLAR ENGINEERS PVT. LTD.
72.00 | Complete servicing of diesel engine of fire pump set as per the recommendation of OEM including replacement of following material as per site requirement etc as required. (diesel engine pump set make : Kriloskar, KW 44.16/60HP) A. KOEL CARE Premium Genuine Oil - 20 Litres B. LUB Oil Filter - 1 no. C. FUEL Filter cartridge - 1 no. D. KOEL CARE Genuine coolant premix - 2 litre. Note : Major repair / replacement of spares shall be assessed by AAI and payemnt shall be made as extra itra item
73.00 | a) For 1st year | 1.00 | Job | 0.00 | 9000.00 | 9000.00 | 6000.00 | 6000.00 | 4000.00 | 4000.00 | 12000.00 | 12000.00 | 15000.00 | 15000.00 | 8000.00 | 8000.00 | 4000.00 | Manish Electricals
74.00 | b) For 2nd year | 1.00 | Job | 0.00 | 9000.00 | 9000.00 | 6000.00 | 6000.00 | 5000.00 | 5000.00 | 12000.00 | 12000.00 | 15000.00 | 15000.00 | 8000.00 | 8000.00 | 5000.00 | Manish Electricals
75.00 | Inspection, servicing and overhaulling of 630/800 Amps of 4pole ACBs of all makes i/c replacement of defective wornout minor parts by arranging the OEM/authorized service dealer/specialized agency complete as per site requirements (major spare parts shall be paid extra if required)
76.00 | a) For 2nd year | 6.00 | Job | 0.00 | 8000.00 | 48000.00 | 3000.00 | 18000.00 | 4000.00 | 24000.00 | 2000.00 | 12000.00 | 4000.00 | 24000.00 | 7000.00 | 42000.00 | 12000.00 | Sterling And Wilson Pvt. Ltd
77.00 | Replacement of addressable type smoke detectors i/c testing and commissioing etc. as required.
78.00 | a) For 1st year | 5.00 | Each | 0.00 | 800.00 | 4000.00 | 100.00 | 500.00 | 3000.00 | 15000.00 | 1000.00 | 5000.00 | 3000.00 | 15000.00 | 800.00 | 4000.00 | 500.00 | PAN POLAR ENGINEERS PVT. LTD.
79.00 | b) For 2nd year | 5.00 | Each | 0.00 | 700.00 | 3500.00 | 100.00 | 500.00 | 3000.00 | 15000.00 | 1000.00 | 5000.00 | 3000.00 | 15000.00 | 800.00 | 4000.00 | 500.00 | PAN POLAR ENGINEERS PVT. LTD.
80.00 | Replacement of UL listed intelligent addressable manual call point complete as per specification.
81.00 | a) For 1st year | 5.00 | Each | 0.00 | 1800.00 | 9000.00 | 100.00 | 500.00 | 3000.00 | 15000.00 | 2500.00 | 12500.00 | 2200.00 | 11000.00 | 2000.00 | 10000.00 | 500.00 | PAN POLAR ENGINEERS PVT. LTD.
82.00 | b) For 2nd year | 5.00 | Each | 0.00 | 2200.00 | 11000.00 | 100.00 | 500.00 | 3000.00 | 15000.00 | 2500.00 | 12500.00 | 2200.00 | 11000.00 | 2000.00 | 10000.00 | 500.00 | PAN POLAR ENGINEERS PVT. LTD.
83.00 | Replacement of UL listed intelligent addressable hooter cum stobe complete as per specification.
84.00 | a) For 1st year | 2.00 | Each | 0.00 | 500.00 | 1000.00 | 100.00 | 200.00 | 3000.00 | 6000.00 | 800.00 | 1600.00 | 4000.00 | 8000.00 | 1000.00 | 2000.00 | 200.00 | PAN POLAR ENGINEERS PVT. LTD.
85.00 | b) For 2nd year | 2.00 | Each | 0.00 | 600.00 | 1200.00 | 100.00 | 200.00 | 3000.00 | 6000.00 | 800.00 | 1600.00 | 4000.00 | 8000.00 | 1000.00 | 2000.00 | 200.00 | PAN POLAR ENGINEERS PVT. LTD.
86.00 | Replacement of ACB 630 Amps, 50KA, 4 pole, Microprocessor release with electronic sensing unit and digital display unit with O/L, S/C & E/F relays, manual wound spring charged closing mechanism, drawout type.
87.00 | a) For 2nd year | 1.00 | Each | 0.00 | 99000.00 | 99000.00 | 1500.00 | 1500.00 | 150000.00 | 150000.00 | 80500.00 | 80500.00 | 350000.00 | 350000.00 | 100000.00 | 100000.00 | 1500.00 | PAN POLAR ENGINEERS PVT. LTD.
88.00 | Replacement of following size dual plate wafer type non-return valve PN 16 of CI body of following sizes confirming to IS: 5312 complete with rubber gasket, GI bolts, nuts, washers etc. as and when required.
89.00 | a)For 2nd year 150 mm dia | 1.00 | Each | 0.00 | 10000.00 | 10000.00 | 100.00 | 100.00 | 9000.00 | 9000.00 | 3000.00 | 3000.00 | 5015.00 | 5015.00 | 9000.00 | 9000.00 | 100.00 | PAN POLAR ENGINEERS PVT. LTD.
90.00 | b) For 2nd year 80 mm dia | 1.00 | Each | 0.00 | 500.00 | 500.00 | 100.00 | 100.00 | 7000.00 | 7000.00 | 1500.00 | 1500.00 | 2440.00 | 2440.00 | 1000.00 | 1000.00 | 100.00 | PAN POLAR ENGINEERS PVT. LTD.
91.00 | Replacement of 63 mm dia Gun metal Fire Hose Nozzles confirming to IS: 903 as per site required.
92.00 | a) For 2nd year | 4.00 | Each | 0.00 | 5000.00 | 20000.00 | 100.00 | 400.00 | 3000.00 | 12000.00 | 3500.00 | 14000.00 | 5060.00 | 20240.00 | 6000.00 | 24000.00 | 400.00 | PAN POLAR ENGINEERS PVT. LTD.
93.00 | Replacement of Key Interlock (Consisting of 3-Key Locks with 2 Keys (Same No.) fitted on 3 ACBs) for mechanical interlock of panel, Brass casting as per actual site requirement.
94.00 | a) For 2nd year | 1.00 | Job | 0.00 | 2000.00 | 2000.00 | 100.00 | 100.00 | 7000.00 | 7000.00 | 1000.00 | 1000.00 | 7995.00 | 7995.00 | 2000.00 | 2000.00 | 100.00 | PAN POLAR ENGINEERS PVT. LTD.
95.00 | SH-V : Supply of General Electrical spares for day to day maintenance work.
96.00 | Supply of 20W, T-8, LED Tube suitable to operate on 230 v, 50Hz, AC supply. (Make Bajaj or or similar type as per AAI approved make list) | 200.00 | Each | 0.00 | 250.00 | 50000.00 | 280.00 | 56000.00 | 400.00 | 80000.00 | 100.00 | 20000.00 | 200.00 | 40000.00 | 250.00 | 50000.00 | 20000.00 | Sterling And Wilson Pvt. Ltd
97.00 | Supply of 28W, T-5, Fluorescent Tube, suitable to operate on 230 v, 50Hz, AC supply. (Make Bajaj or similar type as per AAI approved make list) | 100.00 | Each | 0.00 | 550.00 | 55000.00 | 400.00 | 40000.00 | 150.00 | 15000.00 | 100.00 | 10000.00 | 80.00 | 8000.00 | 500.00 | 50000.00 | 8000.00 | ABHISHEK ASSOCIATES
98.00 | Supply of Piano type Switch 6 A.( Model Penta Cherry, Make Anchor or similar type as per AAI approved make list) | 300.00 | Each | 0.00 | 10.00 | 3000.00 | 15.00 | 4500.00 | 20.00 | 6000.00 | 15.00 | 4500.00 | 11.00 | 3300.00 | 18.00 | 5400.00 | 3000.00 | M/s North East Electricals
99.00 | Supply of Piano type Switch 16/20 A. ( Model Urea Back piece, Make Anchor or similar type as per AAI approved make list) | 200.00 | Each | 0.00 | 60.00 | 12000.00 | 65.00 | 13000.00 | 20.00 | 4000.00 | 70.00 | 14000.00 | 58.00 | 11600.00 | 70.00 | 14000.00 | 4000.00 | Manish Electricals
100.00 | Supply of Socket 6A, 5 Pin Type.(Make Anchor or similar type as per AAI approved make list) | 200.00 | Each | 0.00 | 20.00 | 4000.00 | 25.00 | 5000.00 | 30.00 | 6000.00 | 25.00 | 5000.00 | 20.00 | 4000.00 | 25.00 | 5000.00 | 4000.00 | M/s North East Electricals, ABHISHEK ASSOCIATES
101.00 | Supply of Socket 16/20A, 5 Pin Type.(Make Anchor or similar type as per AAI approved make list) | 200.00 | Each | 0.00 | 60.00 | 12000.00 | 57.00 | 11400.00 | 40.00 | 8000.00 | 80.00 | 16000.00 | 59.00 | 11800.00 | 80.00 | 16000.00 | 8000.00 | Manish Electricals
102.00 | Supply of Capacitor 2.5 microfarad, suitable to operate on 230 v, 50Hz, AC supply.(Make havells or similar type as per AAI approved make list) | 200.00 | Each | 0.00 | 20.00 | 4000.00 | 30.00 | 6000.00 | 30.00 | 6000.00 | 25.00 | 5000.00 | 16.00 | 3200.00 | 25.00 | 5000.00 | 3200.00 | ABHISHEK ASSOCIATES
103.00 | Supply of Calling bell, DING DONG Type, suitable to operate on 230 v, 50Hz, AC supply.(Make anchor or similar type as per AAI approved make list) | 100.00 | Each | 0.00 | 120.00 | 12000.00 | 115.00 | 11500.00 | 150.00 | 15000.00 | 100.00 | 10000.00 | 118.00 | 11800.00 | 130.00 | 13000.00 | 10000.00 | Sterling And Wilson Pvt. Ltd
104.00 | Supply of Call bell switch (Push button) (Make anchor or similar type as per AAI approved make list) | 100.00 | Each | 0.00 | 20.00 | 2000.00 | 25.00 | 2500.00 | 30.00 | 3000.00 | 30.00 | 3000.00 | 21.00 | 2100.00 | 30.00 | 3000.00 | 2000.00 | M/s North East Electricals
105.00 | Supply of Single core 1.5 Sq. mm FR-PVC insulated multistranded copper conductor wire suitable for upto 1100 V. 1 no= 1 coil of 90 mtrs (Make havells or similar type as per AAI approved make list) | 15.00 | Coil | 0.00 | 1100.00 | 16500.00 | 1125.00 | 16875.00 | 1500.00 | 22500.00 | 1200.00 | 18000.00 | 1030.00 | 15450.00 | 1000.00 | 15000.00 | 15000.00 | M/s J H Associates
106.00 | Supply of Single core 2.5 Sq. mm FR-PVC insulated multistranded copper conductor wire suitable for upto 1100 V. 1 no= 1 coil of 90 mtrs (Make havells or similar type as per AAI approved make list) | 10.00 | Coil | 0.00 | 2000.00 | 20000.00 | 1825.00 | 18250.00 | 2400.00 | 24000.00 | 1950.00 | 19500.00 | 1625.00 | 16250.00 | 1900.00 | 19000.00 | 16250.00 | ABHISHEK ASSOCIATES
107.00 | Supply of Single core 4.0 Sq. mm FR-PVC insulated multistranded copper conductor wire suitable for upto 1100 V. 1 no= 1 coil of 90 mtrs (Make havells or similar type as per AAI approved make list) | 5.00 | Coil | 0.00 | 3000.00 | 15000.00 | 3100.00 | 15500.00 | 3500.00 | 17500.00 | 2900.00 | 14500.00 | 2375.00 | 11875.00 | 2700.00 | 13500.00 | 11875.00 | ABHISHEK ASSOCIATES
108.00 | Supply of PVC Switch Board of size 7 inch x 4 inch (As per AAI approved make list/EIC) | 200.00 | Each | 0.00 | 60.00 | 12000.00 | 45.00 | 9000.00 | 50.00 | 10000.00 | 70.00 | 14000.00 | 47.00 | 9400.00 | 40.00 | 8000.00 | 8000.00 | M/s J H Associates
109.00 | Supply of PVC Board 8 inch x 6 inch (As per AAI approved make list/EIC) | 50.00 | Each | 0.00 | 80.00 | 4000.00 | 55.00 | 2750.00 | 90.00 | 4500.00 | 90.00 | 4500.00 | 57.00 | 2850.00 | 80.00 | 4000.00 | 2750.00 | PAN POLAR ENGINEERS PVT. LTD.
110.00 | Supply of 6A Plug Top 3 pin (Make Anchor or similar type as per AAI approved make list) | 50.00 | Each | 0.00 | 40.00 | 2000.00 | 35.00 | 1750.00 | 50.00 | 2500.00 | 50.00 | 2500.00 | 34.00 | 1700.00 | 40.00 | 2000.00 | 1700.00 | ABHISHEK ASSOCIATES
111.00 | Supply of 16A Plug Top 3 pin (Make Anchor or similar type as per AAI approved make list) | 25.00 | Each | 0.00 | 70.00 | 1750.00 | 45.00 | 1125.00 | 60.00 | 1500.00 | 82.00 | 2050.00 | 50.00 | 1250.00 | 100.00 | 2500.00 | 1125.00 | PAN POLAR ENGINEERS PVT. LTD.
112.00 | Supply of 3 x 1.5 Sq. mm PVC insulated and FR PVC round sheathed copper conductor cable as per approved make suitable for upto 1100 V. (Make Havells or similar type as per AAI approved make list) | 100.00 | Mtr | 0.00 | 38.00 | 3800.00 | 96.00 | 9600.00 | 90.00 | 9000.00 | 40.00 | 4000.00 | 42.00 | 4200.00 | 40.00 | 4000.00 | 3800.00 | M/s North East Electricals
113.00 | Supply of 3 x 2.5 Sq. mm PVC insulated and FR PVC round sheathed copper conductor cable as per approved make suitable for upto 1100 V. (Make Havells or similar type as per AAI approved make list) | 100.00 | Mtr | 0.00 | 55.00 | 5500.00 | 147.00 | 14700.00 | 110.00 | 11000.00 | 65.00 | 6500.00 | 68.00 | 6800.00 | 60.00 | 6000.00 | 5500.00 | M/s North East Electricals
114.00 | Supply of 3 x 4 sqmm size flexible copper conductor flat submersible weather proof cables for submersible pumpsets. | 200.00 | Mtr | 0.00 | 100.00 | 20000.00 | 299.00 | 59800.00 | 130.00 | 26000.00 | 102.00 | 20400.00 | 102.00 | 20400.00 | 90.00 | 18000.00 | 18000.00 | M/s J H Associates
115.00 | Supply of 3 x 6 sqmm size flexible copper conductor flat submersible weather proof cables for submersible pumpsets. | 200.00 | Mtr | 0.00 | 130.00 | 26000.00 | 476.00 | 95200.00 | 200.00 | 40000.00 | 125.00 | 25000.00 | 151.00 | 30200.00 | 140.00 | 28000.00 | 25000.00 | Sterling And Wilson Pvt. Ltd
116.00 | Supply of Single Phase energy meter of rating 5-40 A as per approved make suitable for 240V, 50 Hz. | 20.00 | Each | 0.00 | 900.00 | 18000.00 | 2035.00 | 40700.00 | 1500.00 | 30000.00 | 1070.00 | 21400.00 | 1455.00 | 29100.00 | 900.00 | 18000.00 | 18000.00 | M/s North East Electricals, M/s J H Associates
117.00 | Supply of Three Phase energy meter of rating 10-60 A as per approved make suitable for 240V, Hz. | 10.00 | Each | 0.00 | 3000.00 | 30000.00 | 4620.00 | 46200.00 | 2000.00 | 20000.00 | 3356.00 | 33560.00 | 3300.00 | 33000.00 | 2500.00 | 25000.00 | 20000.00 | Manish Electricals
118.00 | Supply of PVC Casing Caping 25mm (as per AAI approved make list/EIC) | 300.00 | Mtr | 0.00 | 50.00 | 15000.00 | 6.50 | 1950.00 | 20.00 | 6000.00 | 55.00 | 16500.00 | 17.00 | 5100.00 | 45.00 | 13500.00 | 1950.00 | PAN POLAR ENGINEERS PVT. LTD.
119.00 | Supply of PVC Casing Caping 20mm (as per AAI approved make list/EIC) | 300.00 | Mtr | 0.00 | 38.00 | 11400.00 | 5.50 | 1650.00 | 20.00 | 6000.00 | 45.00 | 13500.00 | 15.00 | 4500.00 | 45.00 | 13500.00 | 1650.00 | PAN POLAR ENGINEERS PVT. LTD.
| Total in Figures |  |  |  |  | 21285850.00 |  | 20525761.00 |  | 22062292.00 |  | 22420288.00 |  | 20796827.00 |  | 20934400.00
Lowest Amount Quoted BY: PAN POLAR ENGINEERS PVT. LTD.(20525761.00)

## BOQ Summary
BOQ Summary Details Tender Title: AMC for Operation and Maintenance of E and M Installation at Residential colony, Hanger substation, Pump houses and AAI/BCAS Office Complex at LGBI Airport Guwahati Tender ID: 2020_AAI_54120_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | PAN POLAR ENGINEERS PVT. LTD. | 20525761.00 | L1
| 2 | ABHISHEK ASSOCIATES | 20796827.00 | L2
| 3 | M/s J H Associates | 20934400.00 | L3
| 4 | M/s North East Electricals | 21285850.00 | L4
| 5 | Manish Electricals | 22062292.00 | L5
| 6 | Sterling And Wilson Pvt. Ltd | 22420288.00 | L6