## BoQ1
Government eProcurement System Created By: Vivek Katara Created Date/Time: 18-Aug-2020 04:54 PM Tender Title: Operation and day to day Maintenance of New HVAC Plant and BMS System at Jammu Airport for the year 2020-21 and 2021-22. Tender ID: 2020_AAI_54163_1
Tender Inviting Authority: Airports Authority of India, Jammu Airport, Jammu
Name of Work: Operation & day to day Maintenance of New HVAC Plant & BMS System at Jammu Airport for the year 2020-21 and 2021-22.
Contract No: AAI/JMU/ELECT/W- 04 /2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M K ENTERPRISES(GSTN-NA) |  | Arctic Engineering Services(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Sub Head -I: Operation & day to day Maintenance of New 3x270TR HVAC Plant & BMS System Operation & day to day Maintenance of 3 x 270 TR HVAC Plant , BMS System and all associated lnstallations in all areas involving Day to Day Maintenance & its satisfactory operation, ensuring serviceability / satisfactory working condition of the system, carrying out day to day maintenance as recommended, maintenance of records/documentations etc., as per the detailed specifications, terms & conditions covered under this contract on all days including sundays & holidays etc as required. 1.Contractor has to depute the manpower as mentioned below. 2. Contractor has to provide Reliever for Weekly Offs / Holidays for below mentioned staffs as per the requirement.
1.10 | BMS operator(Highly Skilled- Supervisor)-01 Nos(1No.in general shift) on all days including sundays & holidays etc as required. | 24.00 | Job | 31555.00 | 27968.00 | 671232.00 | 26449.00 | 634776.00 | 634776.00 | Arctic Engineering Services
1.20 | Supervisor( Highly skilled-Supervisor)-01 Nos(1No.in general shift) on all days including sundays & holidays etc as required. | 24.00 | Job | 31555.00 | 27968.00 | 671232.00 | 26449.00 | 634776.00 | 634776.00 | Arctic Engineering Services
1.30 | HVAC plant Operator(Skilled)-02 Nos(1No.in each two shift) on all days including sundays & holidays etc as required. | 24.00 | Job | 53049.00 | 47657.00 | 1143768.00 | 41849.00 | 1004376.00 | 1004376.00 | Arctic Engineering Services
1.40 | Helper (Un-Skilled)-02 Nos(1No.in each two shift) on all days including sundays & holidays etc as required. | 24.00 | Job | 40276.00 | 37116.00 | 890784.00 | 38499.00 | 923976.00 | 890784.00 | M K ENTERPRISES
2.00 | Sub Head -II: SITC of Spares for 3x270TR HVAC Plant
2.10 | SITC of Limit switch for AHU doors(make MOUJEN Electric Co. Ltd. Model No.ME 8111,5A 250V AC) as per approved make list as required. | 3.00 | Job | 2879.00 | 1000.00 | 3000.00 | 2699.00 | 8097.00 | 3000.00 | M K ENTERPRISES
2.20 | SITC of BMS Compatible Actuator motor valve for AHU’s(Make:RC model RC 981S,24 VAC/28 V DC,225 lbs) as per approved make list as required. | 3.00 | Job | 13555.00 | 15000.00 | 45000.00 | 8950.00 | 26850.00 | 26850.00 | Arctic Engineering Services
2.30 | SITC of BMS Compatible Actuator motor valve for AHU’s(Make:RC model RC 981J,24 VAC/28 V DC,225 lbs) as per approved make list as required. | 4.00 | Job | 13555.00 | 13000.00 | 52000.00 | 9855.00 | 39420.00 | 39420.00 | Arctic Engineering Services
2.40 | SITC of Water Flow switch of chiller plant( make Honeywell,Model:WFS6000,150PSI,1000C 1”NPT,15A 250 V ) as per approved make list as required. | 6.00 | Job | 2788.00 | 1800.00 | 10800.00 | 2495.00 | 14970.00 | 10800.00 | M K ENTERPRISES
2.50 | SITC of Pressure gauge (Make :Guru, Range 0 to 0-16 Kg/cm Square) as per approved make list as required. | 23.00 | Job | 2172.00 | 1000.00 | 23000.00 | 685.00 | 15755.00 | 15755.00 | Arctic Engineering Services
2.60 | SITC of Thermometer(Make :Guru, Mercury type Range 0 to 50 °C) as per approved make list as required. | 15.00 | Job | 1768.00 | 1500.00 | 22500.00 | 680.00 | 10200.00 | 10200.00 | Arctic Engineering Services
2.70 | SITC of Condenser and chiller line butterfly motorized valve (with 250mm butterfly valve and motor Make Respon, Model: REA -50A/30S/AC220/F05-07/17/NN) , suitable to operate on AC 220V Power Supply,Output moment 500nm) as per approved make list as required. | 5.00 | Job | 100112.00 | 55000.00 | 275000.00 | 57599.00 | 287995.00 | 275000.00 | M K ENTERPRISES
2.80 | Supply,installation,testing & commissioning of Variable Frequency Drive for Floor / Ceiling Suspended Air-handling unit for The complete VFD Drive (Make Danfoss,11KW/ 15 HP) as per approved make list as required. | 1.00 | Job | 39088.00 | 32000.00 | 32000.00 | 58808.00 | 58808.00 | 32000.00 | M K ENTERPRISES
| Total in Figures |  |  |  |  | 3840316.00 |  | 3659999.00
Lowest Amount Quoted BY: Arctic Engineering Services(3659999.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and day to day Maintenance of New HVAC Plant and BMS System at Jammu Airport for the year 2020-21 and 2021-22. Tender ID: 2020_AAI_54163_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Arctic Engineering Services | 3659999.00 | L1
| 2 | M K ENTERPRISES | 3840316.00 | L2