## BoQ1
Government eProcurement System Created By: MANTRIMAYUM CHINGLENSANA SINGH Created Date/Time: 07-Oct-2020 05:17 PM Tender Title: Job contract for operation and maintenance of E and M installations for ANS, SS, and GSS at Ops and Non Ops areas at Imphal International Airport during 2020 21 and 2021 22 Tender ID: 2020_AAI_54327_1
Tender Inviting Authority: AGM Engg. (Elect)-I, AAI, Imphal
Name of Work: Job contract for operation and maintenance of E & M installations for ANS, SS, and GSS at Ops/Non-Ops areas at Imphal International Airport during 2020-21 and 2021-22
Contract No: 2020_AAI_54327_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s K.N.Construction(GSTN-20AAHFK7857Q1ZP) |  | PAN POLAR ENGINEERS PVT. LTD.(GSTN-07AABCP0844P1Z5) |  | M/s North East Electricals(GSTN-18AGLPD8831B1ZJ) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | ABHISHEK ASSOCIATES(GSTN-24ADZPD4239Q1ZT)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Sub-Head:- I (Operation & Maintenance).
2.00 | Periodical Maintenance of Electrical and Mechanical installations for following areas involving repairs and maintenance, attending to complaints/ faults/ breakdown and taking rectification action for ensuring serviceability/satisfactory working condition of the system, performing preventive maintenance checks, maintenance of records/documentations etc. as per the detailed specifications, terms and conditions cover under this contract on all working days including Saturday, Sunday and all Gazetted Holidays. a) DVOR, GP, LLZ, TXR etc. (ANS) b) GLF (R/Way, T/Way, CAT-I, PAPI, SAPL,Wind Cone, Landing-T, ISO-BAY's Flood Light, AFL, AOL etc.), ATS Building (GSS). c) ASR-MSSR Site - Power Transformer, DG set, HT/LT panels, APFC panels etc. (ANS) d) Perimeter Lights, CISF Barracks/ Offices/ Outpost/ Morchas, KOTE/ QUATER Guards, UNIT'S Secutrity/ Street Lights, power cable, UG cables etc. (SS). 1st Year. | 12.00 | Month |  | 320280.00 | 3843360.00 | 290000.00 | 3480000.00 | 274000.00 | 3288000.00 | 297984.00 | 3575808.00 | 289550.00 | 3474600.00 | 3288000.00 | M/s North East Electricals
3.00 | Periodical Maintenance of Electrical and Mechanical installations for following areas involving repairs and maintenance, attending to complaints/ faults/ breakdown and taking rectification action for ensuring serviceability/satisfactory working condition of the system, performing preventive maintenance checks, maintenance of records/documentations etc. as per the detailed specifications, terms and conditions cover under this contract on all working days including Saturday, Sunday and all Gazetted Holidays. a) DVOR, GP, LLZ, TXR etc. (ANS) b) GLF (R/Way, T/Way, CAT-I, PAPI, SAPL,Wind Cone, Landing-T, ISO-BAY's Flood Light, AFL, AOL etc.), ATS Building (GSS). c) ASR-MSSR Site - Power Transformer, DG set, HT/LT panels, APFC panels etc. (ANS) d) Perimeter Lights, CISF Barracks/ Offices/ Outpost/ Morchas, KOTE/ QUATER Guards, UNIT'S Secutrity/ Street Lights, power cable, UG cables etc. (SS). 2nd Year | 12.00 | Month |  | 324290.00 | 3891480.00 | 290000.00 | 3480000.00 | 274000.00 | 3288000.00 | 296853.00 | 3562236.00 | 289550.00 | 3474600.00 | 3288000.00 | M/s North East Electricals
4.00 | Sub-Head:- 2 (Painting, Rewinding, Testing etc.)
5.00 | Painting of poles with aluminium paint of approved brand and manufacture to give an even shade. (Two or more coats on old work). | 100.00 | Sq.Mtr |  | 70.00 | 7000.00 | 90.00 | 9000.00 | 200.00 | 20000.00 | 200.00 | 20000.00 | 70.00 | 7000.00 | 7000.00 | M/s K.N.Construction, ABHISHEK ASSOCIATES
6.00 | Painting with smoke gray / Yellow approved quality enamel paint of approved brand and manufacture to give an even shade. (Two or more coats on old work). | 50.00 | Sq.Mtr |  | 45.00 | 2250.00 | 90.00 | 4500.00 | 200.00 | 10000.00 | 175.00 | 8750.00 | 70.00 | 3500.00 | 2250.00 | M/s K.N.Construction
7.00 | Rewinding of Ceiling fan mounted /Pedestal fan motor in accordance with original design I/c replacement the bush/shaft/bearing and housing etc., as required. | 15.00 | Each |  | 900.00 | 13500.00 | 350.00 | 5250.00 | 800.00 | 12000.00 | 500.00 | 7500.00 | 250.00 | 3750.00 | 3750.00 | ABHISHEK ASSOCIATES
8.00 | Testing of dielectric strength of oil of 2 nos. 250 kVA oil type 11kV/433V transformer of 340 Ltr oil capacity, oil filtration, heating and dehumidifying of oil to achieve recommended BDV, top up of transformer oil to maintain required oil level and submitting the test report. | 1360.00 | Litre |  | 20.00 | 27200.00 | 15.00 | 20400.00 | 20.00 | 27200.00 | 13.00 | 17680.00 | 20.00 | 27200.00 | 17680.00 | Techno Electricals
9.00 | Supply and top up of transformer oil to maintain required oil level at transformers. | 200.00 | Litre |  | 110.00 | 22000.00 | 180.00 | 36000.00 | 140.00 | 28000.00 | 155.00 | 31000.00 | 120.00 | 24000.00 | 22000.00 | M/s K.N.Construction
10.00 | 250 kVA oil type 11kV/433V transformer maintenance i/c IR checking of LV/HV windings inbetween and w.r.t. earth, Winding resistance measurement, maintenace of Buchholtz device, cleaning and painting of transformer body, tightness of terminals, simulation of Buchholtz alarm & trip, winding temperature alarm & trip, Oil temperature alarm trip etc. as applicable and as directed by E-I-C and submision of report. 1st Year | 2.00 | Nos. |  | 10000.00 | 20000.00 | 10000.00 | 20000.00 | 20000.00 | 40000.00 | 4000.00 | 8000.00 | 15000.00 | 30000.00 | 8000.00 | Techno Electricals
11.00 | 250 kVA oil type 11kV/433V transformer maintenance i/c IR checking of LV/HV windings inbetween and w.r.t. earth, Winding resistance measurement, maintenace of Buchholtz device, cleaning and painting of transformer body, tightness of terminals, simulation of Buchholtz alarm & trip, winding temperature alarm & trip, Oil temperature alarm trip etc. as applicable and as directed by E-I-C and submision of report. 2nd Year | 2.00 | Nos. |  | 22000.00 | 44000.00 | 10000.00 | 20000.00 | 20000.00 | 40000.00 | 4000.00 | 8000.00 | 15000.00 | 30000.00 | 8000.00 | Techno Electricals
12.00 | Sub-Head:- 3 (Supply of materials)
13.00 | Supply of UL listed intelligent addressable type Photo Elecrtic Smoke Detector with mounting based LED with Electronic Addressing Feature to programme the detectors. Complete as required to be installed under/above false ceiling, roof and concealed space etc. interconnecting to loop cable complete as required.(UL 9th Edition Approved and NFPA).(Make: Morley IAS; Model: MI-PSE-S2-IV or equivalent) | 5.00 | Each |  | 4200.00 | 21000.00 | 1200.00 | 6000.00 | 4500.00 | 22500.00 | 3200.00 | 16000.00 | 3000.00 | 15000.00 | 6000.00 | PAN POLAR ENGINEERS PVT. LTD.
14.00 | Supply of single phase Digital Panel Meter with LED display, Dimension: 96mm X 48mm. (Make MECO model no. SMPS35ST or equivalent) | 5.00 | Each |  | 2500.00 | 12500.00 | 1200.00 | 6000.00 | 1500.00 | 7500.00 | 1250.00 | 6250.00 | 1200.00 | 6000.00 | 6000.00 | PAN POLAR ENGINEERS PVT. LTD., ABHISHEK ASSOCIATES
15.00 | Sub-Head:- 4 (DSR works)
16.00 | Execution of items of schedule of rates CPWD DSR-2016 (Internal and External) as and when required as per the direction of E-I-C at different locations at Imphal Airport complete as required. The bidder shall quote the rate in INR only for the job corresponding to Rs. 2,00,000/- and percentage (%) above / below shall be calculated by AAI and paid accordingly. For example: If the quoted rate for this item is Rs. 0.90, then for executing DSR-2016 (Electrical) schedule work of value Rs. 2,00,000/-, the quoted amount will be Rs. 1,80,000/-. And if quoted rate for this item is Rs. 1.25, then quoted amount for the same will be Rs. 2,50,000/-. | 200000.00 | Each |  | .52 | 104000.00 | .60 | 120000.00 | 1.10 | 220000.00 | .80 | 160000.00 | .80 | 160000.00 | 104000.00 | M/s K.N.Construction
| Total in Figures |  |  |  |  | 8008290.00 |  | 7207150.00 |  | 7003200.00 |  | 7421224.00 |  | 7255650.00
Lowest Amount Quoted BY: M/s North East Electricals(7003200.00)

## BOQ Summary
BOQ Summary Details Tender Title: Job contract for operation and maintenance of E and M installations for ANS, SS, and GSS at Ops and Non Ops areas at Imphal International Airport during 2020 21 and 2021 22 Tender ID: 2020_AAI_54327_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s North East Electricals | 7003200.00 | L1
| 2 | PAN POLAR ENGINEERS PVT. LTD. | 7207150.00 | L2
| 3 | ABHISHEK ASSOCIATES | 7255650.00 | L3
| 4 | Techno Electricals | 7421224.00 | L4
| 5 | M/s K.N.Construction | 8008290.00 | L5