## BoQ1
Government eProcurement System Created By: Ashvin Kumar Singh Created Date/Time: 26-Aug-2020 06:44 PM Tender Title: ARMO of various Electrical and Mechanical installations of Terminal building, CISF Barrack, DOG Kennal at Chandigarh International Airport Limited, Mohali (2020-21 and 2021-22). Tender ID: 2020_AAI_54423_1
Tender Inviting Authority: Asstt. General Manager (Engg- Elect.), Chandigarh International Airport Ltd.(CHIAL), Mohali (PB)
Name of Work: ARMO of various Electrical & Mechanical installations of Terminal building, CISF Barrack, DOG Kennal at Chandigarh International Airport Limited, Mohali (2020-21 & 2021-22).
Contract No: 0172-2242404, 0172-2242434
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Sew Engineering Works Pvt Ltd(GSTN-09AAACS2845N1ZY) |  | SRS ENGINEERS(GSTN-07AETPG0981P1ZR) |  | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | S. N ELECTRICALS(GSTN-07AKEPG8675R2Z9) |  | M/s CGPL ELECTROMECH PVT LTD(GSTN-07AAGCC8228F1ZO) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | SHRADDHA ENGINEERING AND FACILITY SERVICES(GSTN-NA) |  | Techno Electricals(GSTN-NA) |  | ANAND AND COMPANTY(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Running, Operation & Maintenance of all Electrical & Mechanical Installations and Pumps on all days as provided in contract day to day daily checking/complaints/fault/breakdowns and taking rectification actions, ensure serviceability/ satisfactory working conditions of the systems, Maintenance of the record/documentation as per details in SCC covered under this contract. | 24.00 | Month | 100.00 | 432984.00 | 10391616.00 | 350509.00 | 8412216.00 | 395900.00 | 9501600.00 | 450056.00 | 10801344.00 | 329000.00 | 7896000.00 | 535000.00 | 12840000.00 | 395618.00 | 9494832.00 | 552569.00 | 13261656.00 | 395000.00 | 9480000.00 | 7896000.00 | M/s CGPL ELECTROMECH PVT LTD
2.00 | Planned preventive maintenance of LT Panels as per the details, locations and as per maintenance schedule on Monthly basis given in SCC. | 1200.00 | Job | 100.00 | 336.00 | 403200.00 | 364.00 | 436800.00 | 312.00 | 374400.00 | 225.00 | 270000.00 | 600.00 | 720000.00 | 250.00 | 300000.00 | 299.90 | 359880.00 | 750.00 | 900000.00 | 700.00 | 840000.00 | 270000.00 | S. N ELECTRICALS
3.00 | Planned preventive maintenance of Perimeter light and Street light alongwith Feeder pilar as per the details, locations and as per maintenance schedule on Monthly basis given in SCC. | 10128.00 | Job | 10.00 | 336.00 | 3403008.00 | 364.00 | 3686592.00 | 312.00 | 3159936.00 | 225.00 | 2278800.00 | 60.00 | 607680.00 | 30.00 | 303840.00 | 299.90 | 3037387.20 | 50.00 | 506400.00 | 85.00 | 860880.00 | 303840.00 | Manish Electricals
4.00 | Planned preventive maintenance of Apron/Taxiway edge lights/Guidance signages including associated items like CCR’s, Isolating transformer, connectors, cables etc. as per the details, locations and as per maintenance schedule on Monthly basis given in SCC. | 1752.00 | Job | 100.00 | 336.00 | 588672.00 | 364.00 | 637728.00 | 312.00 | 546624.00 | 225.00 | 394200.00 | 300.00 | 525600.00 | 50.00 | 87600.00 | 299.90 | 525424.80 | 100.00 | 175200.00 | 485.00 | 849720.00 | 87600.00 | Manish Electricals
5.00 | Planned preventive maintenance of MCB DB's as per the details, locations and as per maintenance schedule on Monthly basis given in SCC. | 2400.00 | Job | 100.00 | 336.00 | 806400.00 | 364.00 | 873600.00 | 312.00 | 748800.00 | 225.00 | 540000.00 | 250.00 | 600000.00 | 60.00 | 144000.00 | 299.90 | 719760.00 | 150.00 | 360000.00 | 350.00 | 840000.00 | 144000.00 | Manish Electricals
6.00 | Planned preventive maintenance of Earthing as per the details, locations and as per maintenance schedule on Monthly basis given in SCC. | 864.00 | Job | 100.00 | 336.00 | 290304.00 | 364.00 | 314496.00 | 312.00 | 269568.00 | 225.00 | 194400.00 | 750.00 | 648000.00 | 300.00 | 259200.00 | 299.90 | 259113.60 | 50.00 | 43200.00 | 975.00 | 842400.00 | 43200.00 | Techno Electricals
7.00 | Planned preventive maintenance of 30 mtr. height High mast including their feeder pilar as per the details, locations and as per maintenance schedule on Monthly basis given in SCC. | 264.00 | Job | 100.00 | 336.00 | 88704.00 | 364.00 | 96096.00 | 312.00 | 82368.00 | 225.00 | 59400.00 | 2200.00 | 580800.00 | 1000.00 | 264000.00 | 299.90 | 79173.60 | 300.00 | 79200.00 | 3200.00 | 844800.00 | 59400.00 | S. N ELECTRICALS
8.00 | Data entry Computer operator for recording day to day maintenance, complaint management, Store management as required as per the SCC. | 24.00 | Month | 10.00 | 27811.00 | 667464.00 | 24102.00 | 578448.00 | 23380.00 | 561120.00 | 25216.00 | 605184.00 | 21000.00 | 504000.00 | 25500.00 | 612000.00 | 25143.00 | 603432.00 | 24545.00 | 589080.00 | 25000.00 | 600000.00 | 504000.00 | M/s CGPL ELECTROMECH PVT LTD
9.00 | Rewinding of burnt ceiling fan motor including replacement of bearing, bush shaft etc. complete as required. | 25.00 | Job | 100.00 | 650.00 | 16250.00 | 400.00 | 10000.00 | 490.00 | 12250.00 | 150.00 | 3750.00 | 250.00 | 6250.00 | 400.00 | 10000.00 | 350.00 | 8750.00 | 350.00 | 8750.00 | 200.00 | 5000.00 | 3750.00 | S. N ELECTRICALS
10.00 | Rewinding of burnt exhaust / Padestal/ wall mounting/ kit fan of all types and sizes complete as required. | 25.00 | Job | 100.00 | 450.00 | 11250.00 | 650.00 | 16250.00 | 750.00 | 18750.00 | 150.00 | 3750.00 | 250.00 | 6250.00 | 600.00 | 15000.00 | 500.00 | 12500.00 | 350.00 | 8750.00 | 350.00 | 8750.00 | 3750.00 | S. N ELECTRICALS
11.00 | Repairing/replacement of Heating element & thermostate of storage type water geysors upto 25 litre storage capacity complete as required. | 15.00 | Job | 100.00 | 450.00 | 6750.00 | 1150.00 | 17250.00 | 900.00 | 13500.00 | 150.00 | 2250.00 | 300.00 | 4500.00 | 300.00 | 4500.00 | 500.00 | 7500.00 | 500.00 | 7500.00 | 400.00 | 6000.00 | 2250.00 | S. N ELECTRICALS
12.00 | Repairing/replacement of heating element/ motor of heaters/Blowers complete as required. | 10.00 | Job | 100.00 | 275.00 | 2750.00 | 1450.00 | 14500.00 | 500.00 | 5000.00 | 200.00 | 2000.00 | 250.00 | 2500.00 | 120.00 | 1200.00 | 850.00 | 8500.00 | 500.00 | 5000.00 | 200.00 | 2000.00 | 1200.00 | Manish Electricals
13.00 | Supply and replacement halogen rod of halogen type heaters complete as required. | 20.00 | Job | 10.00 | 750.00 | 15000.00 | 250.00 | 5000.00 | 300.00 | 6000.00 | 100.00 | 2000.00 | 250.00 | 5000.00 | 80.00 | 1600.00 | 150.00 | 3000.00 | 500.00 | 10000.00 | 300.00 | 6000.00 | 1600.00 | Manish Electricals
14.00 | Rewinding of burnt 1.0 H.P. pump motor complete as required. | 4.00 | Job | 100.00 | 800.00 | 3200.00 | 1800.00 | 7200.00 | 800.00 | 3200.00 | 1000.00 | 4000.00 | 550.00 | 2200.00 | 1200.00 | 4800.00 | 1000.00 | 4000.00 | 1200.00 | 4800.00 | 500.00 | 2000.00 | 2000.00 | ANAND AND COMPANTY
15.00 | Rewinding of burnt 1.5 H.P pump motor complete as required. | 4.00 | Job | 100.00 | 1000.00 | 4000.00 | 2200.00 | 8800.00 | 1000.00 | 4000.00 | 1500.00 | 6000.00 | 550.00 | 2200.00 | 1200.00 | 4800.00 | 1500.00 | 6000.00 | 1200.00 | 4800.00 | 750.00 | 3000.00 | 2200.00 | M/s CGPL ELECTROMECH PVT LTD
16.00 | Lowering and lifting 15 HP/30 HP borewell pump and motor with tripod etc complete as required. | 4.00 | Job | 100.00 | 8000.00 | 32000.00 | 15000.00 | 60000.00 | 6000.00 | 24000.00 | 2000.00 | 8000.00 | 5000.00 | 20000.00 | 5000.00 | 20000.00 | 15500.00 | 62000.00 | 2250.00 | 9000.00 | 5000.00 | 20000.00 | 8000.00 | S. N ELECTRICALS
17.00 | Repairing / Rewinding of burnt 15.0 H.P. pump motor/ pump implers /shaft etc.complete as required. | 2.00 | Job | 100.00 | 15000.00 | 30000.00 | 15000.00 | 30000.00 | 13000.00 | 26000.00 | 5000.00 | 10000.00 | 12000.00 | 24000.00 | 9000.00 | 18000.00 | 15000.00 | 30000.00 | 2000.00 | 4000.00 | 10000.00 | 20000.00 | 4000.00 | Techno Electricals
18.00 | Repairing / Rewinding of burnt 30.0 H.P. pump motor/ pump implers /shaft etc.complete as required. | 2.00 | Job | 10.00 | 25000.00 | 50000.00 | 30000.00 | 60000.00 | 20000.00 | 40000.00 | 7500.00 | 15000.00 | 16000.00 | 32000.00 | 15000.00 | 30000.00 | 22500.00 | 45000.00 | 4000.00 | 8000.00 | 10000.00 | 20000.00 | 8000.00 | Techno Electricals
19.00 | Repairing of Desert cooler including change of grass pad, capacitors, fan motor, water pump etc complete as required. | 30.00 | Job | 100.00 | 1800.00 | 54000.00 | 2000.00 | 60000.00 | 2000.00 | 60000.00 | 400.00 | 12000.00 | 750.00 | 22500.00 | 200.00 | 6000.00 | 1650.00 | 49500.00 | 2000.00 | 60000.00 | 500.00 | 15000.00 | 6000.00 | Manish Electricals
20.00 | Reparing and maintenance and servicing of CCR of NASU make upto 7.5 KW by service engineer of OEM or specialized agency only. | 8.00 | Job | 100.00 | 1500.00 | 12000.00 | 17500.00 | 140000.00 | 13000.00 | 104000.00 | 8500.00 | 68000.00 | 3000.00 | 24000.00 | 4000.00 | 32000.00 | 5000.00 | 40000.00 | 4525.00 | 36200.00 | 1800.00 | 14400.00 | 12000.00 | Sew Engineering Works Pvt Ltd
21.00 | Reparing and maintenance and servicing of invertor capacity upto 5 KVA by service engineer of OEM or specialized agency only. | 24.00 | Job | 100.00 | 3500.00 | 84000.00 | 4000.00 | 96000.00 | 10000.00 | 240000.00 | 450.00 | 10800.00 | 1400.00 | 33600.00 | 1500.00 | 36000.00 | 2000.00 | 48000.00 | 1500.00 | 36000.00 | 300.00 | 7200.00 | 7200.00 | ANAND AND COMPANTY
22.00 | Repairing of drivers of LED lights fixture/ apron/taxi signages etc. complete as required. | 30.00 | Job | 10.00 | 700.00 | 21000.00 | 950.00 | 28500.00 | 2500.00 | 75000.00 | 1000.00 | 30000.00 | 450.00 | 13500.00 | 600.00 | 18000.00 | 1200.00 | 36000.00 | 545.00 | 16350.00 | 700.00 | 21000.00 | 13500.00 | M/s CGPL ELECTROMECH PVT LTD
23.00 | Painting of street light poles and peritmeter road light poles etc. as required. | 150.00 | Job | 100.00 | 150.00 | 22500.00 | 250.00 | 37500.00 | 700.00 | 105000.00 | 300.00 | 45000.00 | 450.00 | 67500.00 | 100.00 | 15000.00 | 725.00 | 108750.00 | 250.00 | 37500.00 | 400.00 | 60000.00 | 15000.00 | Manish Electricals
24.00 | Painting of Feeder pilar/LT panels etc. as required | 10.00 | Job | 100.00 | 500.00 | 5000.00 | 3500.00 | 35000.00 | 2000.00 | 20000.00 | 300.00 | 3000.00 | 600.00 | 6000.00 | 500.00 | 5000.00 | 1150.00 | 11500.00 | 1500.00 | 15000.00 | 1000.00 | 10000.00 | 3000.00 | S. N ELECTRICALS
25.00 | DSR-2018 Item for Rs. 2,00,000/- [NOTE: The rate may be quoted in the following manner- (i) If quoted Rate is Rs. 1,80,000/- then the Percentage will considered as 10% below DSR 2018. (ii) If quoted Rate is Rs. 2,00,000/- then Percentage will considered as 0% above /below DSR 2018. (iii) If quoted Rate is Rs. 2,20,000/- then Percentage will considered as 10% above DSR 2018. PLEASE NOTE THAT THE ITEMS SHALL BE EXECUTED FROM DSR-2018 RATE AT THE ABOVE QUOTED PERCENTAGE AS PER SITE REQUIREMENT. | 1.00 | Job | 100.00 | 180000.00 | 180000.00 | 180000.00 | 180000.00 | 200000.00 | 200000.00 | 180000.00 | 180000.00 | 155000.00 | 155000.00 | 160000.00 | 160000.00 | 200000.00 | 200000.00 | 165000.00 | 165000.00 | 100000.00 | 100000.00 | 100000.00 | ANAND AND COMPANTY
26.00 | Signages item as and when required as per attached list of items Aneexure- A- 1 for Rs. 4,00,000/- [NOTE: The rate may be quoted in the following manner- (i) If quoted Rate is Rs. 3,40,000/- then the Percentage will considered as 15% below Aneexure- A- 1. (ii) If quoted Rate is Rs. 4,00,000/- then Percentage will considered as 0% above /below Aneexure- A- 1. (iii) If quoted Rate is Rs. 4,60,000/- then Percentage will considered as 15% above Aneexure- A- 1. PLEASE NOTE THAT THE ITEMS SHALL BE EXECUTED FROM ANNEXURE- A- 1 RATE AT THE ABOVE QUOTED PERCENTAGE AS PER SITE REQUIREMENT. | 1.00 | Job | 100.00 | 360000.00 | 360000.00 | 400000.00 | 400000.00 | 380000.00 | 380000.00 | 300000.00 | 300000.00 | 300000.00 | 300000.00 | 300000.00 | 300000.00 | 400000.00 | 400000.00 | 340000.00 | 340000.00 | 300000.00 | 300000.00 | 300000.00 | ANAND AND COMPANTY, S. N ELECTRICALS, M/s CGPL ELECTROMECH PVT LTD, Manish Electricals
| Total in Figures |  |  |  |  | 17549068.00 |  | 16241976.00 |  | 16581116.00 |  | 15848878.00 |  | 12809080.00 |  | 15492540.00 |  | 16160003.20 |  | 16691386.00 |  | 15778150.00
Lowest Amount Quoted BY: M/s CGPL ELECTROMECH PVT LTD(12809080.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of various Electrical and Mechanical installations of Terminal building, CISF Barrack, DOG Kennal at Chandigarh International Airport Limited, Mohali (2020-21 and 2021-22). Tender ID: 2020_AAI_54423_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s CGPL ELECTROMECH PVT LTD | 12809080.00 | L1
| 2 | Manish Electricals | 15492540.00 | L2
| 3 | ANAND AND COMPANTY | 15778150.00 | L3
| 4 | S. N ELECTRICALS | 15848878.00 | L4
| 5 | SHRADDHA ENGINEERING AND FACILITY SERVICES | 16160003.20 | L5
| 6 | SRS ENGINEERS | 16241976.00 | L6
| 7 | NATIONAL SAFETY ENGINEERS | 16581116.00 | L7
| 8 | Techno Electricals | 16691386.00 | L8
| 9 | Sew Engineering Works Pvt Ltd | 17549068.00 | L9