## BoQ1
Government eProcurement System Created By: Pramod Soni Created Date/Time: 16-Sep-2020 04:30 PM Tender Title: Proposal for Design, Supply, Installation, Testing and Commissioning of AOP Ultra Voilet Germicidal Irradiation UVGI unit in existing AHUs at S V Airport, Raipur Tender ID: 2020_AAI_54448_1
Tender Inviting Authority: Sr. Manager (E-E), Airports Authority of India, S.V. Airport, Raipur
Name of Work: Proposal for Design, Supply, Installation, Testing and Commissioning of AOP - Ultra Voilet Germicidal Irradiation (UVGI) unit in existing AHUs at S. V. Airport, Raipur.
Contract No: 2020_AAI_54448
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Anzen Projects Private Limited(GSTN-06AANCA5052C1ZZ) |  | Ensavior Technologies Private Limited(GSTN-NA) |  | Elite Air Techniques Pvt Ltd(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Detail Design, Supply, Installation, testing and Commissioning of Ultra Voilet Germicidal Irradiation (UVGI) in existing Air Handling Units (AHUs) with out affecting cubic feet per minute flow (CFM). Job includes complete design & submission of reports with adapting Advanced Oxidation Plasma (AOP) Cell and Ultra Violet Germicidal Irradiation technology, generating ultra violet rays and hydroxil ions to prevent airborne decease transmission by infectious agents which may involves droplets by sneezing or coughing or are otherwise distributed into the air, the details of AHUs, Specifications with quantity of AOP cell units and Specifications with quantity of UVGIs are placed in tender documents (Total AHU 33 Nos.) including providing necessary modification, installtion, testing & commissioning of AOP-UVGI units (with 5 meter 3 core suitable size copper flexible cable for each unit) inside the AHUs/AHU planum/HVAC duct with the provision of control panel comprising of Electronic Ballast with high power factor of > 0.90, Run hour meter, Mains on indicator lamp, MCB or Disconnect Switch, indicator lamp for each UV lamp, complete etc as required. (Similar to Ensavior/ Aeropure, Myaire/ UVDI/ Honeywell/York / Philips / Sukrut / Alfaa UV or equivallent for UVGI & for AOP cell ultra fresh, air exchange solutions, elite air techniques,Ensavior, RGF, Myaire, Streilaire or equivallent *with no ozone forming certification for UV lamps and all electronics components used shall be UL listed, meeting the technical parameters mentioned in the tender documents and with prior approval of the Engineer-In-Charge.) | 1.00 | Job | 155760.00 | 2132500.00 | 2132500.00 | 1852000.00 | 1852000.00 | 2206771.00 | 2206771.00 | 1852000.00 | Ensavior Technologies Private Limited
2.00 | Supply & laying following sizes Copper Armoured conductor XLPE insulated, PVC tape inner sheathed Cable for working voltage 1.1 KV grade & as per IS: 7098 (Part- I ) 1988 with up to date ammendments, complete etc as required. 3 core X 2.5 Sqmm. | 300.00 | Meter | 1.00 | 120.00 | 36000.00 | 100.00 | 30000.00 | 100.00 | 30000.00 | 30000.00 | Elite Air Techniques Pvt Ltd, Ensavior Technologies Private Limited
3.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. DSR 1.31 | 33.00 | Job | 610.00 | 500.00 | 16500.00 | 321.00 | 10593.00 | 32.00 | 1056.00 | 1056.00 | Elite Air Techniques Pvt Ltd
4.00 | Supplying and fixing 6A, thee pin top on existing flexible wire. Havells Athena Plugs Top or equivallent. | 33.00 | Job | 1000.00 | 200.00 | 6600.00 | 90.00 | 2970.00 | 91.00 | 3003.00 | 2970.00 | Ensavior Technologies Private Limited
5.00 | Submission of air quality report from NABL certified lab with testing as per SS 554 (with upto date ammendment or equivallent) complete etc as required. Testing shall be done by collection of Plate sampling method for total microbial count in CFU/M3 in 8 hours, 12 sample in one day. (SGS Envoirmental Services, Kolkata or any certified lab.) | 1.00 | Job | 823.00 | 100000.00 | 100000.00 | 150000.00 | 150000.00 | 50000.00 | 50000.00 | 50000.00 | Elite Air Techniques Pvt Ltd
| Total in Figures |  |  |  |  | 2291600.00 |  | 2045563.00 |  | 2290830.00
Lowest Amount Quoted BY: Ensavior Technologies Private Limited(2045563.00)

## BOQ Summary
BOQ Summary Details Tender Title: Proposal for Design, Supply, Installation, Testing and Commissioning of AOP Ultra Voilet Germicidal Irradiation UVGI unit in existing AHUs at S V Airport, Raipur Tender ID: 2020_AAI_54448_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Ensavior Technologies Private Limited | 2045563.00 | L1
| 2 | Elite Air Techniques Pvt Ltd | 2290830.00 | L2
| 3 | Anzen Projects Private Limited | 2291600.00 | L3