## BoQ1
Government eProcurement System Created By: PRASHANT FULMARE Created Date/Time: 26-Aug-2020 04:12 PM Tender Title: ARMO 2020-21. SH Procurement of GLF Spares for Day-to-day Maintenance at S V Airport Raipur Tender ID: 2020_AAI_54498_1
Tender Inviting Authority: Asst. Gen. Manager (E-E), Airports Authority of India, S.V. Airport, Raipur
Name of Work: ARMO 2020-21. SH:-Procurement of GLF Spares for Day-to-day Maintenance at S.V. Airport, Raipur.
Contract No: 2020_AAI_54498
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHREE NURSING TIMBER AND ELECTRIC STORES(GSTN-19AEPPM5719K1ZS) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | electromach sales agencies(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following spares suitable for NASU make CCRs:
2.00 | For Conventional CCRs:
3.00 | Main Control Card (30kW,7.5kW,4kW) | 1.00 | Each | 36360.00 | 44800.00 | 44800.00 | 45000.00 | 45000.00 | 20000.00 | 20000.00 | 20000.00 | electromach sales agencies
4.00 | Power Supply & Drive Card (30kW,7.5kW,4kW) | 1.00 | Each | 11363.00 | 14000.00 | 14000.00 | 15000.00 | 15000.00 | 10000.00 | 10000.00 | 10000.00 | electromach sales agencies
5.00 | For Microprocessor based CCRs:
6.00 | Main Control Card (30kW, 4kW) | 1.00 | Each | 59085.00 | 72800.00 | 72800.00 | 70000.00 | 70000.00 | 55000.00 | 55000.00 | 55000.00 | electromach sales agencies
7.00 | Power Supply & Drive Card (30kW, 4kW) | 1.00 | Each | 16362.00 | 22400.00 | 22400.00 | 23000.00 | 23000.00 | 15000.00 | 15000.00 | 15000.00 | electromach sales agencies
8.00 | Digital Multifunctional Control Switch Module (30kW, 4kW). | 1.00 | Each | 22725.00 | 28000.00 | 28000.00 | 28000.00 | 28000.00 | 2000.00 | 2000.00 | 2000.00 | electromach sales agencies
9.00 | 2 Pole 8 Way Brilliancy switch (Rotary wafer, MBB type). | 2.00 | Each | 1636.00 | 3360.00 | 6720.00 | 3000.00 | 6000.00 | 900.00 | 1800.00 | 1800.00 | electromach sales agencies
10.00 | Lightning Arrestor of 4.5kV Grade, 5kA. | 2.00 | Each | 3182.00 | 1680.00 | 3360.00 | 9000.00 | 18000.00 | 1800.00 | 3600.00 | 3360.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
11.00 | Following Filters/Glass suitable for AMA Make, Runway Edge Light Fittings:
12.00 | 180° Filter (Inner) - Yellow | 10.00 | Each | 1970.00 | 1400.00 | 14000.00 | 2200.00 | 22000.00 | 2000.00 | 20000.00 | 14000.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
13.00 | 180° Filter (Inner) - White | 10.00 | Each | 1939.00 | 1400.00 | 14000.00 | 2200.00 | 22000.00 | 2000.00 | 20000.00 | 14000.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
14.00 | 180° Filter (Inner) - Red | 8.00 | Each | 1970.00 | 1400.00 | 11200.00 | 2200.00 | 17600.00 | 2000.00 | 16000.00 | 11200.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
15.00 | 360˚ Glass (Outer) - White | 15.00 | Each | 2561.00 | 1960.00 | 29400.00 | 2500.00 | 37500.00 | 2000.00 | 30000.00 | 29400.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
16.00 | Breakable Coupling suitable for ADB make Taxiway LED edge light fittings. | 5.00 | Each | 750.00 | 672.00 | 3360.00 | 600.00 | 3000.00 | 600.00 | 3000.00 | 3000.00 | electromach sales agencies, Manish Electricals
17.00 | LED Sinages Board Converter current Rating 2.8A-6.6A, 80W. | 5.00 | Each | 6181.00 | 4760.00 | 23800.00 | 4500.00 | 22500.00 | 4500.00 | 22500.00 | 22500.00 | electromach sales agencies, Manish Electricals
18.00 | LED type 0.5 to 15W pre-focus Blue lamp with Heat sink Base (Suitable for AMA make Taxiway Light fitting). | 10.00 | Each | 2273.00 | 2240.00 | 22400.00 | 1000.00 | 10000.00 | 1700.00 | 17000.00 | 10000.00 | Manish Electricals
19.00 | Neoprene Gasket for Base plate of Runway/Taxiway edge light fittings. | 15.00 | Each | 305.00 | 140.00 | 2100.00 | 260.00 | 3900.00 | 290.00 | 4350.00 | 2100.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
20.00 | Straight through Joint with cast resin compound suitable for:
21.00 | 1C x 6 Sqmm, 5kV grade Copper cable | 4.00 | Set | 1364.00 | 3006.00 | 12024.00 | 600.00 | 2400.00 | 850.00 | 3400.00 | 2400.00 | Manish Electricals
22.00 | 1C x 16 Sqmm, 5kV grade Copper cable | 4.00 | Set | 1454.00 | 3006.00 | 12024.00 | 750.00 | 3000.00 | 850.00 | 3400.00 | 3000.00 | Manish Electricals
23.00 | DIN Type HRC fuse Links of the following ratings:
24.00 | 160A (Make: Siemen, Model:3NA78360RC or equivalent) | 2.00 | Each | 532.00 | 294.00 | 588.00 | 7000.00 | 14000.00 | 900.00 | 1800.00 | 588.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
25.00 | 63A (Make: Siemen, Model:3NA78220RC or equivalent) | 1.00 | Each | 386.00 | 214.00 | 214.00 | 3000.00 | 3000.00 | 900.00 | 900.00 | 214.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
26.00 | 32A (Make: Siemen, Model:3NA78120RC or equivalent) | 2.00 | Each | 327.00 | 181.00 | 362.00 | 1200.00 | 2400.00 | 600.00 | 1200.00 | 362.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
27.00 | 20A (Make: Siemen, Model:3NA78070RC or equivalent) | 2.00 | Each | 327.00 | 181.00 | 362.00 | 900.00 | 1800.00 | 500.00 | 1000.00 | 362.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
28.00 | LV HRC Fuse Link bases suitable for Rated current of 160A, Single Pole (Make: Siemen, Size-000/00, Model: 3NA78 or equivalent). | 6.00 | Each | 418.00 | 294.00 | 1764.00 | 500.00 | 3000.00 | 600.00 | 3600.00 | 1764.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
29.00 | 3-Pole Power Contactor AC-3 Duty of following Ratings:
30.00 | 110A (Make: Siemen, Model: 3TF50) | 1.00 | Each | 3191.00 | 10087.00 | 10087.00 | 15000.00 | 15000.00 | 13500.00 | 13500.00 | 10087.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
31.00 | 45A (Make: Siemen, Model: 3TF46) | 1.00 | Each | 1741.00 | 3863.00 | 3863.00 | 6000.00 | 6000.00 | 6300.00 | 6300.00 | 3863.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
32.00 | 32A (Make: Siemen, Model: 3TF34) | 2.00 | Each | 495.00 | 1877.00 | 3754.00 | 3000.00 | 6000.00 | 3000.00 | 6000.00 | 3754.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
33.00 | Supply of following sizes of XLPE insulated and PVC sheathed aluminium conductor, armoured cable of 1.1kV grade conforming to IS 7098 (Part-I) with up to date amendments as required.
34.00 | 3.5C x 185 Sq.mm | 500.00 | Mtrs. | 624.00 | 553.00 | 276500.00 | 650.00 | 325000.00 | 685.00 | 342500.00 | 276500.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
35.00 | Supply of 2Cx2.5 Sq.mm PVC insulated and PVC sheathed copper conductor flexible cable of voltage grade - 650 volt to be used as secondary lead for runway inset light fittings. | 200.00 | Mtrs. | 80.00 | 36.00 | 7200.00 | 130.00 | 26000.00 | 49.00 | 9800.00 | 7200.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
36.00 | Analog Timer Switch 240V AC Base/DIN Mounting of L&T GIC J648B1 FM/1 Quartz Daily or equivalent . | 4.00 | Each | 2004.00 | 1508.00 | 6032.00 | 2500.00 | 10000.00 | 1800.00 | 7200.00 | 6032.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
37.00 | Supply of following colour surface mounted-type low power consumption LED Indication lamps suitable for 240V AC power supply as required.
38.00 | Red/ Yellow/Green (10 No.s Each) | 40.00 | Each | 111.00 | 76.00 | 3040.00 | 120.00 | 4800.00 | 100.00 | 4000.00 | 3040.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
39.00 | Blue | 20.00 | Each | 189.00 | 131.00 | 2620.00 | 120.00 | 2400.00 | 100.00 | 2000.00 | 2000.00 | electromach sales agencies
40.00 | 10A Auxiliary Contactor (Control Relays) 4-Pole AC, 2NO+2NC (Make:L &T, Model: MX0 22E, Cat. No.- CS94020) | 5.00 | Each | 918.00 | 712.00 | 3560.00 | 2200.00 | 11000.00 | 975.00 | 4875.00 | 3560.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
41.00 | Digital Single Function Meters having Accuracy Class 1.0 with Flush Mounting 96 x 96 mm and Site programmable etc. complete as required (Make & Model: L&T WL 1XXX series).
42.00 | 3Ph Ammeter 5A, Class 1.0 | 4.00 | Each | 1236.00 | 818.00 | 3272.00 | 1500.00 | 6000.00 | 900.00 | 3600.00 | 3272.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
43.00 | 3Ph Voltmeter Class 1.0 | 4.00 | Each | 1236.00 | 818.00 | 3272.00 | 1500.00 | 6000.00 | 900.00 | 3600.00 | 3272.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
| Total in Figures |  |  |  |  | 662878.00 |  | 791300.00 |  | 658925.00
Lowest Amount Quoted BY: electromach sales agencies(658925.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO 2020-21. SH Procurement of GLF Spares for Day-to-day Maintenance at S V Airport Raipur Tender ID: 2020_AAI_54498_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | electromach sales agencies | 658925.00 | L1
| 2 | SHREE NURSING TIMBER AND ELECTRIC STORES | 662878.00 | L2
| 3 | Manish Electricals | 791300.00 | L3