## BoQ1
Government eProcurement System Created By: SOLOMON PRABHAKAR Created Date/Time: 14-Sep-2020 05:15 PM Tender Title: ARMO Works during 2020-21 SH Provision of UVGI system in various AHUs for HVAC system at NITB Madurai Airport Tender ID: 2020_AAI_54514_1
Tender Inviting Authority: AIRPORTS AUTHORITY OF INDIA
Name of Work: ARMO Works of E&M Installations at Madurai Airport during 2020-21. SH: Provision of UVGI system in various AHUs for HVAC system at NITB, Madurai Airport
Contract No: 2020_AAI_54514_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VOLTAS LIMITED(GSTN-33AAACV2809DIZT) |  | GENIUS AIRCON PRIVATE LIMITED(GSTN-33AAECG9150C1ZY) |  | TRAC FUJICO AIR SYSTEMS LLP(GSTN-33AAHFT3672J1ZY) |  | LG ELECTRONICS INDIA PVT LTD(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing and Commissioning of UVGI (Ultra Viloet Germicidal Irradiation) system for existing AHU's comprising of all necessary accessories i.e UV lamps, aluminium reflectors, electronic ballast, aluminium extruded stand for lamp housing, control panel, necessary cabling, wiring, MCBs, limit switches and any other accessories to make the complete system fully operational as mentioned in the tender specifications and as per site requirement in the following AHU's as per coil details given in the tender specifications. a) AHU (GR-AB-02-(E-120)-1-RH) (5000 CFM) | 1.00 | Job |  | 63510.00 | 63510.00 | 40870.00 | 40870.00 | 53801.00 | 53801.00 | 19905.00 | 19905.00 | 19905.00 | LG ELECTRONICS INDIA PVT LTD
2.00 | Supply, Installation, Testing and Commissioning of UVGI (Ultra Viloet Germicidal Irradiation) system for existing AHU's comprising of all necessary accessories i.e UV lamps, aluminium reflectors, electronic ballast, aluminium extruded stand for lamp housing, control panel, necessary cabling, wiring, MCBs, limit switches and any other accessories to make the complete system fully operational as mentioned in the tender specifications and as per site requirement in the following AHU's as per coil details given in the tender specifications. b) AHU (GR-AB-01-(E-120)-1-RH) (6000 CFM) | 1.00 | Job |  | 64160.00 | 64160.00 | 48190.00 | 48190.00 | 55024.00 | 55024.00 | 23900.00 | 23900.00 | 23900.00 | LG ELECTRONICS INDIA PVT LTD
3.00 | Supply, Installation, Testing and Commissioning of UVGI (Ultra Viloet Germicidal Irradiation) system for existing AHU's comprising of all necessary accessories i.e UV lamps, aluminium reflectors, electronic ballast, aluminium extruded stand for lamp housing, control panel, necessary cabling, wiring, MCBs, limit switches and any other accessories to make the complete system fully operational as mentioned in the tender specifications and as per site requirement in the following AHU's as per coil details given in the tender specifications. c) AHU (GR-04-FF-08-(E-200) (9000 CFM) | 2.00 | Job |  | 64160.00 | 128320.00 | 70150.00 | 140300.00 | 77203.00 | 154406.00 | 35850.00 | 71700.00 | 71700.00 | LG ELECTRONICS INDIA PVT LTD
4.00 | Supply, Installation, Testing and Commissioning of UVGI (Ultra Viloet Germicidal Irradiation) system for existing AHU's comprising of all necessary accessories i.e UV lamps, aluminium reflectors, electronic ballast, aluminium extruded stand for lamp housing, control panel, necessary cabling, wiring, MCBs, limit switches and any other accessories to make the complete system fully operational as mentioned in the tender specifications and as per site requirement in the following AHU's as per coil details given in the tender specifications. d) AHU (FF-04-(E-250)-1LH) (12000 CFM) | 1.00 | Job |  | 65790.00 | 65790.00 | 77470.00 | 77470.00 | 75192.00 | 75192.00 | 47800.00 | 47800.00 | 47800.00 | LG ELECTRONICS INDIA PVT LTD
5.00 | Supply, Installation, Testing and Commissioning of UVGI (Ultra Viloet Germicidal Irradiation) system for existing AHU's comprising of all necessary accessories i.e UV lamps, aluminium reflectors, electronic ballast, aluminium extruded stand for lamp housing, control panel, necessary cabling, wiring, MCBs, limit switches and any other accessories to make the complete system fully operational as mentioned in the tender specifications and as per site requirement in the following AHU's as per coil details given in the tender specifications. e) AHU (GR-02-FF-05-(E-300)-1-RH) (14000 CFM) | 1.00 | Job |  | 65790.00 | 65790.00 | 89670.00 | 89670.00 | 86396.00 | 86396.00 | 55770.00 | 55770.00 | 55770.00 | LG ELECTRONICS INDIA PVT LTD
6.00 | Supply, Installation, Testing and Commissioning of UVGI (Ultra Viloet Germicidal Irradiation) system for existing AHU's comprising of all necessary accessories i.e UV lamps, aluminium reflectors, electronic ballast, aluminium extruded stand for lamp housing, control panel, necessary cabling, wiring, MCBs, limit switches and any other accessories to make the complete system fully operational as mentioned in the tender specifications and as per site requirement in the following AHU's as per coil details given in the tender specifications. f) AHU (GR-02-FF-05-(E-300)-1-LH) (14000 CFM) | 1.00 | Job |  | 65790.00 | 65790.00 | 89670.00 | 89670.00 | 86396.00 | 86396.00 | 55770.00 | 55770.00 | 55770.00 | LG ELECTRONICS INDIA PVT LTD
7.00 | Supply, Installation, Testing and Commissioning of UVGI (Ultra Viloet Germicidal Irradiation) system for existing AHU's comprising of all necessary accessories i.e UV lamps, aluminium reflectors, electronic ballast, aluminium extruded stand for lamp housing, control panel, necessary cabling, wiring, MCBs, limit switches and any other accessories to make the complete system fully operational as mentioned in the tender specifications and as per site requirement in the following AHU's as per coil details given in the tender specifications. g) AHU (GR-03-08-09(3-RH)-(E-300) (15000 CFM) | 3.00 | Job |  | 65790.00 | 197370.00 | 95770.00 | 287310.00 | 91998.00 | 275994.00 | 59750.00 | 179250.00 | 179250.00 | LG ELECTRONICS INDIA PVT LTD
8.00 | Supply, Installation, Testing and Commissioning of UVGI (Ultra Viloet Germicidal Irradiation) system for existing AHU's comprising of all necessary accessories i.e UV lamps, aluminium reflectors, electronic ballast, aluminium extruded stand for lamp housing, control panel, necessary cabling, wiring, MCBs, limit switches and any other accessories to make the complete system fully operational as mentioned in the tender specifications and as per site requirement in the following AHU's as per coil details given in the tender specifications. h) AHU (GR-11-12-(2-LH)-(E-300) (15000 CFM) | 2.00 | Job |  | 65790.00 | 131580.00 | 95770.00 | 191540.00 | 91998.00 | 183996.00 | 59750.00 | 119500.00 | 119500.00 | LG ELECTRONICS INDIA PVT LTD
9.00 | Supply, Installation, Testing and Commissioning of UVGI (Ultra Viloet Germicidal Irradiation) system for existing AHU's comprising of all necessary accessories i.e UV lamps, aluminium reflectors, electronic ballast, aluminium extruded stand for lamp housing, control panel, necessary cabling, wiring, MCBs, limit switches and any other accessories to make the complete system fully operational as mentioned in the tender specifications and as per site requirement in the following AHU's as per coil details given in the tender specifications. i) AHU (FF-03) (16000 CFM) | 1.00 | Job |  | 102620.00 | 102620.00 | 82350.00 | 82350.00 | 97600.00 | 97600.00 | 63700.00 | 63700.00 | 63700.00 | LG ELECTRONICS INDIA PVT LTD
10.00 | Supply, Installation, Testing and Commissioning of UVGI (Ultra Viloet Germicidal Irradiation) system for existing AHU's comprising of all necessary accessories i.e UV lamps, aluminium reflectors, electronic ballast, aluminium extruded stand for lamp housing, control panel, necessary cabling, wiring, MCBs, limit switches and any other accessories to make the complete system fully operational as mentioned in the tender specifications and as per site requirement in the following AHU's as per coil details given in the tender specifications. j) AHU (GR-05-(E-400)-(1-LH) (18000 CFM) | 1.00 | Job |  | 103270.00 | 103270.00 | 92110.00 | 92110.00 | 108806.00 | 108806.00 | 71700.00 | 71700.00 | 71700.00 | LG ELECTRONICS INDIA PVT LTD
11.00 | Supply, Installation, Testing and Commissioning of UVGI (Ultra Viloet Germicidal Irradiation) system for existing AHU's comprising of all necessary accessories i.e UV lamps, aluminium reflectors, electronic ballast, aluminium extruded stand for lamp housing, control panel, necessary cabling, wiring, MCBs, limit switches and any other accessories to make the complete system fully operational as mentioned in the tender specifications and as per site requirement in the following AHU's as per coil details given in the tender specifications. k) AHU (FF-01-02-07(3-RH)-(E-400) (20000 CFM) | 3.00 | Job |  | 104240.00 | 312720.00 | 101870.00 | 305610.00 | 120010.00 | 360030.00 | 79600.00 | 238800.00 | 238800.00 | LG ELECTRONICS INDIA PVT LTD
12.00 | Supply, Installation, Testing and Commissioning of UVGI (Ultra Viloet Germicidal Irradiation) system for existing AHU's comprising of all necessary accessories i.e UV lamps, aluminium reflectors, electronic ballast, aluminium extruded stand for lamp housing, control panel, necessary cabling, wiring, MCBs, limit switches and any other accessories to make the complete system fully operational as mentioned in the tender specifications and as per site requirement in the following AHU's as per coil details given in the tender specifications. l) AHU (FF-06-(E-400) (20000 CFM) | 1.00 | Job |  | 104240.00 | 104240.00 | 101870.00 | 101870.00 | 120010.00 | 120010.00 | 79600.00 | 79600.00 | 79600.00 | LG ELECTRONICS INDIA PVT LTD
13.00 | Supply, Installation, Testing and Commissioning of UVGI (Ultra Viloet Germicidal Irradiation) system for existing AHU's comprising of all necessary accessories i.e UV lamps, aluminium reflectors, electronic ballast, aluminium extruded stand for lamp housing, control panel, necessary cabling, wiring, MCBs, limit switches and any other accessories to make the complete system fully operational as mentioned in the tender specifications and as per site requirement in the following AHU's as per coil details given in the tender specifications. m) AHU (GR-10-(E-500)-(1-LH) (22500 CFM) | 1.00 | Job |  | 104240.00 | 104240.00 | 114070.00 | 114070.00 | 134015.00 | 134015.00 | 90000.00 | 90000.00 | 90000.00 | LG ELECTRONICS INDIA PVT LTD
14.00 | Supply, Installation, Testing and Commissioning of UVGI (Ultra Viloet Germicidal Irradiation) system for existing AHU's comprising of all necessary accessories i.e UV lamps, aluminium reflectors, electronic ballast, aluminium extruded stand for lamp housing, control panel, necessary cabling, wiring, MCBs, limit switches and any other accessories to make the complete system fully operational as mentioned in the tender specifications and as per site requirement in the following AHU's as per coil details given in the tender specifications. n ) AHU (GR-01-06(E-600)-(2-LH) (30000 CFM) | 2.00 | Job |  | 177900.00 | 355800.00 | 150670.00 | 301340.00 | 176032.00 | 352064.00 | 119000.00 | 238000.00 | 238000.00 | LG ELECTRONICS INDIA PVT LTD
15.00 | Supply, Installation, Testing and Commissioning of UVGI (Ultra Viloet Germicidal Irradiation) system for existing AHU's comprising of all necessary accessories i.e UV lamps, aluminium reflectors, electronic ballast, aluminium extruded stand for lamp housing, control panel, necessary cabling, wiring, MCBs, limit switches and any other accessories to make the complete system fully operational as mentioned in the tender specifications and as per site requirement in the following AHU's as per coil details given in the tender specifications. o) AHU (GR-07-(E-600)-(1-RH) (30000 CFM) | 1.00 | Job |  | 179200.00 | 179200.00 | 150670.00 | 150670.00 | 176032.00 | 176032.00 | 119000.00 | 119000.00 | 119000.00 | LG ELECTRONICS INDIA PVT LTD
16.00 | Supply, Installation, Testing and Commissioning of UVGI (Ultra Viloet Germicidal Irradiation) system for existing AHU's comprising of all necessary accessories i.e UV lamps, aluminium reflectors, electronic ballast, aluminium extruded stand for lamp housing, control panel, necessary cabling, wiring, MCBs, limit switches and any other accessories to make the complete system fully operational as mentioned in the tender specifications and as per site requirement in the following AHU's as per coil details given in the tender specifications. p) AHU (At Aerobridge) (6000 CFM) | 1.00 | Job |  | 66110.00 | 66110.00 | 48190.00 | 48190.00 | 55024.00 | 55024.00 | 23900.00 | 23900.00 | 23900.00 | LG ELECTRONICS INDIA PVT LTD
17.00 | Supply, Installation, Testing and Commissioning of UVGI (Ultra Viloet Germicidal Irradiation) system for existing AHU's comprising of all necessary accessories i.e UV lamps, aluminium reflectors, electronic ballast, aluminium extruded stand for lamp housing, control panel, necessary cabling, wiring, MCBs, limit switches and any other accessories to make the complete system fully operational as mentioned in the tender specifications and as per site requirement in the following AHU's as per coil details given in the tender specifications. q) AHU (At Dom. SHA) (13000 CFM) | 1.00 | Job |  | 65790.00 | 65790.00 | 83570.00 | 83570.00 | 80794.00 | 80794.00 | 51790.00 | 51790.00 | 51790.00 | LG ELECTRONICS INDIA PVT LTD
18.00 | Supply of Industrial type wall mounted air circulator of 450mm sweep size (Air delivery not less than 140 M³/min) with dynamically balanced metal/aluminium alloy blades, heavy duty motor, double ball bearing, vertical tilting facility, powder cord (standard length) with 5/6A plug top etc. suitable for operation on 230V, 50Hz, AC supply complete as required as per technical specifications. (Make: Almonard, Model: Tempest or Equivalent) | 20.00 | Each |  | 5410.00 | 108200.00 | 11500.00 | 230000.00 | 8985.00 | 179700.00 | 8570.00 | 171400.00 | 108200.00 | VOLTAS LIMITED
19.00 | Supply of Industrial type floor mounted adjustable height air circulator of 450mm sweep size (Air delivery not less than 140 M³/min) with dynamically balanced metal/aluminium alloy blades, heavy duty motor, double ball bearing, powder cord (standard length) with 5/6A plug top etc. suitable for operation on 230V, 50Hz, AC supply complete as required as per technical specifications. (Make: Almonard, Model: Tempest or Equivalent) | 10.00 | Each |  | 5960.00 | 59600.00 | 11670.00 | 116700.00 | 8667.00 | 86670.00 | 8570.00 | 85700.00 | 59600.00 | VOLTAS LIMITED
20.00 | Supply of 3C X 2.5 Sq.mm annealed bare copper conductor, PVC insulated and PVC sheathed multicore round flexible power cable for voltage grade up to 1100V as per IS 694 and its amendments up to date etc. for complete as required. | 400.00 | Mtr |  | 100.00 | 40000.00 | 240.00 | 96000.00 | 287.00 | 114800.00 | 160.00 | 64000.00 | 40000.00 | VOLTAS LIMITED
21.00 | Laying of 3C X 2.5 Sq.mm annealed bare copper conductor, PVC insulated and PVC sheathed multicore round flexible power cable in existing cable tray/MS conduit pipe/recess/false ceiling/surface etc. complete as required. | 400.00 | Mtr |  | 70.00 | 28000.00 | 240.00 | 96000.00 | 219.00 | 87600.00 | 72.00 | 28800.00 | 28000.00 | VOLTAS LIMITED
22.00 | Supply of suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 1 Nos. of 6 pin 6/16 amps or 5/15 amps modular socket outlet and 6/10 amps modular switch, connection, if necessary suitable blanking plate should be provided etc. as required. | 30.00 | Each |  | 1170.00 | 35100.00 | 950.00 | 28500.00 | 1894.00 | 56820.00 | 436.00 | 13080.00 | 13080.00 | LG ELECTRONICS INDIA PVT LTD
| Total in Figures |  |  |  |  | 2447200.00 |  | 2812000.00 |  | 2981170.00 |  | 1913065.00
Lowest Amount Quoted BY: LG ELECTRONICS INDIA PVT LTD(1913065.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO Works during 2020-21 SH Provision of UVGI system in various AHUs for HVAC system at NITB Madurai Airport Tender ID: 2020_AAI_54514_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | LG ELECTRONICS INDIA PVT LTD | 1913065.00 | L1
| 2 | VOLTAS LIMITED | 2447200.00 | L2
| 3 | GENIUS AIRCON PRIVATE LIMITED | 2812000.00 | L3
| 4 | TRAC FUJICO AIR SYSTEMS LLP | 2981170.00 | L4