## BoQ1
Government eProcurement System Created By: Nirad Patra Created Date/Time: 02-Sep-2020 03:44 PM Tender Title: SITC of ASMGCS at B P I Airport Bhubaneswar SH Electrical Works Tender ID: 2020_AAI_54522_1
Tender Inviting Authority: Asst. General Manager Engg (E)-II, Airports Authority of India, B.P.I.Airport, Bhubaneswar.
Name of Work: SITC of ASMGCS at B.P.I Airport, Bhubaneswar SH : Electrical Works.
Contract No: 2020_AAI_54522_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Balaji Engineering(GSTN-33ADGPV2628A1ZV) |  | SYSTEM HOUSE CORPORATION(GSTN-21AAOFS9357C1Z2) |  | Mars Developments(GSTN-19ACTPJ8300R1ZQ) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | RASS CONTRACTOR AND ENGINEERS(GSTN-09AFIPR1600N1Z7) |  | Youngmen Traders(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following size 1.1 kv grade, XLPE insulated and PVC inner sheathed Aluminium conductor armoured power cable conforming to IS: 7098(Part 1)1988/ IS: 7098 (Part 1) with up to date amendments etc. complete as required.
1.01 | 3.5C x 185 Sqmm | 8500.00 | Meter |  | 630.00 | 5355000.00 | 579.60 | 4926600.00 | 560.00 | 4760000.00 | 650.00 | 5525000.00 | 625.00 | 5312500.00 | 525.00 | 4462500.00 | 4462500.00 | Youngmen Traders
2.00 | SITC of recess mounting 2 Ft x 2 Ft LED panel fixture,CRCA housing, White powder coated having minimum 3420 lumen output & minimum CCT from 5700K to 6500K i/c necessary electronic driver, LED lamp suitable to operate on 230V ac power supply with connector etc as per tender specifications complete as required(with Five Year Warranty). | 10.00 | Each |  | 2200.00 | 22000.00 | 2331.00 | 23310.00 | 2616.00 | 26160.00 | 2500.00 | 25000.00 | 4500.00 | 45000.00 | 1800.00 | 18000.00 | 18000.00 | Youngmen Traders
3.00 | SITC of 1 x 20 WATT Batten type LED tube light fittings with LED tube having minimum 1900 lumen output & minimum CCT from 5700K to 6500K i/c necessary electronic driver, LED lamp suitable to operate with 230V AC power supply as per tender specifications complete as required. | 20.00 | Each |  | 1500.00 | 30000.00 | 352.80 | 7056.00 | 654.00 | 13080.00 | 700.00 | 14000.00 | 950.00 | 19000.00 | 250.00 | 5000.00 | 5000.00 | Youngmen Traders
4.00 | SITC of 60 to 70 watt LED street light luminaire of Pressure die-cast Al housing, IP66 protection, having minimum 7800 lumen output & minimum CCT from 4000K to 6500K i/c necessary electronic driver, high power LED lamp suitable to operate on 230V ac power supply with supply and fixing 50 mm of medium class G.I.bend on wall etc as per tender specifications complete as required. | 40.00 | Each |  | 4200.00 | 168000.00 | 3780.00 | 151200.00 | 5528.00 | 221120.00 | 6000.00 | 240000.00 | 6500.00 | 260000.00 | 3200.00 | 128000.00 | 128000.00 | Youngmen Traders
5.00 | SITC of 1.5 Ton(4500kCal/Hr capacity),5 star rating Inverter split Air conditioner with all the internal component of indoor unit shall be fire retardant , cordless remote & fitted with rotary /scroll /semi-hermetic compressor operating on refrigerant R-32/410a or as per latest norms suitable for high wall mounting & suitable for operation on 230V, 50Hz, single phase AC supply capable of performing following functions; (i) Cooling (ii) Dehumidifying, (iii) Air Circulating, & (iv) Filtering.. (Minimum five or more star rating) including 3 mtrs refrigerant piping and 3 mtrs hard drain pipe.(As per AAI Approved make List). | 16.00 | Each |  | 50000.00 | 800000.00 | 36540.00 | 584640.00 | 46800.00 | 748800.00 | 54000.00 | 864000.00 | 55000.00 | 880000.00 | 45000.00 | 720000.00 | 584640.00 | SYSTEM HOUSE CORPORATION
6.00 | Supply & fixing of Iron Angle stand suitable for installation of outdoor unit of above mentioned 1.5 TR split air-conditioners including paining etc. complete as required. | 16.00 | Job |  | 1000.00 | 16000.00 | 756.00 | 12096.00 | 1800.00 | 28800.00 | 900.00 | 14400.00 | 1500.00 | 24000.00 | 800.00 | 12800.00 | 12096.00 | SYSTEM HOUSE CORPORATION
7.00 | Supply and fixing of Extra Refrigerant copper piping of suitable size for both suction and discharge along with suitable Nitrile Insulation and Electrical Cable of size 4 Core x 4 Sq. mm copper conductor for connection from indoor to outdoor unit and suitable necessary accessories for connection complete as required. (Two length of suction and discharge piping and one length of copper wire shall be measured one meter for this item) | 150.00 | Mtr. |  | 1000.00 | 150000.00 | 378.00 | 56700.00 | 1440.00 | 216000.00 | 600.00 | 90000.00 | 850.00 | 127500.00 | 1100.00 | 165000.00 | 56700.00 | SYSTEM HOUSE CORPORATION
8.00 | Supply and fixing of hard PVC drain pipe connection from indoor to outside of wall including bends necessary accessories for connection etc. complete as required. | 150.00 | Mtr. |  | 100.00 | 15000.00 | 126.00 | 18900.00 | 120.00 | 18000.00 | 120.00 | 18000.00 | 95.00 | 14250.00 | 135.00 | 20250.00 | 14250.00 | RASS CONTRACTOR AND ENGINEERS
9.00 | Supply, installation, testing, and commissioning of single spike air terminals of 16 mm dia. of following lengths as required and as per site conditions. the air terminal shall be manufactured with copper. The terminal shall be provided with the integrated / attached threaded base support suitable for mounting the terminals as per site condition. The base support shall be minimum 3 mm thick and shall have inbuilt connector fitting for connection of lightning conductor in such way that conductor contact area shall not be less than 40mm on all side of the conductor. The air terminals shall be supplied with the intermediate guywire supports to make it stable in case of high wind speed upto 1 meter height. | 17.00 | Each |  | 2500.00 | 42500.00 | 4164.30 | 70793.10 | 4800.00 | 81600.00 | 5000.00 | 85000.00 | 1500.00 | 25500.00 | 4000.00 | 68000.00 | 25500.00 | RASS CONTRACTOR AND ENGINEERS
10.00 | Supplying and fixing of 63 Amp , four pole, 415 V, Isolator in the existing DB complete with connections, testing and commissioning etc. as required. | 40.00 | Each |  | 750.00 | 30000.00 | 693.00 | 27720.00 | 806.00 | 32240.00 | 800.00 | 32000.00 | 850.00 | 34000.00 | 625.00 | 25000.00 | 25000.00 | Youngmen Traders
11.00 | Supplying and fixing of 40 Amp,10 KA,C Curve, single pole, 415 V, RCCB in the existing DB complete with connections, testing and commissioning etc. as required. | 60.00 | Each |  | 2500.00 | 150000.00 | 2331.00 | 139860.00 | 417.00 | 25020.00 | 2500.00 | 150000.00 | 1800.00 | 108000.00 | 2200.00 | 132000.00 | 25020.00 | Mars Developments
12.00 | Supplying and fixing of 40 Amp,10 KA,C Curve, Four Pole, 415 V, MCB in the existing DB complete with connections, testing and commissioning etc. as required. | 60.00 | Each |  | 1000.00 | 60000.00 | 1575.00 | 94500.00 | 1525.00 | 91500.00 | 1400.00 | 84000.00 | 1250.00 | 75000.00 | 1300.00 | 78000.00 | 60000.00 | Balaji Engineering
13.00 | Design, manufacture supply, installation, testing and commissioning of LT Panel, cubicle & modular type, made of 2 mm thick sheet steel for frame work and covers, 3mm thick for gland plates, totally enclosed, IP 54, double door, free standing, floor mounting, dust and vermin proof, out door, compartmentalised, including cleaning & finishing complete with 7 tank process, powder coated, painting, suitable for operation on 3 Phase and neutral, 415v, 50 Hz AC system with Al.busbars extensible on both sides, fabrication shall be done in transportation sections, entire panel shall have a common copper earth bar of size 25mm x 5mm at the rear with 2 nos, earth stud, control wiring with 2.5 sq.mm. PVC insulated copper conductor, cable alloys, cable gland plates in two half, interconnections including supply & installation of following items and as per Tender specifications and as per directions of Engineer-In-charge.
13.01 | A) INCOMER i) 160A, 36kA, 4 Pole MCCB-02 Nos with Thermal Magnetic Based OL, SC Releases + RHOM +Spreders+Aux Alarm Contact-36kA+rotary handle, ii) R/Y/B indicating lamps for all incomers, iii) ON/OFF/TRIP Indicating Lamps for all incomers, iv) 6A SP MCB 10kA for protection, v) Digital Voltmeter with built-in Selector Switch, CL-0.5 for all incomers, vi) Digital Ammeter with built-in Selector Switch, CL-0.5 for all incomers, vii) Digital MFM Meter with RS485 port, CL-1 for all incomers, viii) Resin Cast CL-1, 10VA CT's for all incomers, ix) Control Terminals with 1.5 sqmm. C) Bus coupler i) 250A 4P CHANGE OVER SWITCH, ii) R/Y/B indicating lamps, iii) ON/OFF/TRIP indicating lamps, iv) 6A SP MCB 10kA, v) Control Terminals, vi) Mechanical Interlock-3L+2Key with both the incomers E) Outgoing i) 160A, 36kA, 4 Pole MCCB-02 Nos with Thermal Magnetic Based OL, SC Releases + RHOM +Spreders+Aux Alarm Contact-36kA+rotary handle, ii) R/Y/B indicating lamps, iii) ON/OFF indicating lamps, iv) 6A SP MCB 10kA, v) Out going Terminals i) 20A TP+NL MCCB with thermal magnetic based OL, SC Releases + RHOM + Aux Alarm Contact-10kA+rotary handle, ii) R/Y/B indicating lamps, iii) ON/OFF indicating lamps, iv) 6A SP MCB 10kA, v) Suitable Out going Terminals i) 16A TP+NL MCCB with Thermal Magnetic Based OL, SC Releases + RHOM +Spreaders + Aux Alarm Contact-10kA+rotary handle, ii) R/Y/B indicating lamps iii) ON/OFF indicating lamps, iv) 6A SP MCB 10kA, v) Suitable Out going Terminals i) 10A TP+NL MCCB with Thermal Magnetic Based OL, SC Releases + RHOM +Spreaders + Aux Alarm Contact-10kA+rotary handle, ii) R/Y/B indicating lamps iii) ON/OFF indicating lamps, iv) 6A SP MCB 10kA, v) Suitable Out going Terminals i) 10A TP+NL MCCB with Thermal Magnetic Based OL, SC Releases + RHOM +Spreaders + Aux Alarm Contact-10kA+rotary handle, ii) R/Y/B indicating lamps iii) ON/OFF indicating lamps, iv) 6A SP MCB 10kA, v) Suitable Out going Terminals i) 32A 4P MCCB with Thermal Magnetic Based OL, SC Releases + RHOM +Spreaders + Aux Alarm Contact-10kA+rotary handle, ii) R/Y/B indicating lamps, iii) ON/OFF indicating lamps, iv) 6A SP MCB 10kA, v) Suitable Out going Terminals i) 20A 4P MCCB with Thermal Magnetic Based OL, SC Releases + RHOM +Spreaders + Aux Alarm Contact-10kA+rotary handle, ii) R/Y/B indicating lamps, iii) ON/OFF indicating lamps, iv) 6A SP MCB 10kA, v) Suitable Out going Terminals i) 16A 4P MCCB with Thermal Magnetic Based OL, SC Releases + RHOM +Spreaders + Aux Alarm Contact-10kA+rotary handle, ii) R/Y/B indicating lamps, iii) ON/OFF indicating lamps, iv) 6A SP MCB 10kA, v) Suitable Out going Terminals. 01 set of suitable rating of contractor operated on 415V (min.32amp) with daily on off timer along with necessary out 4Pole goings terminals 16amps - 04 nos ALUMINIUM BUS BAR-250AMP BUS BAR SUPPORT As per OEM WIRE AND WIRING MATERIALS-2.5 sqmm TWO SET of Compartment with D link to hold MCB with 8 way out going provision 32 Amp output terminals HARDWARE & CONSUMABLES- | 17.00 | Job |  | 300000.00 | 5100000.00 | 495540.40 | 8424186.80 | 306000.00 | 5202000.00 | 390000.00 | 6630000.00 | 295000.00 | 5015000.00 | 375000.00 | 6375000.00 | 5015000.00 | RASS CONTRACTOR AND ENGINEERS
14.00 | Supply of following size ISI marked, HDPE pipe along with all accessories like socket, bend, couplers etc. confirming to IS-4984-1995 with up to date amendments and confirming to tender’s technical specifications, terms & conditions complete with fitting and cutting , jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. complete as required.
14.01 | a) min 125mm PN-06, PE 100. | 8500.00 | Mtr. |  | 400.00 | 3400000.00 | 315.00 | 2677500.00 | 288.00 | 2448000.00 | 370.00 | 3145000.00 | 165.00 | 1402500.00 | 340.00 | 2890000.00 | 1402500.00 | RASS CONTRACTOR AND ENGINEERS
15.00 | SITC of LED type aviation obstruction light of minimum 10 Watts suitable for 230V,50Hz with Die-cast aluminium housing with Red polycarbonate dome for better illumination,IP 65 protection as per ICAO standards & technical specifications including supply of suitable size B class GI Pipe of minimum 1.0 mtr Length along with its fixing arrangement as per the site condition and as per directions of EIC. | 17.00 | Each |  | 3500.00 | 59500.00 | 4410.00 | 74970.00 | 6435.00 | 109395.00 | 6000.00 | 102000.00 | 5000.00 | 85000.00 | 4000.00 | 68000.00 | 59500.00 | Balaji Engineering
16.00 | Constructing brick masonry chamber of size 1200x1200x1200mm of size in cement mortar 1:4 (1 cement :4 coarse sand ) inside cement plaster 15 mm thick with cement mortar 1:3 (1 cement: 3 Coarse sand) finished with floating coat of neat cement foundation concrete 1:3:6( 1 cement: 3 coarse sand:6 graded stone aggregate 40 mm nominal size) all complete as per standard design with cover of 75 mm thick ness made by RCC in cement mortar 1:2:4( 1 cement: 2 coarse sand:4 graded stone aggregate 40 mm nominal size) in two piece with 12 mm rod handle in order to easy handling and as per Tender specifications and as per directions of Engineer-In-charge. | 85.00 | each |  | 18000.00 | 1530000.00 | 12600.00 | 1071000.00 | 20400.00 | 1734000.00 | 8000.00 | 680000.00 | 12500.00 | 1062500.00 | 12500.00 | 1062500.00 | 680000.00 | Manish Electricals
17.00 | Supply & Erecting of 12 mtrs high GI medium class tubular pole of suitable size (minimum 50 mm Dia) with base plate of 8 mm thick of size 150mmx150mm with suitable 4 No's of GI foundation bolts including suitable foundation to sustain high wind speed 296 KM/Hr and other accessories for installation air terminal on mast to protect LLZ building from direct lightening strikes. | 17.00 | Set |  | 20000.00 | 340000.00 | 19782.00 | 336294.00 | 27000.00 | 459000.00 | 22000.00 | 374000.00 | 23000.00 | 391000.00 | 10500.00 | 178500.00 | 178500.00 | Youngmen Traders
18.00 | Supply and laying of 70 sq. mm copper flexible cable for down conductor including suitable clamps and other accessories from air terminal to the earth pit. | 206.00 | Mtr. |  | 600.00 | 123600.00 | 580.86 | 119657.16 | 587.00 | 120922.00 | 900.00 | 185400.00 | 525.00 | 108150.00 | 400.00 | 82400.00 | 82400.00 | Youngmen Traders
19.00 | Earthing with G.I. earth plate 600mm x 600mm x 6mm thick including accessories and providing masonary enclosure with cover plate having locking arrangement and watering pipe etc. including charcoal and salt complete as required. | 34.00 | Nos |  | 7500.00 | 255000.00 | 5935.86 | 201819.24 | 13800.00 | 469200.00 | 6000.00 | 204000.00 | 525.00 | 17850.00 | 3500.00 | 119000.00 | 17850.00 | RASS CONTRACTOR AND ENGINEERS
20.00 | Providing and fixing 50 mm X 5 mm G.l. strip on surface or in recess for connections etc. as required as per site condition. | 340.00 | Mtr. |  | 250.00 | 85000.00 | 335.16 | 113954.40 | 235.00 | 79900.00 | 300.00 | 102000.00 | 250.00 | 85000.00 | 175.00 | 59500.00 | 59500.00 | Youngmen Traders
21.00 | Earthing with copper earth plate 600mm x 600mm x 3.0mm thick including accessories and providing masonary enclosure with cover plate having locking arrangement and watering pipe etc. Including charcoal and salt complete as required. | 17.00 | Nos |  | 17000.00 | 289000.00 | 15103.62 | 256761.54 | 26400.00 | 448800.00 | 15000.00 | 255000.00 | 12000.00 | 204000.00 | 12000.00 | 204000.00 | 204000.00 | Youngmen Traders, RASS CONTRACTOR AND ENGINEERS
22.00 | Supplying and laying 25 mm X 5 mm copper strip on surface or in recess for connections etc. as required as per site condition. | 170.00 | Mtr. |  | 1000.00 | 170000.00 | 762.30 | 129591.00 | 1184.00 | 201280.00 | 600.00 | 102000.00 | 850.00 | 144500.00 | 700.00 | 119000.00 | 102000.00 | Manish Electricals
23.00 | Supply, Installation, testing and commissioning of 240 kA 3 phase 4 wire Digital Portable Low Impedance equipment Grounding & bonding system with built in 100% Lightning and Surges suppressor, static charge, Noises, ESD, EPR and abnormal electrical characteristics eliminator which enter from power and other service lines and ensuring clear bonding potential (earth to Neutral voltage) less than 1.0V, a digital 6 digit lightening surge counter, self health visual status indicator and ON-LINE remote monitoring facility of Earth-Neutral voltage in a Pre-wired pulverulent body painted metal enclosure to be connected in parallel to the power supply circuit, Conforming to IEC , CE Marked, CPRI tested as per site condition. | 3.00 | Each |  | 220000.00 | 660000.00 | 408059.80 | 1224179.40 | 228000.00 | 684000.00 | 290000.00 | 870000.00 | 850000.00 | 2550000.00 | 310000.00 | 930000.00 | 660000.00 | Balaji Engineering
24.00 | SITC of 1200mm sweep ceiling fan with energy rating not less than 5 star,suitable for operation on single phase 230 v, 50 Hz AC supply | 5.00 | Each |  | 2250.00 | 11250.00 | 2142.00 | 10710.00 | 2400.00 | 12000.00 | 2000.00 | 10000.00 | 2100.00 | 10500.00 | 2200.00 | 11000.00 | 10000.00 | Manish Electricals
25.00 | SITC of 400mm sweep wall mounted fan (heavy duty) suitable for operation on single phase 230 v, 50 Hz AC supply | 5.00 | Each |  | 3500.00 | 17500.00 | 2520.00 | 12600.00 | 5820.00 | 29100.00 | 3500.00 | 17500.00 | 2500.00 | 12500.00 | 2500.00 | 12500.00 | 12500.00 | Youngmen Traders, RASS CONTRACTOR AND ENGINEERS
26.00 | Supply and Fixing of R,Y,B LED Indication lamps on a PVC board with all necessary connections to the existing DB complete as required. | 17.00 | Job |  | 1500.00 | 25500.00 | 1083.60 | 18421.20 | 402.00 | 6834.00 | 150.00 | 2550.00 | 750.00 | 12750.00 | 450.00 | 7650.00 | 2550.00 | Manish Electricals
27.00 | Supply and Fixing of surge protection device I max 50kA protection against direct and indirect lighting surge alongwith 40amp, 4P MCB in the CRCA sheet steel power quoted 4 way enclosure including making connection etc as required. | 6.00 | Each |  | 57000.00 | 342000.00 | 16632.00 | 99792.00 | 10733.00 | 64398.00 | 70000.00 | 420000.00 | 5000.00 | 30000.00 | 8500.00 | 51000.00 | 30000.00 | RASS CONTRACTOR AND ENGINEERS
28.00 | Supply and Fixing of surge protection device I max 40kA protection against direct and indirect lighting surges alongwith 40Amp, 4P MCB in the CRCA sheet steel power quoted 4 way enclosure including making connection etc as required. | 20.00 | Each |  | 53000.00 | 1060000.00 | 12348.00 | 246960.00 | 9248.00 | 184960.00 | 65000.00 | 1300000.00 | 5000.00 | 100000.00 | 6500.00 | 130000.00 | 100000.00 | RASS CONTRACTOR AND ENGINEERS
29.00 | Supplying & fixing suitable size GI box with modular plate and cover in front on surface or in recess including providing and fixing 25 A modular socket outlet and 32 A modular SP MCB,“C” curve including connections, painting etc. as required. | 6.00 | Each |  | 2500.00 | 15000.00 | 711.90 | 4271.40 | 636.00 | 3816.00 | 800.00 | 4800.00 | 500.00 | 3000.00 | 495.00 | 2970.00 | 2970.00 | Youngmen Traders
30.00 | Laying of minimum 125mm HDPE/GI pipe in the soil / ground at Minimum Depth of 75 cms including covering with excavation and refilling the trench, consolidation and making good the surface etc. complete as required. | 8500.00 | Each |  | 70.00 | 595000.00 | 189.00 | 1606500.00 | 180.00 | 1530000.00 | 150.00 | 1275000.00 | 55.00 | 467500.00 | 150.00 | 1275000.00 | 467500.00 | RASS CONTRACTOR AND ENGINEERS
31.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe/HDPE pipe as required. Size min-Above 70 sq. mm and upto 185 sq. mm | 8500.00 | Each |  | 30.00 | 255000.00 | 126.00 | 1071000.00 | 78.00 | 663000.00 | 50.00 | 425000.00 | 45.00 | 382500.00 | 65.00 | 552500.00 | 255000.00 | Balaji Engineering
32.00 | Horizontal Boring
32.01 | Laying of HDPE pipe by HDD method including preparing & setting up plant & machinery including jointing rearming and pulling of HDPE pipe upto 200 mm dia pipe in soft soil as per technical specification and site condition etc as required as per direction of E-I-C. | 200.00 | RMtr |  | 1600.00 | 320000.00 | 3780.00 | 756000.00 | 720.00 | 144000.00 | 3200.00 | 640000.00 | 1000.00 | 200000.00 | 2000.00 | 400000.00 | 144000.00 | Mars Developments
32.02 | Laying of HDPE pipe by HDD method including preparing & setting up plant & machinery including jointing rearming and pulling of HDPE pipe upto 200 mm dia pipe in rock area as per technical specification and site condition etc as required as per direction of E-I-C. | 50.00 | RMtr |  | 1600.00 | 80000.00 | 5040.00 | 252000.00 | 840.00 | 42000.00 | 3200.00 | 160000.00 | 1500.00 | 75000.00 | 2500.00 | 125000.00 | 42000.00 | Mars Developments
33.00 | SITC of outdoor type IP-65 rating following way, three pole and neutral, FRP sheet, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (Including 01 No. 63 AMP,FP, 36 KA MCCB but without MCB/RCCB/Isolator) 4 way (4 + 12) including necessary clamp,hanging arrangement etc as per site condition and requirements as per direction of E-I-C. | 17.00 | Each |  | 5000.00 | 85000.00 | 32840.64 | 558290.88 | 25800.00 | 438600.00 | 6000.00 | 102000.00 | 4500.00 | 76500.00 | 20000.00 | 340000.00 | 76500.00 | RASS CONTRACTOR AND ENGINEERS
34.00 | Supplying, installation, testing and commissioning of conventional, optical / ionisation type smoke detector, conforming to UL/LPCB/FMI/EN-54, with all accessories viz : indicator, base, base box etc. to be installed on ceiling / false ceiling etc. complete as required. | 10.00 | Each |  | 1600.00 | 16000.00 | 730.80 | 7308.00 | 2160.00 | 21600.00 | 3500.00 | 35000.00 | 3500.00 | 35000.00 | 450.00 | 4500.00 | 4500.00 | Youngmen Traders
35.00 | Supplying, installation, testing and commissioning of response indicator, with all accessories complete as required. | 4.00 | Each |  | 650.00 | 2600.00 | 126.00 | 504.00 | 246.00 | 984.00 | 3000.00 | 12000.00 | 100.00 | 400.00 | 105.00 | 420.00 | 400.00 | RASS CONTRACTOR AND ENGINEERS
36.00 | Supplying, installation , testing and commissioning of conventional, break glass type / press type / plug - in type manual call point, conforming to EN / LPCB , with all accessories viz : push button, hammer, fire red painted box etc. with instruction inscribed etc. complete as required. | 1.00 | Each |  | 1700.00 | 1700.00 | 1000.44 | 1000.44 | 3396.00 | 3396.00 | 3500.00 | 3500.00 | 3500.00 | 3500.00 | 750.00 | 750.00 | 750.00 | Youngmen Traders
37.00 | Supplying, installation , testing and commissioning of conventional type electronic Hooter approved by UL with all accessories etc. complete as required. | 1.00 | Each |  | 1200.00 | 1200.00 | 1462.86 | 1462.86 | 6288.00 | 6288.00 | 12000.00 | 12000.00 | 4500.00 | 4500.00 | 1100.00 | 1100.00 | 1100.00 | Youngmen Traders
38.00 | Supplying, installation , testing and commissioning automatic telephone dialler module, compatible to conventional type fire control panel, capable of delivering pre recorded voice to preset telephone no in case of fire etc. complete as required. | 1.00 | Each |  | 14000.00 | 14000.00 | 5081.58 | 5081.58 | 18994.00 | 18994.00 | 35000.00 | 35000.00 | 65000.00 | 65000.00 | 3500.00 | 3500.00 | 3500.00 | Youngmen Traders
39.00 | Supplying, installation , testing and commissioning of conventional, 04 cross zone Fire Alarm control panel conforming to UL/LPCB/FMI/EN-54, with all accessories viz : maintenance free battery for 24 hrs back up, battery charger module, change over module, display, hooter etc. complete as required. The panel shall have suitable number of relay out put change over modules for autodialer, AHU interlock & power interlocking. and one spare. | 1.00 | Each |  | 17000.00 | 17000.00 | 29257.20 | 29257.20 | 177600.00 | 177600.00 | 60000.00 | 60000.00 | 175000.00 | 175000.00 | 20000.00 | 20000.00 | 17000.00 | Balaji Engineering
40.00 | Supplying, installation, testing and commissioning of 24 V DC, electric actuator for triggering the cylinder assembly etc. complete as required. | 1.00 | Each |  | 24000.00 | 24000.00 | 6300.00 | 6300.00 | 102000.00 | 102000.00 | 25000.00 | 25000.00 | 7500.00 | 7500.00 | 4500.00 | 4500.00 | 4500.00 | Youngmen Traders
41.00 | Supplying, installation, testing and commissioning of Local manual / pneumatic actuator for triggering the cylinder assembly complete as required. | 1.00 | Each |  | 9500.00 | 9500.00 | 6300.00 | 6300.00 | 72000.00 | 72000.00 | 21000.00 | 21000.00 | 8500.00 | 8500.00 | 4500.00 | 4500.00 | 4500.00 | Youngmen Traders
42.00 | Supplying, installation, testing and commissioning of Low pressure switch for the cylinder assembly etc. complete as required. | 1.00 | Each |  | 20000.00 | 20000.00 | 3780.00 | 3780.00 | 66000.00 | 66000.00 | 1500.00 | 1500.00 | 3500.00 | 3500.00 | 2800.00 | 2800.00 | 1500.00 | Manish Electricals
43.00 | Supplying, installation, testing and commissioning of Manual Gas Release Station etc. complete as required. | 1.00 | Each |  | 11500.00 | 11500.00 | 3780.00 | 3780.00 | 24600.00 | 24600.00 | 900.00 | 900.00 | 2000.00 | 2000.00 | 2800.00 | 2800.00 | 900.00 | Manish Electricals
44.00 | Supplying, installation, testing and commissioning of Manual Gas Abort Station etc. complete as required. | 1.00 | Each |  | 7500.00 | 7500.00 | 3780.00 | 3780.00 | 24600.00 | 24600.00 | 1000.00 | 1000.00 | 2000.00 | 2000.00 | 2800.00 | 2800.00 | 1000.00 | Manish Electricals
45.00 | Supplying and fixing of suitable size ( as per hydraulic flow calculation ) nozzle with orfices etc. complete as required. | 3.00 | Each |  | 7000.00 | 21000.00 | 8820.00 | 26460.00 | 12600.00 | 37800.00 | 2800.00 | 8400.00 | 3000.00 | 9000.00 | 6000.00 | 18000.00 | 8400.00 | Manish Electricals
46.00 | Supplying and fixing of M.S. Seamless pipes as per ASTM A 106 Gr. B, schedule 40 with necessary fittings on wall / ceiling etc. complete as required. | 10.00 | Mtr. |  | 2000.00 | 20000.00 | 861.84 | 8618.40 | 1980.00 | 19800.00 | 1800.00 | 18000.00 | 1250.00 | 12500.00 | 650.00 | 6500.00 | 6500.00 | Youngmen Traders
47.00 | Supplying and making end termination with brass compression gland and Aluminum lugs for following size of XLPE insulated PVC sheathed aluminium conductor armoured power cable of 1.1 KV grade as required. | 51.00 | Set |  | 500.00 | 25500.00 | 1141.56 | 58219.56 | 2700.00 | 137700.00 | 900.00 | 45900.00 | 1500.00 | 76500.00 | 750.00 | 38250.00 | 25500.00 | Balaji Engineering
48.00 | Supplying and making straight through cable jointing kit with heat shrinkable kit (a) 3.5 Core, 185 Sq.mm. | 17.00 | Set |  | 4500.00 | 76500.00 | 3024.00 | 51408.00 | 4200.00 | 71400.00 | 3500.00 | 59500.00 | 3200.00 | 54400.00 | 2200.00 | 37400.00 | 37400.00 | Youngmen Traders
49.00 | Supplying, installing testing & commissioning of 7.5 mtrs High GI octagonal pole with single side (1 mtr. overhang) with end nipple to suite light fixture including GI base plate 4 mm thick.The pole shall be provided with flush door at the bottom with proper strengthening to the cut out of the door opening. A junction/looping box with heavy duty 3 phase connector shall be in built into the pole. The rate shall be inclusive of providing P.C.C. foundation, cable entry pipe sleeve of 32 mm dia N.B. The rate shall include the cost of connecting wire 2 x 1.5 Sq.m. copper cable with 1.5 sqmm insulated wire earth continuity conductor from junction box to light fixture as per site condition. | 40.00 | job |  | 15000.00 | 600000.00 | 17640.00 | 705600.00 | 14100.00 | 564000.00 | 21000.00 | 840000.00 | 16500.00 | 660000.00 | 11000.00 | 440000.00 | 440000.00 | Youngmen Traders
50.00 | Supply and fixing of following sizes triple compartment metal ducting made out of 1.6mm thick pregalvanised sheet steel complete with all accessories such as pregalvanised sheet steel fixing clip of 1.2mm thick, support bracket of 2.3mm thick etc. complete as required .Size:-300mm x 38mm x 1.6mm (3 compartment) | 45.00 | Mtr. |  | 1500.00 | 67500.00 | 8527.68 | 383745.60 | 2651.00 | 119295.00 | 900.00 | 40500.00 | 850.00 | 38250.00 | 5400.00 | 243000.00 | 38250.00 | RASS CONTRACTOR AND ENGINEERS
51.00 | Supply, installation, testing & commissioning of following sizes cross over box, suitable for 25mm depth triple compartment metal ducting, made out of high pressure die-cast zinc alloy complete with all accessories such as top cover, bare support frame, bare support studs etc. complete as required .Size:-300mm x 38mm | 10.00 | Each |  | 10000.00 | 100000.00 | 4570.02 | 45700.20 | 308.00 | 3080.00 | 500.00 | 5000.00 | 1000.00 | 10000.00 | 3000.00 | 30000.00 | 3080.00 | Mars Developments
52.00 | Supply, installation, testing & commissioning of following sizes access outlet box, suitable for 25mm depth triple compartment metal ducting, made out of high pressure die-cast zinc alloy complete with all accessories such as top cover, bare support frame, bare support studs etc. complete as required Size:-.Size:-300mm x 38mm | 10.00 | Each |  | 10000.00 | 100000.00 | 5080.32 | 50803.20 | 4326.00 | 43260.00 | 500.00 | 5000.00 | 1500.00 | 15000.00 | 3500.00 | 35000.00 | 5000.00 | Manish Electricals
53.00 | Wiring for light point/fan point/exhaust fan point/call bell point with 1.5 sq.mm PVC insulated, FRLS, copper conductor cable in surface/ recessed steel conduits including supply & fixing of 5/6 Amp modular type switch, Polycarbonate front plate and suitable M.S. Box alongwith 1 No. 1.5 sqmm PVC insulated copper wire for loop earthing complete as required. | 20.00 | Each |  | 1000.00 | 20000.00 | 1260.00 | 25200.00 | 1345.00 | 26900.00 | 900.00 | 18000.00 | 1050.00 | 21000.00 | 950.00 | 19000.00 | 18000.00 | Manish Electricals
54.00 | Wiring for circuit wiring with following sizes of PVC insulated, FRLS, copper conductor single core cable in surface /recessed steel conduits as required. 2 x 2.5 + 1 x 2.5 sq. mm. earth wire | 50.00 | Mtr. |  | 225.00 | 11250.00 | 226.80 | 11340.00 | 189.00 | 9450.00 | 110.00 | 5500.00 | 185.00 | 9250.00 | 180.00 | 9000.00 | 5500.00 | Manish Electricals
55.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required.Size:-2 x 4 sq. mm+ 1 x 4 sq mm earth wire | 50.00 | Mtr. |  | 275.00 | 13750.00 | 252.00 | 12600.00 | 226.00 | 11300.00 | 140.00 | 7000.00 | 225.00 | 11250.00 | 225.00 | 11250.00 | 7000.00 | Manish Electricals
56.00 | Supplying and fixing 15/16 Amp modular type switch and 15/16 Amp 6 pin modular type socket outlet having polycarbonate cover plate including providing and fixing suitable size metal box including connections earthing etc as required. | 20.00 | Each |  | 1000.00 | 20000.00 | 252.00 | 5040.00 | 535.00 | 10700.00 | 600.00 | 12000.00 | 350.00 | 7000.00 | 175.00 | 3500.00 | 3500.00 | Youngmen Traders
57.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral busbar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/ RCCB/Isolator)(i)6 way , Double Door | 1.00 | Each |  | 2500.00 | 2500.00 | 9450.00 | 9450.00 | 5024.00 | 5024.00 | 4000.00 | 4000.00 | 4500.00 | 4500.00 | 7500.00 | 7500.00 | 2500.00 | Balaji Engineering
58.00 | Supplying and fixing 40 Amp, four pole, 415 volts, Isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 1.00 | Each |  | 750.00 | 750.00 | 781.20 | 781.20 | 788.00 | 788.00 | 800.00 | 800.00 | 750.00 | 750.00 | 750.00 | 750.00 | 750.00 | Youngmen Traders, Balaji Engineering, RASS CONTRACTOR AND ENGINEERS
59.00 | Supplying and fixing 40Amp , double pole, (single phase and neutral), 240 volts, RCBO, having a sensitivity current upto 300 milliamperes in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 3.00 | Each |  | 3000.00 | 9000.00 | 3402.00 | 10206.00 | 3316.00 | 9948.00 | 3700.00 | 11100.00 | 1850.00 | 5550.00 | 2800.00 | 8400.00 | 5550.00 | RASS CONTRACTOR AND ENGINEERS
60.00 | Welding joints for copper and GI Strips as per site condition as directed by EIC | 20.00 | Each |  | 500.00 | 10000.00 | 315.00 | 6300.00 | 54.00 | 1080.00 | 500.00 | 10000.00 | 100.00 | 2000.00 | 200.00 | 4000.00 | 1080.00 | Mars Developments
61.00 | Supply and fixing of roxylene based high standard, high efficient, world class, superior quality, innovative, light weight, space saving, tailor made, most flexible ( modular design with peel-able multi diameter technology to adjust the various diameter, single / multiple cable & conduit ) rectangular, round steel framed, transit / entry ( through walls, cable tranches, cable pit, panels etc.) sealing solution including frame, modules, wedge / compression unit, stay plate, and lubricant gel all as a standard kit, suitable for a new as well as pre-installed sites (normal / under pressure, on ground / underground / in sea) of Data Centres, Power Rooms, Battery Rooms, Communication Huts, Shelters, SCADA systems, Control Panels, Out Door Cabinets, Enclosures, Junction Boxes etc., to provide protection from multiple hazards such as fire, water, gas, dust, humidity, temperature variation, vibrations, noise, electromagnetic disturbances, vermin, rodent, birds and risk of explosion, thereby creating an environment of safe operation, stable power supply, extended life cycle of units which in turn ensures protection to lives and assets through assured safety and operational reliability as per site condition as per direction of EIC.(Note-minimum cable size-3.5x185 sqmm 03nos,70 sqm -02 nos, 16 sqmm-04 nos) | 3.00 | Each |  | 20000.00 | 60000.00 | 51156.00 | 153468.00 | 54600.00 | 163800.00 | 50000.00 | 150000.00 | 45000.00 | 135000.00 | 38000.00 | 114000.00 | 60000.00 | Balaji Engineering
62.00 | Supply and fixing of Light pole bracket of 40mm dia GI Pipe(medium Class) length of 1.25 Mtr along with two nos of suitable clamp as per site conditions. | 4.00 | Each |  | 1500.00 | 6000.00 | 378.00 | 1512.00 | 2220.00 | 8880.00 | 900.00 | 3600.00 | 1850.00 | 7400.00 | 300.00 | 1200.00 | 1200.00 | Youngmen Traders
| Total in Figures |  |  |  |  | 22945600.00 |  | 27014840.36 |  | 23099792.00 |  | 25598850.00 |  | 20746750.00 |  | 21904490.00
Lowest Amount Quoted BY: RASS CONTRACTOR AND ENGINEERS(20746750.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of ASMGCS at B P I Airport Bhubaneswar SH Electrical Works Tender ID: 2020_AAI_54522_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | RASS CONTRACTOR AND ENGINEERS | 20746750.00 | L1
| 2 | Youngmen Traders | 21904490.00 | L2
| 3 | Balaji Engineering | 22945600.00 | L3
| 4 | Mars Developments | 23099792.00 | L4
| 5 | Manish Electricals | 25598850.00 | L5
| 6 | SYSTEM HOUSE CORPORATION | 27014840.36 | L6