## BoQ1
Government eProcurement System Created By: ANJU TOMAR Created Date/Time: 23-Oct-2020 12:31 PM Tender Title: Onsite Calibration of Test Equipments at CNS, LGBI Airport, Guwahati, Assam Tender ID: 2020_AAI_54554_1
Tender Inviting Authority: Airport Director, Airports Authority of India, LGBI Airport Guwahati, Assam
Name of Work: Onsite Calibration of Test Equipments at CNS, LGBI Airport, Guwahati, Assam
Contract No: NER-11011(23)/4/2020-Guwahati
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | NORTHLAB INDIA PVT LTD(GSTN-33AABCN5832H1ZN) |  | Godrej and Boyce Manufacturing Company Limited(GSTN-27AAACG1395D1ZU)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Onsite Calibration of Test Equipments of CNS
1.01 | Digital Multimeter, Stanley | 1.00 | Nos |  | 750.00 | 750.00 | 2365.00 | 2365.00 | 750.00 | NORTHLAB INDIA PVT LTD
1.02 | Earth Tester, Megger DET4CR2 | 1.00 | Nos |  | 2000.00 | 2000.00 | 2772.00 | 2772.00 | 2000.00 | NORTHLAB INDIA PVT LTD
1.03 | Oscilloscope, Tektronix TDS2022B, 100Mhz/2CH | 1.00 | Nos |  | 2200.00 | 2200.00 | 5390.00 | 5390.00 | 2200.00 | NORTHLAB INDIA PVT LTD
1.04 | Digital Multimeter, Fluke175, 3 ¾ digit | 1.00 | Nos |  | 750.00 | 750.00 | 2365.00 | 2365.00 | 750.00 | NORTHLAB INDIA PVT LTD
1.05 | Earth Tester, Megger DET3TD 80 Mhz- 1.5 Mhz | 1.00 | Nos |  | 2000.00 | 2000.00 | 3696.00 | 3696.00 | 2000.00 | NORTHLAB INDIA PVT LTD
1.06 | Frequency Counter, Nortronicom BLACKSTAR-1325, 5Hz-1.3 GHz | 1.00 | Nos |  | 2800.00 | 2800.00 | 15400.00 | 15400.00 | 2800.00 | NORTHLAB INDIA PVT LTD
1.07 | Frequency Counter, Phillips PM6668, 10 Khz-1GHz | 1.00 | Nos |  | 2800.00 | 2800.00 | 9240.00 | 9240.00 | 2800.00 | NORTHLAB INDIA PVT LTD
1.08 | Field Test Set (FTS) Normac 3710 B | 2.00 | Nos |  | 22000.00 | 44000.00 | 24640.00 | 49280.00 | 44000.00 | NORTHLAB INDIA PVT LTD
1.09 | Nav Analyzer, Park Air 7710 | 1.00 | Nos |  | 25000.00 | 25000.00 | 38500.00 | 38500.00 | 25000.00 | NORTHLAB INDIA PVT LTD
1.10 | Spectrum Analyzer,ROHDE & SCWARZ FSH8, 100kHZ -8 GHz WITH 2 (I /O) | 1.00 | Nos |  | 22000.00 | 22000.00 | 53900.00 | 53900.00 | 22000.00 | NORTHLAB INDIA PVT LTD
1.11 | 4CH DIGITAL MEMORY OSCILLOSCOPE, TEKTRONIX TDS 2014C, 100Mhz | 1.00 | Nos |  | 2200.00 | 2200.00 | 5390.00 | 5390.00 | 2200.00 | NORTHLAB INDIA PVT LTD
1.12 | UNIVERSAL COUNTER / TIMER, KEYSIGHT/ AGILENT, 53220A, 350 MHZ, 12-Digit/s, 100ps, 3- CH | 1.00 | Nos |  | 2800.00 | 2800.00 | 15400.00 | 15400.00 | 2800.00 | NORTHLAB INDIA PVT LTD
1.13 | PEAK POWER METER, KEYSIGHT/ AGILENT E4416A, Single Channel | 1.00 | Nos |  | 9000.00 | 9000.00 | 24200.00 | 24200.00 | 9000.00 | NORTHLAB INDIA PVT LTD
1.14 | PEAK AND AVERAGE POWER SENSOR, KEYSIGHT/ AGILENT, BW : 5 MHZ, RANGE: 50MHZ to 6 GHZ, -60 dBm to + 20 dBm(1nW - 100mW) | 1.00 | Nos |  | 9000.00 | 9000.00 | 24200.00 | 24200.00 | 9000.00 | NORTHLAB INDIA PVT LTD
1.15 | DIGITAL MULTI METER, MASTECH MS8221A, 3 1/2 Digit | 2.00 | Nos |  | 750.00 | 1500.00 | 2356.00 | 4712.00 | 1500.00 | NORTHLAB INDIA PVT LTD
1.16 | DIGITAL MULTI METER, C E M DT-9602, 3 1/2 Digit | 1.00 | Nos |  | 750.00 | 750.00 | 2365.00 | 2365.00 | 750.00 | NORTHLAB INDIA PVT LTD
1.17 | INSULATION TESTER C E M DT-5500, 750V(AC) , 1000 V(DC) | 1.00 | Nos |  | 1800.00 | 1800.00 | 4367.00 | 4367.00 | 1800.00 | NORTHLAB INDIA PVT LTD
1.18 | Digital Multimeter FIuke 112, 3 ¾ digit | 2.00 | Nos |  | 750.00 | 1500.00 | 2365.00 | 4730.00 | 1500.00 | NORTHLAB INDIA PVT LTD
1.19 | Digital Multimeter FIuke 117, 3 ¾ digit | 3.00 | Nos |  | 750.00 | 2250.00 | 2365.00 | 7095.00 | 2250.00 | NORTHLAB INDIA PVT LTD
1.20 | Oscilloscope Tektronix TDS2445 B, 200MHZ /2CH | 1.00 | Nos |  | 2200.00 | 2200.00 | 5390.00 | 5390.00 | 2200.00 | NORTHLAB INDIA PVT LTD
1.21 | FREQUENCY COUNTER, LG FC-7150 , 80MHZ-1.5GHZ | 1.00 | Nos |  | 2800.00 | 2800.00 | 9240.00 | 9240.00 | 2800.00 | NORTHLAB INDIA PVT LTD
1.22 | FREQUENCY COUNTER, PHILIPS PM6669, 120MHZ-1.1GHZ | 1.00 | Nos |  | 2800.00 | 2800.00 | 15400.00 | 15400.00 | 2800.00 | NORTHLAB INDIA PVT LTD
1.23 | Digital Multimeter, Mastech,MAS830L | 1.00 | Nos |  | 750.00 | 750.00 | 2365.00 | 2365.00 | 750.00 | NORTHLAB INDIA PVT LTD
1.24 | Oscilloscope Tektronix TDS2022 B, 200MHZ /2CH | 1.00 | Nos |  | 2200.00 | 2200.00 | 5390.00 | 5390.00 | 2200.00 | NORTHLAB INDIA PVT LTD
| Total in Figures |  |  |  |  | 145850.00 |  | 313152.00
Lowest Amount Quoted BY: NORTHLAB INDIA PVT LTD(145850.00)

## BOQ Summary
BOQ Summary Details Tender Title: Onsite Calibration of Test Equipments at CNS, LGBI Airport, Guwahati, Assam Tender ID: 2020_AAI_54554_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | NORTHLAB INDIA PVT LTD | 145850.00 | L1
| 2 | Godrej and Boyce Manufacturing Company Limited | 313152.00 | L2