## BoQ1
Government eProcurement System Created By: Ravi Shankar Created Date/Time: 28-Sep-2020 06:00 PM Tender Title: Civil work for Installation of ILBS in Terminal-1 at B.P.I, Airport, BBSR Tender ID: 2020_AAI_54646_1
Tender Inviting Authority: AGM, (E-C)-III, B.P.I.AIRPORT,BHUBANESWAR
Name of Work:Civil work for Installation of ILBS in Terminal-1 at B.P.I. Airport, Bhubaneswar
Contract No: 2020_AAI_54646_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SUMEET MOHANTY(GSTN-21AMSPM6002C1ZI) |  | AMRIT RANJAN NAYAK(GSTN-NA) |  | MD RIYAJUDDIN(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 10.00 | Cum | 997.05 | 999.00 | 9990.00 | 950.00 | 9500.00 | 717.00 | 7170.00 | 7170.00 | MD RIYAJUDDIN
2.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 30.00 | Cum | 842.75 | 999.00 | 29970.00 | 750.00 | 22500.00 | 277.00 | 8310.00 | 8310.00 | MD RIYAJUDDIN
3.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 43.00 | Cum | 5582.85 | 4099.00 | 176257.00 | 4200.00 | 180600.00 | 3727.00 | 160261.00 | 160261.00 | MD RIYAJUDDIN
4.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead :
5.00 | a) Of area 3 sq. metres and below | 8.00 | Each | 157.85 | 499.00 | 3992.00 | 155.00 | 1240.00 | 167.00 | 1336.00 | 1240.00 | AMRIT RANJAN NAYAK
6.00 | b) Of area 3 sq. metres and above | 3.00 | Each | 216.40 | 499.00 | 1497.00 | 200.00 | 600.00 | 231.00 | 693.00 | 600.00 | AMRIT RANJAN NAYAK
7.00 | 62 mm thick cement concrete flooring with concrete hardener topping, under layer 50 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) and top layer 12mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate, 6mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacture’s specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. | 80.00 | Sqm | 609.05 | 519.00 | 41520.00 | 580.00 | 46400.00 | 575.00 | 46000.00 | 41520.00 | SUMEET MOHANTY
8.00 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall 50 mm dia nominal bore | 100.00 | Mtr. | 472.40 | 449.00 | 44900.00 | 450.00 | 45000.00 | 421.00 | 42100.00 | 42100.00 | MD RIYAJUDDIN
9.00 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing : 1:1½:3 (1 cement : 1½ coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size). | 8.00 | Cum | 6990.40 | 5199.00 | 41592.00 | 5400.00 | 43200.00 | 5257.00 | 42056.00 | 41592.00 | SUMEET MOHANTY
10.00 | 12 mm cement plaster: 1:4 (1 cement: 4 fine sand) | 375.00 | Sqm | 172.95 | 199.00 | 74625.00 | 125.00 | 46875.00 | 127.00 | 47625.00 | 46875.00 | AMRIT RANJAN NAYAK
11.00 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete | 750.00 | Sqm | 118.70 | 97.00 | 72750.00 | 70.00 | 52500.00 | 77.00 | 57750.00 | 52500.00 | AMRIT RANJAN NAYAK
12.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade :Two or more coats on new work | 1200.00 | Sqm | 84.45 | 59.00 | 70800.00 | 85.00 | 102000.00 | 47.00 | 56400.00 | 56400.00 | MD RIYAJUDDIN
13.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse and), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 115.00 | Sqm | 1119.40 | 849.00 | 97635.00 | 810.00 | 93150.00 | 875.00 | 100625.00 | 93150.00 | AMRIT RANJAN NAYAK
14.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete.separately). Size of Tile 600x600 mm | 85.00 | Sqm | 1135.20 | 849.00 | 72165.00 | 805.00 | 68425.00 | 1071.00 | 91035.00 | 68425.00 | AMRIT RANJAN NAYAK
15.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : 25 mm thick | 100.00 | Sqm | 1158.10 | 899.00 | 89900.00 | 900.00 | 90000.00 | 777.00 | 77700.00 | 77700.00 | MD RIYAJUDDIN
16.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 20.00 | Sqm | 1559.75 | 1149.00 | 22980.00 | 1300.00 | 26000.00 | 1307.00 | 26140.00 | 22980.00 | SUMEET MOHANTY
17.00 | Extra for providing vision panel not exceeding 0.1 sqm in all type of flush doors (cost of glass excluded) (overall area of door shutter to be measured):Rectangular or square | 20.00 | Sqm | 162.60 | 199.00 | 3980.00 | 155.00 | 3100.00 | 107.00 | 2140.00 | 2140.00 | MD RIYAJUDDIN
18.00 | Providing and fixing pressed steel door frames conforming to IS: 4351, manufactured from commercial mild steel sheet of 1.60 mm thickness, including hinges, jamb, lock jamb, bead and if required angle threshold of mild steel angle of section 50x25 mm, or base ties of 1.60 mm, pressed mild steel welded or rigidly fixed together by mechanical means, including M.S. pressed butt hinges 2.5 mm thick with mortar guards, lock strike-plate and shock absorbers as specified and applying a coat of approved steel primer after pre-treatment of the surface as directed by Engineer-in-charge: Profile C Fixing with adjustable lugs with split end tail to each jamb | 55.00 | Mtr | 363.55 | 279.00 | 15345.00 | 350.00 | 19250.00 | 277.00 | 15235.00 | 15235.00 | MD RIYAJUDDIN
19.00 | Fixing with carbon steel galvanised dash fastener of required dia and size (to be paid for separately) | 55.00 | Mtr | 355.55 | 329.00 | 18095.00 | 350.00 | 19250.00 | 317.00 | 17435.00 | 17435.00 | MD RIYAJUDDIN
20.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately): For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 602.00 | Kg | 384.50 | 339.00 | 204078.00 | 300.00 | 180600.00 | 297.00 | 178794.00 | 178794.00 | MD RIYAJUDDIN
21.00 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 81.00 | Kg | 444.90 | 389.00 | 31509.00 | 400.00 | 32400.00 | 357.00 | 28917.00 | 28917.00 | MD RIYAJUDDIN
22.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5.5 mm thickness. | 25.00 | Sqm | 1003.95 | 749.00 | 18725.00 | 950.00 | 23750.00 | 1007.00 | 25175.00 | 18725.00 | SUMEET MOHANTY
23.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. Pre-laminated particle board with decorative lamination on one side and balancing lamination on other side | 150.00 | Sqm | 826.35 | 649.00 | 97350.00 | 640.00 | 96000.00 | 437.00 | 65550.00 | 65550.00 | MD RIYAJUDDIN
24.00 | Providing and fixing 100mm brass locks (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 11.00 | Each | 359.00 | 349.00 | 3839.00 | 359.00 | 3949.00 | 407.00 | 4477.00 | 3839.00 | SUMEET MOHANTY
25.00 | Providing and fixing overhead hydraulic door closer of make OZONE (Scisor Arm)model No. NSK-680 STD or equivalent of Silver colour to take up the door weight upto 80 kg , with double speed adjustment with necessary accessories and screws etc. complete as per direction and satisfaction of Engineer-in-charge. | 13.00 | Each | 2345.89 | 2199.00 | 28587.00 | 2050.00 | 26650.00 | 2457.00 | 31941.00 | 26650.00 | AMRIT RANJAN NAYAK
26.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge.GI Metal Ceiling Lay in perforated Tegular edge global white color tiles of size 595x595 mm and 0.5 mm thick with 8 mm drop; made of GI sheet having galvanizing of 100 gms/ sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC (Noise Reduction Coefficient ) of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation, and backed with a black Glass fiber acoustical fleece. | 175.00 | Sqm | 1163.90 | 949.00 | 166075.00 | 850.00 | 148750.00 | 817.00 | 142975.00 | 142975.00 | MD RIYAJUDDIN
27.00 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | 100.00 | Mtr | 93.85 | 99.00 | 9900.00 | 90.00 | 9000.00 | 77.00 | 7700.00 | 7700.00 | MD RIYAJUDDIN
28.00 | Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface : Water thinnable cement primer | 750.00 | Sqm | 36.95 | 24.00 | 18000.00 | 30.00 | 22500.00 | 37.00 | 27750.00 | 18000.00 | SUMEET MOHANTY
29.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :125 mm | 30.00 | Each | 51.10 | 59.00 | 1770.00 | 50.00 | 1500.00 | 77.00 | 2310.00 | 1500.00 | AMRIT RANJAN NAYAK
30.00 | Providing and fixing IS : 12817 marked stainless steel butt hinges with stainless steel screws etc. complete :125x64x1.90 mm | 21.00 | Each | 64.85 | 69.00 | 1449.00 | 62.00 | 1302.00 | 97.00 | 2037.00 | 1302.00 | AMRIT RANJAN NAYAK
| Total in Figures |  |  |  |  | 1469275.00 |  | 1415991.00 |  | 1317637.00
Lowest Amount Quoted BY: MD RIYAJUDDIN(1317637.00)

## BOQ Summary
BOQ Summary Details Tender Title: Civil work for Installation of ILBS in Terminal-1 at B.P.I, Airport, BBSR Tender ID: 2020_AAI_54646_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MD RIYAJUDDIN | 1317637.00 | L1
| 2 | AMRIT RANJAN NAYAK | 1415991.00 | L2
| 3 | SUMEET MOHANTY | 1469275.00 | L3