## BoQ1
Government eProcurement System Created By: Nandlal Ram Created Date/Time: 08-Sep-2020 12:28 PM Tender Title: Repairing of Toilets at ATS complex, NSCBI Airport, Kolkata (Elect. Works) Tender ID: 2020_AAI_54671_1
Tender Inviting Authority: <AGM ( Engg.-Elect.)-I,RHQ,ER,Kolkata>
Name of Work: <Repairing of toilets at ATS complex, NSCBI Airport, Kolkata (SH: Electrical Works).>
Contract No: <AAI/ER/Kol/Sub.Div.-I/NIT-03/2020-21>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ANIRBAN ENTERPRISE(GSTN-19AHNPB5949D1Z6) |  | MANNA ELECTRONICS AND ELECTRICAL WORKS(GSTN-19AALFM9363P2Z6)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Sub Head - 1 (Light Fixtures) Supply of 2'x2' recessed mounted 42W LED luminaire with 5700 K colour temperature, 4600 lumen output, IP20 protection, white power coated CRCA housing with LEDs mounted back lifted tray, LED driver, all prewired, seamless frame with flat acrylic cover etc. complete as required suitable for operation on 230 V+/- 10%, 50Hz, single phase AC supply etc. complete as required and approved by EIC. | 96.00 | Each |  | 1800.00 | 172800.00 | 2230.00 | 214080.00 | 172800.00 | ANIRBAN ENTERPRISE
2.00 | Sub Head - 2 (Wiring, MCB, MCBDBs etc.) Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. Group C | 40.00 | Point |  | 1050.00 | 42000.00 | 902.00 | 36080.00 | 36080.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
3.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2x1.5 sq.mm. + 1x1.5 sq.mm. earth wire | 640.00 | Meter |  | 175.00 | 112000.00 | 110.00 | 70400.00 | 70400.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
4.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2x2.5 sq.mm. + 1x2.5 sq.mm. earth wire | 300.00 | Meter |  | 195.00 | 58500.00 | 167.00 | 50100.00 | 50100.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
5.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed medium class PVC conduit alongwith 1 No 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 150.00 | Meter |  | 205.00 | 30750.00 | 197.00 | 29550.00 | 29550.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
6.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. 20 mm | 500.00 | Meter |  | 75.00 | 37500.00 | 75.00 | 37500.00 | 37500.00 | ANIRBAN ENTERPRISE, MANNA ELECTRONICS AND ELECTRICAL WORKS
7.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 5/6 amps switch. | 80.00 | Each |  | 75.00 | 6000.00 | 62.00 | 4960.00 | 4960.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
8.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 15/16 amps switch. | 12.00 | Each |  | 105.00 | 1260.00 | 128.00 | 1536.00 | 1260.00 | ANIRBAN ENTERPRISE
9.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 3 pin 5/6 amps socket. | 80.00 | Each |  | 95.00 | 7600.00 | 129.00 | 10320.00 | 7600.00 | ANIRBAN ENTERPRISE
10.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 6 pin 15/16 amps socket. | 12.00 | Each |  | 150.00 | 1800.00 | 172.00 | 2064.00 | 1800.00 | ANIRBAN ENTERPRISE
11.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 2 Module (75mmX75mm) | 15.00 | Each |  | 190.00 | 2850.00 | 179.00 | 2685.00 | 2685.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
12.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 6 Module (200mmX75mm) | 5.00 | Each |  | 250.00 | 1250.00 | 202.00 | 1010.00 | 1010.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
13.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 8 Module (125mmX125mm) | 16.00 | Each |  | 300.00 | 4800.00 | 322.00 | 5152.00 | 4800.00 | ANIRBAN ENTERPRISE
14.00 | Supplying and fixing 6 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single Pole | 16.00 | Each |  | 200.00 | 3200.00 | 167.00 | 2672.00 | 2672.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
15.00 | Installation, testing and commissioning of prewired, indoor LED fitting of all types (except high bay light, outdoor/street light fittings), complete with all accessories and tube etc. directly on ceiling/ wall/ recess including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 96.00 | Each |  | 125.00 | 12000.00 | 101.00 | 9696.00 | 9696.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
16.00 | Sub Head - 3 (Ventilation duct & Exhaust fan) Supply, installation, balancing and commissioning of fabricated at site GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required. Site fabricated GSS sheet metal rectangular ducting as per IS 655-2006 for 0.63 mm thick | 600.00 | Sqm |  | 700.00 | 420000.00 | 648.50 | 389100.00 | 389100.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
17.00 | Supplying & fixing of powder coated extruded aluminium Return Air Grills with louvers but without volume control dampers complete as required. | 20.00 | Sqm |  | 6000.00 | 120000.00 | 5382.00 | 107640.00 | 107640.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
18.00 | Supply, installation, testing and commissioning of GI volume control duct damper complete with neoprene rubber gaskets, nuts, bolts, screws linkages, flanges etc, as per specifications. | 6.00 | Sqm |  | 6000.00 | 36000.00 | 5382.00 | 32292.00 | 32292.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
19.00 | Supply and Installation of Inline Fan including Canvas connection and making hole in wall and making good the same as required as per instruction of Engineer-in-charge (Make: SPHERE, Capacity - 1030 CFM, 230 Volt, 296 Watt, 1.34 Amps, 2720 RPM or similar). | 9.00 | Each |  | 18000.00 | 162000.00 | 16000.00 | 144000.00 | 144000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
| Total in Figures |  |  |  |  | 1232310.00 |  | 1150837.00
Lowest Amount Quoted BY: MANNA ELECTRONICS AND ELECTRICAL WORKS(1150837.00)

## BOQ Summary
BOQ Summary Details Tender Title: Repairing of Toilets at ATS complex, NSCBI Airport, Kolkata (Elect. Works) Tender ID: 2020_AAI_54671_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MANNA ELECTRONICS AND ELECTRICAL WORKS | 1150837.00 | L1
| 2 | ANIRBAN ENTERPRISE | 1232310.00 | L2