## BoQ1
Government eProcurement System Created By: Chandrashekhar Sharma Created Date/Time: 31-Aug-2020 03:12 PM Tender Title: Replacement of existing conventional light fittings in external area with LED type light fittings at MSSR and C.A. Porbandar Tender ID: 2020_AAI_54807_1
Tender Inviting Authority: AGM (E-E), AAI, C.A. Porbandar
Name of Work: : Replacement of Existing conventional Light Fittings in external area including high mast with LED type fittings at MSSR and C.A. Porbandar.
Contract No: AAI/POR/AGM(E-E)/e-NIT-04/20-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | Hitesh P. Patel(GSTN-24AGWPP0642B1ZI) |  | Taral Electricals(GSTN-24ACMPR0280M1Z9) |  | SKYLINE ENGINEERS(GSTN-27APZPD0679L1Z4) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | ABHISHEK ASSOCIATES(GSTN-24ADZPD4239Q1ZT)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of pole mounted LED Street light fitting with minimum output of 2850 lumens and wattage not more than 30 W, for 230V Single Phase AC supply, 50Hz, PF>0.95, Life of fitting not less than 50000 hrs complete as required. Luminaire should have pressure die cast Alminium/standard alloy housing, dedicated street light secondary optics for better uniformity & spacing with surge protection system. Luminaire should have proper thermal management. Min IP protection should be IP65. The fixtures should comply with the specification available in respective Indian Standard Code for BIS. The fitting should have manufacturers trade mark/name engraved /embrossing on die cast housing of fitting with minimum 5 years warranty for complete luminaire including Driver & control gear etc comlpete as required. | 14.00 | Each | 100.00 | 1852.00 | 25928.00 | 3000.00 | 42000.00 | 1540.00 | 21560.00 | 1200.00 | 16800.00 | 1600.00 | 22400.00 | 1208.00 | 16912.00 | 16800.00 | SKYLINE ENGINEERS
2.00 | Supply of pole mounted LED Street light fitting with minimum output of 6850 lumens and wattage not more than 70 W, for 230V Single Phase AC supply, 50Hz, PF>0.95, Life of fitting not less than 50000 hrs complete as required. Luminaire should have pressure die cast Alminium/standard alloy housing, dedicated street light secondary optics for better uniformity & spacing with surge protection system. Luminaire should have proper thermal management. Min IP protection should be IP65. The fixtures should comply with the specification available in respective Indian Standard Code for BIS. The fitting should have manufacturers trade mark/name engraved /embrossing on die cast housing of fitting with minimum 5 years warranty for complete luminaire including Driver & control gear etc comlpete as required. | 20.00 | Each | 100.00 | 2949.00 | 58980.00 | 4500.00 | 90000.00 | 2800.00 | 56000.00 | 2900.00 | 58000.00 | 4500.00 | 90000.00 | 2634.00 | 52680.00 | 52680.00 | ABHISHEK ASSOCIATES
3.00 | Supply of integral Flood Light Luminaire with minimum output of 7800 lumens and wattage not more than 80 W, for 230V Single Phase AC supply, 50Hz, PF>0.95, Life of fitting not less than 50000 hrs complete as required. Luminaire should have pressure die cast Alminium/standard alloy housing, dedicated street light secondary optics for better uniformity & spacing with surge protection system. Luminaire should have proper thermal management. Min IP protection should be IP65. The fixtures should comply with the specification available in respective Indian Standard Code for BIS. The fitting should have manufacturers trade mark/name engraved /embrossing on die cast housing of fitting with minimum 5 years warranty for complete luminaire including Driver & control gear etc comlpete as required. | 12.00 | Each | 100.00 | 2849.00 | 34188.00 | 5700.00 | 68400.00 | 3220.00 | 38640.00 | 3900.00 | 46800.00 | 6000.00 | 72000.00 | 3301.00 | 39612.00 | 34188.00 | Techno Electricals
4.00 | Supply of high mast mounted type LED Flood light fitting with minimum output of 22800 lumens and wattage not more than 240 W, for 230V Single Phase AC supply, 50Hz, PF>0.95, Life of fitting not less than 50000 hrs complete as required. Luminaire should have pressure die cast Alminium/standard alloy housing, dedicated street light secondary optics for better uniformity & spacing with surge protection system. Luminaire should have proper thermal management. Min IP protection should be IP65. The fixtures should comply with the specification available in respective Indian Standard Code for BIS. The fitting should have manufacturers trade mark/name engraved /embrossing on die cast housing of fitting with minimum 5 years warranty for complete luminaire including Driver & control gear etc comlpete as required. (Note : Beam angle 50D / 25D) | 20.00 | Each | 100.00 | 10250.00 | 205000.00 | 14000.00 | 280000.00 | 9380.00 | 187600.00 | 10500.00 | 210000.00 | 14500.00 | 290000.00 | 9200.00 | 184000.00 | 184000.00 | ABHISHEK ASSOCIATES
5.00 | Providing & fixing of Counter weight on high mast carriage for LED light fixtures | 2.00 | Job | 100.00 | 7500.00 | 15000.00 | 20000.00 | 40000.00 | 1865.00 | 3730.00 | 15000.00 | 30000.00 | 38000.00 | 76000.00 | 20000.00 | 40000.00 | 3730.00 | Taral Electricals
6.00 | Installation, testing and commissioning of 25W / 30W / 240 W LED street light / Flood Light Luminaire / Post Top Fittings complete with all accessories including connections, Providing and fixing suitable size clamp, nut bolt etc required for mounting the fixture on existing Pole, high mast carriage in place of existing fixtures / Fittings at different locations, dismantling of old Luminaire/Fittings and handing over to AAI etc complete as required. | 144.00 | Each | 100.00 | 325.00 | 46800.00 | 300.00 | 43200.00 | 299.00 | 43056.00 | 150.00 | 21600.00 | 200.00 | 28800.00 | 100.00 | 14400.00 | 14400.00 | ABHISHEK ASSOCIATES
7.00 | Supply, Installation Testing & Commissioning of dust & jet water proof, corrosion insulated Pole looping box of size 260mm x 210 mm x 116mm deep made of Thermoplastic Polycarbonete having 3 groomets, 2 glands and all accessories i/c provideing & fixing stud type nut driven 16A, 8way connector, seperator of suitable size to accommodate incoming and outgoing cables and fixing on existing street light pole with suitable clamps, providing 1 No “C” series SPN MCB of suitable rating in the box suitable for termination of 2 Nos 4 X 10 sq. mm MV cable, etc. complete as required. | 75.00 | Each | 100.00 | 1500.00 | 112500.00 | 2900.00 | 217500.00 | 2271.00 | 170325.00 | 1700.00 | 127500.00 | 2500.00 | 187500.00 | 2405.00 | 180375.00 | 112500.00 | Techno Electricals
8.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. (a) 4 x 10 Sqmm cable. | 150.00 | Set | 100.00 | 250.00 | 37500.00 | 50.00 | 7500.00 | 165.00 | 24750.00 | 125.00 | 18750.00 | 200.00 | 30000.00 | 176.00 | 26400.00 | 7500.00 | Hitesh P. Patel
| Total in Figures |  |  |  |  | 535896.00 |  | 788600.00 |  | 545661.00 |  | 529450.00 |  | 796700.00 |  | 554379.00
Lowest Amount Quoted BY: SKYLINE ENGINEERS(529450.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of existing conventional light fittings in external area with LED type light fittings at MSSR and C.A. Porbandar Tender ID: 2020_AAI_54807_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SKYLINE ENGINEERS | 529450.00 | L1
| 2 | Techno Electricals | 535896.00 | L2
| 3 | Taral Electricals | 545661.00 | L3
| 4 | ABHISHEK ASSOCIATES | 554379.00 | L4
| 5 | Hitesh P. Patel | 788600.00 | L5
| 6 | Manish Electricals | 796700.00 | L6