## BoQ1
Government eProcurement System Created By: Vivek Katara Created Date/Time: 17-Sep-2020 03:37 PM Tender Title: Annual Comprehensive Maintenance of AC Units, Water Coolers and Purifiers at CA Jammu for the year 2020-22. Tender ID: 2020_AAI_54833_1
Tender Inviting Authority: AIRPORTS AUTHORITY OF INDIA
Name of Work: ''Annual comprehensive maintenance of AC units, water cooler & Purifier at CA Jammu for the year 2020-22'.
Contract No: AAI/JMU/Elect/W-05
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ANOOP REFRIGERATION(GSTN-09AAGFA4646N1Z1) |  | M K ENTERPRISES(GSTN-27AMDPK7085L1ZJ)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.01 | SH:I For First Year (2020-21) Annual Comprehensive maintenance of following items by deploying 1 No. Technician (Skilled) and 1 No. Helper (Unskilled) for carrying out day to day maintenance, maintaining day to day records as per Agreement/ Tender doc on all working days etc. complete as req. as Instructed by EIC or its reprenstative,
1.02 | Annual Comprehensive maintenance of following Air Conditioning units including repair and maintenance of voltage stabilizers etc complete as required.
1.03 | 5.5 TR, 3Ph Ductable/ Casette/ Tower type split AC Units | 1.00 | Per unit per Year | 14140.00 | 12265.00 | 12265.00 | 11000.00 | 11000.00 | 11000.00 | M K ENTERPRISES
1.04 | 3-4 TR, 3Ph Ductable/Casette/Tower type split AC | 19.00 | Per unit per Year | 8080.00 | 7582.00 | 144058.00 | 6000.00 | 114000.00 | 114000.00 | M K ENTERPRISES
1.05 | 2 TR, 1Ph Hi wall/ Ductable split AC | 17.00 | Per unit per Year | 4545.00 | 4460.00 | 75820.00 | 4100.00 | 69700.00 | 69700.00 | M K ENTERPRISES
1.06 | 1.5 TR, 1 Ph Hi Wall Split AC Units | 46.00 | Per unit per Year | 3030.00 | 3345.00 | 153870.00 | 4100.00 | 188600.00 | 153870.00 | ANOOP REFRIGERATION
1.07 | Annual Comprehensive maintenance of storage type water coolers of capacity including repair and maintenance of voltage stabilizers etc complete as required.
1.08 | Upto 80 Ltrs | 4.00 | Per unit per Year | 5353.00 | 4014.00 | 16056.00 | 3000.00 | 12000.00 | 12000.00 | M K ENTERPRISES
1.09 | Above 80 Ltrs and upto 150 Ltrs | 9.00 | Per unit per Year | 6565.00 | 6021.00 | 54189.00 | 3000.00 | 27000.00 | 27000.00 | M K ENTERPRISES
1.10 | Annual Comprehensive maintenance of RO system including replacement of defective membranes, filters papers, Adopter,Pumps, Pressure switch,valves etc as required.
1.11 | 50LPH RO System | 4.00 | Per unit per Year | 12120.00 | 11150.00 | 44600.00 | 7800.00 | 31200.00 | 31200.00 | M K ENTERPRISES
1.12 | 25 LPH RO System | 4.00 | Per unit per Year | 9090.00 | 5575.00 | 22300.00 | 6800.00 | 27200.00 | 22300.00 | ANOOP REFRIGERATION
1.13 | Annual Comprehensive maintenance of Domestic RO including replacement of defectives membranes, filters,etc as required. | 1.00 | Per unit per Year | 6060.00 | 1784.00 | 1784.00 | 4886.00 | 4886.00 | 1784.00 | ANOOP REFRIGERATION
1.14 | Annual comprehensive maintenance of water dispensers of capacity 16 Ltr., having cooling and heating capacity (make Blue Star) including replacement of defective parts, filters etc complete as required. | 4.00 | Per unit per Year | 323.00 | 1249.00 | 4996.00 | 5000.00 | 20000.00 | 4996.00 | ANOOP REFRIGERATION
1.15 | Dismantling of following type split AC units upto 4 mtrs copper piping including mouting of indoor and outdoor units, drain piping arrangements, charging of refrigerant gas, insulation of refrigerant piping with extended polythene/PVC piping etc as complete as required.
1.16 | 1.5 to 2 TR split AC units | 20.00 | Each | 606.00 | 500.00 | 10000.00 | 200.00 | 4000.00 | 4000.00 | M K ENTERPRISES
1.17 | 3 to 4 TR 3 phase cassette/ Tower split AC units | 20.00 | Each | 1010.00 | 1600.00 | 32000.00 | 200.00 | 4000.00 | 4000.00 | M K ENTERPRISES
1.18 | Installation of following type split AC units upto 4 mtrs copper piping including mouting of indoor and outdoor units, drain piping arrangements, charging of refrigerant gas, insulation of refrigerant piping with extended polythene/PVC piping etc as complete as required.
1.19 | 1.5 to 2 TR split AC units | 20.00 | Each | 1515.00 | 1700.00 | 34000.00 | 1000.00 | 20000.00 | 20000.00 | M K ENTERPRISES
1.20 | 3 to 4 TR 3 phase cassette/ Tower split AC units | 20.00 | Each | 4545.00 | 3100.00 | 62000.00 | 2500.00 | 50000.00 | 50000.00 | M K ENTERPRISES
1.21 | Providing, installation, testing and commissioning of refrigerant (copper) piping including insulation for suction and discharge line for split AC units.
1.22 | 1.5 to 2 TR split AC units | 100.00 | Mtr | 808.00 | 500.00 | 50000.00 | 300.00 | 30000.00 | 30000.00 | M K ENTERPRISES
1.23 | 3 to 4 TR 3 phase cassette/ Tower split AC units | 100.00 | Mtr | 1212.00 | 600.00 | 60000.00 | 300.00 | 30000.00 | 30000.00 | M K ENTERPRISES
1.24 | SITC of timer based automatic changeover for 1.5/2.0 Tr Split type AC units suitable for selection of 1 unit of AC out of connected 2 units , operating at 230 V single phase 50Hz AC supply | 5.00 | Job | 5050.00 | 1800.00 | 9000.00 | 2000.00 | 10000.00 | 9000.00 | ANOOP REFRIGERATION
1.25 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/ recess including cutting the wall and making good the same in case of recessed conduit as required (for drain piping)
1.26 | 20 mm dia | 200.00 | Mtr | 101.00 | 80.00 | 16000.00 | 30.00 | 6000.00 | 6000.00 | M K ENTERPRISES
1.27 | Extra charges for supplying and laying following sizes PVC insulated and PVC round sheathed of 1.1 KV grade flexible copper conductor cable ISI marked on wall/ surface.
1.28 | 3C X 2.5 sq.mm | 200.00 | Mtr | 192.00 | 100.00 | 20000.00 | 30.00 | 6000.00 | 6000.00 | M K ENTERPRISES
1.29 | 4C X 4.0 sq.mm | 200.00 | Mtr | 354.00 | 195.00 | 39000.00 | 55.00 | 11000.00 | 11000.00 | M K ENTERPRISES
2.01 | SH:II For Second Year (2021-22) Annual Comprehensive maintenance of following items by deploying 1 No. Technician (Skilled) and 1 No. Helper (Unskilled) for carrying out day to day maintenance, maintaining day to day records as per Agreement/ Tender doc on all working days etc. complete as req. as Instructed by EIC or its reprenstative,
2.02 | Annual Comprehensive maintenance of following Air Conditioning units including repair and maintenance of voltage stabilizers etc complete as required.
2.03 | 5.5 TR, 3Ph Ductable/ Casette/ Tower type split AC Units | 1.00 | Per unit per Year | 14140.00 | 12265.00 | 12265.00 | 11000.00 | 11000.00 | 11000.00 | M K ENTERPRISES
2.04 | 3-4 TR, 3Ph Ductable/Casette/Tower type split AC | 19.00 | Per unit per Year | 8080.00 | 7582.00 | 144058.00 | 6000.00 | 114000.00 | 114000.00 | M K ENTERPRISES
2.05 | 2 TR, 1Ph Hi wall/ Ductable split AC | 17.00 | Per unit per Year | 4545.00 | 4460.00 | 75820.00 | 4000.00 | 68000.00 | 68000.00 | M K ENTERPRISES
2.06 | 1.5 TR, 1 Ph Hi Wall Split AC Units | 46.00 | Per unit per Year | 3030.00 | 3345.00 | 153870.00 | 4000.00 | 184000.00 | 153870.00 | ANOOP REFRIGERATION
2.07 | Annual Comprehensive maintenance of storage type water coolers of capacity including repair and maintenance of voltage stabilizers etc complete as required.
2.08 | Upto 80 Ltrs | 4.00 | Per unit per Year | 5353.00 | 4014.00 | 16056.00 | 3000.00 | 12000.00 | 12000.00 | M K ENTERPRISES
2.09 | Above 80 Ltrs and upto 150 Ltrs | 9.00 | Per unit per Year | 6565.00 | 6021.00 | 54189.00 | 3000.00 | 27000.00 | 27000.00 | M K ENTERPRISES
2.10 | Annual Comprehensive maintenance of RO system including replacement of defective membranes, filters papers, Adopter,Pumps, Pressure switch,valves etc as required.
2.11 | 50LPH RO System | 4.00 | Per unit per Year | 12120.00 | 11150.00 | 44600.00 | 7800.00 | 31200.00 | 31200.00 | M K ENTERPRISES
2.12 | 25 LPH RO System | 4.00 | Per unit per Year | 9090.00 | 5575.00 | 22300.00 | 6000.00 | 24000.00 | 22300.00 | ANOOP REFRIGERATION
2.13 | Annual Comprehensive maintenance of Domestic RO including replacement of defectives membranes, filters,etc as required. | 1.00 | Per unit per Year | 6565.00 | 1784.00 | 1784.00 | 5000.00 | 5000.00 | 1784.00 | ANOOP REFRIGERATION
2.14 | Annual comprehensive maintenance of water dispensers of capacity 16 Ltr., having cooling and heating capacity (make Blue Star) including replacement of defective parts, filters etc complete as required. | 4.00 | Per unit per Year | 323.00 | 1249.00 | 4996.00 | 5000.00 | 20000.00 | 4996.00 | ANOOP REFRIGERATION
2.15 | Dismantling of following type split AC units upto 4 mtrs copper piping including mouting of indoor and outdoor units, drain piping arrangements, charging of refrigerant gas, insulation of refrigerant piping with extended polythene/PVC piping etc as complete as required.
2.16 | 1.5 to 2 TR split AC units | 20.00 | Each | 606.00 | 500.00 | 10000.00 | 400.00 | 8000.00 | 8000.00 | M K ENTERPRISES
2.17 | 3 to 4 TR 3 phase cassette/ Tower split AC units | 20.00 | Each | 1010.00 | 1600.00 | 32000.00 | 400.00 | 8000.00 | 8000.00 | M K ENTERPRISES
2.18 | Installation of following type split AC units upto 4 mtrs copper piping including mouting of indoor and outdoor units, drain piping arrangements, charging of refrigerant gas, insulation of refrigerant piping with extended polythene/PVC piping etc as complete as required.
2.19 | 1.5 to 2 TR split AC units | 20.00 | Each | 1515.00 | 1700.00 | 34000.00 | 1000.00 | 20000.00 | 20000.00 | M K ENTERPRISES
2.20 | 3 to 4 TR 3 phase cassette/ Tower split AC units | 20.00 | Each | 4545.00 | 3100.00 | 62000.00 | 2000.00 | 40000.00 | 40000.00 | M K ENTERPRISES
2.21 | Providing, installation, testing and commissioning of refrigerant (copper) piping including insulation for suction and discharge line for split AC units.
2.22 | 1.5 to 2 TR split AC units | 100.00 | Mtr | 808.00 | 500.00 | 50000.00 | 300.00 | 30000.00 | 30000.00 | M K ENTERPRISES
2.23 | 3 to 4 TR 3 phase cassette/ Tower split AC units | 100.00 | Mtr | 1212.00 | 600.00 | 60000.00 | 300.00 | 30000.00 | 30000.00 | M K ENTERPRISES
2.24 | SITC of timer based automatic changeover for 1.5/2.0 Tr Split type AC units suitable for selection of 1 unit of AC out of connected 2 units , operating at 230 V single phase 50Hz AC supply | 5.00 | Job | 5050.00 | 1800.00 | 9000.00 | 1000.00 | 5000.00 | 5000.00 | M K ENTERPRISES
2.25 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/ recess including cutting the wall and making good the same in case of recessed conduit as required (for drain piping)
2.26 | 20 mm dia | 200.00 | Mtr | 101.00 | 120.00 | 24000.00 | 30.00 | 6000.00 | 6000.00 | M K ENTERPRISES
2.27 | Extra charges for supplying and laying following sizes PVC insulated and PVC round sheathed of 1.1 KV grade flexible copper conductor cable ISI marked on wall/ surface.
2.28 | 3C X 2.5 sq.mm | 200.00 | Mtr | 192.00 | 100.00 | 20000.00 | 30.00 | 6000.00 | 6000.00 | M K ENTERPRISES
2.29 | 4C X 4.0 sq.mm | 200.00 | Mtr | 354.00 | 195.00 | 39000.00 | 45.00 | 9000.00 | 9000.00 | M K ENTERPRISES
| Total in Figures |  |  |  |  | 1731876.00 |  | 1334786.00
Lowest Amount Quoted BY: M K ENTERPRISES(1334786.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Comprehensive Maintenance of AC Units, Water Coolers and Purifiers at CA Jammu for the year 2020-22. Tender ID: 2020_AAI_54833_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M K ENTERPRISES | 1334786.00 | L1
| 2 | ANOOP REFRIGERATION | 1731876.00 | L2