## BoQ1
Government eProcurement System Created By: Mousumi Dey Created Date/Time: 25-Sep-2020 05:56 PM Tender Title: RMO AC Equipment at NSCBI Airport Kolkata dg 2020 23 Sh Annual Maintenance contract of Window Tender ID: 2020_AAI_54854_1
Tender Inviting Authority: AAI, NSCBI AIRPORT, KOLKATA
Name of Work:RMO AC Equipment at NSCBI Airport Kolkata dg. 2020-23. Sh:- Annual Maintenance contract of Window AC’s, Split AC’s, Ductable AC’s Slim line AC’s, Package AC for 3 years.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SUVIDHA ENGINEERS INDIA PVT LTD(GSTN-19AABCS7831B1ZH) |  | ROSHAN REFRIGERATION AND ELECTRICALS(GSTN-23AAJFR9192B1Z5) |  | M/s AGFA(GSTN-19ACVPR5281M1ZG) |  | ABS AIRCON ENGINEERS PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH: I
2.00 | To carryout Day to day maintenance of Window AC, Split AC, Ductable AC of various capacity 1 Ph/3 Ph including all accessories & attending complaints / faults / breakdown , rectification and ensuring serviceability / satisfactory working condition and maintaining all records as per PMI schedule as per the special conditions of contract , throughout a year in general basis as per the instruction of the Engineer - in - charge or his authorized representative as per the requirement of works at various installations inside/outside operational area.
3.00 | a) For 1st Year | 1.00 | month |  | 233500.00 | 2802000.00 | 195199.00 | 2342388.00 | 217000.00 | 2604000.00 | 253887.00 | 3046644.00 | 2342388.00 | ROSHAN REFRIGERATION AND ELECTRICALS
4.00 | b) For 2nd Year | 1.00 | month |  | 233500.00 | 2802000.00 | 195199.00 | 2342388.00 | 217000.00 | 2604000.00 | 253887.00 | 3046644.00 | 2342388.00 | ROSHAN REFRIGERATION AND ELECTRICALS
5.00 | c) For 3rd Year | 1.00 | month |  | 233500.00 | 2802000.00 | 195199.00 | 2342388.00 | 217000.00 | 2604000.00 | 253887.00 | 3046644.00 | 2342388.00 | ROSHAN REFRIGERATION AND ELECTRICALS
6.00 | SH - I I
7.00 | Annual maintenance of 1.5 TR window type AC units including replacement of capacitors, Relays, Repairing of Compressors, & PCB , Rewinding of Motors & Gas charging etc. as and when required basis including attending breakdown calls complete as required.
8.00 | a) For 1st Year | 115.00 | Per machine per month |  | 35.00 | 48300.00 | 99.92 | 137889.60 | 75.00 | 103500.00 | 90.00 | 124200.00 | 48300.00 | SUVIDHA ENGINEERS INDIA PVT LTD
9.00 | b) For 2nd Year | 122.00 | Per machine per month |  | 40.00 | 58560.00 | 99.92 | 146282.88 | 79.00 | 115656.00 | 90.00 | 131760.00 | 58560.00 | SUVIDHA ENGINEERS INDIA PVT LTD
10.00 | c) For 3rd Year | 122.00 | Per machine per month |  | 45.00 | 65880.00 | 99.92 | 146282.88 | 83.00 | 121512.00 | 90.00 | 131760.00 | 65880.00 | SUVIDHA ENGINEERS INDIA PVT LTD
11.00 | Annual maintenance of 1.5 TR Split type AC units including replacement of capacitors, Relays, Repairing of Compressors, PCB , Rewinding of Motors & Gas charging etc. as and when required basis including attending breakdown calls complete as required.
12.00 | a) For 1st Year | 45.00 | Per machine per month |  | 35.00 | 18900.00 | 99.92 | 53956.80 | 75.00 | 40500.00 | 90.00 | 48600.00 | 18900.00 | SUVIDHA ENGINEERS INDIA PVT LTD
13.00 | b) For 2nd Year | 49.00 | Per machine per month |  | 40.00 | 23520.00 | 99.92 | 58752.96 | 79.00 | 46452.00 | 90.00 | 52920.00 | 23520.00 | SUVIDHA ENGINEERS INDIA PVT LTD
14.00 | c) For 3rd Year | 49.00 | Per machine per month |  | 45.00 | 26460.00 | 99.92 | 58752.96 | 83.00 | 48804.00 | 90.00 | 52920.00 | 26460.00 | SUVIDHA ENGINEERS INDIA PVT LTD
15.00 | Annual maintenance of 2 TR Split type AC units including replacement of capacitors, Relays, Repairing of Compressors, PCB , Rewinding of Motors & Gas charging etc. as and when required basis including attending breakdown calls complete as required.
16.00 | a) For 1st Year | 109.00 | Per machine per month |  | 47.00 | 61476.00 | 166.58 | 217886.64 | 100.00 | 130800.00 | 110.00 | 143880.00 | 61476.00 | SUVIDHA ENGINEERS INDIA PVT LTD
17.00 | b) For 2nd Year | 136.00 | Per machine per month |  | 53.00 | 86496.00 | 166.58 | 271858.56 | 105.00 | 171360.00 | 110.00 | 179520.00 | 86496.00 | SUVIDHA ENGINEERS INDIA PVT LTD
18.00 | c) For 3rd Year | 136.00 | Per machine per month |  | 60.00 | 97920.00 | 166.58 | 271858.56 | 111.00 | 181152.00 | 110.00 | 179520.00 | 97920.00 | SUVIDHA ENGINEERS INDIA PVT LTD
19.00 | Annual maintenance of 2 TR Slim line Split type AC units including replacement of capacitors, Relays, Repairing of Compressors, PCB , Rewinding of Motors & Gas charging etc. as and when required basis including attending breakdown calls complete as required.
20.00 | a) For 1st Year | 19.00 | Per machine per month |  | 47.00 | 10716.00 | 416.58 | 94980.24 | 100.00 | 22800.00 | 150.00 | 34200.00 | 10716.00 | SUVIDHA ENGINEERS INDIA PVT LTD
21.00 | b) For 2nd Year | 36.00 | Per machine per month |  | 53.00 | 22896.00 | 416.58 | 179962.56 | 105.00 | 45360.00 | 150.00 | 64800.00 | 22896.00 | SUVIDHA ENGINEERS INDIA PVT LTD
22.00 | c) For 3rd Year | 36.00 | Per machine per month |  | 60.00 | 25920.00 | 416.58 | 179962.56 | 111.00 | 47952.00 | 150.00 | 64800.00 | 25920.00 | SUVIDHA ENGINEERS INDIA PVT LTD
23.00 | Annual maintenance of 3 TR Single Split type AC units including replacement of capacitors, Relays, Repairing of Compressors, PCB , Rewinding of Motors & Gas charging etc. as and when required basis including attending breakdown calls complete as required.
24.00 | a) For 1st Year | 18.00 | Per machine per month |  | 70.00 | 15120.00 | 416.58 | 89981.28 | 150.00 | 32400.00 | 200.00 | 43200.00 | 15120.00 | SUVIDHA ENGINEERS INDIA PVT LTD
25.00 | b) For 2nd Year | 18.00 | Per machine per month |  | 80.00 | 17280.00 | 416.58 | 89981.28 | 158.00 | 34128.00 | 200.00 | 43200.00 | 17280.00 | SUVIDHA ENGINEERS INDIA PVT LTD
26.00 | c) For 3rd Year | 18.00 | Per machine per month |  | 90.00 | 19440.00 | 416.58 | 89981.28 | 166.00 | 35856.00 | 200.00 | 43200.00 | 19440.00 | SUVIDHA ENGINEERS INDIA PVT LTD
27.00 | Annual maintenance of 3 TR Slim line Split type AC units including replacement of capacitors, Relays , 3 Ph Contractors , Repairing of 3 Ph Compressors, PCB , Rewinding of Motors & Gas charging etc. as and when required basis including attending breakdown calls complete as required.
28.00 | a) For 1st Year | 13.00 | Per machine per month |  | 70.00 | 10920.00 | 333.25 | 51987.00 | 150.00 | 23400.00 | 250.00 | 39000.00 | 10920.00 | SUVIDHA ENGINEERS INDIA PVT LTD
29.00 | b) For 2nd Year | 23.00 | Per machine per month |  | 80.00 | 22080.00 | 333.25 | 91977.00 | 158.00 | 43608.00 | 250.00 | 69000.00 | 22080.00 | SUVIDHA ENGINEERS INDIA PVT LTD
30.00 | c) For 3rd Year | 23.00 | Per machine per month |  | 90.00 | 24840.00 | 333.25 | 91977.00 | 166.00 | 45816.00 | 250.00 | 69000.00 | 24840.00 | SUVIDHA ENGINEERS INDIA PVT LTD
31.00 | Annual maintenance of 4 TR Slim line Split type AC units including replacement of capacitors, Relays , 3 Ph Contractors , Repairing of 3 Ph Compressors, PCB , Rewinding of Motors & Gas charging etc. as and when required basis including attending breakdown calls complete as required.
32.00 | a) For 1st Year | 10.00 | Per machine per month |  | 93.00 | 11160.00 | 583.25 | 69990.00 | 200.00 | 24000.00 | 330.00 | 39600.00 | 11160.00 | SUVIDHA ENGINEERS INDIA PVT LTD
33.00 | b) For 2nd Year | 10.00 | Per machine per month |  | 107.00 | 12840.00 | 583.25 | 69990.00 | 210.00 | 25200.00 | 330.00 | 39600.00 | 12840.00 | SUVIDHA ENGINEERS INDIA PVT LTD
34.00 | c) For 3rd Year | 10.00 | Per machine per month |  | 120.00 | 14400.00 | 583.25 | 69990.00 | 220.00 | 26400.00 | 330.00 | 39600.00 | 14400.00 | SUVIDHA ENGINEERS INDIA PVT LTD
35.00 | Annual maintenance of 5 TR Ductable Split type AC units including replacement of capacitors, Relays , 3 Ph Contractors , Repairing of 3 Ph Compressors, PCB , Rewinding of Motors & Gas charging etc. as and when required basis including attending breakdown calls complete as required.
36.00 | a) For 1st Year | 2.00 | Per machine per month |  | 267.00 | 6408.00 | 666.58 | 15997.92 | 250.00 | 6000.00 | 350.00 | 8400.00 | 6000.00 | M/s AGFA
37.00 | b) For 2nd Year | 2.00 | Per machine per month |  | 267.00 | 6408.00 | 666.58 | 15997.92 | 263.00 | 6312.00 | 350.00 | 8400.00 | 6312.00 | M/s AGFA
38.00 | c) For 3rd Year | 2.00 | Per machine per month |  | 300.00 | 7200.00 | 666.58 | 15997.92 | 277.00 | 6648.00 | 350.00 | 8400.00 | 6648.00 | M/s AGFA
39.00 | Annual maintenance of 5.5 TR Ductable Split type AC units including replacement of capacitors, Relays , 3 Ph Contractors , Repairing of 3 Ph Compressors, PCB , Rewinding of Motors & Gas charging etc. as and when required basis including attending breakdown calls complete as required.
40.00 | a) For 1st Year | 3.00 | Per machine per month |  | 293.00 | 10548.00 | 666.58 | 23996.88 | 275.00 | 9900.00 | 380.00 | 13680.00 | 9900.00 | M/s AGFA
41.00 | b) For 2nd Year | 3.00 | Per machine per month |  | 294.00 | 10584.00 | 666.58 | 23996.88 | 289.00 | 10404.00 | 380.00 | 13680.00 | 10404.00 | M/s AGFA
42.00 | c) For 3rd Year | 3.00 | Per machine per month |  | 330.00 | 11880.00 | 666.58 | 23996.88 | 304.00 | 10944.00 | 380.00 | 13680.00 | 10944.00 | M/s AGFA
43.00 | Annual maintenance of 7.5 TR Ductable Split type AC units including replacement of capacitors, Relays , 3 Ph Contractors , Repairing of 3 Ph Compressors, PCB , Rewinding of Motors & Gas charging etc. as and when required basis including attending breakdown calls complete as required.
44.00 | a) For 1st Year | 8.00 | Per machine per month |  | 400.00 | 38400.00 | 666.58 | 63991.68 | 375.00 | 36000.00 | 525.00 | 50400.00 | 36000.00 | M/s AGFA
45.00 | b) For 2nd Year | 8.00 | Per machine per month |  | 400.00 | 38400.00 | 666.58 | 63991.68 | 394.00 | 37824.00 | 525.00 | 50400.00 | 37824.00 | M/s AGFA
46.00 | c) For 3rd Year | 8.00 | Per machine per month |  | 450.00 | 43200.00 | 666.58 | 63991.68 | 414.00 | 39744.00 | 525.00 | 50400.00 | 39744.00 | M/s AGFA
47.00 | Annual maintenance of 8.5 TR Ductable Split type AC units including replacement of capacitors, Relays , 3 Ph Contractors , Repairing of 3 Ph Compressors, PCB , Rewinding of Motors & Gas charging etc. as and when required basis including attending breakdown calls complete as required.
48.00 | a) For 1st Year | 4.00 | Per machine per month |  | 454.00 | 21792.00 | 666.58 | 31995.84 | 425.00 | 20400.00 | 600.00 | 28800.00 | 20400.00 | M/s AGFA
49.00 | b) For 2nd Year | 4.00 | Per machine per month |  | 454.00 | 21792.00 | 666.58 | 31995.84 | 446.00 | 21408.00 | 600.00 | 28800.00 | 21408.00 | M/s AGFA
50.00 | c) For 3rd Year | 4.00 | Per machine per month |  | 510.00 | 24480.00 | 666.58 | 31995.84 | 469.00 | 22512.00 | 600.00 | 28800.00 | 22512.00 | M/s AGFA
51.00 | Annual maintenance of 11 TR Ductable Split type AC units including replacement of capacitors, Relays , 3 Ph Contractors , Repairing of 3 Ph Compressors, PCB , Rewinding of Motors & Gas charging etc. as and when required basis including attending breakdown calls complete as required.
52.00 | a) For 1st Year | 3.00 | Per machine per month |  | 587.00 | 21132.00 | 833.25 | 29997.00 | 550.00 | 19800.00 | 750.00 | 27000.00 | 19800.00 | M/s AGFA
53.00 | b) For 2nd Year | 3.00 | Per machine per month |  | 587.00 | 21132.00 | 833.25 | 29997.00 | 578.00 | 20808.00 | 750.00 | 27000.00 | 20808.00 | M/s AGFA
54.00 | c) For 3rd Year | 3.00 | Per machine per month |  | 660.00 | 23760.00 | 833.25 | 29997.00 | 607.00 | 21852.00 | 750.00 | 27000.00 | 21852.00 | M/s AGFA
55.00 | SH-III
56.00 | Dismantling of 1/1.5/2 TR Window AC from existing location and shifting the same in the store etc. as required.
57.00 | a) For 1st Year | 15.00 | Each |  | 688.00 | 10320.00 | 199.00 | 2985.00 | 2.00 | 30.00 | 150.00 | 2250.00 | 30.00 | M/s AGFA
58.00 | b) For 2nd Year | 15.00 | Each |  | 686.00 | 10290.00 | 199.00 | 2985.00 | 2.00 | 30.00 | 150.00 | 2250.00 | 30.00 | M/s AGFA
59.00 | c) For 3rd Year | 15.00 | Each |  | 686.00 | 10290.00 | 199.00 | 2985.00 | 2.00 | 30.00 | 150.00 | 2250.00 | 30.00 | M/s AGFA
60.00 | Dismantling of 1/1.5/2 TR Split AC from existing location and shifting the same in the store etc. as required.
61.00 | a) For 1st Year | 25.00 | Nos |  | 689.00 | 17225.00 | 199.00 | 4975.00 | 2.00 | 50.00 | 500.00 | 12500.00 | 50.00 | M/s AGFA
62.00 | b) For 2nd Year | 25.00 | Nos |  | 686.00 | 17150.00 | 199.00 | 4975.00 | 2.00 | 50.00 | 500.00 | 12500.00 | 50.00 | M/s AGFA
63.00 | c) For 3rd Year | 25.00 | Nos |  | 686.00 | 17150.00 | 199.00 | 4975.00 | 2.00 | 50.00 | 500.00 | 12500.00 | 50.00 | M/s AGFA
64.00 | Dismantling of 3/4 TR Split AC from existing location and shifting the same in the store etc. as required.
65.00 | a) For 1st Year | 15.00 | Nos |  | 919.00 | 13785.00 | 199.00 | 2985.00 | 3.00 | 45.00 | 500.00 | 7500.00 | 45.00 | M/s AGFA
66.00 | b) For 2nd Year | 15.00 | Nos |  | 915.00 | 13725.00 | 199.00 | 2985.00 | 3.00 | 45.00 | 500.00 | 7500.00 | 45.00 | M/s AGFA
67.00 | c) For 3rd Year | 15.00 | Nos |  | 915.00 | 13725.00 | 199.00 | 2985.00 | 3.00 | 45.00 | 500.00 | 7500.00 | 45.00 | M/s AGFA
68.00 | Dismantling of 5/7.5 TR Split AC from existing location and shifting the same in the store etc. as required.
69.00 | a) For 1st Year | 5.00 | Nos |  | 915.00 | 4575.00 | 299.00 | 1495.00 | 4.00 | 20.00 | 1000.00 | 5000.00 | 20.00 | M/s AGFA
70.00 | b) For 2nd Year | 5.00 | Nos |  | 915.00 | 4575.00 | 299.00 | 1495.00 | 4.00 | 20.00 | 1000.00 | 5000.00 | 20.00 | M/s AGFA
71.00 | c) For 3rd Year | 5.00 | Nos |  | 915.00 | 4575.00 | 299.00 | 1495.00 | 4.00 | 20.00 | 1000.00 | 5000.00 | 20.00 | M/s AGFA
72.00 | Installation/testing and commissioning of 1.5/2 TR window AC with suitable wooden frame i/c making opening in the wall and making opening good with sand cement plaster etc as required.
73.00 | a) For 1st Year | 20.00 | Nos |  | 4010.00 | 80200.00 | 999.00 | 19980.00 | 2.00 | 40.00 | 500.00 | 10000.00 | 40.00 | M/s AGFA
74.00 | b) For 2nd Year | 20.00 | Nos |  | 4004.00 | 80080.00 | 999.00 | 19980.00 | 2.00 | 40.00 | 500.00 | 10000.00 | 40.00 | M/s AGFA
75.00 | c) For 3rd Year | 20.00 | Nos |  | 4004.00 | 80080.00 | 999.00 | 19980.00 | 2.00 | 40.00 | 500.00 | 10000.00 | 40.00 | M/s AGFA
76.00 | Installation/testing and commissioning of 1.5/2 TR window AC including gas charging in the existing opening with suitable wooden etc as required.
77.00 | a) For 1st Year | 20.00 | Nos |  | 2297.00 | 45940.00 | 1899.00 | 37980.00 | 2.00 | 40.00 | 300.00 | 6000.00 | 40.00 | M/s AGFA
78.00 | b) For 2nd Year | 20.00 | Nos |  | 2288.00 | 45760.00 | 1899.00 | 37980.00 | 2.00 | 40.00 | 300.00 | 6000.00 | 40.00 | M/s AGFA
79.00 | C) For 3rd Year | 20.00 | Nos |  | 2288.00 | 45760.00 | 1899.00 | 37980.00 | 2.00 | 40.00 | 300.00 | 6000.00 | 40.00 | M/s AGFA
80.00 | Installation/testing and commissioning of 1/ 1.5/2 TR Split AC i/c dehydration ,leak,testing,pressure testing and gas charging etc as required.
81.00 | a) For 1st Year | 20.00 | Nos |  | 1378.00 | 27560.00 | 1999.00 | 39980.00 | 2.00 | 40.00 | 300.00 | 6000.00 | 40.00 | M/s AGFA
82.00 | b) For 2nd Year | 20.00 | Nos |  | 1373.00 | 27460.00 | 1999.00 | 39980.00 | 2.00 | 40.00 | 300.00 | 6000.00 | 40.00 | M/s AGFA
83.00 | c) For 3rd Year | 20.00 | Nos |  | 1373.00 | 27460.00 | 1999.00 | 39980.00 | 2.00 | 40.00 | 300.00 | 6000.00 | 40.00 | M/s AGFA
84.00 | Installation/testing and commissioning of 3/ 4 TR Split AC i/c dehydration ,leak,testing,pressure testing and gas charging etc as required.
85.00 | a) For 1st Year | 10.00 | Nos |  | 2871.00 | 28710.00 | 2999.00 | 29990.00 | 3.00 | 30.00 | 450.00 | 4500.00 | 30.00 | M/s AGFA
86.00 | b) For 2nd Year | 10.00 | Nos |  | 2860.00 | 28600.00 | 2999.00 | 29990.00 | 3.00 | 30.00 | 450.00 | 4500.00 | 30.00 | M/s AGFA
87.00 | c) For 3rd Year | 10.00 | Nos |  | 3203.00 | 32030.00 | 2999.00 | 29990.00 | 3.00 | 30.00 | 450.00 | 4500.00 | 30.00 | M/s AGFA
88.00 | Installation/testing and commissioning of 5/7.5 TR ductable AC i/c dehydration ,leak,testing,pressure testing and gas charging etc as required.
89.00 | a) For 1st Year | 5.00 | Nos |  | 2870.00 | 14350.00 | 4999.00 | 24995.00 | 5.00 | 25.00 | 650.00 | 3250.00 | 25.00 | M/s AGFA
90.00 | b) For 2nd Year | 5.00 | Nos |  | 2860.00 | 14300.00 | 4999.00 | 24995.00 | 5.00 | 25.00 | 650.00 | 3250.00 | 25.00 | M/s AGFA
91.00 | c) For 3rd Year | 5.00 | Nos |  | 3203.00 | 16015.00 | 4999.00 | 24995.00 | 5.00 | 25.00 | 650.00 | 3250.00 | 25.00 | M/s AGFA
92.00 | Supply and laying of 3x2.5 Sq.mm PVC insulated PVC sheathed unarmoured copper conductor cable on wall surface/recess etc as required and as per direction of Engineer-in-charge.
93.00 | a) For 1st Year | 100.00 | Mtr |  | 59.00 | 5900.00 | 99.00 | 9900.00 | 90.00 | 9000.00 | 89.00 | 8900.00 | 5900.00 | SUVIDHA ENGINEERS INDIA PVT LTD
94.00 | b) For 2nd Year | 100.00 | Mtr |  | 63.00 | 6300.00 | 99.00 | 9900.00 | 92.00 | 9200.00 | 89.00 | 8900.00 | 6300.00 | SUVIDHA ENGINEERS INDIA PVT LTD
95.00 | c) For 3rd Year | 100.00 | Mtr |  | 69.00 | 6900.00 | 99.00 | 9900.00 | 95.00 | 9500.00 | 89.00 | 8900.00 | 6900.00 | SUVIDHA ENGINEERS INDIA PVT LTD
96.00 | Supply and fixing of 1 "dia hard PVC pipe for drain line on wall surface/recess etc as required and as per direction of Engineer-in-charge.
97.00 | a) For 1st Year | 100.00 | Mtr |  | 40.00 | 4000.00 | 19.00 | 1900.00 | 55.00 | 5500.00 | 100.00 | 10000.00 | 1900.00 | ROSHAN REFRIGERATION AND ELECTRICALS
98.00 | b) For 2nd Year | 100.00 | Mtr |  | 43.00 | 4300.00 | 19.00 | 1900.00 | 60.00 | 6000.00 | 100.00 | 10000.00 | 1900.00 | ROSHAN REFRIGERATION AND ELECTRICALS
99.00 | c) For 3rd Year | 100.00 | Mtr |  | 43.00 | 4300.00 | 19.00 | 1900.00 | 65.00 | 6500.00 | 100.00 | 10000.00 | 1900.00 | ROSHAN REFRIGERATION AND ELECTRICALS
100.00 | Supply and fixing following refrigerant piping with superlon insulation on wall surface /recess etc as required and as per direction of Engineer-in-charge.
101.00 | 3/8" copper pipe with Nitrile Rubber insulation.
102.00 | a) For 1st Year | 100.00 | Mtr |  | 143.00 | 14300.00 | 299.00 | 29900.00 | 200.00 | 20000.00 | 130.00 | 13000.00 | 13000.00 | ABS AIRCON ENGINEERS PRIVATE LIMITED
103.00 | b) For 2nd Year | 100.00 | Mtr |  | 154.00 | 15400.00 | 299.00 | 29900.00 | 205.00 | 20500.00 | 130.00 | 13000.00 | 13000.00 | ABS AIRCON ENGINEERS PRIVATE LIMITED
104.00 | c) For 3rd Year | 100.00 | Mtr |  | 154.00 | 15400.00 | 299.00 | 29900.00 | 210.00 | 21000.00 | 130.00 | 13000.00 | 13000.00 | ABS AIRCON ENGINEERS PRIVATE LIMITED
105.00 | 5/8" copper pipe with Nitrile Rubber insulation.
106.00 | a) For 1st Year | 100.00 | Mtr |  | 257.00 | 25700.00 | 299.00 | 29900.00 | 250.00 | 25000.00 | 225.00 | 22500.00 | 22500.00 | ABS AIRCON ENGINEERS PRIVATE LIMITED
107.00 | b) For 2nd Year | 100.00 | Mtr |  | 275.00 | 27500.00 | 299.00 | 29900.00 | 263.00 | 26300.00 | 225.00 | 22500.00 | 22500.00 | ABS AIRCON ENGINEERS PRIVATE LIMITED
108.00 | c) For 3rd Year | 100.00 | Mtr |  | 275.00 | 27500.00 | 299.00 | 29900.00 | 275.00 | 27500.00 | 225.00 | 22500.00 | 22500.00 | ABS AIRCON ENGINEERS PRIVATE LIMITED
109.00 | 1/4" copper pipe with Nitrile Rubber insulation.
110.00 | a) For 1st Year | 100.00 | Mtr |  | 85.00 | 8500.00 | 119.00 | 11900.00 | 170.00 | 17000.00 | 105.00 | 10500.00 | 8500.00 | SUVIDHA ENGINEERS INDIA PVT LTD
111.00 | b) For 2nd Year | 100.00 | Mtr |  | 90.00 | 9000.00 | 119.00 | 11900.00 | 175.00 | 17500.00 | 105.00 | 10500.00 | 9000.00 | SUVIDHA ENGINEERS INDIA PVT LTD
112.00 | c) For 3rd Year | 100.00 | Mtr |  | 90.00 | 9000.00 | 119.00 | 11900.00 | 180.00 | 18000.00 | 105.00 | 10500.00 | 9000.00 | SUVIDHA ENGINEERS INDIA PVT LTD
113.00 | 1/2" copper pipe with Nitrile Rubber insulation.
114.00 | a) For 1st Year | 100.00 | Mtr |  | 186.00 | 18600.00 | 149.00 | 14900.00 | 230.00 | 23000.00 | 175.00 | 17500.00 | 14900.00 | ROSHAN REFRIGERATION AND ELECTRICALS
115.00 | b) For 2nd Year | 100.00 | Mtr |  | 197.00 | 19700.00 | 149.00 | 14900.00 | 240.00 | 24000.00 | 175.00 | 17500.00 | 14900.00 | ROSHAN REFRIGERATION AND ELECTRICALS
116.00 | c) For 3rd Year | 100.00 | Mtr |  | 197.00 | 19700.00 | 149.00 | 14900.00 | 250.00 | 25000.00 | 175.00 | 17500.00 | 14900.00 | ROSHAN REFRIGERATION AND ELECTRICALS
117.00 | Supply of R- 22 Refrigerant.
118.00 | a) For 1st Year | 90.00 | Kgs. |  | 515.00 | 46350.00 | 519.00 | 46710.00 | 620.00 | 55800.00 | 575.00 | 51750.00 | 46350.00 | SUVIDHA ENGINEERS INDIA PVT LTD
119.00 | b) For 2nd Year | 90.00 | Kgs. |  | 515.00 | 46350.00 | 519.00 | 46710.00 | 630.00 | 56700.00 | 575.00 | 51750.00 | 46350.00 | SUVIDHA ENGINEERS INDIA PVT LTD
120.00 | c) For 3rd Year | 90.00 | Kgs. |  | 515.00 | 46350.00 | 519.00 | 46710.00 | 640.00 | 57600.00 | 575.00 | 51750.00 | 46350.00 | SUVIDHA ENGINEERS INDIA PVT LTD
121.00 | Supply of 7/8 Copper Pipe for 8.5 Tr.
122.00 | a) For 1st Year | 50.00 | Mtr |  | 410.00 | 20500.00 | 299.00 | 14950.00 | 415.00 | 20750.00 | 400.00 | 20000.00 | 14950.00 | ROSHAN REFRIGERATION AND ELECTRICALS
123.00 | b) For 2nd Year | 50.00 | Mtr |  | 423.00 | 21150.00 | 299.00 | 14950.00 | 422.00 | 21100.00 | 400.00 | 20000.00 | 14950.00 | ROSHAN REFRIGERATION AND ELECTRICALS
124.00 | c) For 3rd Year | 50.00 | Mtr |  | 423.00 | 21150.00 | 299.00 | 14950.00 | 430.00 | 21500.00 | 400.00 | 20000.00 | 14950.00 | ROSHAN REFRIGERATION AND ELECTRICALS
| Total in Figures |  |  |  |  | 10583780.00 |  | 11035659.00 |  | 10014122.00 |  | 11792502.00
Lowest Amount Quoted BY: M/s AGFA(10014122.00)

## BOQ Summary
BOQ Summary Details Tender Title: RMO AC Equipment at NSCBI Airport Kolkata dg 2020 23 Sh Annual Maintenance contract of Window Tender ID: 2020_AAI_54854_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s AGFA | 10014122.00 | L1
| 2 | SUVIDHA ENGINEERS INDIA PVT LTD | 10583780.00 | L2
| 3 | ROSHAN REFRIGERATION AND ELECTRICALS | 11035659.00 | L3
| 4 | ABS AIRCON ENGINEERS PRIVATE LIMITED | 11792502.00 | L4