## BoQ1
Government eProcurement System Created By: Arun Naik Created Date/Time: 11-Sep-2020 04:44 PM Tender Title: Provision of UVGI air purification system in existing AHUs at ATS Complex, WR, Mumbai. Tender ID: 2020_AAI_55076_1
Tender Inviting Authority: Asstt.General Manager (Engg.-Elect.),ATS Complex, Mumbai.
Name of Work: Provision of UVGI air purification system in existing AHUs at ATS Complex,WR, Mumbai.
Contract No: MUM/ATS/ENGG-E/eNIT-02/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ELECTRO ENGINEERS(GSTN-22AANPH2105E2ZE) |  | Anzen Projects Private Limited(GSTN-06AANCA5052C1ZZ) |  | Blue Star Limited(GSTN-27AAACB4487D1ZS) |  | SARASWAT ENGINEERING SERVICES(GSTN-27AAZFS6239C1ZO) |  | Voltas Limited(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.01 | Design, supply, installation, testing and commissioning of the UVGI (Ultra Violet Germinal irradiation) system including all required accessories, supply and laying of power & control cabling/wiring from available power source including required modifications in existing panel, SITC of control panel, Dismantling of the blue PVC damper/diffuser if any fitted inside the AHU, modification / provision of the door interlocking mechanism for auto on-off operation of AHU and UVGI system,etc. for AHU's of the following capacity as per the site requirement, technical specification and as per the guidelines given by ISHRAE & ASHRAE for air disinfection. Minimum dosage to AHU Air flow: 4016 μW-sec./cm² for four air changes. a) AHU capacity : 22000 CFM | 2.00 | Job |  | 194800.00 | 389600.00 | 110000.00 | 220000.00 | 89013.34 | 178026.68 | 150000.00 | 300000.00 | 83530.00 | 167060.00 | 167060.00 | Voltas Limited
1.02 | Design, supply, installation, testing and commissioning of the UVGI (Ultra Violet Germinal irradiation) system including all required accessories, supply and laying of power & control cabling/wiring from available power source including required modifications in existing panel, SITC of control panel, Dismantling of the blue PVC damper/diffuser if any fitted inside the AHU, modification / provision of the door interlocking mechanism for auto on-off operation of AHU and UVGI system,etc. for AHU's of the following capacity as per the site requirement, technical specification and as per the guidelines given by ISHRAE & ASHRAE for air disinfection. Minimum dosage to AHU Air flow: 4016 μW-sec./cm² for four air changes. b) AHU capacity : 18000 CFM | 6.00 | Job |  | 192400.00 | 1154400.00 | 90000.00 | 540000.00 | 82595.22 | 495571.32 | 120000.00 | 720000.00 | 83530.00 | 501180.00 | 495571.32 | Blue Star Limited
1.03 | Design, supply, installation, testing and commissioning of the UVGI (Ultra Violet Germinal irradiation) system including all required accessories, supply and laying of power & control cabling/wiring from available power source including required modifications in existing panel, SITC of control panel, Dismantling of the blue PVC damper/diffuser if any fitted inside the AHU, modification / provision of the door interlocking mechanism for auto on-off operation of AHU and UVGI system,etc. for AHU's of the following capacity as per the site requirement, technical specification and as per the guidelines given by ISHRAE & ASHRAE for air disinfection. Minimum dosage to AHU Air flow: 4016 μW-sec./cm² for four air changes. c) AHU capacity : 12000 CFM | 2.00 | Job |  | 170400.00 | 340800.00 | 60000.00 | 120000.00 | 67373.09 | 134746.18 | 100000.00 | 200000.00 | 40410.00 | 80820.00 | 80820.00 | Voltas Limited
1.04 | Design, supply, installation, testing and commissioning of the UVGI (Ultra Violet Germinal irradiation) system including all required accessories, supply and laying of power & control cabling/wiring from available power source including required modifications in existing panel, SITC of control panel, Dismantling of the blue PVC damper/diffuser if any fitted inside the AHU, modification / provision of the door interlocking mechanism for auto on-off operation of AHU and UVGI system,etc. for AHU's of the following capacity as per the site requirement, technical specification and as per the guidelines given by ISHRAE & ASHRAE for air disinfection. Minimum dosage to AHU Air flow: 4016 μW-sec./cm² for four air changes. d) AHU capacity : 10000 CFM | 16.00 | Job |  | 162400.00 | 2598400.00 | 50000.00 | 800000.00 | 62635.75 | 1002172.00 | 75000.00 | 1200000.00 | 40410.00 | 646560.00 | 646560.00 | Voltas Limited
1.05 | Design, supply, installation, testing and commissioning of the UVGI (Ultra Violet Germinal irradiation) system including all required accessories, supply and laying of power & control cabling/wiring from available power source including required modifications in existing panel, SITC of control panel, Dismantling of the blue PVC damper/diffuser if any fitted inside the AHU, modification / provision of the door interlocking mechanism for auto on-off operation of AHU and UVGI system,etc. for AHU's of the following capacity as per the site requirement, technical specification and as per the guidelines given by ISHRAE & ASHRAE for air disinfection. Minimum dosage to AHU Air flow: 4016 μW-sec./cm² for four air changes. e) AHU capacity : 5000 CFM | 2.00 | Job |  | 116500.00 | 233000.00 | 25000.00 | 50000.00 | 41069.30 | 82138.60 | 50000.00 | 100000.00 | 37250.00 | 74500.00 | 50000.00 | Anzen Projects Private Limited
1.06 | Design, supply, installation, testing and commissioning of the UVGI (Ultra Violet Germinal irradiation) system including all required accessories, supply and laying of power & control cabling/wiring from available power source including required modifications in existing panel, SITC of control panel, Dismantling of the blue PVC damper/diffuser if any fitted inside the AHU, modification / provision of the door interlocking mechanism for auto on-off operation of AHU and UVGI system,etc. for AHU's of the following capacity as per the site requirement, technical specification and as per the guidelines given by ISHRAE & ASHRAE for air disinfection. Minimum dosage to AHU Air flow: 4016 μW-sec./cm² for four air changes. f) AHU capacity : 3000 CFM | 1.00 | Job |  | 145000.00 | 145000.00 | 24999.00 | 24999.00 | 35887.58 | 35887.58 | 40000.00 | 40000.00 | 37250.00 | 37250.00 | 24999.00 | Anzen Projects Private Limited
| Total in Figures |  |  |  |  | 4861200.00 |  | 1754999.00 |  | 1928542.36 |  | 2560000.00 |  | 1507370.00
Lowest Amount Quoted BY: Voltas Limited(1507370.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of UVGI air purification system in existing AHUs at ATS Complex, WR, Mumbai. Tender ID: 2020_AAI_55076_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Voltas Limited | 1507370.00 | L1
| 2 | Anzen Projects Private Limited | 1754999.00 | L2
| 3 | Blue Star Limited | 1928542.36 | L3
| 4 | SARASWAT ENGINEERING SERVICES | 2560000.00 | L4
| 5 | ELECTRO ENGINEERS | 4861200.00 | L5