## BoQ1
Government eProcurement System Created By: Surendra kishor Nepalia Created Date/Time: 15-Sep-2020 04:22 PM Tender Title: Annual Comprehensive Maintenance of Micro Processor Based Addressable Fire Alarm System and Other Miscellaneous Works of Terminal 1 Building at SVPI Airport Ahmedabad Year 2020 21 Tender ID: 2020_AAI_55237_1
Tender Inviting Authority: Asst. Gen. Manager (Engg.-Elect)
Name of Work: Annual Comprehensive Maintenance of Micro Processor Based Addressable Fire Alarm System & Other Miscellaneous Works of Terminal-1 Building at SVPI Airport, Ahmedabad (Year 2020-21).
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | ABHISHEK ASSOCIATES(GSTN-24ADZPD4239Q1ZT) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | Shree om Enterprise(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Comprehensive maintenance of micro processor based addressable fire alarm & detection control panel, battery back up system, all type of detectors, multi sensor detectors, response indicators, manual call points, control modules, circuit isolators, multi criteria detectors, monitor modules, hooters including associated wiring work up to main fire control panel installed at various locations of T-1 Departure Building as detailed in the special conditions of the contract etc. complete as required. The work includes the periodical checking/testing, programming, servicing, maintaining records, attending break down calls, repairing, supply & replacement of all defective components of fire alarm control panel like power supply card, loop card, CPU, software, mother board, cabinet, display card, batteries, battery charger, wiring, any other software / hardware etc. if required as per AAI & OEM recommendation (by deploying 01 no Technician on daily basis) | 12.00 | Month |  | 19000.00 | 228000.00 | 24655.00 | 295860.00 | 26358.00 | 316296.00 | 18800.00 | 225600.00 | 225600.00 | Shree om Enterprise
2.00 | Comprehensive maintenance of micro processor based addressable fire alarm & detection control panel, battery back up system, all type of detectors, multi sensor detectors, response indicators, manual call points, control modules, circuit isolators, multi criteria detectors, monitor modules, hooters including associated wiring work up to main fire control panel installed at various locations of T-1 Arrival Building as detailed in the special conditions of the contract etc. complete as required. The work includes the periodical checking/testing, programming, servicing, maintaining records, attending break down calls, repairing, supply & replacement of all defective components of fire alarm control panel like power supply card, loop card, CPU, software, mother board, cabinet, display card, batteries, battery charger, wiring, any other software / hardware etc. if required as per AAI & OEM recommendation (by deploying 01 no Technician on daily basis) | 12.00 | Month |  | 13000.00 | 156000.00 | 24655.00 | 295860.00 | 26358.00 | 316296.00 | 14000.00 | 168000.00 | 156000.00 | CENTRE TAP ENGINEERING
3.00 | Comprehensive maintenance of micro processor based addressable fire alarm & detection control panel, battery back up system, all type of photoelectric detectors, multi sensor detectors, response indicators, manual call points, control modules, circuit isolators, multi criteria detectors, monitor modules, hooters including associated wiring work up to main fire control panel installed at various locations of AAI Admin Building as detailed in the special conditions of the contract etc. complete as required. The work includes the periodical checking/testing, programming, servicing, maintaining records, attending break down calls, repairing, supply & replacement of all defective components of fire alarm control panel like power supply card, loop card, CPU, software, mother board, cabinet, display card, batteries, battery charger, wiring, any other software / hardware etc. if required as per AAI & OEM recommendation. | 12.00 | Month |  | 6500.00 | 78000.00 | 1000.00 | 12000.00 | 4000.00 | 48000.00 | 8000.00 | 96000.00 | 12000.00 | ABHISHEK ASSOCIATES
4.00 | Maintenance & up-keeping of fire fighting system installed in AAI Admin Building inclusive of periodical checking/ testing, servicing, maintaining records, attending break down calls of all hydrant valves, pipes, branch pipes , hose reels, hose pipes, NRVs, pipe lines, pressure switches , diesel engine pumps, main pumps, jockey pumps, batteries , starter panels, air cushion tank, pressure gauges, sluice valves etc as detailed in the special conditions of the contract etc. complete as required. | 12.00 | Month |  | 7800.00 | 93600.00 | 1000.00 | 12000.00 | 1500.00 | 18000.00 | 7000.00 | 84000.00 | 12000.00 | ABHISHEK ASSOCIATES
5.00 | Providing Data entry computer operator (Highly-Skilled) for working in Engineering -Electrical section (01 No) for computer related work as per the detailed specifications, terms & conditions covered under this contract on all days excluding sundays etc. as reqd. | 12.00 | Month |  | 13000.00 | 156000.00 | 25036.00 | 300432.00 | 28103.00 | 337236.00 | 13500.00 | 162000.00 | 156000.00 | CENTRE TAP ENGINEERING
6.00 | All Inclusive Comprehensive Annual Maintenance contract for following Electrically Operated Automatic Glass Sliding Doors at T-1 Building i/c Carrying out preventive maintenance and attending break down calls etc. complete all as required. a) 2 Mtr. Door 05 Nos. | 12.00 | Month |  | 17000.00 | 204000.00 | 3000.00 | 36000.00 | 10000.00 | 120000.00 | 15750.00 | 189000.00 | 36000.00 | ABHISHEK ASSOCIATES
7.00 | All Inclusive Comprehensive Annual Maintenance contract for following Electrically Operated Automatic Glass Sliding Doors at T-1 Building i/c Carrying out preventive maintenance and attending break down calls etc. complete all as required. b) 1 Mtr. Door 03 Nos. | 12.00 | Month |  | 8500.00 | 102000.00 | 1000.00 | 12000.00 | 6000.00 | 72000.00 | 8000.00 | 96000.00 | 12000.00 | ABHISHEK ASSOCIATES
8.00 | Annual Comprehensive Maintenance of Automatic Vehicle Gate installed at different locations at SVPI Airport, Ahmedabad. Total 05 no. gates the job involves repairs / maintenance & attending complaints /faults/breakdowns including supply of required spares and taking rectification action, ensuring serviceability / satisfactory working condition of the gates, preventive maintenance, maintenance of records/documents etc. | 12.00 | Month |  | 14000.00 | 168000.00 | 21179.00 | 254148.00 | 25700.00 | 308400.00 | 14850.00 | 178200.00 | 168000.00 | CENTRE TAP ENGINEERING
| Total in Figures |  |  |  |  | 1185600.00 |  | 1218300.00 |  | 1536228.00 |  | 1198800.00
Lowest Amount Quoted BY: CENTRE TAP ENGINEERING(1185600.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Comprehensive Maintenance of Micro Processor Based Addressable Fire Alarm System and Other Miscellaneous Works of Terminal 1 Building at SVPI Airport Ahmedabad Year 2020 21 Tender ID: 2020_AAI_55237_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CENTRE TAP ENGINEERING | 1185600.00 | L1
| 2 | Shree om Enterprise | 1198800.00 | L2
| 3 | ABHISHEK ASSOCIATES | 1218300.00 | L3
| 4 | Manish Electricals | 1536228.00 | L4