## BoQ1
Government eProcurement System Created By: Lakhan Pal Singh Solanki Created Date/Time: 05-Oct-2020 11:29 AM Tender Title: ARMO of Electrical Installation at Safdarjung Airport Tender ID: 2020_AAI_55298_1
Tender Inviting Authority: Asstt. Gen. Mgr., Airports Authority of India, Safdarjung Airport, New Delhi-110003
Name of Work: Running maintenance of Electrical installation of Safdarjung Airport & Residential Colony of Jorbagh & Airport lane, etc. at Safdarjung Airport, New Delhi. (for the year of 2020-22)
Contract No: AAI/SAP/AGM(E-E)/ARMO -SAP/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ANAND AND COMPANTY(GSTN-07ADWPA8366N1ZP) |  | S. N ELECTRICALS(GSTN-07AKEPG8675R2Z9) |  | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED(GSTN-03AACCJ6494J1ZC) |  | K B S ELECTRICALS(GSTN-07ASBPS3251L1ZJ) |  | M/S B.A.G ENTERPRISES(GSTN-NA) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I- Operation & maintenance
2.00 | Running maintenance of Internal and External electrical installations on all days for one month at CAD colony, Jorbagh, Karbala, Airport lane & Safdarjung Airport in general shift basis as per the requirement of works. The contractor has to deploy the following minimum man power per day including Saturday , Sunday & holidays etc, as per the instructions of Engineer-in-charge or his authorized representative. i) Supervisor(Highlly skilled) – 1 No. (Excluding Sunday) ii) Operator (Highlly skilled) – 1 No (Excluding Sunday) iii) Electrician (Skilled) – 6 Nos iv) Electrician cum DG Operator (Skilled) – 3 Nos v) Pump Operator (Semi-skilled)– 2 Nos vi) Khallasi – 8 Nos | 24.00 | Month | 0.00 | 433322.00 | 10399728.00 | 480500.00 | 11532000.00 | 435000.00 | 10440000.00 | 504000.00 | 12096000.00 | 439000.00 | 10536000.00 | 428000.00 | 10272000.00 | 10272000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
3.00 | Providing one trained Driver cum Electrician to drive the Govt. Vehicle & to maintain the Electric installations of various area's in all days excluding Sunday, in general shift per month and as per instruction of engineer in charge/ authorized representative as per the requirement of works. | 24.00 | Month | 0.00 | 21800.00 | 523200.00 | 25200.00 | 604800.00 | 22000.00 | 528000.00 | 24300.00 | 583200.00 | 21000.00 | 504000.00 | 21606.00 | 518544.00 | 504000.00 | M/S B.A.G ENTERPRISES
4.00 | Add for extra allowance of Rs. 2000/- per month to be paid in addition to the minimum wages to the following manpower (The agency has to quote the rate in conformity with Para no. 12(ii, vi & vii) of Special Condition of Contract). i) Supervisor – 1 No. ii) Trained Driver cum Electrician – 1 No iii) Operator (Highlly skilled) – 1 No | 24.00 | Month | 0.00 | 6000.00 | 144000.00 | 6600.00 | 158400.00 | 6000.00 | 144000.00 | 75600.00 | 1814400.00 | 1000.00 | 24000.00 | 6000.00 | 144000.00 | 24000.00 | M/S B.A.G ENTERPRISES
5.00 | SH-II: Miscellaneous minor repair works for E&M installations, as per specification,as & when required with prior approval of Engineer in charge.
6.00 | Complete servicing of different type & model ceiling fans i/c greasing, replacement of cotter pin, rubber bush, bolts & nuts i/c dismanteling, reinstallation of fan at the existing location as reqd.(excluding replacement of bearing ) | 50.00 | Each | 0.00 | 50.00 | 2500.00 | 75.00 | 3750.00 | 50.00 | 2500.00 | 99.00 | 4950.00 | 500.00 | 25000.00 | 1.00 | 50.00 | 50.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
7.00 | Painting of following installations in position with synthetic enamelled paint by spray/ brush painting by one or more coats including scraping, cleaning of surface & writting actual nomenclature with highlighted colour on the installation after painting etc.
7.01 | Distribution boards /out door panel/ Feedar piller etc. | 80.00 | Sq.mtr | 0.00 | 150.00 | 12000.00 | 100.00 | 8000.00 | 50.00 | 4000.00 | 100.00 | 8000.00 | 100.00 | 8000.00 | 80.00 | 6400.00 | 4000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
7.02 | Post top poles singal /double Arms, height up to 4 mtr | 25.00 | Each | 0.00 | 200.00 | 5000.00 | 75.00 | 1875.00 | 50.00 | 1250.00 | 200.00 | 5000.00 | 300.00 | 7500.00 | 200.00 | 5000.00 | 1250.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
7.03 | Street light pole height above 7 to 9 mtrs | 50.00 | Each | 0.00 | 300.00 | 15000.00 | 100.00 | 5000.00 | 50.00 | 2500.00 | 450.00 | 22500.00 | 400.00 | 20000.00 | 200.00 | 10000.00 | 2500.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
8.00 | Labour charges for lowering & lifting i/c dismantling of different sizes submersible pump set/ jet assembly alongwith pipe lines, cable from the existing bore, as & when reqd. re-installing back of the same i/c cost of cable joint & minor items such as nut bolt & rubber packing etc. ( charges for repairing or rectification of fault of pump/ motor will be paid separately). | 4.00 | Each | 0.00 | 4000.00 | 16000.00 | 4000.00 | 16000.00 | 2000.00 | 8000.00 | 3600.00 | 14400.00 | 4000.00 | 16000.00 | 4000.00 | 16000.00 | 8000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
9.00 | Providing & replacement of bearing / bush of ceiling fans i/c associated work as per the requirment of following fans i/c dismantling and reinstallation of fan with testing, commissioning etc.as reqd.(Dismantled material shall be retained by the contractor)
9.01 | Ceiling fan of all makes and models | 50.00 | Each | 0.00 | 50.00 | 2500.00 | 150.00 | 7500.00 | 50.00 | 2500.00 | 125.00 | 6250.00 | 400.00 | 20000.00 | 5.00 | 250.00 | 250.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
9.02 | 12" Exhaust fan | 25.00 | Each | 0.00 | 50.00 | 1250.00 | 150.00 | 3750.00 | 50.00 | 1250.00 | 200.00 | 5000.00 | 500.00 | 12500.00 | 5.00 | 125.00 | 125.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
10.00 | Providing and replacement of damage/ rusted GI pipe line of submersible/ monoblock pump set, as & when reqd. with following size i/c threading cutting and accessories such as flange, socket, gasket, nut - bolts, washer etc. as reqd. I/c transportation to site of work.( make: Tata/Jindal)
10.01 | 2" dia GI 'B' class Pipe | 10.00 | Meter | 0.00 | 300.00 | 3000.00 | 200.00 | 2000.00 | 300.00 | 3000.00 | 540.00 | 5400.00 | 500.00 | 5000.00 | 50.00 | 500.00 | 500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
10.02 | 3" dia GI 'B' class Pipe | 10.00 | Meter | 0.00 | 350.00 | 3500.00 | 200.00 | 2000.00 | 400.00 | 4000.00 | 1200.00 | 12000.00 | 550.00 | 5500.00 | 60.00 | 600.00 | 600.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
11.00 | Providing and fixing wood wool pads (1 set of 3 nos.) of good quality of suitable size for following capacity desert cooler at different locations & floors i/c dismantling, existing pads if reqd.
11.01 | 4000 cum/hr. | 20.00 | Set | 0.00 | 150.00 | 3000.00 | 110.00 | 2200.00 | 100.00 | 2000.00 | 100.00 | 2000.00 | 1000.00 | 20000.00 | 100.00 | 2000.00 | 2000.00 | K B S ELECTRICALS, CIS GLOBAL INFRATECH PRIVATE LIMITED, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
12.00 | Rewinding of the following ceiling fan, desert cooler motors etc i/c dismanteling, transportation to workshop & back.(Dismantled material shall be retained by the contractor)
12.01 | Ceiling fan of all makes and models. | 75.00 | Each | 0.00 | 250.00 | 18750.00 | 150.00 | 11250.00 | 200.00 | 15000.00 | 215.00 | 16125.00 | 250.00 | 18750.00 | 300.00 | 22500.00 | 11250.00 | S. N ELECTRICALS
12.02 | Desert cooler fan motor of all makes and models. | 10.00 | Each | 0.00 | 250.00 | 2500.00 | 200.00 | 2000.00 | 200.00 | 2000.00 | 425.00 | 4250.00 | 400.00 | 4000.00 | 300.00 | 3000.00 | 2000.00 | S. N ELECTRICALS, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
12.03 | Exhaust Fan of all makes & model up to 300mm. | 50.00 | Each | 0.00 | 250.00 | 12500.00 | 200.00 | 10000.00 | 200.00 | 10000.00 | 180.00 | 9000.00 | 250.00 | 12500.00 | 300.00 | 15000.00 | 9000.00 | K B S ELECTRICALS
12.04 | Exhaust Fan of all makes & model up to 450mm. | 5.00 | Each | 0.00 | 50.00 | 250.00 | 250.00 | 1250.00 | 200.00 | 1000.00 | 350.00 | 1750.00 | 300.00 | 1500.00 | 300.00 | 1500.00 | 250.00 | ANAND AND COMPANTY
13.00 | Rewinding of the following water pump motors and replacement of Bearing , bushes, water seal of pump motors etc i/c dismanteling, transportation to workshop & back i/c connection, testing & commissioning as reqd. (Dismantled material shall be retained by the contractor)
13.01 | 3 HP 3 phase mono block submersible pump Motor | 4.00 | Each | 0.00 | 3000.00 | 12000.00 | 1500.00 | 6000.00 | 2000.00 | 8000.00 | 2250.00 | 9000.00 | 1000.00 | 4000.00 | 1000.00 | 4000.00 | 4000.00 | M/S B.A.G ENTERPRISES, CIS GLOBAL INFRATECH PRIVATE LIMITED
13.02 | 5 HP, 3 phase submersible pump motor | 4.00 | Each | 0.00 | 10.00 | 40.00 | 1500.00 | 6000.00 | 3000.00 | 12000.00 | 2700.00 | 10800.00 | 1000.00 | 4000.00 | 1000.00 | 4000.00 | 40.00 | ANAND AND COMPANTY
13.03 | 1 to 2 HP Submersible Pump Motor | 4.00 | Each | 0.00 | 1000.00 | 4000.00 | 1500.00 | 6000.00 | 2000.00 | 8000.00 | 1250.00 | 5000.00 | 500.00 | 2000.00 | 1000.00 | 4000.00 | 2000.00 | M/S B.A.G ENTERPRISES
13.04 | 0.5 to 1 HP monoblock pump motor | 6.00 | Each | 0.00 | 1000.00 | 6000.00 | 1500.00 | 9000.00 | 1000.00 | 6000.00 | 500.00 | 3000.00 | 400.00 | 2400.00 | 900.00 | 5400.00 | 2400.00 | M/S B.A.G ENTERPRISES
13.05 | 20 HP open well monoblock pump motor | 1.00 | Each | 0.00 | 10.00 | 10.00 | 7500.00 | 7500.00 | 5000.00 | 5000.00 | 7500.00 | 7500.00 | 6000.00 | 6000.00 | 1000.00 | 1000.00 | 10.00 | ANAND AND COMPANTY
14.00 | Repairing of following capacity of submersible/ monoblock water supply pumps & replacement of all required unserviceable parts such as discharge bowl/ discharge bearing, intermediate bowl/ impeller/ upthrust coller/ intermediate bowl bearing/ pump shaft/ Suction inlet/ suction adopter/ pump motor coupling / water seal /rotar polishing & tunning of roter etc i/c lath work, dismanteling, transportation to workshop & back and reinstallation i/c , testing & commissioning as reqd. (Dismantled material shall be retained by the contractor)
14.01 | 5 HP 3 phase submersible pump | 4.00 | Each | 0.00 | 10.00 | 40.00 | 1500.00 | 6000.00 | 2000.00 | 8000.00 | 3600.00 | 14400.00 | 500.00 | 2000.00 | 20.00 | 80.00 | 40.00 | ANAND AND COMPANTY
14.02 | 3 HP 3 Ph mono block submersible pump | 4.00 | Each | 0.00 | 10.00 | 40.00 | 1500.00 | 6000.00 | 2000.00 | 8000.00 | 3600.00 | 14400.00 | 500.00 | 2000.00 | 20.00 | 80.00 | 40.00 | ANAND AND COMPANTY
14.03 | 1 to 2 HP Submersible Pump | 4.00 | Each | 0.00 | 10.00 | 40.00 | 1500.00 | 6000.00 | 1000.00 | 4000.00 | 3600.00 | 14400.00 | 200.00 | 800.00 | 20.00 | 80.00 | 40.00 | ANAND AND COMPANTY
14.04 | 20 HP open well monoblock pump motor | 1.00 | Each | 0.00 | 10.00 | 10.00 | 4500.00 | 4500.00 | 2000.00 | 2000.00 | 9000.00 | 9000.00 | 3000.00 | 3000.00 | 10.00 | 10.00 | 10.00 | ANAND AND COMPANTY, CIS GLOBAL INFRATECH PRIVATE LIMITED
15.00 | SH-III- Supply of the following items as per specifications & reqired Makes, as and when required with prior approval of engineer in charge.
16.00 | 36 watt Electronic Ballast suitable for 36 watt FTL, Make-Bajaj. | 75.00 | Each | 0.00 | 100.00 | 7500.00 | 90.00 | 6750.00 | 100.00 | 7500.00 | 150.00 | 11250.00 | 100.00 | 7500.00 | 40.00 | 3000.00 | 3000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
17.00 | 18 watt copper Ballest suitable for garden light make-Bajaj (BJHF 118) | 40.00 | Each | 0.00 | 150.00 | 6000.00 | 85.00 | 3400.00 | 100.00 | 4000.00 | 145.00 | 5800.00 | 200.00 | 8000.00 | 50.00 | 2000.00 | 2000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
18.00 | 4 pin 18 watt (220mm long) PLC CFL(without choke) (Make: Havells, Cat No.-PHCS04018) | 20.00 | Each | 0.00 | 10.00 | 200.00 | 90.00 | 1800.00 | 50.00 | 1000.00 | 180.00 | 3600.00 | 190.00 | 3800.00 | 10.00 | 200.00 | 200.00 | ANAND AND COMPANTY, CIS GLOBAL INFRATECH PRIVATE LIMITED
19.00 | 36 watt fluorescent lamp (3250 Lumens TRULITE) | 50.00 | Each | 0.00 | 10.00 | 500.00 | 40.00 | 2000.00 | 20.00 | 1000.00 | 81.00 | 4050.00 | 250.00 | 12500.00 | 30.00 | 1500.00 | 500.00 | ANAND AND COMPANTY
20.00 | 10watt B22 LED lamp Make: Havells/Bajaj/Osram | 20.00 | Each | 0.00 | 130.00 | 2600.00 | 250.00 | 5000.00 | 100.00 | 2000.00 | 150.00 | 3000.00 | 90.00 | 1800.00 | 30.00 | 600.00 | 600.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
21.00 | 36/40 Watt FTL Starter (Make: Universal/Bajaj/ Philiphs/Havells) | 200.00 | Each | 0.00 | 15.00 | 3000.00 | 5.00 | 1000.00 | 10.00 | 2000.00 | 12.00 | 2400.00 | 50.00 | 10000.00 | 3.00 | 600.00 | 600.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
22.00 | 5watt B22 LED lamp Make: Havells/Bajaj/Osram | 20.00 | Each | 0.00 | 120.00 | 2400.00 | 195.00 | 3900.00 | 100.00 | 2000.00 | 155.00 | 3100.00 | 100.00 | 2000.00 | 10.00 | 200.00 | 200.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
23.00 | 2 pin 18 watt PLC CFL(without choke) (Make-Philips/Osram/ Bajaj/ Havells) (For Garden light bollard) | 20.00 | Each | 0.00 | 10.00 | 200.00 | 95.00 | 1900.00 | 50.00 | 1000.00 | 140.00 | 2800.00 | 120.00 | 2400.00 | 10.00 | 200.00 | 200.00 | ANAND AND COMPANTY, CIS GLOBAL INFRATECH PRIVATE LIMITED
24.00 | 4 pin PL-L 36 watt CFL(Make-Philips/Osram/ Bajaj) | 20.00 | Each | 0.00 | 10.00 | 200.00 | 100.00 | 2000.00 | 100.00 | 2000.00 | 165.00 | 3300.00 | 150.00 | 3000.00 | 20.00 | 400.00 | 200.00 | ANAND AND COMPANTY
25.00 | 18W Tube light 2 feet (for data center) | 10.00 | Each | 0.00 | 50.00 | 500.00 | 40.00 | 400.00 | 20.00 | 200.00 | 42.00 | 420.00 | 300.00 | 3000.00 | 20.00 | 200.00 | 200.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
26.00 | 4 pin 18 watt (154 mm long) PLC CFL(without choke) (Make: Havells, Cat No.-PHCD04018) | 10.00 | Each | 0.00 | 110.00 | 1100.00 | 110.00 | 1100.00 | 70.00 | 700.00 | 200.00 | 2000.00 | 150.00 | 1500.00 | 26.00 | 260.00 | 260.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
27.00 | 2 pin 11 watt PLC CFL(without choke) (Make: Havells, Cat No.-PHCS011) (For Garden light pole) | 80.00 | Each | 0.00 | 100.00 | 8000.00 | 95.00 | 7600.00 | 50.00 | 4000.00 | 155.00 | 12400.00 | 130.00 | 10400.00 | 70.00 | 5600.00 | 4000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
28.00 | 70W, Metal Halide lamp double ended | 10.00 | Each | 0.00 | 10.00 | 100.00 | 250.00 | 2500.00 | 200.00 | 2000.00 | 450.00 | 4500.00 | 250.00 | 2500.00 | 20.00 | 200.00 | 100.00 | ANAND AND COMPANTY
29.00 | 70W, HPSV lamp | 50.00 | Each | 0.00 | 300.00 | 15000.00 | 400.00 | 20000.00 | 200.00 | 10000.00 | 325.00 | 16250.00 | 300.00 | 15000.00 | 10.00 | 500.00 | 500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
30.00 | Electronic Ballast for 11W CFL | 10.00 | Each | 0.00 | 10.00 | 100.00 | 110.00 | 1100.00 | 100.00 | 1000.00 | 125.00 | 1250.00 | 20.00 | 200.00 | 30.00 | 300.00 | 100.00 | ANAND AND COMPANTY
31.00 | Copper ballast for 70W SV/MH | 50.00 | Each | 0.00 | 700.00 | 35000.00 | 1150.00 | 57500.00 | 500.00 | 25000.00 | 500.00 | 25000.00 | 50.00 | 2500.00 | 80.00 | 4000.00 | 2500.00 | M/S B.A.G ENTERPRISES
32.00 | Copper ballast for 150W SV/MH | 5.00 | Each | 0.00 | 10.00 | 50.00 | 1250.00 | 6250.00 | 100.00 | 500.00 | 925.00 | 4625.00 | 70.00 | 350.00 | 60.00 | 300.00 | 50.00 | ANAND AND COMPANTY
33.00 | Copper ballast for 250W SV/MH | 5.00 | Each | 0.00 | 10.00 | 50.00 | 1550.00 | 7750.00 | 100.00 | 500.00 | 1250.00 | 6250.00 | 100.00 | 500.00 | 60.00 | 300.00 | 50.00 | ANAND AND COMPANTY
34.00 | 110Volt Tube Light starter (Data center) | 20.00 | Each | 0.00 | 20.00 | 400.00 | 25.00 | 500.00 | 10.00 | 200.00 | 65.00 | 1300.00 | 250.00 | 5000.00 | 10.00 | 200.00 | 200.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
35.00 | 6 Amp. SP MCB 10 KA 'C series make- Havells (Cat no.- DHMGCSPF006-032 or equivalent). | 20.00 | Each | 0.00 | 5.00 | 100.00 | 110.00 | 2200.00 | 1.00 | 20.00 | 110.00 | 2200.00 | 130.00 | 2600.00 | 10.00 | 200.00 | 20.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
36.00 | 10 Amp. SP MCB 10 KA 'C' series , Make- Havells (Cat no.- DHMGCSPF006-032 or equivalent). | 20.00 | Each | 0.00 | 125.00 | 2500.00 | 110.00 | 2200.00 | 1.00 | 20.00 | 110.00 | 2200.00 | 130.00 | 2600.00 | 10.00 | 200.00 | 20.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
37.00 | 16Amp. SP MCB 10 KA 'C' series, Make- Havells (Cat no.- DHMGCSPF006-032 or equivalent). | 20.00 | Each | 0.00 | 125.00 | 2500.00 | 110.00 | 2200.00 | 1.00 | 20.00 | 110.00 | 2200.00 | 130.00 | 2600.00 | 20.00 | 400.00 | 20.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
38.00 | 20A SP MCB. 10 KA 'C' series , Make- Havells(Cat no.- DHMGCSPF006-032 or equivalent). | 20.00 | Each | 0.00 | 125.00 | 2500.00 | 110.00 | 2200.00 | 1.00 | 20.00 | 110.00 | 2200.00 | 130.00 | 2600.00 | 100.00 | 2000.00 | 20.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
39.00 | 25A SP MCB. 10 KA 'C' series , Make- Havells(Cat no.- DHMGCSPF006-032 or equivalent). | 20.00 | Each | 0.00 | 125.00 | 2500.00 | 110.00 | 2200.00 | 1.00 | 20.00 | 110.00 | 2200.00 | 130.00 | 2600.00 | 16.00 | 320.00 | 20.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
40.00 | 32 Amp. SP MCB 10 KA 'C' series, Make- Havells (Cat no.- DHMGCSPF006-032 or equivalent). | 20.00 | Each | 0.00 | 125.00 | 2500.00 | 110.00 | 2200.00 | 1.00 | 20.00 | 110.00 | 2200.00 | 130.00 | 2600.00 | 100.00 | 2000.00 | 20.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
41.00 | 32 Amp. DP MCB 10 KA 'C' series make- Havells (Cat no.- DHMGCDPF006-032 or equivalent). | 20.00 | Each | 0.00 | 450.00 | 9000.00 | 435.00 | 8700.00 | 1.00 | 20.00 | 359.00 | 7180.00 | 200.00 | 4000.00 | 19.00 | 380.00 | 20.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
42.00 | 40 Amp. DP MCB 10 KA 'C' series, Make- Havells (Cat no.- DHMGCDPF040-or equivalent). | 20.00 | Each | 0.00 | 550.00 | 11000.00 | 490.00 | 9800.00 | 1.00 | 20.00 | 459.00 | 9180.00 | 300.00 | 6000.00 | 300.00 | 6000.00 | 20.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
43.00 | 40 Amp. TPN MCB 10 KA 'C' series, Make- Havells (Cat no.- DHMGCTNF040-or equivalent). | 20.00 | Each | 0.00 | 1100.00 | 22000.00 | 1150.00 | 23000.00 | 1.00 | 20.00 | 725.00 | 14500.00 | 700.00 | 14000.00 | 300.00 | 6000.00 | 20.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
44.00 | 63 Amp. TPN MCB 10 KA 'C' series , Make- Havells(Cat no.- DHMGCTNF063-or equivalent). | 20.00 | Each | 0.00 | 1100.00 | 22000.00 | 1150.00 | 23000.00 | 1.00 | 20.00 | 750.00 | 15000.00 | 900.00 | 18000.00 | 300.00 | 6000.00 | 20.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
45.00 | 5/6 Amps. P/T switch. (Make: Anchor) | 400.00 | Each | 0.00 | 28.00 | 11200.00 | 12.00 | 4800.00 | 10.00 | 4000.00 | 15.00 | 6000.00 | 20.00 | 8000.00 | 30.00 | 12000.00 | 4000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
46.00 | 5/6 Amps. Bell push switch. (Make: Anchor) | 40.00 | Each | 0.00 | 30.00 | 1200.00 | 20.00 | 800.00 | 15.00 | 600.00 | 25.00 | 1000.00 | 20.00 | 800.00 | 30.00 | 1200.00 | 600.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
47.00 | 15/16 Amp P/T Switch (Make: Anchor) | 100.00 | Each | 0.00 | 75.00 | 7500.00 | 40.00 | 4000.00 | 20.00 | 2000.00 | 45.00 | 4500.00 | 30.00 | 3000.00 | 30.00 | 3000.00 | 2000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
48.00 | 3 pin 5 /6 Amp P/T Socket (Make: Anchor) | 200.00 | Each | 0.00 | 50.00 | 10000.00 | 22.00 | 4400.00 | 20.00 | 4000.00 | 65.00 | 13000.00 | 80.00 | 16000.00 | 50.00 | 10000.00 | 4000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
49.00 | 5 pin 15/16 Amp P/T Socket (Make: Anchor) | 100.00 | Each | 0.00 | 80.00 | 8000.00 | 65.00 | 6500.00 | 40.00 | 4000.00 | 81.00 | 8100.00 | 100.00 | 10000.00 | 50.00 | 5000.00 | 4000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
50.00 | 16 Amp Switch Socket Combined unit with box (Make: Anchor) | 50.00 | Each | 0.00 | 150.00 | 7500.00 | 90.00 | 4500.00 | 50.00 | 2500.00 | 199.00 | 9950.00 | 400.00 | 20000.00 | 70.00 | 3500.00 | 2500.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
51.00 | Door bell ding-dong. (Make: Havells/ Anchor) | 25.00 | Each | 0.00 | 130.00 | 3250.00 | 115.00 | 2875.00 | 50.00 | 1250.00 | 125.00 | 3125.00 | 350.00 | 8750.00 | 60.00 | 1500.00 | 1250.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
52.00 | Electronic Remote Bell with One No. Remote Switch and LED indicator (Make:- Cona). | 25.00 | Each | 0.00 | 600.00 | 15000.00 | 350.00 | 8750.00 | 200.00 | 5000.00 | 525.00 | 13125.00 | 400.00 | 10000.00 | 100.00 | 2500.00 | 2500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
53.00 | 3 pin 5 Amps plug top (Make: Havells/ Anchor) | 50.00 | Each | 0.00 | 60.00 | 3000.00 | 40.00 | 2000.00 | 10.00 | 500.00 | 55.00 | 2750.00 | 50.00 | 2500.00 | 40.00 | 2000.00 | 500.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
54.00 | 3 pin 15Amps plug top (Make: Havells/ Anchor) | 40.00 | Each | 0.00 | 75.00 | 3000.00 | 55.00 | 2200.00 | 10.00 | 400.00 | 75.00 | 3000.00 | 80.00 | 3200.00 | 70.00 | 2800.00 | 400.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
55.00 | Supply of 12 volt , 25 plate 180 AH storage type lead acid battery i/c charging etc as reqd.(as and when required) (Make Exide). | 10.00 | Each | 0.00 | 16000.00 | 160000.00 | 13500.00 | 135000.00 | 12000.00 | 120000.00 | 8100.00 | 81000.00 | 12000.00 | 120000.00 | 15000.00 | 150000.00 | 81000.00 | K B S ELECTRICALS
56.00 | 70/150/250/400 watt. SON ignitor Make :Bajaj (Code no.28800 BJIGN SV/MH) | 50.00 | Each | 0.00 | 80.00 | 4000.00 | 110.00 | 5500.00 | 50.00 | 2500.00 | 150.00 | 7500.00 | 10.00 | 500.00 | 10.00 | 500.00 | 500.00 | M/S B.A.G ENTERPRISES, CIS GLOBAL INFRATECH PRIVATE LIMITED
57.00 | Batton holder (Polycarbonate) (Make: Anchor) | 50.00 | Each | 0.00 | 35.00 | 1750.00 | 25.00 | 1250.00 | 10.00 | 500.00 | 50.00 | 2500.00 | 40.00 | 2000.00 | 5.00 | 250.00 | 250.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
58.00 | Mini Fan step electronic type regulator. Anchor (Code no-38284) | 50.00 | Each | 0.00 | 250.00 | 12500.00 | 120.00 | 6000.00 | 200.00 | 10000.00 | 165.00 | 8250.00 | 100.00 | 5000.00 | 70.00 | 3500.00 | 3500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
59.00 | 15 Amp Four outlet socket power strip (Make: Havells/ Anchor) | 10.00 | Each | 0.00 | 600.00 | 6000.00 | 425.00 | 4250.00 | 500.00 | 5000.00 | 126.00 | 1260.00 | 500.00 | 5000.00 | 120.00 | 1200.00 | 1200.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
60.00 | 6 Amp Four outlet socket power strip (Make : Havells/ Anchor) | 10.00 | Each | 0.00 | 550.00 | 5500.00 | 275.00 | 2750.00 | 300.00 | 3000.00 | 115.00 | 1150.00 | 400.00 | 4000.00 | 100.00 | 1000.00 | 1000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
61.00 | 2.25 MFD capictor (Make: Havells or equivalent approved make) | 20.00 | Each | 0.00 | 30.00 | 600.00 | 15.00 | 300.00 | 20.00 | 400.00 | 25.00 | 500.00 | 10.00 | 200.00 | 20.00 | 400.00 | 200.00 | M/S B.A.G ENTERPRISES
62.00 | 2.5 MFD capictor (Make: Havells or equivalent approved make) | 100.00 | Each | 0.00 | 30.00 | 3000.00 | 15.00 | 1500.00 | 20.00 | 2000.00 | 25.00 | 2500.00 | 10.00 | 1000.00 | 20.00 | 2000.00 | 1000.00 | M/S B.A.G ENTERPRISES
63.00 | 3.15 MFD capitor (Make: Havells or equivalent approved make) | 20.00 | Each | 0.00 | 35.00 | 700.00 | 25.00 | 500.00 | 20.00 | 400.00 | 35.00 | 700.00 | 12.00 | 240.00 | 30.00 | 600.00 | 240.00 | M/S B.A.G ENTERPRISES
64.00 | 4.0 MFD capitor (Make: Havells or equivalent approved make) | 10.00 | Each | 0.00 | 40.00 | 400.00 | 35.00 | 350.00 | 20.00 | 200.00 | 45.00 | 450.00 | 15.00 | 150.00 | 40.00 | 400.00 | 150.00 | M/S B.A.G ENTERPRISES
65.00 | 18 watt submersible pump for Desert Cooler | 10.00 | Each | 0.00 | 500.00 | 5000.00 | 250.00 | 2500.00 | 200.00 | 2000.00 | 200.00 | 2000.00 | 300.00 | 3000.00 | 150.00 | 1500.00 | 1500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
66.00 | 1.5 sqmm, FR, PVC single core copper cable (90 mtr. length ) (Make: finolex or equivalent approved make) | 20.00 | Each | 0.00 | 1100.00 | 22000.00 | 875.00 | 17500.00 | 1000.00 | 20000.00 | 1350.00 | 27000.00 | 1000.00 | 20000.00 | 900.00 | 18000.00 | 17500.00 | S. N ELECTRICALS
67.00 | 2.5 sqmm, FR, PVC single core copper cable (90 mtr. length ) ( Make: finolex or equivalent approved make) | 5.00 | Each | 0.00 | 100.00 | 500.00 | 1550.00 | 7750.00 | 1500.00 | 7500.00 | 1500.00 | 7500.00 | 1500.00 | 7500.00 | 1000.00 | 5000.00 | 500.00 | ANAND AND COMPANTY
68.00 | 4.0 sqmm, FR, PVC single core copper cable (90 mtr. length ) ( Make: finolex or equivalent approved make) | 2.00 | Each | 0.00 | 2300.00 | 4600.00 | 1850.00 | 3700.00 | 2000.00 | 4000.00 | 2250.00 | 4500.00 | 2800.00 | 5600.00 | 2000.00 | 4000.00 | 3700.00 | S. N ELECTRICALS
69.00 | 3 core having 2.5 sqmm. nominal area of conductor PVC insulated and PVC round sheathed, copper conductor flexible,(100mtr Length) 1100 volts to IS 694 ( Make: finolex or equivalent approved make) | 1.00 | Each | 0.00 | 5000.00 | 5000.00 | 5600.00 | 5600.00 | 5000.00 | 5000.00 | 5200.00 | 5200.00 | 7000.00 | 7000.00 | 3000.00 | 3000.00 | 3000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
70.00 | 3 core having 1.5 sqmm. nominal area of conductor PVC insulated and PVC round sheathed, copper conductor flexible,(100mtr Length) 1100 volts to IS 694 ( Make: finolex or equivalent approved make) | 4.00 | Each | 0.00 | 4200.00 | 16800.00 | 3500.00 | 14000.00 | 4000.00 | 16000.00 | 4500.00 | 18000.00 | 6000.00 | 24000.00 | 2000.00 | 8000.00 | 8000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
71.00 | 2 core having 1.5 sqmm. nominal area of conductor PVC insulated and PVC round sheathed, copper conductor flexible,(100mtr Length) 1100 volts to IS 694 ( Make: finolex or equivalent approved make) | 2.00 | Each | 0.00 | 2300.00 | 4600.00 | 2500.00 | 5000.00 | 3000.00 | 6000.00 | 2700.00 | 5400.00 | 4000.00 | 8000.00 | 1500.00 | 3000.00 | 3000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
72.00 | 2 core having 0.75 sqmm. nominal area of conductor PVC insulated copper conductor flexible, unsheated two in parallel (100 mtr Length)" 1100 volts to IS 694( Make: finolex or equivalent approved make) | 1.00 | Each | 0.00 | 2000.00 | 2000.00 | 1600.00 | 1600.00 | 200.00 | 200.00 | 1950.00 | 1950.00 | 3500.00 | 3500.00 | 1200.00 | 1200.00 | 200.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
73.00 | 3x4 sq.mm. cu. Submersible Flat cable confirming IS 694 flexible 1100 volts to IS 694 (100 mtr.). (Make - Havells, Cat no.- WHPNDSKB34X0).( Make: Havells or equivalent approved make) | 1.00 | Each | 0.00 | 10000.00 | 10000.00 | 8500.00 | 8500.00 | 10000.00 | 10000.00 | 7500.00 | 7500.00 | 4500.00 | 4500.00 | 3000.00 | 3000.00 | 3000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
74.00 | Battery water | 200.00 | Ltr. | 0.00 | 20.00 | 4000.00 | 5.00 | 1000.00 | 10.00 | 2000.00 | 45.00 | 9000.00 | 15.00 | 3000.00 | 1.00 | 200.00 | 200.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
75.00 | PVC Gang Box for the following switches / Sockets-
75.01 | 1 no. 5 Amp switch (Make- Anchor, Cat.- 7010 or equivalent ) | 40.00 | Each | 0.00 | 15.00 | 600.00 | 20.00 | 800.00 | 10.00 | 400.00 | 18.00 | 720.00 | 15.00 | 600.00 | 10.00 | 400.00 | 400.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
75.02 | 2 nos. 5 Amp switch (Make- Anchor, Cat.- 7021 or equivalent ). | 40.00 | Each | 0.00 | 25.00 | 1000.00 | 30.00 | 1200.00 | 20.00 | 800.00 | 27.00 | 1080.00 | 25.00 | 1000.00 | 15.00 | 600.00 | 600.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
75.03 | 1 no. 5 Amp switch & 1 no. 5 Amp socket. (Make- Anchor, Cat.- 7112 or equivalent ). | 50.00 | Each | 0.00 | 25.00 | 1250.00 | 30.00 | 1500.00 | 20.00 | 1000.00 | 18.00 | 900.00 | 60.00 | 3000.00 | 15.00 | 750.00 | 750.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
75.04 | 2 no. 5 Amp switch & 1 no. 5 Amp socket. (Make- Anchor, Cat.- 7123 or equivalent ). | 20.00 | Each | 0.00 | 30.00 | 600.00 | 55.00 | 1100.00 | 30.00 | 600.00 | 29.00 | 580.00 | 60.00 | 1200.00 | 20.00 | 400.00 | 400.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
75.05 | 1 no. 15 Amp switch & 1 no. 15 Amp socket. (Make- Anchor or equivalent ). | 50.00 | Each | 0.00 | 30.00 | 1500.00 | 40.00 | 2000.00 | 30.00 | 1500.00 | 81.00 | 4050.00 | 80.00 | 4000.00 | 20.00 | 1000.00 | 1000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
76.00 | PVC Channel of ISI marked heavy duty 1.6 mm thick of following sizes (one channel of 2 mtr. Length) :-
76.01 | 20 mm | 200.00 | Each | 0.00 | 20.00 | 4000.00 | 18.00 | 3600.00 | 30.00 | 6000.00 | 81.00 | 16200.00 | 100.00 | 20000.00 | 15.00 | 3000.00 | 3000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
76.02 | 25 mm | 100.00 | Each | 0.00 | 25.00 | 2500.00 | 22.00 | 2200.00 | 40.00 | 4000.00 | 90.00 | 9000.00 | 120.00 | 12000.00 | 20.00 | 2000.00 | 2000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
76.03 | 32 mm | 50.00 | Each | 0.00 | 5.00 | 250.00 | 22.00 | 1100.00 | 50.00 | 2500.00 | 99.00 | 4950.00 | 130.00 | 6500.00 | 20.00 | 1000.00 | 250.00 | ANAND AND COMPANTY
77.00 | PVC insulated (heavy duty) electrical cable upto & including 1100 volt with aluminium conductor (armoured)
77.01 | 2x06 sq.mm. (Make: Havells) | 200.00 | Meter | 0.00 | 10.00 | 2000.00 | 55.00 | 11000.00 | 60.00 | 12000.00 | 22.00 | 4400.00 | 50.00 | 10000.00 | 14.00 | 2800.00 | 2000.00 | ANAND AND COMPANTY
77.02 | 2x10 sq.mm. (Make: Havells) | 200.00 | Meter | 0.00 | 75.00 | 15000.00 | 60.00 | 12000.00 | 80.00 | 16000.00 | 29.00 | 5800.00 | 58.00 | 11600.00 | 18.00 | 3600.00 | 3600.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
77.03 | 3-1/2 x35 sq.mm. (Make: Havells) | 300.00 | Meter | 0.00 | 180.00 | 54000.00 | 60.00 | 18000.00 | 200.00 | 60000.00 | 155.00 | 46500.00 | 135.00 | 40500.00 | 20.00 | 6000.00 | 6000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
78.00 | Heat Convector (Make Usha Cat No 423 N) | 10.00 | Each | 0.00 | 2500.00 | 25000.00 | 1350.00 | 13500.00 | 2000.00 | 20000.00 | 1800.00 | 18000.00 | 2000.00 | 20000.00 | 2000.00 | 20000.00 | 13500.00 | S. N ELECTRICALS
79.00 | Three phase Energy Meter (10-60)A, (Make : L&T Model No. WR300BC7300) | 2.00 | Each | 0.00 | 3000.00 | 6000.00 | 1150.00 | 2300.00 | 3000.00 | 6000.00 | 1850.00 | 3700.00 | 3500.00 | 7000.00 | 2000.00 | 4000.00 | 2300.00 | S. N ELECTRICALS
80.00 | Single phase Energy Meter (05-30)A, (Make : L&T Model No. WM101BC5DDHBOX) | 2.00 | Each | 0.00 | 10.00 | 20.00 | 85.00 | 170.00 | 1500.00 | 3000.00 | 1850.00 | 3700.00 | 1000.00 | 2000.00 | 800.00 | 1600.00 | 20.00 | ANAND AND COMPANTY
81.00 | Supply of MCCB's of following rating:-
81.01 | 3 Pole 35 KA 160 Amp. thermal magnetic release Ics =100% of Icu (Make : Havells , model IHLFNT0160) | 1.00 | Each | 0.00 | 10.00 | 10.00 | 5230.00 | 5230.00 | 6000.00 | 6000.00 | 4500.00 | 4500.00 | 10000.00 | 10000.00 | 100.00 | 100.00 | 10.00 | ANAND AND COMPANTY
81.02 | 3 Pole 35 KA 125 Amp. thermal magnetic release Ics =100% of Icu (Make Havells, model IHLFNT0125) | 1.00 | Each | 0.00 | 10.00 | 10.00 | 4070.00 | 4070.00 | 6000.00 | 6000.00 | 4500.00 | 4500.00 | 7000.00 | 7000.00 | 100.00 | 100.00 | 10.00 | ANAND AND COMPANTY
81.03 | 4 Pole 35 KA 160 Amp. thermal magnetic release Ics =100% of Icu (Make: Havells model IHLFNF0160) | 1.00 | Each | 0.00 | 10.00 | 10.00 | 6541.00 | 6541.00 | 7000.00 | 7000.00 | 6300.00 | 6300.00 | 11000.00 | 11000.00 | 300.00 | 300.00 | 10.00 | ANAND AND COMPANTY
81.04 | 4 Pole 35 KA 125 Amp. thermal magnetic release Ics =100% of Icu (Make : Havells , model IHLFNF0125) | 1.00 | Each | 0.00 | 7000.00 | 7000.00 | 4885.00 | 4885.00 | 7000.00 | 7000.00 | 6500.00 | 6500.00 | 8500.00 | 8500.00 | 300.00 | 300.00 | 300.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
81.05 | 4 Pole 35 KA 63 Amp. thermal magnetic release Ics =100% of Icu ( Make : Havells , model IHLFNF0063) | 2.00 | Each | 0.00 | 6000.00 | 12000.00 | 3710.00 | 7420.00 | 5000.00 | 10000.00 | 5400.00 | 10800.00 | 7000.00 | 14000.00 | 800.00 | 1600.00 | 1600.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
81.06 | 4 Pole 35 KA 400 Amp. thermal magnetic release Ics =100% of Icu ( Make : Havells, model IHLLSEBF0400) | 1.00 | Each | 0.00 | 50.00 | 50.00 | 11190.00 | 11190.00 | 15000.00 | 15000.00 | 9000.00 | 9000.00 | 21000.00 | 21000.00 | 700.00 | 700.00 | 50.00 | ANAND AND COMPANTY
81.07 | 4 Pole 35 KA 630 Amp. thermal magnetic release make L & T (Make : Havells, model IHLLSEBF0630) | 1.00 | Each | 0.00 | 10.00 | 10.00 | 14400.00 | 14400.00 | 18000.00 | 18000.00 | 9000.00 | 9000.00 | 27000.00 | 27000.00 | 300.00 | 300.00 | 10.00 | ANAND AND COMPANTY
82.00 | 2 core Flexible twin twisted copper wire 23/76 (90 mtr length) | 10.00 | Each | 0.00 | 600.00 | 6000.00 | 750.00 | 7500.00 | 500.00 | 5000.00 | 1800.00 | 18000.00 | 1000.00 | 10000.00 | 300.00 | 3000.00 | 3000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
83.00 | LT Insulating Rubber Mate ( Black) minimum10 mm Thick ISI Mark ( Size : 1M x 2M) ( Make: Jyoti or equivelent) | 2.00 | Each | 0.00 | 10.00 | 20.00 | 1150.00 | 2300.00 | 1500.00 | 3000.00 | 1500.00 | 3000.00 | 600.00 | 1200.00 | 300.00 | 600.00 | 20.00 | ANAND AND COMPANTY
84.00 | Industrial plug Top 3 Pin, 20 amp | 20.00 | Each | 0.00 | 250.00 | 5000.00 | 100.00 | 2000.00 | 1.00 | 20.00 | 150.00 | 3000.00 | 200.00 | 4000.00 | 70.00 | 1400.00 | 20.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
85.00 | Industrial plug base 3 Pin, 20 amp | 20.00 | Each | 0.00 | 250.00 | 5000.00 | 100.00 | 2000.00 | 1.00 | 20.00 | 50.00 | 1000.00 | 200.00 | 4000.00 | 100.00 | 2000.00 | 20.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
86.00 | 1.5 Inches Wooden screw (1000 pieces each) | 2.00 | Each | 0.00 | 120.00 | 240.00 | .20 | .40 | 10.00 | 20.00 | 200.00 | 400.00 | 1000.00 | 2000.00 | 70.00 | 140.00 | .40 | S. N ELECTRICALS
87.00 | 2.5 Inches Wooden screw (100 pieces each) | 2.00 | Each | 0.00 | 100.00 | 200.00 | .15 | .30 | 10.00 | 20.00 | 90.00 | 180.00 | 1000.00 | 2000.00 | 100.00 | 200.00 | .30 | S. N ELECTRICALS
88.00 | 6MM PVC clip (100 Piece each) | 5.00 | Each | 0.00 | 100.00 | 500.00 | .20 | 1.00 | 10.00 | 50.00 | 90.00 | 450.00 | 300.00 | 1500.00 | 60.00 | 300.00 | 1.00 | S. N ELECTRICALS
89.00 | 6MM PVC gutties (good quality) (1000 piece each) | 2.00 | Each | 0.00 | 100.00 | 200.00 | .15 | .30 | 20.00 | 40.00 | 81.00 | 162.00 | 300.00 | 600.00 | 70.00 | 140.00 | .30 | S. N ELECTRICALS
90.00 | Balten clip (100 piece in each) | 10.00 | Each | 0.00 | 100.00 | 1000.00 | .20 | 2.00 | 100.00 | 1000.00 | 50.00 | 500.00 | 400.00 | 4000.00 | 60.00 | 600.00 | 2.00 | S. N ELECTRICALS
91.00 | Battery terminal | 10.00 | Each | 0.00 | 110.00 | 1100.00 | .20 | 2.00 | 50.00 | 500.00 | 99.00 | 990.00 | 100.00 | 1000.00 | 70.00 | 700.00 | 2.00 | S. N ELECTRICALS
92.00 | 108 Litre Capacity M. S. body powder coated sliding 3 rack Hot Case (Dim 27x14x21 inch) (Make: Glare) | 5.00 | Each | 0.00 | 3500.00 | 17500.00 | 2000.00 | 10000.00 | 3000.00 | 15000.00 | 6300.00 | 31500.00 | 3500.00 | 17500.00 | 4000.00 | 20000.00 | 10000.00 | S. N ELECTRICALS
93.00 | 18 watt LED tube with aluminium extrusion (Make: Halonix) | 100.00 | Each | 0.00 | 300.00 | 30000.00 | 350.00 | 35000.00 | 300.00 | 30000.00 | 650.00 | 65000.00 | 400.00 | 40000.00 | 390.00 | 39000.00 | 30000.00 | ANAND AND COMPANTY, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
94.00 | Submersible Pump Controller 6.0 HPMake L&T or equivallent) | 1.00 | Each | 0.00 | 4000.00 | 4000.00 | 2300.00 | 2300.00 | 4000.00 | 4000.00 | 12500.00 | 12500.00 | 3000.00 | 3000.00 | 3000.00 | 3000.00 | 2300.00 | S. N ELECTRICALS
95.00 | DOL Starter suitable for 5 HP Motor in S.S. encloure. Make: L&T or equivallent | 2.00 | Each | 0.00 | 1500.00 | 3000.00 | 1839.00 | 3678.00 | 1000.00 | 2000.00 | 3500.00 | 7000.00 | 1000.00 | 2000.00 | 2500.00 | 5000.00 | 2000.00 | M/S B.A.G ENTERPRISES, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
96.00 | 6mm Dia. 6X19mm Stainless Steel Wire Rope (50 Meter each) Make:Usha Martin or equivallent | 1.00 | Each | 0.00 | 1200.00 | 1200.00 | 230.00 | 230.00 | 1000.00 | 1000.00 | 500.00 | 500.00 | 1000.00 | 1000.00 | 2400.00 | 2400.00 | 230.00 | S. N ELECTRICALS
97.00 | 400 mm sweep wall fan (Make : Havells,Model: Swing) | 10.00 | Each | 0.00 | 2700.00 | 27000.00 | 2350.00 | 23500.00 | 2000.00 | 20000.00 | 1750.00 | 17500.00 | 2700.00 | 27000.00 | 1300.00 | 13000.00 | 13000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
98.00 | 450 mm Pedestal wall fan (Make : Havells,Model: Sprint HS) | 10.00 | Each | 0.00 | 4500.00 | 45000.00 | 2540.00 | 25400.00 | 3000.00 | 30000.00 | 2150.00 | 21500.00 | 3600.00 | 36000.00 | 1500.00 | 15000.00 | 15000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
99.00 | Exhaust fan 220V-50Hz, 200mm, Non metallic body Make: Havells Model: Ventil Air-DX or equivalent | 10.00 | Each | 0.00 | 1400.00 | 14000.00 | 1150.00 | 11500.00 | 1000.00 | 10000.00 | 1450.00 | 14500.00 | 1800.00 | 18000.00 | 800.00 | 8000.00 | 8000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
100.00 | Exhaust fan 220V-50Hz, 300mm, metallic body Make: Havells Model: Ventil Air-DB or equivallent | 15.00 | Each | 0.00 | 2800.00 | 42000.00 | 2000.00 | 30000.00 | 2500.00 | 37500.00 | 1250.00 | 18750.00 | 2700.00 | 40500.00 | 1500.00 | 22500.00 | 18750.00 | K B S ELECTRICALS
101.00 | Recess mounting 36 W LED light fixture of size 2' X 2' | 30.00 | Each | 0.00 | 2500.00 | 75000.00 | 1800.00 | 54000.00 | 1000.00 | 30000.00 | 700.00 | 21000.00 | 2000.00 | 60000.00 | 1500.00 | 45000.00 | 21000.00 | K B S ELECTRICALS
102.00 | Oil filled room heater(Make: Havells, Model :OFR11 FIN) | 10.00 | Each | 0.00 | 11000.00 | 110000.00 | 5500.00 | 55000.00 | 10000.00 | 100000.00 | 4200.00 | 42000.00 | 10000.00 | 100000.00 | 7000.00 | 70000.00 | 42000.00 | K B S ELECTRICALS
103.00 | Room Heater Halogen type (1000W) ( Make Bajaj RHX2) | 10.00 | Each | 0.00 | 1400.00 | 14000.00 | 1100.00 | 11000.00 | 1000.00 | 10000.00 | 750.00 | 7500.00 | 599.00 | 5990.00 | 700.00 | 7000.00 | 5990.00 | M/S B.A.G ENTERPRISES
104.00 | Monoblock pump and motor set 1.0 HP (Make Havells Model No. MHPASS1X00) | 3.00 | Each | 0.00 | 4500.00 | 13500.00 | 3800.00 | 11400.00 | 5000.00 | 15000.00 | 3250.00 | 9750.00 | 2000.00 | 6000.00 | 3500.00 | 10500.00 | 6000.00 | M/S B.A.G ENTERPRISES
105.00 | Submersible motor and pump set 5.0 HP 8 Stage for 200mm borewell (Make: Crompton) | 1.00 | Each | 0.00 | 18000.00 | 18000.00 | 18000.00 | 18000.00 | 18000.00 | 18000.00 | 7200.00 | 7200.00 | 24000.00 | 24000.00 | 4000.00 | 4000.00 | 4000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
106.00 | 25 Litre capacity vertical type water heater (Geyser) Make: Havells Model: Monza EC | 1.00 | Each | 0.00 | 9000.00 | 9000.00 | 7500.00 | 7500.00 | 10000.00 | 10000.00 | 4300.00 | 4300.00 | 9856.00 | 9856.00 | 5000.00 | 5000.00 | 4300.00 | K B S ELECTRICALS
107.00 | 10Amps. Modular type switch, 1Module (Make: Anchor) | 50.00 | Each | 0.00 | 45.00 | 2250.00 | 44.00 | 2200.00 | 50.00 | 2500.00 | 125.00 | 6250.00 | 30.00 | 1500.00 | 40.00 | 2000.00 | 1500.00 | M/S B.A.G ENTERPRISES
108.00 | 10Amps Modular type Bell push switch 1Module (Make: Anchor) | 20.00 | Each | 0.00 | 50.00 | 1000.00 | 64.00 | 1280.00 | 70.00 | 1400.00 | 75.00 | 1500.00 | 40.00 | 800.00 | 50.00 | 1000.00 | 800.00 | M/S B.A.G ENTERPRISES
109.00 | 20Amps. Modular type switch, 1Module (Make: Anchor) | 50.00 | Each | 0.00 | 80.00 | 4000.00 | 85.00 | 4250.00 | 100.00 | 5000.00 | 193.00 | 9650.00 | 40.00 | 2000.00 | 50.00 | 2500.00 | 2000.00 | M/S B.A.G ENTERPRISES
110.00 | 3 pin 6 Amp Modular type Socket 2Module (Make: Anchor) | 50.00 | Nos | 0.00 | 80.00 | 4000.00 | 85.00 | 4250.00 | 80.00 | 4000.00 | 99.00 | 4950.00 | 100.00 | 5000.00 | 60.00 | 3000.00 | 3000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
111.00 | 5 pin 16 Amp Modular type Socket 2Module (Make: Anchor) | 50.00 | Each | 0.00 | 100.00 | 5000.00 | 100.00 | 5000.00 | 120.00 | 6000.00 | 155.00 | 7750.00 | 120.00 | 6000.00 | 70.00 | 3500.00 | 3500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
112.00 | SH-IV Misc. Electrical Works
113.00 | Execution of works as per CPWD schedule of work and specification as and when reqd. DSR(Electrical) - 2018 Item for Rs 2,00,000/- (Rupees Two Lakhs Only) [NOTE: The rate should be qouted in Indian Ruppees only] The payment of DSR items shall be released on the basis of percentage calculation between qouted amount and fixed amount of Rs.200000/-(Rupees two lakhs only) excluding GST | 1.00 | Job | 0.00 | 125000.00 | 125000.00 | 100000.00 | 100000.00 | 100000.00 | 100000.00 | 539.00 | 539.00 | 300000.00 | 300000.00 | 100000.00 | 100000.00 | 539.00 | K B S ELECTRICALS
| Total in Figures |  |  |  |  | 12401478.00 |  | 13457800.00 |  | 12203620.00 |  | 15637491.00 |  | 12696786.00 |  | 11771459.00
Lowest Amount Quoted BY: CIS GLOBAL INFRATECH PRIVATE LIMITED(11771459.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of Electrical Installation at Safdarjung Airport Tender ID: 2020_AAI_55298_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 11771459.00 | L1
| 2 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED | 12203620.00 | L2
| 3 | ANAND AND COMPANTY | 12401478.00 | L3
| 4 | M/S B.A.G ENTERPRISES | 12696786.00 | L4
| 5 | S. N ELECTRICALS | 13457800.00 | L5
| 6 | K B S ELECTRICALS | 15637491.00 | L6