## BoQ1
Government eProcurement System Created By: Rahul S Mankar Created Date/Time: 05-Oct-2020 01:10 PM Tender Title: Provision of 05 Passenger Elevator for ATC Tower at DBAI Airport, Nagpur. Tender ID: 2020_AAI_55393_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg-Elect), AAI, Nagpur
Name of Work :- Provision of 05 Passenger Elevator for ATC Tower at DBAI Airport, Nagpur.
Contract No: Ref:- AAI/NGP/E-E/2020-21/04/Lift/NIT-02 Date: 20.08.2020 (Tender ID: 2020_AAI_55393_1)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Schindler India Private Limited(GSTN-27AAECS1548J1Z6) |  | ECE Industries Limited(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I: DSITC of 05 Passenger Elevator
1.10 | Design, Fabrication, Supply, Installation, Testing & Commissioning of Electric Traction Type fully automatic Gearless and Machine Room Less (MRL) Passenger Elevator at ATC tower, OTB, Nagpur Airport with AC variable voltage & variable frequency drive unit suitable for operation on 415V, 3 Phase, 50 Hz AC supply, having minimum speed of 0.63 metre per second, stainless steel car enclosure, power operated side opening type stainless steel car & landing doors, electromagnetic brake system, operating panel with luminous buttons, overload warning indicator, battery operated alarm bell & LED emergency light, intercom suitable for hook up to AAI's EPABX, infrared ray sensing door protection for full door height, reverse phase relay on controller, fire man's switch at ground floor, digital car position indicator in car & at all floors with up / down direction, LED light fixtures, ventilation fan, landing sill, pit ladder etc. complete with all accessories serving different floors in the lift shaft of size 1450 mm (W) X 1480 mm (D) along with Automatic Rescue Device (ARD) complete with dry maintenance free sealed batteries as required, Manual Rescue Device (MRD), minor civil works etc., as per relevant IS / International standards and detailed specifications enclosed and as under:- | 1.00 | JOB | 1095000.00 | 870000.00 | 870000.00 | 800000.00 | 800000.00 | 800000.00 | ECE Industries Limited
1.20 | a) Capacity- 05 Passengers (340 kg)
1.30 | b) Travel Height: 8.0 Metres approx.
1.40 | c) Stops & opening (All Stops & Opening in the same side): 3 (G + 2) Floors
1.50 | d) Operation- Microprocessor based Simplex Collective Control. Separate Landing Push Button Box for all Landings with scrolling indicator.
1.60 | e) One Hour Fire Rated Landing Doors.
2.00 | SH-II: All-Inclusive Comprehensive Maintenance Contract
2.10 | Annual All-Inclusive Comprehensive Maintenance Contract for Elevator as per SH-I/Item-1 installed in ATC Tower, OTB, Nagpur Airport i/c carrying out monthly servicing and complete maintenance of all components as per OEM standards by providing trained service engineer with all tools and plant i/c attending all breakdown repairs and carrying out renewal of lift license, complete as per instructions of Engineer-in-Charge as required (after completion One Year of Defects Liability Period).
2.11 | 1st Year After completion of DLP | 1.00 | Job/ Year | 53000.00 | 46000.00 | 46000.00 | 50000.00 | 50000.00 | 46000.00 | Schindler India Private Limited
2.12 | 2nd Year After completion of DLP | 1.00 | Job/ Year | 56180.00 | 48300.00 | 48300.00 | 52500.00 | 52500.00 | 48300.00 | Schindler India Private Limited
2.13 | 3rd Year After completion of DLP | 1.00 | Job/ Year | 59550.00 | 50715.00 | 50715.00 | 55000.00 | 55000.00 | 50715.00 | Schindler India Private Limited
2.14 | 4th Year After completion of DLP | 1.00 | Job/ Year | 63123.00 | 54266.00 | 54266.00 | 57500.00 | 57500.00 | 54266.00 | Schindler India Private Limited
2.15 | 5th Year After completion of DLP | 1.00 | Job/ Year | 66910.00 | 58063.00 | 58063.00 | 60000.00 | 60000.00 | 58063.00 | Schindler India Private Limited
| Total in Figures |  |  |  |  | 1127344.00 |  | 1075000.00
Lowest Amount Quoted BY: ECE Industries Limited(1075000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of 05 Passenger Elevator for ATC Tower at DBAI Airport, Nagpur. Tender ID: 2020_AAI_55393_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ECE Industries Limited | 1075000.00 | L1
| 2 | Schindler India Private Limited | 1127344.00 | L2