## BoQ1
Government eProcurement System Created By: SYED TANWEER ASHRAF Created Date/Time: 23-Sep-2020 03:52 PM Tender Title: Annual Maintenance Contract of Internal and External Electrical and Mechanical Installation of Terminal Building, operational area including GLF System, Nav-Aid Units, ATC Building, Fire Station etc. during the year 2020-22 at Gaya Airport. Tender ID: 2020_AAI_55411_1
Tender Inviting Authority: AGM ( Engg. Elect), AAI, Gaya Airport, Gaya
Name of Work: <AMC of Internal & External Electrical & Mechanical Installations of Terminal Building, operational area including GLF System, Nav-Aid Units, ATC Building, Fire Station etc. during the year 2020-22 at Gaya Airport. >
Contract No: <0631-2210043>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | PAN POLAR ENGINEERS PVT. LTD.(GSTN-07AABCP0844P1Z5) |  | S. N ELECTRICALS(GSTN-07AKEPG8675R2Z9) |  | M/S CHAUDHARY CONSTRUCTION(GSTN-20ABJPC9666Q1Z5) |  | ABHISHEK ASSOCIATES(GSTN-24ADZPD4239Q1ZT) |  | SAURABH ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing Maintenance services for Internal and External Electrical & Mechanical Installations of Terminal Building, i/c Operation & day to day check of Lift & Escalator installed in SHA & Arrival etc. by deploying adequate manpower as per the conditions of contract involving operation, repairs & maintenance / faults / breakdowns and taking rectification action, ensuring serviceability / satisfactory working condition of the systems, preventive maintenance on daily/ weekly/ monthly/ quarterly/ half yearly/yearly basis, maintenance of records/documentation etc. as per scope of work given in special conditions and technical specifications of contract on all day including Sundays & Holidays.
1.10 | First Year AMC | 12.00 | Month | 263.00 | 144942.00 | 1739304.00 | 145000.00 | 1740000.00 | 133332.00 | 1599984.00 | 138725.00 | 1664700.00 | 138555.00 | 1662660.00 | 145000.00 | 1740000.00 | 1599984.00 | S. N ELECTRICALS
1.20 | Second Year AMC | 12.00 | Month | 351.00 | 145693.00 | 1748316.00 | 145000.00 | 1740000.00 | 133332.00 | 1599984.00 | 138725.00 | 1664700.00 | 138555.00 | 1662660.00 | 145000.00 | 1740000.00 | 1599984.00 | S. N ELECTRICALS
2.00 | Providing Maintenance Services of Electrical & Mechanical Installation at operational area viz. GLF Systems, Navigational Aids Electrical installations, Apron Flood Light, Perimeter Lights, Internal & External E.I. of ATC building, fire station & operation of CCR etc. by deploying adequate manpower as per the conditions of contract involving operation, repairs & maintenance/ faults/ breakdowns and taking rectification action, ensuring serviceability/ satisfactory working condition of the systems, preventive maintenance on daily/ weekly/ monthly/ quarterly/ yearly basis, maintenance of records/ documentation etc. as per scope of work given in special conditions and technical specification of contract on all day including Sundays & Holidays.
2.10 | First Year AMC | 12.00 | Month | 263.00 | 144942.00 | 1739304.00 | 145000.00 | 1740000.00 | 153368.00 | 1840416.00 | 135145.00 | 1621740.00 | 138555.00 | 1662660.00 | 147000.00 | 1764000.00 | 1621740.00 | M/S CHAUDHARY CONSTRUCTION
2.20 | Second Year AMC | 12.00 | Month | 351.00 | 145693.00 | 1748316.00 | 145000.00 | 1740000.00 | 153368.00 | 1840416.00 | 135145.00 | 1621740.00 | 138555.00 | 1662660.00 | 147000.00 | 1764000.00 | 1621740.00 | M/S CHAUDHARY CONSTRUCTION
3.00 | Preparing the surface free from dirt and rust by scraping the street lights poles (Single/Double Bracket) and its fixtures not exceeding 5 mtr ht.i/c looping box etc. and painting one or more coats of superior quality aluminium paint or as approved by EIC and numbering after painting on the pole, embossing AAI logo but excluding the painting of cement collar etc complete as required. | 350.00 | Each | 352.00 | 175.00 | 61250.00 | 250.00 | 87500.00 | 150.00 | 52500.00 | 60.00 | 21000.00 | 190.00 | 66500.00 | 1.00 | 350.00 | 350.00 | SAURABH ENTERPRISES
4.00 | Preparing the surface by removing the dirt and rust by cleaning HIRL, MIRL and SAPL fittings of Runway/Taxiway and brush/spray painting with Two coats of Aviation Yellow Colour and numbering the fittings on cemented /Bitumene surface with Black on Yellow. The number will be of size 3"X4" and Yellow base will be of 5" dia as approved by EIC complete as per site requiment. | 355.00 | Each | 352.00 | 65.00 | 23075.00 | 40.00 | 14200.00 | 150.00 | 53250.00 | 60.00 | 21300.00 | 70.00 | 24850.00 | 1.00 | 355.00 | 355.00 | SAURABH ENTERPRISES
5.00 | Preparing the surface by removing the dirt and rust by scraping the Electric Panels (Indoor/outdoor Panels)/DBs/MS Pipes/ Support of fittings etc. and spray/brush painting with one or more coat of high gloss synthetic enamel paint of smoke gray or any other colour approved by EIC to give an even shade etc complete as per site requirement. | 100.00 | Sq. Mtr | 352.00 | 158.00 | 15800.00 | 125.00 | 12500.00 | 100.00 | 10000.00 | 35.00 | 3500.00 | 50.00 | 5000.00 | 1.00 | 100.00 | 100.00 | SAURABH ENTERPRISES
6.00 | Precise detection of cable fault location & fault type of 1.1 KV grade LT cables of 3.5 Core 120 Sq.mm to 300 Sq. mm sizes with the help of Cable fault locator machine etc complete as required. | 20.00 | Each | 352.00 | 5000.00 | 100000.00 | 15000.00 | 300000.00 | 13500.00 | 270000.00 | 12000.00 | 240000.00 | 5000.00 | 100000.00 | 1.00 | 20.00 | 20.00 | SAURABH ENTERPRISES
7.00 | Transportation charges (to & fro) of manpower & machine for cable fault detection services at Gaya Airport, Gaya | 2.00 | Trip | 352.00 | 2500.00 | 5000.00 | 10000.00 | 20000.00 | 10000.00 | 20000.00 | 3000.00 | 6000.00 | 5000.00 | 10000.00 | 1.00 | 2.00 | 2.00 | SAURABH ENTERPRISES
8.00 | Supply of 12V, 150 AH lead acid tubular battery suitable for inverter application as per AAI approved make. | 10.00 | Each | 352.00 | 7580.00 | 75800.00 | 11000.00 | 110000.00 | 10900.00 | 109000.00 | 10000.00 | 100000.00 | 10000.00 | 100000.00 | 1.00 | 10.00 | 10.00 | SAURABH ENTERPRISES
9.00 | Carrying out the calibration of the Clinometer set (PAPI calibration kit) through the OEM & submission of Test / Calibration certificate as per OEM/ICAO/DGCA standards. | 1.00 | Job | 352.00 | 3850.00 | 3850.00 | 15000.00 | 15000.00 | 15000.00 | 15000.00 | 8000.00 | 8000.00 | 14000.00 | 14000.00 | 1.00 | 1.00 | 1.00 | SAURABH ENTERPRISES
10.00 | Execution of misc. items on requirement basis covered under CPWD Schedule of Rates (Electrical) 2018 except the items of this schedule [ If the agency wants to quote the rates at par with CPWD SR (Electrical) 2018 then 1.00 should be written in the Column box of Rate, If agency wants to quote 5% below to the rates of CPWD SR (Electrical) 2018 then 0.95 should be written in the column box of Rate, If agency wants to quote 5% above to the rates of CPWD SR (Electrical) 2018 then 1.05 should be written in the column box of Rate. This information is only for guidance purpose to the contractor for filling up rates for this item only. However contractor is free to quote the rates any percentage above / below or at par with the rates of CPWD SR (Electrical) 2018].Note- The quoted rate co-efficient shall be considered as EXCLUSIVE of GST and GST shall be paid extra as applicable | 1.00 | Rs. | 352.00 | .85 | .85 | .70 | .70 | .80 | .80 | .85 | .85 | .70 | .70 | 10000.00 | 10000.00 | .70 | PAN POLAR ENGINEERS PVT. LTD., ABHISHEK ASSOCIATES
| Total in Figures |  |  |  |  | 7260015.85 |  | 7519200.70 |  | 7410550.80 |  | 6972680.85 |  | 6970990.70 |  | 7018838.00
Lowest Amount Quoted BY: ABHISHEK ASSOCIATES(6970990.70)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance Contract of Internal and External Electrical and Mechanical Installation of Terminal Building, operational area including GLF System, Nav-Aid Units, ATC Building, Fire Station etc. during the year 2020-22 at Gaya Airport. Tender ID: 2020_AAI_55411_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABHISHEK ASSOCIATES | 6970990.70 | L1
| 2 | M/S CHAUDHARY CONSTRUCTION | 6972680.85 | L2
| 3 | SAURABH ENTERPRISES | 7018838.00 | L3
| 4 | Techno Electricals | 7260015.85 | L4
| 5 | S. N ELECTRICALS | 7410550.80 | L5
| 6 | PAN POLAR ENGINEERS PVT. LTD. | 7519200.70 | L6