## BoQ1
Government eProcurement System Created By: Tapan Kumar Bala Created Date/Time: 21-Sep-2020 03:03 PM Tender Title: Supply of GLF Spares for day to day maintenance at LGBI Airport, Guwahati 2020-21 Tender ID: 2020_AAI_55485_1
Tender Inviting Authority: Asst. General Manager (Engg – Elect), AAI, LGBI Airport, Guwahati, Assam – 781015
Name of Work: Supply of GLF Spares for day to day maintenance at LGBI Airport, Guwahati (2020-21).
Contract No: AAI/AGM(E-E)/NIT-04/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AMA Private Limited(GSTN-27AAACA1016F1ZE) |  | SHRI K.D.INDUSTRIES(GSTN-09ADNPG0326P1Z8) |  | electromach sales agencies(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following size 5KV grade 50Hz series type Isolating Transformers, encapsulated in polyester resin finally moulded in neoprene type rubber with primary & secondary connections and ready to install etc. complete as required.
1.01 | 200W, 20A/6.6A | 100.00 | Each |  | 3700.00 | 370000.00 | 3700.00 | 370000.00 | 3500.00 | 350000.00 | 350000.00 | electromach sales agencies
1.02 | 200W, 6.6A/6.6A | 50.00 | Each |  | 3700.00 | 185000.00 | 3700.00 | 185000.00 | 3500.00 | 175000.00 | 175000.00 | electromach sales agencies
1.03 | 45W, 20A/6.6A | 50.00 | Each |  | 2719.00 | 135950.00 | 2600.00 | 130000.00 | 2700.00 | 135000.00 | 130000.00 | SHRI K.D.INDUSTRIES
1.04 | 45W, 6.6A/6.6A | 10.00 | Each |  | 2719.00 | 27190.00 | 2600.00 | 26000.00 | 2700.00 | 27000.00 | 26000.00 | SHRI K.D.INDUSTRIES
2.00 | Supply of PAPI lamp holder suitable for CEGELEC make PAPI light fittings. | 10.00 | Each |  | 425.00 | 4250.00 | 295.00 | 2950.00 | 500.00 | 5000.00 | 2950.00 | SHRI K.D.INDUSTRIES
3.00 | Supply of two pin, 200W, 6.6 Amps. Halogen lamp - LEAD TYPE OSRAM 64382 HLX-C or equivalent as per approved make suitable for use in all halogen type HIRL/ PAPI fittings. | 100.00 | Each |  | 800.00 | 80000.00 | 795.00 | 79500.00 | 850.00 | 85000.00 | 79500.00 | SHRI K.D.INDUSTRIES
4.00 | Supply of two pin, 200W, 6.6 Amps. Halogen lamp -PIN TYPE OSRAM 64386 or equivalent as per approved make suitable for use in all halogen type HIRL/ PAPI fittings. | 200.00 | Each |  | 350.00 | 70000.00 | 395.00 | 79000.00 | 400.00 | 80000.00 | 70000.00 | AMA Private Limited
5.00 | Supply of Halogen lamp for Inset fitting 105W,6.6A OSRAM 64339 B or equivalent as per approved make. | 60.00 | Each |  | 850.00 | 51000.00 | 850.00 | 51000.00 | 850.00 | 51000.00 | 51000.00 | electromach sales agencies, AMA Private Limited, SHRI K.D.INDUSTRIES
6.00 | Supply of Halogen lamp holder suitable for 200W, 6.6A. HIRL Elevated fittings. | 100.00 | Each |  | 375.00 | 37500.00 | 252.99 | 25299.00 | 225.00 | 22500.00 | 22500.00 | electromach sales agencies
7.00 | Supply of Outer Green Glass of 183 mm Dia. Suitable for AMA Threshold light Fitting. | 15.00 | Each |  | 2500.00 | 37500.00 | 2250.00 | 33750.00 | 1500.00 | 22500.00 | 22500.00 | electromach sales agencies
8.00 | Supply of 360° Outer dome for Elevated runway Edge light fittings suitable for AMA Make. | 30.00 | Each |  | 2000.00 | 60000.00 | 2250.00 | 67500.00 | 1500.00 | 45000.00 | 45000.00 | electromach sales agencies
9.00 | Supply of LED driver suitable for use in Operational area signage of all sizes operated through series circuit with current range from 2.8 to 6.6 Amps with inbuilt dual circuit to work on main and standby circuit complete as required. | 20.00 | Each |  | 4100.00 | 82000.00 | 3800.00 | 76000.00 | 3800.00 | 76000.00 | 76000.00 | electromach sales agencies, SHRI K.D.INDUSTRIES
10.00 | Supply of LED strip with 0.5W 11 Nos. LEDs suitable for use in Operational area signages connected with GLF series circuit complete as required. | 30.00 | Each |  | 750.00 | 22500.00 | 500.00 | 15000.00 | 590.00 | 17700.00 | 15000.00 | SHRI K.D.INDUSTRIES
11.00 | Supply of retrofit LED driver suitable for using on LED type Taxiway light fittings of following makes. ADB/ AMA/ VARDHMAN makes.
11.01 | AMA | 10.00 | Each |  | 1500.00 | 15000.00 | 1000.00 | 10000.00 | 1000.00 | 10000.00 | 10000.00 | electromach sales agencies, SHRI K.D.INDUSTRIES
11.02 | VARDHMAN | 10.00 | Each |  | 2900.00 | 29000.00 | 1000.00 | 10000.00 | 1200.00 | 12000.00 | 10000.00 | SHRI K.D.INDUSTRIES
12.00 | Supply of H.T. Tape 25 mm. width 9 mtrs. length. | 80.00 | Each |  | 475.00 | 38000.00 | 450.00 | 36000.00 | 400.00 | 32000.00 | 32000.00 | electromach sales agencies
13.00 | Supply of M10 SS nut bolts with washer (1set consist of 6 nos M10 nut bolts.) | 30.00 | Sets |  | 150.00 | 4500.00 | 100.00 | 3000.00 | 100.00 | 3000.00 | 3000.00 | electromach sales agencies, SHRI K.D.INDUSTRIES
| Total in Figures |  |  |  |  | 1249390.00 |  | 1199999.00 |  | 1148700.00
Lowest Amount Quoted BY: electromach sales agencies(1148700.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply of GLF Spares for day to day maintenance at LGBI Airport, Guwahati 2020-21 Tender ID: 2020_AAI_55485_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | electromach sales agencies | 1148700.00 | L1
| 2 | SHRI K.D.INDUSTRIES | 1199999.00 | L2
| 3 | AMA Private Limited | 1249390.00 | L3