## BoQ1
Government eProcurement System Created By: AMITABH RUNGTA Created Date/Time: 02-Sep-2020 06:52 PM Tender Title: Annual Repair Maintenance Operation of E and M Installations, GLF System and Airconditioning equipment, Water purifier, STP WTP allied work at Pakyong Airport Tender ID: 2020_AAI_55498_2
Tender Inviting Authority: <Assistant General Manager Engg-E, Pakyong Airport>
Name of Work: <Annual Repair Maintenance Operation of E M Installations GLF System and Airconditioning equipment Water purifier STP WTP allied work at Pakyong Airport. >
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED(GSTN-03AACCJ6494J1ZC) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | ABHISHEK ASSOCIATES(GSTN-24ADZPD4239Q1ZT) |  | SOM ENGINEERING WORKS(GSTN-NA) |  | AKS ENGINEERING(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I AMC of all Electrical Installations in Terminal Building & its allied structures i/c Portable Scissor, Hight Mast, WTP Pump Sets
1.01 | Job contract for operation, preventive and breakdown maintenance and upkeeping all records of various internal & External Electrical & Mechanical Installations and operation of Pumps at Terminal Building, Fire Station cum Control Tower, DVOR room, Pump room, Apron and Car Park and its Canteen cum Toilet block, streetlights, perimeter lighting, lighting on approach & Service roads, Potable equipments, hydro- pneumatic water supply pumping installations complete etc. including as per inventory of Electrical installation with deputing minimum manpower per day (on all days i/c sunday / Weekly offs & other holidays) alongwith required T&P and sundries etc. complete as required as well as attending the complaints received from various installations as detailed in special conditon of contract at Pakyong Airport on eight hour shift basis in line with the requirements indicated in the tender document as required.The contractor shall depute the minimum manpower as per special conditions of contract. a. SUPERVISOR (HIGHLY SKILLED): ----------------- 01nos b. WIREMAN (Skilled) : ------------------------------------- 02nos c. Pump Operator (Semi-Skilled):------------------------- 02 Nos . d. Date Entry Operator (Skilled): -------------------------- 01 Nos. e. Helper (Un-Skilled): ---------------------------------------- 04 Nos . | 12.00 | Months | 100.00 | 165000.00 | 1980000.00 | 174324.00 | 2091888.00 | 173900.00 | 2086800.00 | 165705.00 | 1988460.00 | 160000.00 | 1920000.00 | 1920000.00 | AKS ENGINEERING
2.00 | SH-II AMC for HT/LT sub-station equipments including DG sets
2.01 | Job contract for operation, preventive and breakdown maintenance and upkeeping all records of various Electrical & Mechanical Installations, HT Panels, LT Panels, APFC Panels, PLC based AMF Panels, operation of DG Sets with control panel and fuel tank, Oil type Transformers, Bus Duct, HT /LT cables and there terminals, Switchgears, ACBs, installed at Power House as per inventory of Electrical installation with deputing minimum manpower per day (on all days i/c sunday / Weekly offs & other holidays) alongwith required T&P and sundries etc. complete as required as well as attending the complaints received from various installations as detailed in special conditon of contract at Pakyong Airport on eight hour shift basis in line with the requirements indicated in the tender document as required.The contractor shall depute the minimum manpower as per special conditions of contract. a. Electricain ( Skilled ): ------------------------------------- 01 Nos. b. D.G Operator cum Wirman (Skilled) :---------------- 03 Nos. c. Helper (Un-Skilled): -------------------------------------- 04Nos. | 12.00 | Months | 100.00 | 122533.00 | 1470396.00 | 134393.00 | 1612716.00 | 127333.00 | 1527996.00 | 133409.00 | 1600908.00 | 129000.00 | 1548000.00 | 1470396.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
3.00 | SH-III AMC of Fire Fighting and Detections System.
3.01 | Annual maintenance and operation of Fire Fighting Cum Sprinkler System, Fire detection, Fire Alarm Cum aspiration system, Fire extinguishers and Yard hydrants including operation of fire diesel pump and other related pumps at Fire Pump room as per inventory of fire fighting system as per special condition of contract, upkeeping of all records, providing of T & P, sundries materials etc. by deputying minimum man power round the clock on all days including Saturday, Sunday and holidays as per preventive maintenance schedule and special condition of contract. a. Fire Technicain (Skilled) : --------------- 01(One) Nos. b. Fire operator/ (skilled) : -------------------------------------- 02 Nos. c. Helper (Un-Skilled): -------------------------------------- 03 Nos . | 12.00 | Months | 100.00 | 91899.00 | 1102788.00 | 101484.00 | 1217808.00 | 96888.00 | 1162656.00 | 100057.00 | 1200684.00 | 100500.00 | 1206000.00 | 1102788.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
4.00 | SH-IV AMC of GLF Installations:
4.01 | Job contract for operation, preventive and breakdown maintenance and upkeeping all records of various Elevated Runway Edge Lights fittings, Taxiway Edge Lights, Threshold Lights, End Lights, Simple Approach Light Fittings, Turning Pad Lights, Apron & Isolation bay edge light fittings , Inset Light Fittings, Windcone Direction Indicators, Landing "T", Precision Approach Path Indicator(PAPI), Illuminated Airports signanges, Constant Current Regulators (CCRs) for above lights i/c GLF LT Panel, Mimic Control Panel etc including as per inventory of Electrical installation with deputing minimum manpower per day (on all days i/c sunday / Weekly offs & other holidays) alongwith required T&P and sundries etc. complete as required as well as attending the complaints received for various installations as detailed in special conditon of contract at Pakyong Airport on eight hour shift basis in line with the requirements indicated in the tender document as required.The contractor shall depute the minimum manpower as as per Special Conditon of Contract.Technician (Skilled) : ---------Minimum 02 Nos. b. Helper (Un-Skilled): --------------------- Minimum 01 Nos | 12.00 | Months | 100.00 | 48565.00 | 582780.00 | 51723.00 | 620676.00 | 55666.00 | 667992.00 | 52876.00 | 634512.00 | 53500.00 | 642000.00 | 582780.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
5.00 | SH-V: HVAC Units, Split Type AC, Water Purifier Cum Hot and Cold Dispensers.
5.01 | Annual maintenance of Split Type A/C, Cassete A/Cs etc. of all makes of 1.5 ton capacity at different locations and carrying out routine maintenance of the equipment as per the special condition & preventive maitenance schedule enclosed. (Rate per Annum) | 8.00 | Job | 100.00 | 1500.00 | 12000.00 | 900.00 | 7200.00 | 12000.00 | 96000.00 | 4000.00 | 32000.00 | 3000.00 | 24000.00 | 7200.00 | Techno Electricals
5.02 | Annual maintenance of Split Type A/Cs of all makes of 2.0 ton capacity at different locations and carrying out routine maintenance of the equipement as per the special condition & preventive maitenance schedule enclosed. (Rate per Annum) | 2.00 | Job | 100.00 | 2000.00 | 4000.00 | 900.00 | 1800.00 | 18000.00 | 36000.00 | 4500.00 | 9000.00 | 4000.00 | 8000.00 | 1800.00 | Techno Electricals
5.03 | Annual maintenance of Vertical Type Split A/Cs of all makes of 3.0 ton capacity at different locations and carrying out routine maintenance of the equipement as per the special condition & preventive maitenance schedule enclosed. (Rate per Annum) | 10.00 | Job | 10.00 | 800.00 | 8000.00 | 900.00 | 9000.00 | 24000.00 | 240000.00 | 5000.00 | 50000.00 | 4500.00 | 45000.00 | 8000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
5.04 | Annual maintenance of Vertical Type Precision Split A/Cs of all makes of 1.5 ton capacity Uniflair make locations and carrying out routine maintenance of the equipement as per the special condition & preventive maitenance schedule enclosed. (Rate per Annum) | 2.00 | Job | 10.00 | 700.00 | 1400.00 | 2000.00 | 4000.00 | 18000.00 | 36000.00 | 4000.00 | 8000.00 | 7500.00 | 15000.00 | 1400.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
5.05 | Annual maintenance of RO filter with hot and normal water dispensing system of 10 litre storage capacity and 5 litre/Hr heating and cooling capacity and carrying out routine maintenance of the equipement as per the special condition & preventive maitenance schedule enclosed. (Rate per Annum) | 8.00 | Job | 10.00 | 1200.00 | 9600.00 | 400.00 | 3200.00 | 12000.00 | 96000.00 | 10000.00 | 80000.00 | 3500.00 | 28000.00 | 3200.00 | Techno Electricals
5.06 | Annual maintenance of HVAC units of Ventiallation System at Pakyong Airport for following Cabinet Fans and its accessories of various capaity at different locations and carrying out routine maintenance of the equipment as per the special condition & preventive maitenance schedule enclosed :- (a) Cabinet Fan 8500 CFM & Motor Rating 5.5 KW (b) Cabinet Fan 11000 CFM & Motor Rating - 5.5 KW (c) Cabinet Fan 22000 CFM & Motor Rating - 2 x 5.5 KW (d) Cabinet Fan 7250 CFM & Motor Rating - 2.2 KW (e) Cabinet Fan 10000 CFM & Motor Rating - 3.75 KW. (f) In-line Fan of 200 CFM - 01 no, 900 CFM of 2 Nos., 1100 CFM of 1 No. , 1500 CFM of 1 No., 1650 CFM of 1 No. (Rate per annum) | 12.00 | Job | 10.00 | 1000.00 | 12000.00 | 3750.00 | 45000.00 | 10000.00 | 120000.00 | 20000.00 | 240000.00 | 4500.00 | 54000.00 | 12000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
6.00 | SH-IV Supply of GLF Spares and General Spares:
6.01 | Supply of following sizes of PVC insulated multistrand copper conductor cable suitable for 1.1KV grade conforming to IS specifications etc. as required.(HFFR) i) 1.50 sqmm ( 90 mtr coil) | 10.00 | Each | 100.00 | 1400.00 | 14000.00 | 1000.00 | 10000.00 | 1000.00 | 10000.00 | 1200.00 | 12000.00 | 880.00 | 8800.00 | 8800.00 | AKS ENGINEERING
6.02 | Supply of following sizes 4 core PVC insulated and FR PVC Round Sheathed multistrand copper conductor cable suitable for 1.1KV grade conforming to IS specifications etc. as required. i) 4 Core 4 Sq. Mm Copper Conductor (100 Mtr Coil) | 1.00 | Each | 10.00 | 4500.00 | 4500.00 | 8522.00 | 8522.00 | 11550.00 | 11550.00 | 14181.00 | 14181.00 | 9500.00 | 9500.00 | 4500.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
6.03 | Supply of 1x 18 watt ,4 feet long surface mounting type LED light fitting made of polycarbonate housing complete with LEDs driver ,accessories and suitable for operation on 230 volt single phase 50 hz AC supply. | 50.00 | Each | 10.00 | 700.00 | 35000.00 | 652.00 | 32600.00 | 340.00 | 17000.00 | 500.00 | 25000.00 | 300.00 | 15000.00 | 15000.00 | AKS ENGINEERING
6.04 | Supply of LED PL-L Type LED lamps of 18 Watts suitable for installation in existing 2G11 lamp holder for retrofitting in existing CFL fitting of 2 x 36 Watts. (4 Pin Type Model: Photon Ultra PL-L Make : Havells Make or Equivalent) | 40.00 | Each | 10.00 | 450.00 | 18000.00 | 185.00 | 7400.00 | 418.00 | 16720.00 | 2500.00 | 100000.00 | 300.00 | 12000.00 | 7400.00 | Techno Electricals
6.05 | Supply of 200 Watt, 6.6 Amp., single ended, bi-pin Halogen lamp, suitable for elevated type Runway Edge lights / Approach lights / Threshold light fittings. Make: OSRAM or eqv as per approved make. | 10.00 | Each | 10.00 | 450.00 | 4500.00 | 650.00 | 6500.00 | 440.00 | 4400.00 | 1200.00 | 12000.00 | 300.00 | 3000.00 | 3000.00 | AKS ENGINEERING
6.06 | Supply of 150 Watt, 6.6 Amp., single ended, bi-pin Halogen lamp, suitable for elevated type Runway Edge lights / Approach lights / Threshold light fittings. Make: OSRAM or eqv as per approved make. | 30.00 | Each | 10.00 | 550.00 | 16500.00 | 650.00 | 19500.00 | 1045.00 | 31350.00 | 1100.00 | 33000.00 | 300.00 | 9000.00 | 9000.00 | AKS ENGINEERING
6.07 | Supply of 45 W,6.6A Bi-Pin Halogen Lamp suitable for 45 watt medium intensity taxi light fittings. Make: OSRAM or eqv as per approved make. | 15.00 | Each | 10.00 | 450.00 | 6750.00 | 700.00 | 10500.00 | 1045.00 | 15675.00 | 1500.00 | 22500.00 | 300.00 | 4500.00 | 4500.00 | AKS ENGINEERING
6.08 | Supply of inset Halogen Lamp suitable for 105 watt Inset fitting (ATG) Make (Model - ZA485/ZA183/ZA482) as required. (Halogen Lamp-Model no-64339 A 105W Make-OSRAM or eqv as per approved make.) | 20.00 | Each | 10.00 | 900.00 | 18000.00 | 800.00 | 16000.00 | 1045.00 | 20900.00 | 2000.00 | 40000.00 | 750.00 | 15000.00 | 15000.00 | AKS ENGINEERING
6.09 | Supply of Bi-Pin Halogen Holder suitable for 200W and 45 W ,6.6A Runway Light fitting/PAPI/Approach Lighting Elevated Fitting (AMA) as required. | 30.00 | Each | 10.00 | 340.00 | 10200.00 | 350.00 | 10500.00 | 330.00 | 9900.00 | 500.00 | 15000.00 | 300.00 | 9000.00 | 9000.00 | AKS ENGINEERING
6.10 | Supply of GS 1000/200 High Speed Semiconductor protection fuse (1 No. for 20 KW CCR ). (Make: Suitable for NASU System CCR) | 2.00 | Each | 100.00 | 1600.00 | 3200.00 | 850.00 | 1700.00 | 5000.00 | 10000.00 | 1000.00 | 2000.00 | 1200.00 | 2400.00 | 1700.00 | Techno Electricals
6.11 | Supply of GS 1000/100 High Speed Semiconductor protection fuse (1 No. for 7.5 KW CCR ). (Make: Suitable for NASU System CCR) | 2.00 | Each | 100.00 | 1400.00 | 2800.00 | 850.00 | 1700.00 | 5000.00 | 10000.00 | 1000.00 | 2000.00 | 900.00 | 1800.00 | 1700.00 | Techno Electricals
6.12 | Supply of GSB 50 High Speed Semiconductor protection fuse (1 No. for 4 KW CCR). (Make: Suitable for NASU System CCR) | 2.00 | Each | 10.00 | 1100.00 | 2200.00 | 850.00 | 1700.00 | 5000.00 | 10000.00 | 1000.00 | 2000.00 | 900.00 | 1800.00 | 1700.00 | Techno Electricals
6.13 | Supply of High Tention Tape11Kv grade (For High Voltage) Rubberised Tape(HT-EPR) Black 38MM x 8MM x 9MTRS Black HT Tape as required. | 10.00 | Each | 10.00 | 1000.00 | 10000.00 | 1200.00 | 12000.00 | 770.00 | 7700.00 | 500.00 | 5000.00 | 300.00 | 3000.00 | 3000.00 | AKS ENGINEERING
6.14 | Supply of Windcone indicator fabric of size Twelve feet (3.75 m) in length and 36 inches (0.9 m) in throat diameter, Color of the windsock fabric may be white and red or white and black band and Fabric for the windsock may be made of cotton, a synthetic material, or a blend of the two as per Standard requirement at Airport. (Make: AMA or equivalent) | 1.00 | Each | 10.00 | 4000.00 | 4000.00 | 7253.00 | 7253.00 | 10000.00 | 10000.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 4000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
6.15 | Supply of Converter for Airport.lighted Signage Boards having input from CCR current 2.8 A to 6.6A & suitable output for signages board etc as required.(Make: Nasu System) | 2.00 | Each | 10.00 | 4000.00 | 8000.00 | 4525.00 | 9050.00 | 20000.00 | 40000.00 | 18000.00 | 36000.00 | 5500.00 | 11000.00 | 8000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
6.16 | Suply of LED Indicator Lamp of Dia 22.5 mm suitable for operation in 240V, 50Hz AC supply of following colours: 1) R-RED | 20.00 | Each | 10.00 | 70.00 | 1400.00 | 200.00 | 4000.00 | 90.00 | 1800.00 | 80.00 | 1600.00 | 110.00 | 2200.00 | 1400.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
6.17 | Suply of LED Indicator Lamp of Dia 22.5 mm suitable for operation in 240V, 50Hz AC supply of following colours: 1) Y-Yellow | 20.00 | Each | 10.00 | 70.00 | 1400.00 | 200.00 | 4000.00 | 90.00 | 1800.00 | 80.00 | 1600.00 | 110.00 | 2200.00 | 1400.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
6.18 | Suply of LED Indicator Lamp of Dia 22.5 mm suitable for operation in 240V, 50Hz AC supply of following colours: 1) G-Green | 10.00 | Each | 10.00 | 70.00 | 700.00 | 200.00 | 2000.00 | 90.00 | 900.00 | 80.00 | 800.00 | 110.00 | 1100.00 | 700.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
6.19 | Suply of LED Indicator Lamp of Dia 22.5 mm suitable for operation in 240V, 50Hz AC supply of following colours: 1) B-Blue | 20.00 | Each | 10.00 | 70.00 | 1400.00 | 350.00 | 7000.00 | 135.00 | 2700.00 | 150.00 | 3000.00 | 130.00 | 2600.00 | 1400.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
6.20 | Supply of slotted angle rack of size (H) 1800 mm X (W) 910 mm X (Depth) 375 mm made of power coated CRCA Sheets and slotted angle size of 40 mm x 40 mm x 2 mm thick having 6 numbers of shelves placed equidistant (i.e.5 compartments) and the nut & bolt used should be of SS/GI. | 4.00 | Each | 10.00 | 3000.00 | 12000.00 | 3000.00 | 12000.00 | 8000.00 | 32000.00 | 5000.00 | 20000.00 | 4000.00 | 16000.00 | 12000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED, Techno Electricals
7.00 | Operation and Maintenance Contract of STP, ETP & WTP
7.01 | Operation and maintenance services (preventive & breakdown) of Sewage Treatment Plant (STP); of capacity 50KLD working on the principle of Fludized Aerobic Bio- Reactor process based on the FAB Process comprising of all machinery equipments installed in STP building including, FAB Reactor, bar screen chambers, Blowers and Aeration System, Air-Diffuser, Multigrad/Activated Carbon Filter, Filter Press, Sewage Relift Pumps, Sludge return pumps, Filter Feed Pumps, soft water supply Pump, FAB Tank, softners, hydropneumetic system, U.V. SYSTEM, electrical panel and all accessories etc. Job also includes to provide the adequate manpower services for operation in three shift of 8 hours each as per special condition including Sundays and holydays and including preventive maintenance of all equipments to ensure the plant in good serviceable condition etc as per special conditon of Contract. a. STP Pump operator/ (Skilled) : ------------- 01 Nos. | 12.00 | Months | 10.00 | 17932.00 | 215184.00 | 19262.00 | 231144.00 | 21777.00 | 261324.00 | 19524.00 | 234288.00 | 18000.00 | 216000.00 | 215184.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
7.02 | CMC of 2 x 4.0 KW VFD based Hydro-Pneumatic Panel PLC system (it covers replacement of defective spare parts during contract period and the agency shall be panelised in case of non functioning of system as per SCC of agreement).(Make Kirloskar-KCIL 20/4) | 1.00 | year | 10.00 | 20000.00 | 20000.00 | 10000.00 | 10000.00 | 20000.00 | 20000.00 | 35000.00 | 35000.00 | 4000.00 | 4000.00 | 4000.00 | AKS ENGINEERING
7.03 | Supply of following materials for carryout smooth operation and maintenance as per requirement as per site. i) Hypochloride Solution (For Dosing ) | 40.00 | Litre | 10.00 | 90.00 | 3600.00 | 400.00 | 16000.00 | 20.00 | 800.00 | 20.00 | 800.00 | 45.00 | 1800.00 | 800.00 | SOM ENGINEERING WORKS, ABHISHEK ASSOCIATES
7.04 | Supply of following materials for carryout smooth operation and maintenance as per requirement as per site. i) Gear oil for air compressor (Make: BLOWVACC) | 20.00 | Litre | 10.00 | 80.00 | 1600.00 | 400.00 | 8000.00 | 400.00 | 8000.00 | 400.00 | 8000.00 | 70.00 | 1400.00 | 1400.00 | AKS ENGINEERING
7.05 | Charging of media like anthracite, plain sand, silex etc of multimedia filter etc complete as required. | 1.00 | Job | 10.00 | 9000.00 | 9000.00 | 4500.00 | 4500.00 | 45000.00 | 45000.00 | 22000.00 | 22000.00 | 2500.00 | 2500.00 | 2500.00 | AKS ENGINEERING
7.06 | Charging of media like activated carbon, plain sand, silex etc. of activated carbon filter etc complete as required. | 1.00 | Job | 10.00 | 8000.00 | 8000.00 | 6500.00 | 6500.00 | 45000.00 | 45000.00 | 22000.00 | 22000.00 | 3500.00 | 3500.00 | 3500.00 | AKS ENGINEERING
7.07 | Testing of effluent water before and after treatment from Lab and submission of test Certificate every month and test certificate must be obtained from the state pollution board Control Board authorized laboratories for : i) pH ii) Oil & Grease iii) B.O.D iv) C.O.D v) Total Suspended Solids vi) Total Dissolved Solids vii) E-Coil | 12.00 | Job | 10.00 | 20000.00 | 240000.00 | 2250.00 | 27000.00 | 2500.00 | 30000.00 | 3500.00 | 42000.00 | 4500.00 | 54000.00 | 27000.00 | Techno Electricals
8.00 | SH-V : Supply of spares for Airconditioners equipment and water dispenser as when required.
8.01 | Spare for Air Conditioners i) Refrigerant R410a | 15.00 | Kg | 10.00 | 350.00 | 5250.00 | 1000.00 | 15000.00 | 800.00 | 12000.00 | 400.00 | 6000.00 | 600.00 | 9000.00 | 5250.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
8.03 | Spare for Water Purifier Model (Krona Big RO Option Hot & Normal Dispenser) i) R.O. Membrane 10" | 10.00 | Each | 10.00 | 600.00 | 6000.00 | 750.00 | 7500.00 | 2500.00 | 25000.00 | 1000.00 | 10000.00 | 500.00 | 5000.00 | 5000.00 | AKS ENGINEERING
8.05 | Sediment Filter 10" | 10.00 | Each | 10.00 | 500.00 | 5000.00 | 750.00 | 7500.00 | 1800.00 | 18000.00 | 1000.00 | 10000.00 | 250.00 | 2500.00 | 2500.00 | AKS ENGINEERING
8.06 | Activated Carbon Filter 10" | 9.00 | Each | 10.00 | 650.00 | 5850.00 | 750.00 | 6750.00 | 1200.00 | 10800.00 | 500.00 | 4500.00 | 200.00 | 1800.00 | 1800.00 | AKS ENGINEERING
8.07 | Mineral Block 10" | 9.00 | Each | 10.00 | 700.00 | 6300.00 | 850.00 | 7650.00 | 2000.00 | 18000.00 | 500.00 | 4500.00 | 200.00 | 1800.00 | 1800.00 | AKS ENGINEERING
8.08 | 24VDC Booster Pump (60 PSI) | 4.00 | Each | 10.00 | 800.00 | 3200.00 | 1250.00 | 5000.00 | 3500.00 | 14000.00 | 500.00 | 2000.00 | 120.00 | 480.00 | 480.00 | AKS ENGINEERING
8.09 | SMPS AC-DC 24V | 1.00 | Each | 10.00 | 2500.00 | 2500.00 | 2500.00 | 2500.00 | 1500.00 | 1500.00 | 2000.00 | 2000.00 | 700.00 | 700.00 | 700.00 | AKS ENGINEERING
9.00 | SH-VI -DSR ITEMS
9.01 | DSR-2018 Item for Rs. 1,00,000/- [NOTE: The rate may be quoted in the following manner- (i) If quoted Rate is Rs. 90,000/- then the Percentage will considered as 10% below DSR 2018. (ii) If quoted Rate is Rs. 1,00,000/- then Percentage will considered as 0% above/below DSR 2018. (iii) If quoted Rate is Rs. 1,10,000/- then Percentage will considered as 10% above DSR 2018. PLEASE NOTE THAT THE ITEMS SHALL BE EXECUTED FROM DSR-2018 RATE AT THE ABOVE QUOTED PERCENTAGE AS PER SITE REQUIREMENT. | 1.00 | Rs | 10.00 | 95000.00 | 95000.00 | 80000.00 | 80000.00 | 85000.00 | 85000.00 | 75000.00 | 75000.00 | 12000.00 | 12000.00 | 12000.00 | AKS ENGINEERING
| Total in Figures |  |  |  |  | 5983998.00 |  | 6232257.00 |  | 6928263.00 |  | 6674333.00 |  | 5941380.00
Lowest Amount Quoted BY: AKS ENGINEERING(5941380.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Repair Maintenance Operation of E and M Installations, GLF System and Airconditioning equipment, Water purifier, STP WTP allied work at Pakyong Airport Tender ID: 2020_AAI_55498_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AKS ENGINEERING | 5941380.00 | L1
| 2 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED | 5983998.00 | L2
| 3 | Techno Electricals | 6232257.00 | L3
| 4 | SOM ENGINEERING WORKS | 6674333.00 | L4
| 5 | ABHISHEK ASSOCIATES | 6928263.00 | L5