## BoQ1
Government eProcurement System Created By: Arun Naik Created Date/Time: 15-Sep-2020 03:55 PM Tender Title: A.R.M.O.of Electrical and Mechanical installations at ATS Complex and Operational Area, Mumbai Airport, Mumbai for the year 2020-21 to 2021-22. SH - A.M.C. of L.T.installations. Tender ID: 2020_AAI_55522_1
Tender Inviting Authority: Asstt.Gen.Manager (Engg.-Elect.),ATS Complex, Mumbai.
Name of Work: "A.R.M.O. of Electrical and Mechanical Installations at ATS Complex and Operational Area, Mumbai Airport, Mumbai for the year 2020-21 to 2021-22. SH:- A.M.C. of L.T. installations".
Contract No: MUM/ATS/ENGG-E/eNIT-03/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Adarsh electric works(GSTN-24AGLPS9901P1ZL) |  | ROSHAN REFRIGERATION AND ELECTRICALS(GSTN-23AAJFR9192B1Z5) |  | S. N ELECTRICALS(GSTN-21AKEPG8675R1ZK) |  | SARASWAT ENGINEERING SERVICES(GSTN-27AAZFS6239C1ZO) |  | M/s BHARAT ELECTRIC, NAGPUR(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation & Maintenance of Electrical and Mechanical installations of Operational and Non-Operational areas including periodical maintenance, repairs, attending to complaints /fault /breakdowns and taking rectification action, ensuring serviceability / satisfactory working condition of the entire system, maintenance of records/documentation etc. on all days including Sundays and holidays on round the clock basis.as per the detailed specifications, terms and conditions covered under this contract etc. complete as required. | 24.00 | Month |  | 239500.00 | 5748000.00 | 191199.00 | 4588776.00 | 200500.00 | 4812000.00 | 210899.00 | 5061576.00 | 202000.00 | 4848000.00 | 4588776.00 | ROSHAN REFRIGERATION AND ELECTRICALS
2.00 | Annual Comprehensive Maintenance of LED Glow sign board reading as "AIR TRAFFIC SERVICES" in English and in Hindi " ãäÌã½ãã¶ã ¾ãã¦ãã¾ãã¦ã ÔãñÌãã¾ãñ " along with logo at ATS Complex as per special condition of contract. Job includes supply and repalcement of faulty wiring and transformers,including structure scrubing ,cleaning ,epoxy painting with one coat of red oxide painting, etc. and keeping the board in serviceable condition, etc. complete as required. | 24.00 | Month |  | 8000.00 | 192000.00 | 8999.00 | 215976.00 | 3500.00 | 84000.00 | 5400.00 | 129600.00 | 5000.00 | 120000.00 | 84000.00 | S. N ELECTRICALS
3.00 | Annual Comprehensive Maintenance for NHN-Daihatsu make Automatic Sliding Door as per special condition of contract through OEM or their authorised service contract and submission of monthly reports including repairing of the control unit, etc. complete as required. | 24.00 | Month |  | 12000.00 | 288000.00 | 8999.00 | 215976.00 | 7500.00 | 180000.00 | 2800.00 | 67200.00 | 2000.00 | 48000.00 | 48000.00 | M/s BHARAT ELECTRIC, NAGPUR
4.00 | Rewinding including replacement bearings of all type/model ceiling fans including transporting from the AAI store (as may be required) and returning back after through service with six months gurantee etc. complete as required. (Dismantled copper wire need not return to AAI) | 5.00 | Each |  | 2500.00 | 12500.00 | 250.00 | 1250.00 | 150.00 | 750.00 | 220.00 | 1100.00 | 250.00 | 1250.00 | 750.00 | S. N ELECTRICALS
5.00 | Rewinding including replacement of bearings of all type/model Exhaust fans including transporting from the AAI store (as may be required) and returning back after through service with six months gurantee etc. complete as required. (Dismantled copper wire need not return to AAI) | 4.00 | Each |  | 2500.00 | 10000.00 | 450.00 | 1800.00 | 150.00 | 600.00 | 280.00 | 1120.00 | 300.00 | 1200.00 | 600.00 | S. N ELECTRICALS
6.00 | Rewinding including replacement of bearings of all type/model pedestal/wall mounding fans including transporting from the AAI store (as may be required) and returning back after through service with six months gurantee etc. complete as required. (Dismantled copper wire need not return to AAI) | 5.00 | Each |  | 3000.00 | 15000.00 | 450.00 | 2250.00 | 150.00 | 750.00 | 300.00 | 1500.00 | 350.00 | 1750.00 | 750.00 | S. N ELECTRICALS
7.00 | Supply of 25 KVAR , 450 VAC Ultra Heavy Duty Capacitor Bank with inrush current limiter coil including changing of wires and lugs. Capacitor bank equivalent to Make : Neptune, Model: NLL-10 | 5.00 | Each |  | 11000.00 | 55000.00 | 9999.00 | 49995.00 | 3500.00 | 17500.00 | 6000.00 | 30000.00 | 4660.00 | 23300.00 | 17500.00 | S. N ELECTRICALS
8.01 | Repainting of following equipments including supply of paint, scrapping by sand/emery paper to get even surface and applying one coat of metal primer on corroded surface and painting with two coat of approved brand synthetic enamel/Aluminum paint etc. complete as required. a) Above 1.0 mtrs and upto 2.5 Mtrs street light poles.(Aluminium Paint) | 41.00 | Each |  | 300.00 | 12300.00 | 650.00 | 26650.00 | 100.00 | 4100.00 | 300.00 | 12300.00 | 200.00 | 8200.00 | 4100.00 | S. N ELECTRICALS
8.02 | Repainting of following equipments including supply of paint, scrapping by sand/emery paper to get even surface and applying one coat of metal primer on corroded surface and painting with two coat of approved brand synthetic enamel/Aluminum paint etc. complete as required. b) Upto 1.0 mtrs. Garden light poles and compound wall poles.( Aluminium Paint) | 72.00 | Each |  | 200.00 | 14400.00 | 399.00 | 28728.00 | 100.00 | 7200.00 | 240.00 | 17280.00 | 150.00 | 10800.00 | 7200.00 | S. N ELECTRICALS
8.03 | Repainting of following equipments including supply of paint, scrapping by sand/emery paper to get even surface and applying one coat of metal primer on corroded surface and painting with two coat of approved brand synthetic enamel/Aluminum paint etc. complete as required. c) 750 KVA D.G. Set exhaust pipe with Aluminium paint (each D.G. contains 2 Exhaust pipes) | 3.00 | Each |  | 5000.00 | 15000.00 | 1199.00 | 3597.00 | 250.00 | 750.00 | 1000.00 | 3000.00 | 1500.00 | 4500.00 | 750.00 | S. N ELECTRICALS
8.04 | Repainting of following equipments including supply of paint, scrapping by sand/emery paper to get even surface and applying one coat of metal primer on corroded surface and painting with two coat of approved brand synthetic enamel/Aluminum paint etc. complete as required. d) M.S. Panel / Cable trench /M.S. Covers (Synthetic enamel paint) | 25.00 | Sq.Mtr. |  | 800.00 | 20000.00 | 199.00 | 4975.00 | 150.00 | 3750.00 | 120.00 | 3000.00 | 100.00 | 2500.00 | 2500.00 | M/s BHARAT ELECTRIC, NAGPUR
9.01 | Thermographic analysis of infrared thermal scanning of following Electrical panels along with the detailed computreised report. a) Main Essential panel | 2.00 | Job |  | 6000.00 | 12000.00 | 9999.00 | 19998.00 | 1000.00 | 2000.00 | 8600.00 | 17200.00 | 2000.00 | 4000.00 | 2000.00 | S. N ELECTRICALS
9.02 | Thermographic analysis of infrared thermal scanning of following Electrical panels along with the detailed computreised report. b) Main Non - Essential panel | 2.00 | Job |  | 6000.00 | 12000.00 | 9999.00 | 19998.00 | 1000.00 | 2000.00 | 8600.00 | 17200.00 | 2000.00 | 4000.00 | 2000.00 | S. N ELECTRICALS
9.03 | Thermographic analysis of infrared thermal scanning of following Electrical panels along with the detailed computreised report. c) Main AMF cum Essential panel | 1.00 | Job |  | 6000.00 | 6000.00 | 9999.00 | 9999.00 | 1000.00 | 1000.00 | 5000.00 | 5000.00 | 2000.00 | 2000.00 | 1000.00 | S. N ELECTRICALS
9.04 | Thermographic analysis of infrared thermal scanning of following Electrical panels along with the detailed computreised report. d) Distribution panel, Floor mounted panel, Capacitor panel | 15.00 | Job |  | 6000.00 | 90000.00 | 8999.00 | 134985.00 | 1000.00 | 15000.00 | 5000.00 | 75000.00 | 2000.00 | 30000.00 | 15000.00 | S. N ELECTRICALS
10.00 | Execution of works as per CPWD schedule of work and specifications as and when required. Schedule of rates (CPWD) 2018 Electrical (For Rs.50000/=). Agency should be mentioned % above or below of the rates of DSR 2018 in Rate column. NOTE: EXAMPLE FOR QUOTING RATES BELOW 5% OF DSR ITEM RATES, CONTRACTOR SHOULD QUOTE 0.95 IN RATE COLUMN AND FOR QUOTING RATES ABOVE 5% OF DSR ITEM RATES, CONTRACTOR SHOULD QUOTE 1.05 IN RATE COLUMN. | 50000.00 | Lumsum |  | 1.00 | 50000.00 | .50 | 25000.00 | .80 | 40000.00 | .92 | 46000.00 | .85 | 42500.00 | 25000.00 | ROSHAN REFRIGERATION AND ELECTRICALS
| Total in Figures |  |  |  |  | 6552200.00 |  | 5349953.00 |  | 5171400.00 |  | 5488076.00 |  | 5152000.00
Lowest Amount Quoted BY: M/s BHARAT ELECTRIC, NAGPUR(5152000.00)

## BOQ Summary
BOQ Summary Details Tender Title: A.R.M.O.of Electrical and Mechanical installations at ATS Complex and Operational Area, Mumbai Airport, Mumbai for the year 2020-21 to 2021-22. SH - A.M.C. of L.T.installations. Tender ID: 2020_AAI_55522_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s BHARAT ELECTRIC, NAGPUR | 5152000.00 | L1
| 2 | S. N ELECTRICALS | 5171400.00 | L2
| 3 | ROSHAN REFRIGERATION AND ELECTRICALS | 5349953.00 | L3
| 4 | SARASWAT ENGINEERING SERVICES | 5488076.00 | L4
| 5 | Adarsh electric works | 6552200.00 | L5