## BoQ1
Government eProcurement System Created By: S.THIRVMAL MURUGAN Created Date/Time: 14-Sep-2020 05:33 PM Tender Title: Operation and Maintenance of E and M Installations at New Interim Terminal Building Vijayawada Airport for the year 2020-22 Tender ID: 2020_AAI_55640_1
Tender Inviting Authority: Joint General Manager [Engg-E], AAI, Vijayawada Airport
Name of Work: Operation & Maintenance of E&M Installations at New Interim Terminal Building Vijayawada Airport for the year 2020-22 [Two Years]
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHRADDHA ENGINEERING AND FACILITY SERVICES(GSTN-37ABZFS0350H1ZR) |  | S. N ELECTRICALS(GSTN-07AKEPG8675R2Z9) |  | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED(GSTN-37AACCJ7269H1Z7) |  | CHENNAI ENGINEERING SERVICES(GSTN-33AADFC4373K1ZH) |  | PAN POLAR ENGINEERS PVT. LTD.(GSTN-07AABCP0844P1Z5) |  | POWER TECH ENGINEERING SERVICES(GSTN-37AAIFP8025A1ZF) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | ABHISHEK ASSOCIATES(GSTN-24ADZPD4239Q1ZT) |  | KALKI ELECTRICALS(GSTN-29AGGPD2370J1ZE) |  | SRI VASUKI POWER SYSTEMS PVT LTD(GSTN-29AAUCS9791D1ZE) |  | Ruchira Associates(GSTN-37AAQFR2340N1ZO) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA) |  | M/S B.A.G ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | O&M of Power Supply Installations and water supply, internal & External electrical installations at NITB. The job involves as per the detailed Inventroy, Technical Specifications, Man Power details etc; as per the direction of Engineer-In-Charge or his Authorised Representative. [Annexure-A]
1.01 | 1st Year - [2020-21] | 12.00 | Months |  | 520833.00 | 6249996.00 | 521000.00 | 6252000.00 | 521000.00 | 6252000.00 | 555777.00 | 6669324.00 | 525000.00 | 6300000.00 | 506750.00 | 6081000.00 | 521786.00 | 6261432.00 | 529666.00 | 6355992.00 | 510000.00 | 6120000.00 | 537180.00 | 6446160.00 | 618618.00 | 7423416.00 | 530000.00 | 6360000.00 | 474026.00 | 5688312.00 | 5688312.00 | M/S B.A.G ENTERPRISES
1.02 | 2nd Year - [2021-22] | 12.00 | Months |  | 520833.00 | 6249996.00 | 520750.00 | 6249000.00 | 521000.00 | 6252000.00 | 555777.00 | 6669324.00 | 525000.00 | 6300000.00 | 507000.00 | 6084000.00 | 521786.00 | 6261432.00 | 529666.00 | 6355992.00 | 510000.00 | 6120000.00 | 537180.00 | 6446160.00 | 618618.00 | 7423416.00 | 530000.00 | 6360000.00 | 480000.00 | 5760000.00 | 5760000.00 | M/S B.A.G ENTERPRISES
2.00 | Supply of following Consumbles/ Chemicals for Day to Day Operation of Sewage Treatment Plant and Water Treatment Plant as an when required basis. 1st Year - [2020-21]
2.01 | (a) Crystal Salt | 20000.00 | Kg |  | 3.50 | 70000.00 | 8.00 | 160000.00 | 8.00 | 160000.00 | 4.99 | 99800.00 | 6.00 | 120000.00 | 8.00 | 160000.00 | 7.00 | 140000.00 | 8.00 | 160000.00 | 5.00 | 100000.00 | 15.00 | 300000.00 | 5.00 | 100000.00 | 4.90 | 98000.00 | 10.00 | 200000.00 | 70000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
2.02 | (b) Chlorine Granules | 60.00 | Kg |  | 125.00 | 7500.00 | 265.00 | 15900.00 | 300.00 | 18000.00 | 159.00 | 9540.00 | 45.00 | 2700.00 | 250.00 | 15000.00 | 150.00 | 9000.00 | 540.00 | 32400.00 | 250.00 | 15000.00 | 200.00 | 12000.00 | 200.00 | 12000.00 | 100.00 | 6000.00 | 80.00 | 4800.00 | 2700.00 | PAN POLAR ENGINEERS PVT. LTD.
2.03 | (c ) Molasses | 100.00 | Kg |  | 32.00 | 3200.00 | 20.00 | 2000.00 | 60.00 | 6000.00 | 59.00 | 5900.00 | 25.00 | 2500.00 | 20.00 | 2000.00 | 40.00 | 4000.00 | 45.00 | 4500.00 | 22.00 | 2200.00 | 200.00 | 20000.00 | 35.00 | 3500.00 | 33.00 | 3300.00 | 35.00 | 3500.00 | 2000.00 | S. N ELECTRICALS, POWER TECH ENGINEERING SERVICES
2.04 | (d) Bio-Liquid Culture (EM) | 60.00 | Ltr |  | 300.00 | 18000.00 | 435.00 | 26100.00 | 550.00 | 33000.00 | 499.00 | 29940.00 | 415.00 | 24900.00 | 300.00 | 18000.00 | 510.00 | 30600.00 | 770.00 | 46200.00 | 400.00 | 24000.00 | 400.00 | 24000.00 | 670.00 | 40200.00 | 500.00 | 30000.00 | 250.00 | 15000.00 | 15000.00 | M/S B.A.G ENTERPRISES
2.05 | (e) Di-Ammonium Phosphate (DAP) | 600.00 | Kg |  | 20.00 | 12000.00 | 25.00 | 15000.00 | 8.00 | 4800.00 | 119.00 | 71400.00 | 10.00 | 6000.00 | 300.00 | 180000.00 | 130.00 | 78000.00 | 650.00 | 390000.00 | 120.00 | 72000.00 | 450.00 | 270000.00 | 100.00 | 60000.00 | 26.00 | 15600.00 | 25.00 | 15000.00 | 4800.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
2.06 | (f) EDTA Solutions N150 (0.02N) | 6.00 | Ltr |  | 500.00 | 3000.00 | 175.00 | 1050.00 | 1500.00 | 9000.00 | 389.00 | 2334.00 | 140.00 | 840.00 | 300.00 | 1800.00 | 430.00 | 2580.00 | 650.00 | 3900.00 | 8000.00 | 48000.00 | 950.00 | 5700.00 | 500.00 | 3000.00 | 100.00 | 600.00 | 5000.00 | 30000.00 | 600.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
2.07 | (g) Ammonia Buffer Solution | 6.00 | Ltr |  | 160.00 | 960.00 | 3200.00 | 19200.00 | 5000.00 | 30000.00 | 399.00 | 2394.00 | 150.00 | 900.00 | 500.00 | 3000.00 | 470.00 | 2820.00 | 1050.00 | 6300.00 | 1500.00 | 9000.00 | 950.00 | 5700.00 | 600.00 | 3600.00 | 140.00 | 840.00 | 2500.00 | 15000.00 | 840.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
3.00 | Supply of following Consumbles/ Chemicals for Day to Day Operation of Sewage Treatment Plant and Water Treatment Plant as an when required basis. 2nd Year - [2021-2022]
3.01 | (a) Crystal Salt | 20000.00 | Kg |  | 3.50 | 70000.00 | 8.00 | 160000.00 | 8.00 | 160000.00 | 5.99 | 119800.00 | 6.00 | 120000.00 | 10.00 | 200000.00 | 8.00 | 160000.00 | 8.00 | 160000.00 | 5.50 | 110000.00 | 15.00 | 300000.00 | 5.00 | 100000.00 | 4.90 | 98000.00 | 10.00 | 200000.00 | 70000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
3.02 | (b) Chlorine Granules | 60.00 | Kg |  | 125.00 | 7500.00 | 265.00 | 15900.00 | 300.00 | 18000.00 | 179.00 | 10740.00 | 45.00 | 2700.00 | 250.00 | 15000.00 | 180.00 | 10800.00 | 540.00 | 32400.00 | 275.00 | 16500.00 | 200.00 | 12000.00 | 460.00 | 27600.00 | 100.00 | 6000.00 | 80.00 | 4800.00 | 2700.00 | PAN POLAR ENGINEERS PVT. LTD.
3.03 | (c ) Mollases | 100.00 | Kg |  | 32.00 | 3200.00 | 20.00 | 2000.00 | 60.00 | 6000.00 | 59.00 | 5900.00 | 25.00 | 2500.00 | 20.00 | 2000.00 | 40.00 | 4000.00 | 45.00 | 4500.00 | 24.00 | 2400.00 | 200.00 | 20000.00 | 38.00 | 3800.00 | 33.00 | 3300.00 | 35.00 | 3500.00 | 2000.00 | S. N ELECTRICALS, POWER TECH ENGINEERING SERVICES
3.04 | (d) Bio-Liquid Culture (EM) | 60.00 | Ltr |  | 300.00 | 18000.00 | 435.00 | 26100.00 | 550.00 | 33000.00 | 549.00 | 32940.00 | 415.00 | 24900.00 | 350.00 | 21000.00 | 510.00 | 30600.00 | 770.00 | 46200.00 | 430.00 | 25800.00 | 400.00 | 24000.00 | 690.00 | 41400.00 | 500.00 | 30000.00 | 250.00 | 15000.00 | 15000.00 | M/S B.A.G ENTERPRISES
3.05 | (e) Di-Ammonium Phosphate (DAP) | 600.00 | Kg |  | 20.00 | 12000.00 | 25.00 | 15000.00 | 8.00 | 4800.00 | 129.00 | 77400.00 | 10.00 | 6000.00 | 300.00 | 180000.00 | 130.00 | 78000.00 | 650.00 | 390000.00 | 130.00 | 78000.00 | 450.00 | 270000.00 | 110.00 | 66000.00 | 26.00 | 15600.00 | 25.00 | 15000.00 | 4800.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
3.06 | (f) EDTA Solutions N150 (0.02N) | 6.00 | Ltr |  | 500.00 | 3000.00 | 175.00 | 1050.00 | 1500.00 | 9000.00 | 399.00 | 2394.00 | 140.00 | 840.00 | 300.00 | 1800.00 | 430.00 | 2580.00 | 650.00 | 3900.00 | 8500.00 | 51000.00 | 950.00 | 5700.00 | 600.00 | 3600.00 | 100.00 | 600.00 | 5000.00 | 30000.00 | 600.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
3.07 | (g) Ammonia Buffer Solution | 6.00 | Ltr |  | 160.00 | 960.00 | 3200.00 | 19200.00 | 5000.00 | 30000.00 | 429.00 | 2574.00 | 150.00 | 900.00 | 500.00 | 3000.00 | 470.00 | 2820.00 | 1050.00 | 6300.00 | 1600.00 | 9600.00 | 950.00 | 5700.00 | 1000.00 | 6000.00 | 140.00 | 840.00 | 2500.00 | 15000.00 | 840.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
4.00 | O&M of HVAC Installations at NITB. The job involves as per the detailed Inventroy, Technical Specifications, Man Power details etc; as per the direction of Engineer-In-Charge or his Authorised Representative. [Annexure-B]
4.01 | 1st Year - [2020-21] | 12.00 | Months |  | 272706.00 | 3272472.00 | 288000.00 | 3456000.00 | 278000.00 | 3336000.00 | 293999.00 | 3527988.00 | 302490.00 | 3629880.00 | 256000.00 | 3072000.00 | 271786.00 | 3261432.00 | 278444.00 | 3341328.00 | 265000.00 | 3180000.00 | 299999.00 | 3599988.00 | 282796.80 | 3393561.60 | 280000.00 | 3360000.00 | 250000.00 | 3000000.00 | 3000000.00 | M/S B.A.G ENTERPRISES
4.02 | 2nd Year - [2021-22] | 12.00 | Months |  | 272706.00 | 3272472.00 | 288000.00 | 3456000.00 | 278000.00 | 3336000.00 | 294999.00 | 3539988.00 | 302490.00 | 3629880.00 | 257750.00 | 3093000.00 | 271786.00 | 3261432.00 | 278444.00 | 3341328.00 | 265000.00 | 3180000.00 | 299999.00 | 3599988.00 | 304006.56 | 3648078.72 | 280000.00 | 3360000.00 | 251000.00 | 3012000.00 | 3012000.00 | M/S B.A.G ENTERPRISES
5.00 | Testing and Calibration of Voltage and Current Operated Relays as per Annexure-G including Secondary Injection Testing and Settings Once in a Year, submitting Test Reports etc complete as required. Job includes checking proper co-ordination of Relays, Testing of Tripping, Checking all the Control Systems, Checking and Testing Electrical Interlocking, Checking of Control Wiring, Tighterning of the Wiring etc. Complete as required. [No. of Relays 14]
5.01 | 1st Year - [2020-21] | 1.00 | Job |  | 75000.00 | 75000.00 | 63000.00 | 63000.00 | 42000.00 | 42000.00 | 24999.00 | 24999.00 | 40000.00 | 40000.00 | 30000.00 | 30000.00 | 35000.00 | 35000.00 | 35000.00 | 35000.00 | 60000.00 | 60000.00 | 95000.00 | 95000.00 | 74635.00 | 74635.00 | 50000.00 | 50000.00 | 100000.00 | 100000.00 | 24999.00 | CHENNAI ENGINEERING SERVICES
5.02 | 2nd Year - [2021-22] | 1.00 | Job |  | 75000.00 | 75000.00 | 63000.00 | 63000.00 | 50000.00 | 50000.00 | 24999.00 | 24999.00 | 45000.00 | 45000.00 | 30000.00 | 30000.00 | 35000.00 | 35000.00 | 35000.00 | 35000.00 | 62000.00 | 62000.00 | 115000.00 | 115000.00 | 82098.00 | 82098.00 | 50000.00 | 50000.00 | 100000.00 | 100000.00 | 24999.00 | CHENNAI ENGINEERING SERVICES
6.00 | Inspection/Overhauling/Servicing of ACBs of L&T/ C&S/ABB Make of Various Capacities provided in the various LT Panels at Old Power House and Utility Building at NITB as per Annexure-H by Deploying Authorised Service Personnel of Manufacturer/ Service Dealer/ Specialised Agencies experienced in Servicing of ACBs including cleaning of ACBs, opening the same, inspection, servicing, cleaning of contact surfaces, arc chutes, overhauling of operating mechanism, lubrication of moving parts, Checking of UV Coils, Trip Circuits, Checking of Control Circuits, replacement of minor defective spares supplied by AAI (excluding supply of spares), testing and commissioning etc., as required. [No. of ACBs 36]
6.01 | 1st Year - [2020-21] | 1.00 | Job |  | 80000.00 | 80000.00 | 126000.00 | 126000.00 | 98000.00 | 98000.00 | 149999.00 | 149999.00 | 90000.00 | 90000.00 | 30000.00 | 30000.00 | 108000.00 | 108000.00 | 90000.00 | 90000.00 | 220000.00 | 220000.00 | 100000.00 | 100000.00 | 300000.00 | 300000.00 | 65000.00 | 65000.00 | 100000.00 | 100000.00 | 30000.00 | POWER TECH ENGINEERING SERVICES
6.02 | 2nd Year - [2021-22] | 1.00 | Job |  | 80000.00 | 80000.00 | 126000.00 | 126000.00 | 98000.00 | 98000.00 | 149999.00 | 149999.00 | 100000.00 | 100000.00 | 30000.00 | 30000.00 | 108000.00 | 108000.00 | 90000.00 | 90000.00 | 240000.00 | 240000.00 | 100000.00 | 100000.00 | 320000.00 | 320000.00 | 65000.00 | 65000.00 | 100000.00 | 100000.00 | 30000.00 | POWER TECH ENGINEERING SERVICES
7.00 | Servicing 7 Nos. of 33 KV, 630A VCBs Installed at Utility Building of NITB Once in a Year through OEM or OEM Authorised Dealers including Overhauling, Testing, Checking of Contract Resistence, Contract Condition of Poles including Testing of Close and Trip Timing complete as required.
7.01 | 1st Year - [2020-21] | 1.00 | Job |  | 25000.00 | 25000.00 | 38500.00 | 38500.00 | 98000.00 | 98000.00 | 111999.00 | 111999.00 | 25000.00 | 25000.00 | 20000.00 | 20000.00 | 28000.00 | 28000.00 | 98000.00 | 98000.00 | 40000.00 | 40000.00 | 95000.00 | 95000.00 | 45000.00 | 45000.00 | 50000.00 | 50000.00 | 45000.00 | 45000.00 | 20000.00 | POWER TECH ENGINEERING SERVICES
7.02 | 2nd Year - [2021-22] | 1.00 | Job |  | 25000.00 | 25000.00 | 38500.00 | 38500.00 | 98000.00 | 98000.00 | 111999.00 | 111999.00 | 25000.00 | 25000.00 | 20000.00 | 20000.00 | 28000.00 | 28000.00 | 98000.00 | 98000.00 | 42000.00 | 42000.00 | 95000.00 | 95000.00 | 45000.00 | 45000.00 | 50000.00 | 50000.00 | 45000.00 | 45000.00 | 20000.00 | POWER TECH ENGINEERING SERVICES
8.00 | Carrying out CPWD DSR Schedule Items (Rate Based on DSR 2018 Which is i/c of GST) as and when required during contract period upto 2.5lakhs . The Rate quoted shall be exclusive GST and GST shall be paid extra as applicable.(1 JOB =Rs. 250000.00) For example the base amount for one Year is Rs. 2.50 Lakhs for this item if the contract has to quote the above ( 2.50 Lakhs + 10% = 2.75 Lakhs) If contractor want to quote below (2.50 Lakhs - 10% = 2.25 Lakhs).
8.01 | 1st Year - [2020-21] | 1.00 | Job |  | 225000.00 | 225000.00 | 212000.00 | 212000.00 | 224000.00 | 224000.00 | 224999.00 | 224999.00 | 175000.00 | 175000.00 | 200000.00 | 200000.00 | 190000.00 | 190000.00 | 212500.00 | 212500.00 | 220000.00 | 220000.00 | 200000.00 | 200000.00 | 227500.00 | 227500.00 | 200000.00 | 200000.00 | 345000.00 | 345000.00 | 175000.00 | PAN POLAR ENGINEERS PVT. LTD.
8.02 | 2nd Year - [2021-22] | 1.00 | Job |  | 225000.00 | 225000.00 | 212000.00 | 212000.00 | 224000.00 | 224000.00 | 249999.00 | 249999.00 | 175000.00 | 175000.00 | 200000.00 | 200000.00 | 200000.00 | 200000.00 | 212500.00 | 212500.00 | 220000.00 | 220000.00 | 200000.00 | 200000.00 | 235000.00 | 235000.00 | 220000.00 | 220000.00 | 345000.00 | 345000.00 | 175000.00 | PAN POLAR ENGINEERS PVT. LTD.
| Total in Figures |  |  |  |  | 20084256.00 |  | 20770500.00 |  | 20629600.00 |  | 21928672.00 |  | 20850440.00 |  | 19692600.00 |  | 20333528.00 |  | 21552240.00 |  | 20267500.00 |  | 22367096.00 |  | 23688405.32 |  | 20498680.00 |  | 19206912.00
Lowest Amount Quoted BY: M/S B.A.G ENTERPRISES(19206912.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and Maintenance of E and M Installations at New Interim Terminal Building Vijayawada Airport for the year 2020-22 Tender ID: 2020_AAI_55640_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S B.A.G ENTERPRISES | 19206912.00 | L1
| 2 | POWER TECH ENGINEERING SERVICES | 19692600.00 | L2
| 3 | SHRADDHA ENGINEERING AND FACILITY SERVICES | 20084256.00 | L3
| 4 | KALKI ELECTRICALS | 20267500.00 | L4
| 5 | Manish Electricals | 20333528.00 | L5
| 6 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 20498680.00 | L6
| 7 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED | 20629600.00 | L7
| 8 | S. N ELECTRICALS | 20770500.00 | L8
| 9 | PAN POLAR ENGINEERS PVT. LTD. | 20850440.00 | L9
| 10 | ABHISHEK ASSOCIATES | 21552240.00 | L10
| 11 | CHENNAI ENGINEERING SERVICES | 21928672.00 | L11
| 12 | SRI VASUKI POWER SYSTEMS PVT LTD | 22367096.00 | L12
| 13 | Ruchira Associates | 23688405.32 | L13