## BoQ1
Government eProcurement System Created By: SUJATHA R Created Date/Time: 25-Sep-2020 04:23 PM Tender Title: Installation of CWIS at Salem Airport. SH.Electricals works Tender ID: 2020_AAI_55669_1
Tender Inviting Authority: Asst.Gen. Manager(E-E), AAI, Salem Airport
Name of Work:Installation of CWIS at Salem Airport. SH:Electrical Works.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | DEEPAKELECTRICALS(GSTN-33ALUPD3531C1ZI) |  | R K ELECTRICALS(GSTN-33AGFPR4397A1ZG) |  | Shantha ELectricals and Engineers Pvt Ltd(GSTN-29AARCS2866G1ZP)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following sizes XLPE cable of 1.1KV grade confirming insulated PVc sheathed to IS 7098 PART-l with aluminium conductor armoured upto date amendments. 3 x 35 Sq mm | 600.00 | Mtr | 100.00 | 210.00 | 126000.00 | 185.00 | 111000.00 | 160.00 | 96000.00 | 96000.00 | Shantha ELectricals and Engineers Pvt Ltd
2.00 | Supply of optical fiber cable the below specifications:- 1.Cable type- Standard loose tube 2.Construction type- Armoured 3.Sub unit type- Gel Free 4.Jacket material/Colour- PF/Black 5.Total Fiber count- Six core 6.Armour type- Corrugated steel 7.Sheath/jacket- HDPE(UV stabilized) | 600.00 | Mtr | 100.00 | 35.00 | 21000.00 | 55.00 | 33000.00 | 35.00 | 21000.00 | 21000.00 | DEEPAKELECTRICALS, Shantha ELectricals and Engineers Pvt Ltd
3.00 | Supply of media convertor Lucent connector(LC) ports ports-4 numbers (100 base FX) | 2.00 | Each | 100.00 | 4000.00 | 8000.00 | 4500.00 | 9000.00 | 2500.00 | 5000.00 | 5000.00 | Shantha ELectricals and Engineers Pvt Ltd
4.00 | Supply of Patch cords LC-LC Patch cords 5m length (Single mode 100 base FX) | 4.00 | Each | 100.00 | 2000.00 | 8000.00 | 2000.00 | 8000.00 | 1350.00 | 5400.00 | 5400.00 | Shantha ELectricals and Engineers Pvt Ltd
5.00 | Supply of Patch cords LC-LC Patch cords 10m length (Single mode 100 base FX) | 2.00 | Each | 100.00 | 3500.00 | 7000.00 | 3000.00 | 6000.00 | 1800.00 | 3600.00 | 3600.00 | Shantha ELectricals and Engineers Pvt Ltd
6.00 | Supply of Network switch 8-Port PoE Desktop Switch ,DGS-1008MP or equivalent as required. | 2.00 | Each | 100.00 | 6500.00 | 13000.00 | 5500.00 | 11000.00 | 6750.00 | 13500.00 | 11000.00 | R K ELECTRICALS
7.00 | Supply of 6 port Single mode LC Patch panel, 16- gauge steel with corrosion-resistant black powder finish coat housing provides excellent protection for the inside fibers. Fiber patch panels are made with a pull-out design for easy access to fibers and fiber slice trays. | 2.00 | Each | 100.00 | 13500.00 | 27000.00 | 4500.00 | 9000.00 | 3800.00 | 7600.00 | 7600.00 | Shantha ELectricals and Engineers Pvt Ltd
8.00 | Supplying and installing following size of perforated painted with powder coating M.S. cable trays bends with perforation not more than 17.5%,, joined with connectors, suspended from the ceiling with M.S. suspenders including bolts & nuts, painting suspenders etc as required. a) 300 mm width X 50 mm depth X 1.6 mm thickness | 40.00 | Mtr | 100.00 | 800.00 | 32000.00 | 750.00 | 30000.00 | 1200.00 | 48000.00 | 30000.00 | R K ELECTRICALS
9.00 | Supply and installation of 18U IP 66 outdoor cabinet for Front Door- lockable steel door with gasket sealing, 2 & 4 Fan option for hot air execution Cable Entry Cut- Through PG IP Glands 2 pair heavy duty (1.6mm) vertical mounting rail for equipment mounting, Height as per Rack Unit Cooling Option- 2 AC/DC fan Provision mounted on Front Door Load Bearing Capacity up to 300 -400 KG Construction- Welded Galvanized Steel Construction 1.2mm Thick Load Bearing angles are 1.6 mm Power Distribution Unit- 6 Socket 5 & 15 AMP Horizontal (optional) Cable Management- Horizontal Metal & PVC (Optional) Fix Shelf/Cantilever Shelf- 375mm & 475mm mm to 600mm (optional) Color- light Grey Powder Coated (RAL-7035) Other Features:- Available in Pre Galvanized Steel Anti rust Protection Rating IP55 Compliance Structure Protection from Rain Water or Natural way Protection Rating IP55 Compliance Structure Protection From level of harmful dust Fan Cooled Cabinet through Single Fan, Dual Fan Option Aluminum Wire Mesh Filter 100mm x 200mm which prevent level of harmful dust entering into cabinet Two Year Warranty for Cabinets Which Include FAN & Power Distribution Units Powder Coated with Color Options RAL7035 Light Smoke Grey or RAL9005 Black are the Standard Available in Multiple Depth like 400mm ¦ 500mm ¦ 600mm ¦ 700mm ¦ 800mm ¦ 900mm ¦ 1000mm Single Skin Cabinet ( Double Skin is optional – On Requirement) Fan hood On Front Door with Louvers to eliminate cabinet hot air Fully adjustable 19” mounting Channels, mounting rails can be adjusted as per requirement Pole Mount, Tower Mount & Wall mount through single arrangement Pole Dia 2 inch to 10 inch Cable Entry through IP PG Glands Options PG 11, PG 16, PG 19, PG 25, PG 29, PG 36 | 1.00 | Each | 100.00 | 100000.00 | 100000.00 | 22500.00 | 22500.00 | 35000.00 | 35000.00 | 22500.00 | R K ELECTRICALS
10.00 | Supply and installation of 2 KVA UPS and 100AH 12V Tubular Battery as required. | 1.00 | Each | 100.00 | 24500.00 | 24500.00 | 35000.00 | 35000.00 | 21000.00 | 21000.00 | 21000.00 | Shantha ELectricals and Engineers Pvt Ltd
11.00 | Supply and installation of Surge protector as required. | 1.00 | Each | 100.00 | 2000.00 | 2000.00 | 4500.00 | 4500.00 | 11000.00 | 11000.00 | 2000.00 | DEEPAKELECTRICALS
12.00 | Supply and installation of portable distribution box made of Weather/Vermin proof,Anti corrosive, UV resistant, Insulated, shock proof made out of Thermoplastic Polycarbonate, factory assembled pole junction boxes, with tool operated quarter turn locking arrangement, Pole mounted, conforming to IP 65 protection with all routine test certificates as per IEC, for better safety the polycarbonate JBs shall be fire retardant & amp; self-extinguishing in accordance with IEC 60 695-2-11, DIN VDE 0304 Part 3 UL Subject 94 for Flammability V-2. It should be tested at Glow Wire test for 960 deg.Cent., with MCB chamber to accommodate 6 MCBs,16/6A switch control domestic sockets-5 no.s ,indicator lamps complete as required. | 1.00 | Each | 100.00 | 6500.00 | 6500.00 | 9000.00 | 9000.00 | 3500.00 | 3500.00 | 3500.00 | Shantha ELectricals and Engineers Pvt Ltd
13.00 | Supplying and laying of 50 mm OD HDPE Pipe of PE 80 PN 6 ISI Marked along with all accessories like socket, bend etc., confirmlng to IS 4984 complete with fittlng and cutting, jointing etc., direct in ground (0.75 mtr below the ground level) including excavation and refilling the trench but excludind sand cushioning and protective covering etc., as required. | 480.00 | Mtr | 100.00 | 230.00 | 110400.00 | 255.00 | 122400.00 | 270.00 | 129600.00 | 110400.00 | DEEPAKELECTRICALS
14.00 | Providing and laying following dia GI pipe ( medium class ) in ground complete with G.I fittings including bituminous road cutting and trenching (75 cm deep) including excavation and refilling and making as good as same by concreting with 1:2:4 (1 Cement : 2 Coarse sand: 4 graded stone) etc as required. 80 mm | 20.00 | Mtr | 100.00 | 850.00 | 17000.00 | 1100.00 | 22000.00 | 320.00 | 6400.00 | 6400.00 | Shantha ELectricals and Engineers Pvt Ltd
15.00 | Providing and laying of 25 mm casing capping pipe as required. | 20.00 | Mtr | 100.00 | 55.00 | 1100.00 | 40.00 | 800.00 | 40.00 | 800.00 | 800.00 | R K ELECTRICALS, Shantha ELectricals and Engineers Pvt Ltd
16.00 | Supplying and making indoor end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/XLPE aluminium conductor cable of 1.1 KV grade as required. 3 X 35 Sq.mm | 2.00 | Set | 100.00 | 350.00 | 700.00 | 450.00 | 900.00 | 650.00 | 1300.00 | 700.00 | DEEPAKELECTRICALS
17.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess or along with existing surface/recessed conduit /submain wiring/cable as required. | 600.00 | Mtr | 100.00 | 35.00 | 21000.00 | 40.00 | 24000.00 | 45.00 | 27000.00 | 21000.00 | DEEPAKELECTRICALS
18.00 | Supplying and fixing following size / modules, GI box, sheet steel enclosure on surface/recess along with modular base & cover plate for modular switches in recess etc as required. | 4.00 | Each | 100.00 | 650.00 | 2600.00 | 500.00 | 2000.00 | 1200.00 | 4800.00 | 2000.00 | R K ELECTRICALS
19.00 | Supplying and making cable route marker with cement concrete 1:2:4 (1 cement 2 coarse: 4 graded stone aggregate 20mm niminal size) of size 60 cm X 60 cm at the bottom and 50 cm X 50 cm at the top with a thickness of 10 cm including inscription duly engraved as required. | 10.00 | Each | 100.00 | 350.00 | 3500.00 | 550.00 | 5500.00 | 1800.00 | 18000.00 | 3500.00 | DEEPAKELECTRICALS
20.00 | Laying of one number PVC insulated and PVC sheathed/XLPE Pipe power cable of 1.1 KV grade of following size in the existingRCC/HUME/METAL pipe/HDPE Pipe as required Upto 35 Sq.mm | 1000.00 | Mtr | 100.00 | 16.00 | 16000.00 | 35.00 | 35000.00 | 50.00 | 50000.00 | 16000.00 | DEEPAKELECTRICALS
21.00 | Laying of one number PVC insulated and PVC sheathed/XLPE Pipe power cable of 1.1 KV grade of following size in the existing masonry open duct or perforated cable tray(300 mm width X 50 mm depth X 1.6 mm thickness) as required upto 35 Sq.mm | 80.00 | Mtr | 100.00 | 15.00 | 1200.00 | 35.00 | 2800.00 | 55.00 | 4400.00 | 1200.00 | DEEPAKELECTRICALS
22.00 | Laying and fixing of one number PVC insulated and PVC sheathed/XLPE power cable/Control Cable of 1.1 KV grade of following size on wall surface as required. Upto 35 Sq.mm | 80.00 | Mtr | 100.00 | 30.00 | 2400.00 | 40.00 | 3200.00 | 60.00 | 4800.00 | 2400.00 | DEEPAKELECTRICALS
23.00 | Installation of Back box fixing & Face Plate fixing. | 2.00 | Each | 100.00 | 150.00 | 300.00 | 400.00 | 800.00 | 150.00 | 300.00 | 300.00 | DEEPAKELECTRICALS, Shantha ELectricals and Engineers Pvt Ltd
24.00 | Installation of 6 core single mode armored OFC cable I/O Termination/Splicing OTDR testing. | 2.00 | Each | 100.00 | 8000.00 | 16000.00 | 1800.00 | 3600.00 | 2500.00 | 5000.00 | 3600.00 | R K ELECTRICALS
25.00 | Installation of 8-Port PoE Desktop Switch. | 2.00 | Each | 100.00 | 650.00 | 1300.00 | 600.00 | 1200.00 | 1200.00 | 2400.00 | 1200.00 | R K ELECTRICALS
26.00 | Installation of 4 way Single Mode media converters. | 2.00 | Each | 100.00 | 650.00 | 1300.00 | 300.00 | 600.00 | 1000.00 | 2000.00 | 600.00 | R K ELECTRICALS
27.00 | Installation and dressing of of 6 way LIU. | 2.00 | Each | 100.00 | 650.00 | 1300.00 | 500.00 | 1000.00 | 900.00 | 1800.00 | 1000.00 | R K ELECTRICALS
28.00 | Labeling & Dressing of Fiber Patch Cord. | 6.00 | Each | 100.00 | 650.00 | 3900.00 | 500.00 | 3000.00 | 350.00 | 2100.00 | 2100.00 | Shantha ELectricals and Engineers Pvt Ltd
29.00 | Installation and dressing of LC-LC Patch cords 5m length. | 4.00 | Each | 100.00 | 650.00 | 2600.00 | 120.00 | 480.00 | 200.00 | 800.00 | 480.00 | R K ELECTRICALS
30.00 | Installation and dressing of LC-LC Patch cords 10m length. | 2.00 | Each | 100.00 | 650.00 | 1300.00 | 180.00 | 360.00 | 200.00 | 400.00 | 360.00 | R K ELECTRICALS
31.00 | Fixing & Dressing of Wall Mount rack with 10-Socket PDU & all standard accessories ,size 600mm X 600mm. | 2.00 | Each | 100.00 | 1000.00 | 2000.00 | 300.00 | 600.00 | 900.00 | 1800.00 | 600.00 | R K ELECTRICALS
32.00 | Supply, Installation, testing and commissioning of maitenance free chemical earthing system in CROWFOT method with all suitable components / accessories and using 3" dia & 0.12" thick copper tube of 8 feet length and 04 nos. 16mm dia SS road and 8 feet length each and the earth pit being treated with chemical gel so as to achieve earth resistance of about 0.5 mho or better complete as per enclosed drawings. | 1.00 | Set | 100.00 | 4999.00 | 4999.00 | 23000.00 | 23000.00 | 15000.00 | 15000.00 | 4999.00 | DEEPAKELECTRICALS
33.00 | Providing and fixing 25 mm X 3 mm copper strip in 40 mm dia GI pipe from earth electrode including connection with brass nut, bolts, spring, washer excavations and refilling etc. as required. | 7.00 | Mtr | 100.00 | 800.00 | 5600.00 | 880.00 | 6160.00 | 720.00 | 5040.00 | 5040.00 | Shantha ELectricals and Engineers Pvt Ltd
34.00 | Providing and fixing 25 mm X 3 mm copper strip on surface or in recess for connections etc. as required. | 5.00 | Mtr | 100.00 | 500.00 | 2500.00 | 480.00 | 2400.00 | 680.00 | 3400.00 | 2400.00 | R K ELECTRICALS
| Total in Figures |  |  |  |  | 593999.00 |  | 549800.00 |  | 557740.00
Lowest Amount Quoted BY: R K ELECTRICALS(549800.00)

## BOQ Summary
BOQ Summary Details Tender Title: Installation of CWIS at Salem Airport. SH.Electricals works Tender ID: 2020_AAI_55669_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | R K ELECTRICALS | 549800.00 | L1
| 2 | Shantha ELectricals and Engineers Pvt Ltd | 557740.00 | L2
| 3 | DEEPAKELECTRICALS | 593999.00 | L3