## BoQ1
Government eProcurement System Created By: Saubhik Pan Created Date/Time: 06-Nov-2020 05:43 PM Tender Title: R and M Power Supply including stand by DG sets at NSCBI Airport for 2020 21 Kolkata SH Procurement of batteries and BMS for UPS at CCR Power House Tender ID: 2020_AAI_55732_1
Tender Inviting Authority: Airports Authority of India
Name of Work: R&M Power Supply i/c stand by DG sets at NSCBI Airport for 2020-21, Kolkata. SH: Procurement of batteries and BMS for UPS at CCR Power House.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ZILLION POWER INDIA PVT LTD(GSTN-19AAACZ3358B1ZD) |  | K KUMAR RAJA PROJECTS PVT LIMITED(GSTN-37AABCK5644G1ZI)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.10 | Supply, installation, testing and commissioning of 12 Volt 200 AH SMF Battery including GARFLIM sheet, Quarterly battery DC test and yearly IR test. | 160.00 | Nos | 13500.00 | 11400.00 | 1824000.00 | 20500.00 | 3280000.00 | 1824000.00 | ZILLION POWER INDIA PVT LTD
1.20 | Supply of suitable Intelligent Battery Monitoring unit for 200 AH/12 V 160 Nos. Batteries along with necessary suitable PC, UPS, Printer along with necessary hardware and Software components as per specifications and as directed by Engineer-in-charge with Parameters Monitored. 1. Individual battery Voltage. 2. String Voltage. 3. Individual Internal Resistance. 4. String Current. 5. Ambient Temperature etc. | 1.00 | Job | 425000.00 | 540000.00 | 540000.00 | 1040000.00 | 1040000.00 | 540000.00 | ZILLION POWER INDIA PVT LTD
2.00 | Buy Back Items
2.10 | Buyback of Old Batteries of Rocket make 200 AH, 12V rating. | 160.00 | Nos | 4500.00 | 4800.00 | -768000.00 | 500.00 | -80000.00 | -768000.00 | ZILLION POWER INDIA PVT LTD
| Total in Figures |  |  |  |  | 1596000.00 |  | 4240000.00
Lowest Amount Quoted BY: ZILLION POWER INDIA PVT LTD(1596000.00)

## BOQ Summary
BOQ Summary Details Tender Title: R and M Power Supply including stand by DG sets at NSCBI Airport for 2020 21 Kolkata SH Procurement of batteries and BMS for UPS at CCR Power House Tender ID: 2020_AAI_55732_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ZILLION POWER INDIA PVT LTD | 1596000.00 | L1
| 2 | K KUMAR RAJA PROJECTS PVT LIMITED | 4240000.00 | L2