## BoQ1
Government eProcurement System Created By: Saubhik Pan Created Date/Time: 17-Nov-2020 04:45 PM Tender Title: MO Power Supply including stand by DG sets at NSCBI Airport during 2020 21. SH Procurement of spares for Service Yard Panels ATS HT capacitor bank syn Panel Electrical spares for all Sub Stations HT and LT SWGRs and Capacitors. Tender ID: 2020_AAI_55734_1
Tender Inviting Authority: Airports Authority of India
Name of Work: M.O. Power Supply i/c standby DG sets at NSCBI Airport during 2020-21. SH: Procurement of spares for Service Yard Panels, ATS, H.T. capacitor bank, syn. Panel, Electrical spares for all Sub-Stations. HT & LT SWGR's & Capacitors.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Power Engineering Associates(GSTN-37AACFP7465L1ZO) |  | POWER INDIA(GSTN-19AKGPK0260J1Z6) |  | SUSAMA ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | NS10, HRC Fuse Cartridge, 10A for Closing CKT, +ve, MAKE: - GEPC/BUSSMAN | 15.00 | No. | 100.00 | 89.00 | 1335.00 | 82.00 | 1230.00 | 89.00 | 1335.00 | 1230.00 | POWER INDIA
2.00 | NS4, HRC Fuse cartidge, 4 A for R PH SECONDARY, MAKE: - GEPC/BUSSMAN | 15.00 | No. | 100.00 | 89.00 | 1335.00 | 82.00 | 1230.00 | 89.00 | 1335.00 | 1230.00 | POWER INDIA
3.00 | NS 15 H, Fuse Base MAKE: GEPC/BUSSMAN | 10.00 | No. | 500.00 | 447.00 | 4470.00 | 408.00 | 4080.00 | 445.00 | 4450.00 | 4080.00 | POWER INDIA
4.00 | 33 KV HT Fuse, 3.15A, Type: AVT 33PT Primary Fuse(Inbuilt IN D/O PT), MAKE: ISHWARI/ ANAND | 10.00 | No. | 4200.00 | 3754.00 | 37540.00 | 3426.00 | 34260.00 | 3735.00 | 37350.00 | 34260.00 | POWER INDIA
5.00 | 3.15A 11KV PT Fuse, Type HRC MAKE: BUSSMANN | 25.00 | No. | 1892.00 | 1691.00 | 42275.00 | 1543.00 | 38575.00 | 1683.00 | 42075.00 | 38575.00 | POWER INDIA
6.00 | Expulsion Fuse, MAKE: REPUTED/Suitable for Replacement of existing one | 20.00 | No. | 4900.00 | 4379.00 | 87580.00 | 3997.00 | 79940.00 | 4358.00 | 87160.00 | 79940.00 | POWER INDIA
7.00 | Moulded case fuse Base 125 A Make -Cooper Bussman or Euivalent | 25.00 | No. | 1176.00 | 1051.00 | 26275.00 | 959.00 | 23975.00 | 1046.00 | 26150.00 | 23975.00 | POWER INDIA
8.00 | Moulded case fuse Base 63 A Make -Cooper Bussman or Euivalent | 25.00 | No. | 462.00 | 413.00 | 10325.00 | 377.00 | 9425.00 | 411.00 | 10275.00 | 9425.00 | POWER INDIA
9.00 | HRC fuse 125 A type- HN of L&T make / suitable for replacement of existing one | 20.00 | No. | 880.00 | 786.00 | 15720.00 | 718.00 | 14360.00 | 783.00 | 15660.00 | 14360.00 | POWER INDIA
10.00 | HRC fuse 125 A type-TSDS of GE make/ suitable for replacement of existing one | 20.00 | No. | 276.00 | 247.00 | 4940.00 | 225.00 | 4500.00 | 245.00 | 4900.00 | 4500.00 | POWER INDIA
11.00 | HRC Fuse, 4 A Similar to NSD4 type of Cooper Bussman make or equivalent | 20.00 | No. | 56.00 | 50.00 | 1000.00 | 46.00 | 920.00 | 50.00 | 1000.00 | 920.00 | POWER INDIA
12.00 | HRC Fuse, 32A Similar to NSD32 type of Cooper Bussman make or equivalent | 20.00 | No. | 74.00 | 66.00 | 1320.00 | 60.00 | 1200.00 | 66.00 | 1320.00 | 1200.00 | POWER INDIA
13.00 | HRC Fuse, 63A Similar to EITD63 type of Cooper Bussman make or equivalent | 20.00 | No. | 150.00 | 134.00 | 2680.00 | 122.00 | 2440.00 | 133.00 | 2660.00 | 2440.00 | POWER INDIA
14.00 | HRC Fuse, 63A Similar toTIS/63KO7-660 type of Cooper Bussman make or equivalent | 20.00 | No. | 202.00 | 181.00 | 3620.00 | 165.00 | 3300.00 | 180.00 | 3600.00 | 3300.00 | POWER INDIA
15.00 | HRC Fuse, 63A type TSS, BAO63, 415V,AC, type of Cooper Bussman make or equivalent | 20.00 | No. | 140.00 | 125.00 | 2500.00 | 114.00 | 2280.00 | 125.00 | 2500.00 | 2280.00 | POWER INDIA
16.00 | HRC Fuse,63A Similar to HF type of L & T make or equivalent | 20.00 | No. | 840.00 | 751.00 | 15020.00 | 685.00 | 13700.00 | 747.00 | 14940.00 | 13700.00 | POWER INDIA
17.00 | Moulded case fuse Base, 63A, Cooper, Make Bussman or equivqlent | 20.00 | No. | 494.00 | 442.00 | 8840.00 | 403.00 | 8060.00 | 439.00 | 8780.00 | 8060.00 | POWER INDIA
18.00 | FUSE BASE, TYPE-HCO, SUITABLE FOR CYLINDRICAL/DIN TYPE HRC FUSE LINK TYPE HF AND HN,2-32A, MAKE - L&T | 4.00 | No. | 380.00 | 340.00 | 1360.00 | 310.00 | 1240.00 | 338.00 | 1352.00 | 1240.00 | POWER INDIA
19.00 | HRC ,D-Type,Fuse (250 A), MAKE: ABB/BUSSMAN/Suitable for replacement of existing one | 6.00 | No. | 840.00 | 751.00 | 4506.00 | 685.00 | 4110.00 | 747.00 | 4482.00 | 4110.00 | POWER INDIA
20.00 | HRC Fuse,D-Type, (400 A), MAKE: ABB/BUSSMAN/Suitable for replacement of existing one | 6.00 | No. | 1350.00 | 1207.00 | 7242.00 | 1101.00 | 6606.00 | 1201.00 | 7206.00 | 6606.00 | POWER INDIA
21.00 | HBC Fuse link, 660V AC 80KA 16 AMP, MAKE: ABB/BUSSMAN/JAINSON | 50.00 | No. | 800.00 | 715.00 | 35750.00 | 653.00 | 32650.00 | 712.00 | 35600.00 | 32650.00 | POWER INDIA
22.00 | HBC Fuse link, 660V AC 80KA 20 AMP, MAKE: ABB/BUSSMAN/JAINSON | 50.00 | No. | 700.00 | 626.00 | 31300.00 | 571.00 | 28550.00 | 623.00 | 31150.00 | 28550.00 | POWER INDIA
23.00 | 20A HRC Fuse, MAKE: JAINSON/BUSSMANN | 20.00 | No. | 500.00 | 447.00 | 8940.00 | 408.00 | 8160.00 | 445.00 | 8900.00 | 8160.00 | POWER INDIA
24.00 | 6A Control Fuse, MAKE: GEPC/Bussman. | 20.00 | No. | 150.00 | 134.00 | 2680.00 | 122.00 | 2440.00 | 133.00 | 2660.00 | 2440.00 | POWER INDIA
25.00 | TYPE-S271-C2NA, 1 POLE & NEUTRAL, 2A MCB SUITABLE UP TO 400V AC/125V, MAKE: - ABB/ LEGRAND | 4.00 | No. | 1008.00 | 901.00 | 3604.00 | 822.00 | 3288.00 | 897.00 | 3588.00 | 3288.00 | POWER INDIA
26.00 | TYPE-S282UC K10, 2POLE, 10A MCB, SUTABLE UP TO 440V DC/125V DC FOR Make: ABB/LEGRAND | 4.00 | No. | 1084.00 | 969.00 | 3876.00 | 884.00 | 3536.00 | 964.00 | 3856.00 | 3536.00 | POWER INDIA
27.00 | TYPE-S271-C6NA, 1 POLE & NEUTRAL, 6A MCB SUITABLE UP TO 400V AC/125V, MAKE: - ABB/ LEGRAND | 4.00 | No. | 740.00 | 661.00 | 2644.00 | 604.00 | 2416.00 | 658.00 | 2632.00 | 2416.00 | POWER INDIA
28.00 | TYPE-S282 UC-K25, 2 POLE 25A,MCB, SUITABLE UP TO 440V DC FOR MAIN DC MAKE: - ABB/ LEGRAND | 2.00 | No. | 1084.00 | 969.00 | 1938.00 | 884.00 | 1768.00 | 964.00 | 1928.00 | 1768.00 | POWER INDIA
29.00 | MCB(DP) 'C' 10KA, 16A 240 v,Make:Schneider | 10.00 | No. | 1896.00 | 1695.00 | 16950.00 | 1546.00 | 15460.00 | 1686.00 | 16860.00 | 15460.00 | POWER INDIA
30.00 | MCB(DP) 'C' 10KA, 32A 240 v ,Make:Schneider | 10.00 | No. | 1896.00 | 1695.00 | 16950.00 | 1546.00 | 15460.00 | 1686.00 | 16860.00 | 15460.00 | POWER INDIA
31.00 | MCB(SP), 10KA, 10A 240V ,Make:Schneider | 10.00 | No. | 628.00 | 561.00 | 5610.00 | 512.00 | 5120.00 | 559.00 | 5590.00 | 5120.00 | POWER INDIA
32.00 | MCB(SP), 10KA, 16A 240V ,Make:Schneider | 10.00 | No. | 628.00 | 561.00 | 5610.00 | 512.00 | 5120.00 | 559.00 | 5590.00 | 5120.00 | POWER INDIA
33.00 | RE-300 With Base EVV 310 For Plug-in Relay, Aux. Voltage: 30VDC Contact : 4C/0, MAKE: JYOTI | 5.00 | No. | 3660.00 | 3271.00 | 16355.00 | 2985.00 | 14925.00 | 3255.00 | 16275.00 | 14925.00 | POWER INDIA
34.00 | TCS, Trip Circuit Supervision Relay Non-Drawout, flush Case size 1/2 Contacts: 1 NO + 1NC+2C/O SR Aux 30VAC/DC, MAKE: ABB | 2.00 | No. | 7712.00 | 6893.00 | 13786.00 | 6290.00 | 12580.00 | 6859.00 | 13718.00 | 12580.00 | POWER INDIA
35.00 | PQ8CH2J, Tripping Relay, (86) Drawout, Flash Case size 1/2 Contacts: 4NO + 3 NC, MAKE: ABB | 2.00 | No. | 7056.00 | 6306.00 | 12612.00 | 5755.00 | 11510.00 | 6276.00 | 12552.00 | 11510.00 | POWER INDIA
36.00 | Multifuncion Relay with auto synch. And Auto Load Sharing Feature, Model- Multy line AGC 242 MAKE: DIEF | 2.00 | No. | 177000.00 | 210922.00 | 421844.00 | 192492.00 | 384984.00 | 209898.00 | 419796.00 | 384984.00 | POWER INDIA
37.00 | 14-Stage APFC Relay (RPM-14), Aux. 220 V AC, Make - L&T | 2.00 | No. | 29850.00 | 35571.00 | 71142.00 | 32463.00 | 64926.00 | 35398.00 | 70796.00 | 64926.00 | POWER INDIA
38.00 | Alternating Relay, P2 ALT1, MAKE: MINILEC. | 25.00 | No. | 3000.00 | 2681.00 | 67025.00 | 2447.00 | 61175.00 | 2668.00 | 66700.00 | 61175.00 | POWER INDIA
39.00 | Moisture Relay Along With CKT Board (27YOW4),24 V DC, MAKE - MINILEC | 25.00 | No. | 1500.00 | 1341.00 | 33525.00 | 1223.00 | 30575.00 | 1334.00 | 33350.00 | 30575.00 | POWER INDIA
40.00 | TA25DUM 3 Pole Thermal over load relay, 1 NO + 1 NC range 4.5-6.5 A , MAKE: ABB | 50.00 | No. | 1800.00 | 1609.00 | 80450.00 | 1468.00 | 73400.00 | 1601.00 | 80050.00 | 73400.00 | POWER INDIA
41.00 | Relay, MICOM P-122,PT-110-230 Volt AC,CT-secondary 1-5A,Aux-110-230V AC Schneider Make | 2.00 | No. | 51000.00 | 60774.00 | 121548.00 | 55464.00 | 110928.00 | 60479.00 | 120958.00 | 110928.00 | POWER INDIA
42.00 | Relay With Base,RXM4AB1FD,(2 NO +2NC),3RH,110 VDC,IEC 61810-1 6A/250 VAC,(RXM-Schneider electric) | 10.00 | No. | 1480.00 | 1323.00 | 13230.00 | 1207.00 | 12070.00 | 1316.00 | 13160.00 | 12070.00 | POWER INDIA
43.00 | PSU 14_2X(Breaker Contact Multplier) (52X) Projection Mounted on plug in Base, MAKE: ABB | 2.00 | No. | 19080.00 | 17053.00 | 34106.00 | 15563.00 | 31126.00 | 16970.00 | 33940.00 | 31126.00 | POWER INDIA
44.00 | 33 KV Breaker Tulip Contact 1250A, 15 Finger, Article No - HAMT402314R2, MAKE: ABB | 6.00 | No. | 17010.00 | 15203.00 | 91218.00 | 13874.00 | 83244.00 | 15129.00 | 90774.00 | 83244.00 | POWER INDIA
45.00 | Digital Ammetere, with in Built selecter switch, CTR: 800/5A ACC: 1.0, CUTOUT: 96 mm x 96 mm panel mounting Aux. 230V AC | 3.00 | No. | 2540.00 | 2270.00 | 6810.00 | 2072.00 | 6216.00 | 2259.00 | 6777.00 | 6216.00 | POWER INDIA
46.00 | AMMETER With Inbuilt Selector Switch, Digital, 3Phase, DM3110, FLUSH Type, Size-96*96 mm, CL-0.5,Aux. Supply 90-300 V AC. Make - CONSERV | 2.00 | No. | 2500.00 | 2234.00 | 4468.00 | 2039.00 | 4078.00 | 2224.00 | 4448.00 | 4078.00 | POWER INDIA
47.00 | 96 sq mm 90 Deg Scale Moving Iron Type Ammeter. Range 0-10/60A., MAKE: AE/RISHAB. | 30.00 | No. | 3750.00 | 3352.00 | 100560.00 | 3059.00 | 91770.00 | 3335.00 | 100050.00 | 91770.00 | POWER INDIA
48.00 | Digital panel meter single phase Ammeter,Aux -230V AC,0-400 Amp (96mm x96mm) | 20.00 | No. | 2038.00 | 1821.00 | 36420.00 | 1662.00 | 33240.00 | 1813.00 | 36260.00 | 33240.00 | POWER INDIA
49.00 | Digital Volt Meter, with in Built selecter switch, PTR: 33KV/110VAC ACC: 1.0, CUTOUT: 96mm x 96 mm panel mounting Aux. 230V AC | 3.00 | No. | 2540.00 | 2270.00 | 6810.00 | 2072.00 | 6216.00 | 2259.00 | 6777.00 | 6216.00 | POWER INDIA
50.00 | DM 1110 96sq mm Digital Ammeter 0-3200A, MAKE: conzerv | 10.00 | No. | 2500.00 | 2234.00 | 22340.00 | 2039.00 | 20390.00 | 2224.00 | 22240.00 | 20390.00 | POWER INDIA
51.00 | DM3210 96sqmm Digital Voltmeter 0-500V, MAKE: SCHNIDER | 10.00 | No. | 5000.00 | 4469.00 | 44690.00 | 4078.00 | 40780.00 | 4447.00 | 44470.00 | 40780.00 | POWER INDIA
52.00 | Digital panel meter single phase Voltmeter,Aux-230V AC, 0-250 V AC( 96mm x96mm) | 15.00 | No. | 2038.00 | 1821.00 | 27315.00 | 1662.00 | 24930.00 | 1813.00 | 27195.00 | 24930.00 | POWER INDIA
53.00 | EM6400, Multifunction Meter with RS485 PORT CLASS 1.0, CT SEC.: 1A/5A, PT, MAKE: Schenider , Overall size 96 X 96MM, Cut out 92mm x 92mm programmer meter non draw out flush mounting 3phase, 4 wire, Aux. supply 44-300V AC/DC | 3.00 | No. | 19000.00 | 16981.00 | 50943.00 | 15497.00 | 46491.00 | 16899.00 | 50697.00 | 46491.00 | POWER INDIA
54.00 | Digital panel Multifunction meter ( 96mm x96mm),Amp-400-3200,PT-110V AC-230V AC,Aux Volt-110V-230V AC RS-485 Protocol. | 7.00 | No. | 19438.00 | 17372.00 | 121604.00 | 15855.00 | 110985.00 | 17288.00 | 121016.00 | 110985.00 | POWER INDIA
55.00 | P2PLBR4L, LED Lamp, Plastic Range, Leble: Red Colour Lens, Suitable for 30V, MAKE: TEKNIC/SIEMENS | 5.00 | No. | 1058.00 | 946.00 | 4730.00 | 863.00 | 4315.00 | 941.00 | 4705.00 | 4315.00 | POWER INDIA
56.00 | P2PLBR3L, LED Lamp, Plastic Range, Lebel: Green Colour Lens, Suitable for 30V, MAKE: TEKNIC/SIEMENS | 5.00 | No. | 1058.00 | 946.00 | 4730.00 | 863.00 | 4315.00 | 941.00 | 4705.00 | 4315.00 | POWER INDIA
57.00 | P2PLBR5L, LED Lamp, Plastic Range, Lebel: Amber Colour Lens, Suitable for 30V, MAKE: TEKNIC/SIEMENS | 5.00 | No. | 1058.00 | 946.00 | 4730.00 | 863.00 | 4315.00 | 941.00 | 4705.00 | 4315.00 | POWER INDIA
58.00 | P2PLBR1L, LED Lamp, Plastic Range, Lebel: White Colour Lens, Suitable for 30V, MAKE: TEKNIC/SIEMENS | 5.00 | No. | 1058.00 | 946.00 | 4730.00 | 863.00 | 4315.00 | 941.00 | 4705.00 | 4315.00 | POWER INDIA
59.00 | INDICATION LAMP LED 24V- 240V AC ( RED) | 50.00 | No. | 430.00 | 384.00 | 19200.00 | 351.00 | 17550.00 | 382.00 | 19100.00 | 17550.00 | POWER INDIA
60.00 | INDICATION LAMP LED 24V- 240V AC ( YELLOW) | 50.00 | No. | 430.00 | 384.00 | 19200.00 | 351.00 | 17550.00 | 382.00 | 19100.00 | 17550.00 | POWER INDIA
61.00 | INDICATION LAMP LED 24V- 240V AC ( BLUE) | 25.00 | No. | 678.00 | 606.00 | 15150.00 | 553.00 | 13825.00 | 603.00 | 15075.00 | 13825.00 | POWER INDIA
62.00 | INDICATION LAMP LED 24V- 240V AC( WHITE) | 50.00 | No. | 430.00 | 384.00 | 19200.00 | 351.00 | 17550.00 | 382.00 | 19100.00 | 17550.00 | POWER INDIA
63.00 | INDICATION LAMP LED 24V- 240V AC ( AMBER) | 25.00 | No. | 430.00 | 384.00 | 9600.00 | 351.00 | 8775.00 | 382.00 | 9550.00 | 8775.00 | POWER INDIA
64.00 | INDICATION LAMP LED 24V- 240V AC( GREEN) | 50.00 | No. | 430.00 | 384.00 | 19200.00 | 351.00 | 17550.00 | 382.00 | 19100.00 | 17550.00 | POWER INDIA
65.00 | R, Y, B, ON, OFF, Trip, Spring Charge Indicating Lamp (230V A.C, LED type), MAKE: TEKNIC/SIEMENS. | 150.00 | No. | 1058.00 | 946.00 | 141900.00 | 863.00 | 129450.00 | 941.00 | 141150.00 | 129450.00 | POWER INDIA
66.00 | L.E.D. Type Indicating Lamp 22.5mm Dia For Pump On (Red Colour), 230V AC,Trip(Amber), MAKE: TECHNIC | 200.00 | No. | 1058.00 | 946.00 | 189200.00 | 863.00 | 172600.00 | 941.00 | 188200.00 | 172600.00 | POWER INDIA
67.00 | 16 A TP Power Contractor AC3 Duity with Aux contacts for Indicating lamp ON/OFF, MAKE: ABB/C&S | 25.00 | No. | 4000.00 | 3575.00 | 89375.00 | 3263.00 | 81575.00 | 3558.00 | 88950.00 | 81575.00 | POWER INDIA
68.00 | Spring Charging Motor 200W, 240V AC Make:Suitable for Replacement of existing one | 2.00 | No. | 6000.00 | 5362.00 | 10724.00 | 4894.00 | 9788.00 | 5336.00 | 10672.00 | 9788.00 | POWER INDIA
69.00 | MK2 breaker Mechanism Assy for 11KV VCB Type HXB8 , W/O Motor, MAKE: BIECCO-LAWRIE/REPUTED. | 3.00 | No. | 39975.00 | 47636.00 | 142908.00 | 43474.00 | 130422.00 | 47405.00 | 142215.00 | 130422.00 | POWER INDIA
70.00 | Delco 230V DC, 80W universal motor MAKE: DELCO | 5.00 | No. | 6000.00 | 5362.00 | 26810.00 | 4894.00 | 24470.00 | 5336.00 | 26680.00 | 24470.00 | POWER INDIA
71.00 | Cooling Tower Motor ( 20HP, 27A , 415 ±10, 1460 RPM),Frame- ND160L, Make CROMPTON GREAVES | 1.00 | No. | 63150.00 | 75253.00 | 75253.00 | 68677.00 | 68677.00 | 74887.00 | 74887.00 | 68677.00 | POWER INDIA
72.00 | Fuel Pump Motor (0.75 HP ,1.9 A ,415 V ±10, 1400 rpm) ,Frame-80,Type-TEXE, Make - Laxmi Hydraulics | 2.00 | No. | 27000.00 | 24131.00 | 48262.00 | 22022.00 | 44044.00 | 24014.00 | 48028.00 | 44044.00 | POWER INDIA
73.00 | Single phase Motor starter 25A, 240V Make:Schneider | 5.00 | No. | 1788.00 | 1598.00 | 7990.00 | 1458.00 | 7290.00 | 1590.00 | 7950.00 | 7290.00 | POWER INDIA
74.00 | Rack in/out mechanism for HPA 36/1231C W/O E.S, Article No - 1VYN402301 | 2.00 | No. | 66976.50 | 79813.00 | 159626.00 | 72839.00 | 145678.00 | 79425.00 | 158850.00 | 145678.00 | POWER INDIA
75.00 | Tripping/ Closing Coil, 180W, 24-30V DC TRIPPING COIL, 30V DC, MAKE: ABB | 2.00 | No. | 4286.00 | 3831.00 | 7662.00 | 3496.00 | 6992.00 | 3812.00 | 7624.00 | 6992.00 | POWER INDIA
76.00 | Tripping/ Closing Coil, 180W,110V DC/240V AC FOR HPA 2ND TRIPPING, 240V AC, MAKE: ABB | 2.00 | No. | 4286.00 | 3831.00 | 7662.00 | 3496.00 | 6992.00 | 3812.00 | 7624.00 | 6992.00 | POWER INDIA
77.00 | Single Phase Spout Contact Box for 650mm Width Panel, MAKE: BIECCO-LAWRIE/REPUTED. | 15.00 | No. | 9700.00 | 8669.00 | 130035.00 | 7912.00 | 118680.00 | 8627.00 | 129405.00 | 118680.00 | POWER INDIA
78.00 | Male contact for 11KV bus-bar, MAKE: BIECCO-LAWRIE/Suitable for replacement of existing system | 15.00 | No. | 5740.00 | 5130.00 | 76950.00 | 4682.00 | 70230.00 | 5105.00 | 76575.00 | 70230.00 | POWER INDIA
79.00 | 50 / 20MM 11 KV HT bus-bar sleeve, MAKE: Reychem /3M/ Denson | 200.00 | Mtr. | 800.00 | 715.00 | 143000.00 | 653.00 | 130600.00 | 712.00 | 142400.00 | 130600.00 | POWER INDIA
80.00 | RCPT - 3L - 11KV- 110V-100VA, MAKE: BIECCO-LAWRIE/Suitable Replacement of existing one | 2.00 | No. | 73050.00 | 87050.00 | 174100.00 | 79444.00 | 158888.00 | 86628.00 | 173256.00 | 158888.00 | POWER INDIA
81.00 | RCPT - 5L - 11KV- 110V-100VA, MAKE: BIECCO-LAWRIE/Suitable for Replacement of existing one | 2.00 | No. | 85950.00 | 102422.00 | 204844.00 | 93473.00 | 186946.00 | 101925.00 | 203850.00 | 186946.00 | POWER INDIA
82.00 | HXB8 VCB Trolley wheel, MAKE: Suitable for replacement of existing one | 25.00 | No. | 300.00 | 268.00 | 6700.00 | 245.00 | 6125.00 | 267.00 | 6675.00 | 6125.00 | POWER INDIA
83.00 | Tulip contact for 800A HXB8 Type VCB, MAKE: BICCO-LAWRIE/REPUTED | 6.00 | No. | 8700.00 | 7776.00 | 46656.00 | 7096.00 | 42576.00 | 7738.00 | 46428.00 | 42576.00 | POWER INDIA
84.00 | Tulip contact for 1200A HXB12 VCB, MAKE: BICCO-LAWRIE/REPUTED | 4.00 | No. | 11720.00 | 10475.00 | 41900.00 | 9559.00 | 38236.00 | 10424.00 | 41696.00 | 38236.00 | POWER INDIA
85.00 | Vacuum bottle, VS12014 (B14/M14) for HXB8 Type VCB MAKE: BEL/BHEL | 3.00 | No. | 37500.00 | 44687.00 | 134061.00 | 40782.00 | 122346.00 | 44470.00 | 133410.00 | 122346.00 | POWER INDIA
86.00 | Auxliary switch (6NO + 6NC) for breaker status check, MAKE: BIECCO-LAWRIE/REPUTED. | 6.00 | No. | 4500.00 | 4022.00 | 24132.00 | 3670.00 | 22020.00 | 4002.00 | 24012.00 | 22020.00 | POWER INDIA
87.00 | Capacitor Switch 12 KV, 200A, 3P, Aux.230V AC, Type - ECS 12400 MAKE: EPCOS/ UNIVERSAL | 3.00 | No. | 90000.00 | 107249.00 | 321747.00 | 97877.00 | 293631.00 | 106728.00 | 320184.00 | 293631.00 | POWER INDIA
88.00 | SELECTOR SWITCH, 1 POLE, 2WAY, WITH OFF, 6A, MAKE: ABB/KAYCEE. | 4.00 | No. | 540.00 | 483.00 | 1932.00 | 440.00 | 1760.00 | 480.00 | 1920.00 | 1760.00 | POWER INDIA
89.00 | BREAKER CONTROL SWITCH, T-N-C, 25A, MAKE: KAYCEE/RAYCHEM | 3.00 | No. | 2500.00 | 2234.00 | 6702.00 | 2039.00 | 6117.00 | 2224.00 | 6672.00 | 6117.00 | POWER INDIA
90.00 | 6A AMMETER SELECTOR SWITCH, MAKE: KAYCEE | 5.00 | No. | 400.00 | 357.00 | 1785.00 | 326.00 | 1630.00 | 356.00 | 1780.00 | 1630.00 | POWER INDIA
91.00 | 6A VOLTMETER SELECTOR SWITCH, MAKE: KAYCEE | 5.00 | No. | 800.00 | 715.00 | 3575.00 | 653.00 | 3265.00 | 712.00 | 3560.00 | 3265.00 | POWER INDIA
92.00 | 25 A TNC SWITCH, 2 POLE-3 WAY , TYPE BCA01P006K142, MAKE: KAYCEE. | 5.00 | No. | 2500.00 | 2234.00 | 11170.00 | 2039.00 | 10195.00 | 2224.00 | 11120.00 | 10195.00 | POWER INDIA
93.00 | 10A/250V AC TOGGLE SWITCH, 2 POLE-3 WAY, MAKE: KAYCEE. Model No 1021 | 15.00 | No. | 900.00 | 804.00 | 12060.00 | 734.00 | 11010.00 | 800.00 | 12000.00 | 11010.00 | POWER INDIA
94.00 | 10A AUTO/MANUAL SELECTOR SWITCH, MAKE: KAYCEE/SALZER | 30.00 | No. | 3600.00 | 3217.00 | 96510.00 | 2936.00 | 88080.00 | 3202.00 | 96060.00 | 88080.00 | POWER INDIA
95.00 | Micro controller Unit (OMRON 4 NOS 24VDC 2411W4, 2NO + 2 NC,( 5A 215V AC- 5A 30 DC)Total terminal 32nos For Water Level Conrolling (Float Switch)., MAKE: MINILEC | 15.00 | No. | 1160.00 | 1037.00 | 15555.00 | 946.00 | 14190.00 | 1032.00 | 15480.00 | 14190.00 | POWER INDIA
96.00 | Mercury based float switch125V DC/250V AC, Max. Current 15 A, 50Hz, Proection IP68, Operating Temp 50 Degree for water lavel sensing, MAKE: JIGO. | 50.00 | No. | 3200.00 | 2860.00 | 143000.00 | 2610.00 | 130500.00 | 2846.00 | 142300.00 | 130500.00 | POWER INDIA
97.00 | On load changeover Switch 4 pole, front handle operated with Sheet Steel enclouser of 250 Amps similar to CO32500OSOO Make: L & T Make or equivalent | 1.00 | No. | 32670.00 | 38931.00 | 38931.00 | 35529.00 | 35529.00 | 38742.00 | 38742.00 | 35529.00 | POWER INDIA
98.00 | On load changeover Switch 4 pole, 415 V, 50Hz front handle operated with sheet steel enclouser of 400Amps Similar to C04400OSOO Make: L & T Make or equivalent | 1.00 | No. | 49905.00 | 59469.00 | 59469.00 | 54273.00 | 54273.00 | 59181.00 | 59181.00 | 54273.00 | POWER INDIA
99.00 | On load changeover Switch 4 pole, 415 V, 50Hz front handle operated with sheet steel enclouser of 125Amps Similar to C04400OSOO Make:L & T Make or equivalent | 1.00 | No. | 21000.00 | 18769.00 | 18769.00 | 17129.00 | 17129.00 | 18677.00 | 18677.00 | 17129.00 | POWER INDIA
100.00 | On load changeover Switch 4 pole, 415 V, 50Hz front handle operated with sheet steel enclouser of 630Amps Similar to C046300OSOO ofMake: L & T or equivalent | 1.00 | No. | 57855.00 | 68943.00 | 68943.00 | 62919.00 | 62919.00 | 68608.00 | 68608.00 | 62919.00 | POWER INDIA
101.00 | Door Limit Switch, LSO,1NO+1NC ,10A,500 V AC,0.8 A,250 V Make:Suitable for replacement of existing one | 4.00 | No. | 500.00 | 447.00 | 1788.00 | 408.00 | 1632.00 | 445.00 | 1780.00 | 1632.00 | POWER INDIA
102.00 | Conversion for Drive Insulator(HXB Type), MAKE: BICCO-LAWRIE/Suitable for Replacement of existing one | 3.00 | No. | 3300.00 | 2949.00 | 8847.00 | 2692.00 | 8076.00 | 2935.00 | 8805.00 | 8076.00 | POWER INDIA
103.00 | 12 KV Disc type Porcelain Insulator, MAKE: RELIANCE POTTERIES | 5.00 | No. | 3000.00 | 2681.00 | 13405.00 | 2447.00 | 12235.00 | 2668.00 | 13340.00 | 12235.00 | POWER INDIA
104.00 | 3C X 300 sqmm, 11KV HT end termination kit, MAKE: Raychem/3M/Denson. | 10.00 | No. | 4200.00 | 3754.00 | 37540.00 | 3426.00 | 34260.00 | 3735.00 | 37350.00 | 34260.00 | POWER INDIA
105.00 | 11 KV HT Insulation tape, MAKE: 3M | 50.00 | No. | 700.00 | 626.00 | 31300.00 | 571.00 | 28550.00 | 623.00 | 31150.00 | 28550.00 | POWER INDIA
106.00 | PVC adhesive insulation tape, Size 8mt x 1.8Cm x 0.125mm of Steel grip make RED | 25.00 | No. | 15.00 | 13.00 | 325.00 | 12.00 | 300.00 | 13.00 | 325.00 | 300.00 | POWER INDIA
107.00 | PVC adhesive insulation tape, Size 8mt x 1.8Cm x 0.125mm of Steel grip make YELLOW | 25.00 | No. | 15.00 | 13.00 | 325.00 | 12.00 | 300.00 | 13.00 | 325.00 | 300.00 | POWER INDIA
108.00 | PVC adhesive insulation tape, Size 8mt x 1.8Cm x 0.125mm of Steel grip make BLUE | 25.00 | No. | 15.00 | 13.00 | 325.00 | 12.00 | 300.00 | 13.00 | 325.00 | 300.00 | POWER INDIA
109.00 | PVC adhesive insulation tape, Size 8mt x 1.8Cm x 0.125mm of Steel grip make BLACK | 25.00 | No. | 15.00 | 13.00 | 325.00 | 12.00 | 300.00 | 13.00 | 325.00 | 300.00 | POWER INDIA
110.00 | HT TAPE ,11 KV,(Non adisive) 35mmx9mts | 15.00 | No. | 1000.00 | 894.00 | 13410.00 | 816.00 | 12240.00 | 889.00 | 13335.00 | 12240.00 | POWER INDIA
111.00 | Capacitor unit 70.4 KVAr, 7.3 KV, 1-Phase, Oil Type, MAKE: EPCOS/ UNIVERSAL | 3.00 | No. | 10400.00 | 9295.00 | 27885.00 | 8483.00 | 25449.00 | 9250.00 | 27750.00 | 25449.00 | POWER INDIA
112.00 | Capacitor unit 140.8 KVAr, 7.3 KV, 1-Phase, Oil Type MAKE: EPCOS/ UNIVERSAL | 3.00 | No. | 36960.00 | 44043.00 | 132129.00 | 40195.00 | 120585.00 | 43830.00 | 131490.00 | 120585.00 | POWER INDIA
113.00 | Capacitor unit 212.2 KVAr, 7.3 KV, 1-Phase, Oil Type MAKE: EPCOS/ UNIVERSAL | 3.00 | No. | 49200.00 | 58629.00 | 175887.00 | 53506.00 | 160518.00 | 58345.00 | 175035.00 | 160518.00 | POWER INDIA
114.00 | Capacitor (25 KVAR), 415 V , 32.8 Amp, Dry Type, Insulation leve 3KV, Connection Delta, Model No - EHDLL - B32459L5025A011 MAKE: EPCOS/UNIVERSAL. | 4.00 | No. | 13250.00 | 11842.00 | 47368.00 | 10807.00 | 43228.00 | 11785.00 | 47140.00 | 43228.00 | POWER INDIA
115.00 | Capacitor (50 KVAR), 415 V , 32.8 Amp, Dry Type, Insulation leve 3KV, Connection Delta, Model No - EHDLL - B32459L5025A011 MAKE: EPCOS/UNIVERSAL. | 3.00 | No. | 26500.00 | 23684.00 | 71052.00 | 21615.00 | 64845.00 | 23569.00 | 70707.00 | 64845.00 | POWER INDIA
116.00 | Capacitor (100 KVAR), 415 V , 32.8 Amp, Dry Type, Insulation leve 3KV, Connection Delta, Model No - EHDLL - B32459L5025A011 MAKE: EPCOS/UNIVERSAL. | 3.00 | No. | 46125.00 | 54965.00 | 164895.00 | 50162.00 | 150486.00 | 54698.00 | 164094.00 | 150486.00 | POWER INDIA
117.00 | 25 KVAR Capacitor bank (Box type), 415V,EPCOS Make | 10.00 | No. | 8550.00 | 7641.00 | 76410.00 | 6974.00 | 69740.00 | 7604.00 | 76040.00 | 69740.00 | POWER INDIA
118.00 | 30KVAR Capacitor bank (Box type),415V, EPCOS Make | 10.00 | No. | 10260.00 | 9170.00 | 91700.00 | 8369.00 | 83690.00 | 9125.00 | 91250.00 | 83690.00 | POWER INDIA
119.00 | 50 KVAR Capacitor bank (Cylinder type),415V, EPCOS Make | 10.00 | No. | 7950.00 | 7105.00 | 71050.00 | 6484.00 | 64840.00 | 7071.00 | 70710.00 | 64840.00 | POWER INDIA
120.00 | 50 KVAR Capacitor bank (BOX type), 415V,EPCOS Make | 10.00 | No. | 17100.00 | 15283.00 | 152830.00 | 13948.00 | 139480.00 | 15209.00 | 152090.00 | 139480.00 | POWER INDIA
121.00 | 12.5KVAR Capacitor bank (Box type),415V, EPCOS Make | 10.00 | No. | 4276.00 | 3822.00 | 38220.00 | 3488.00 | 34880.00 | 3803.00 | 38030.00 | 34880.00 | POWER INDIA
122.00 | IOM 230 ANALOGUE INTERFACE FOR AGC 242,0-5 VDC FOR GOVORNOR CONYTOR AND-3 TO +3V DC FOR AVR CONTROL,AUX SUPPLY-24V DC (HT DG) | 1.00 | No. | 178035.00 | 212156.00 | 212156.00 | 193618.00 | 193618.00 | 211126.00 | 211126.00 | 193618.00 | POWER INDIA
123.00 | RESISTANCE, 120 OHM, MAKE: Suitable for replacement of existing one | 2.00 | No. | 2000.00 | 1787.00 | 3574.00 | 1631.00 | 3262.00 | 1779.00 | 3558.00 | 3262.00 | POWER INDIA
124.00 | HIGH SPEED TRIPPING RELAY WITH MECH. LATCHING, FLUSH MOUNTED, 4NO + 3 NC, Aux. 24 V DC, MAKE: ABB/GE. | 3.00 | No. | 10000.00 | 8937.00 | 26811.00 | 8156.00 | 24468.00 | 8894.00 | 26682.00 | 24468.00 | POWER INDIA
125.00 | KWH METER, 3PHASE 3 ELEMENT 4 WIRE, COUNTER WHM 32332, FLUSH TYPE, SIZE- 96*96mm,Class-0.5,PTR-11KV/RT3/110/RT3 V AC,CTR 150/5 A, AUX SUPPLY 110 V AC | 3.00 | No. | 6300.00 | 5631.00 | 16893.00 | 5139.00 | 15417.00 | 5603.00 | 16809.00 | 15417.00 | POWER INDIA
126.00 | Multifunction Meter, 3Phase 4Wire, Model-ELF 3234, Flush Mounting, Size- 96* 48 With Bezzel, CL-0.5, Aux. Suplly- 80-270 V AC, Make - CONSERV | 3.00 | No. | 13600.00 | 12155.00 | 36465.00 | 11093.00 | 33279.00 | 12096.00 | 36288.00 | 33279.00 | POWER INDIA
127.00 | RISHDPM 96mm x 96mm Aux. 220V AC Power Factor Meter, MAKE: RISHABH | 3.00 | No. | 6400.00 | 5720.00 | 17160.00 | 5220.00 | 15660.00 | 5692.00 | 17076.00 | 15660.00 | POWER INDIA
128.00 | RISHEM 3490SS 96mm x 96mm, 220V AC KWH Meter, MAKE: RISHABH. | 7.00 | No. | 6000.00 | 5362.00 | 37534.00 | 4894.00 | 34258.00 | 5336.00 | 37352.00 | 34258.00 | POWER INDIA
129.00 | BATTERY CHARGER WITH TRICKLE BOOST ARRENGEMENT, INPUT-230 VAC, OUTPUT-24 VDC,25A.MAKE - REPUTED | 2.00 | No. | 32000.00 | 28600.00 | 57200.00 | 26101.00 | 52202.00 | 28461.00 | 56922.00 | 52202.00 | POWER INDIA
130.00 | Indicating Light, LED Type, DIA-22.5mm, 42-240 V AC/DC Colour- Red, MAKE: TEKNIC/SIEMENS. | 10.00 | No. | 756.00 | 676.00 | 6760.00 | 617.00 | 6170.00 | 672.00 | 6720.00 | 6170.00 | POWER INDIA
131.00 | Indicating Light, LED Type, DIA-22.5mm, 42-240 V AC/DC Colour- YELLOW, MAKE: TEKNIC/SIEMENS. | 10.00 | No. | 756.00 | 676.00 | 6760.00 | 617.00 | 6170.00 | 672.00 | 6720.00 | 6170.00 | POWER INDIA
132.00 | Indicating Light, LED Type, DIA-22.5mm, 42-240 V AC/DC Colour- BLUE, MAKE: TEKNIC/SIEMENS. | 10.00 | No. | 756.00 | 676.00 | 6760.00 | 617.00 | 6170.00 | 672.00 | 6720.00 | 6170.00 | POWER INDIA
133.00 | Indicating Light, LED Type, DIA-22.5mm, 24 V DC Colour- Red, MAKE: TEKNIC/SIEMENS. | 10.00 | No. | 756.00 | 676.00 | 6760.00 | 617.00 | 6170.00 | 672.00 | 6720.00 | 6170.00 | POWER INDIA
134.00 | Indicating Light, LED Type, DIA-22.5mm, 24 V DC Colour- GREEN, MAKE: TEKNIC/SIEMENS. | 10.00 | No. | 756.00 | 676.00 | 6760.00 | 617.00 | 6170.00 | 672.00 | 6720.00 | 6170.00 | POWER INDIA
135.00 | Indicating Light, LED Type, DIA-22.5mm, 24 V DC Colour- AMBER, MAKE: TEKNIC/SIEMENS. | 10.00 | No. | 756.00 | 676.00 | 6760.00 | 617.00 | 6170.00 | 672.00 | 6720.00 | 6170.00 | POWER INDIA
136.00 | A600Q600, AC 415V, 4A, DC 110V, 0.5 A Push Button Element, 1 NO, MAKE: VISHNO | 2.00 | No. | 500.00 | 447.00 | 894.00 | 408.00 | 816.00 | 445.00 | 890.00 | 816.00 | POWER INDIA
137.00 | A600Q600, AC 415V, 4A, DC 110V, 0.5 A Push Button Element, 1 NC, MAKE: VISHNO | 2.00 | No. | 1000.00 | 894.00 | 1788.00 | 816.00 | 1632.00 | 889.00 | 1778.00 | 1632.00 | POWER INDIA
138.00 | Tubelight CGL-CFL-11Watt 240, MAKE: CROMPTON/HAVELL | 10.00 | No. | 1800.00 | 1609.00 | 16090.00 | 1468.00 | 14680.00 | 1601.00 | 16010.00 | 14680.00 | POWER INDIA
139.00 | Power supply Unit, Input-230V AC, Output-24V DC, 10A, ABL1REM24100, MAKE: AUXILIARY ELECTRICALS. | 2.00 | No. | 25000.00 | 22343.00 | 44686.00 | 20391.00 | 40782.00 | 22235.00 | 44470.00 | 40782.00 | POWER INDIA
140.00 | 3200A 4P 50KA EDO ACB with O/L,S/C E/F Microprocessor Release with RS485 port (PR 122 E3N N=100% LSIG), MAKE - ABB | 1.00 | No. | 403002.00 | 480238.00 | 480238.00 | 438275.00 | 438275.00 | 477907.00 | 477907.00 | 438275.00 | POWER INDIA
141.00 | 1600A 4P 50KA EDO ACB with O/L,S/C E/F Microprocessor Release with RS485 Port (PR 122E3N N=100% LSIG), , MAKE - ABB | 1.00 | No. | 251706.00 | 299946.00 | 299946.00 | 273737.00 | 273737.00 | 298490.00 | 298490.00 | 273737.00 | POWER INDIA
142.00 | 1000A 4P 50KA EDO ACB with O/L,S/C E/F Microprocessor Release with RS485 Port (PR 122 E3N N=100% LSIG), MAKE - ABB | 2.00 | No. | 216498.00 | 257990.00 | 515980.00 | 235447.00 | 470894.00 | 256738.00 | 513476.00 | 470894.00 | POWER INDIA
143.00 | ACB U/V Release, Aux. 220V AC /DC for ACB EMAX SACE PR121/122P MAKE: ABB | 3.00 | No. | 3962.00 | 3541.00 | 10623.00 | 3232.00 | 9696.00 | 3524.00 | 10572.00 | 9696.00 | POWER INDIA
144.00 | ACB Trip coil, Aux. 220V AC/DC, for ACB EMAX SACE PR121/122P MAKE: ABB | 5.00 | No. | 3580.00 | 3200.00 | 16000.00 | 2920.00 | 14600.00 | 3184.00 | 15920.00 | 14600.00 | POWER INDIA
145.00 | TMAX T5N400 TPN MCCB (300A), MAKE: ABB | 2.00 | No. | 34646.00 | 30964.00 | 61928.00 | 28259.00 | 56518.00 | 30814.00 | 61628.00 | 56518.00 | POWER INDIA
146.00 | SACE T6H 630 Motorised MCCB (630A), TPN, MAKE: ABB | 2.00 | No. | 67200.00 | 80079.00 | 160158.00 | 73082.00 | 146164.00 | 79690.00 | 159380.00 | 146164.00 | POWER INDIA
147.00 | Aux. Contact, 230 V AC, MAKE: GE/ABB/L&T | 2.00 | No. | 1612.00 | 1441.00 | 2882.00 | 1315.00 | 2630.00 | 1434.00 | 2868.00 | 2630.00 | POWER INDIA
148.00 | Start/Stop Push Button, MAKE: TEKNIC/SIEMENS. | 2.00 | No. | 1000.00 | 894.00 | 1788.00 | 816.00 | 1632.00 | 889.00 | 1778.00 | 1632.00 | POWER INDIA
149.00 | 4P, Capacitor contactor (63 A), A63-30, Aux. volage-240v AC, MAKE: ABB/L&T. | 3.00 | No. | 7342.00 | 6562.00 | 19686.00 | 5988.00 | 17964.00 | 6530.00 | 19590.00 | 17964.00 | POWER INDIA
150.00 | 4P, Capacitor contactor (185 A), A185-30, Aux. volage-240v AC, MAKE: ABB/L&T. | 3.00 | No. | 23272.00 | 20799.00 | 62397.00 | 18982.00 | 56946.00 | 20698.00 | 62094.00 | 56946.00 | POWER INDIA
151.00 | 4P, Capacitor contactor (300 A), A300-30, Aux. volage-240v AC, MAKE: ABB/L&T. | 2.00 | No. | 26596.50 | 31694.00 | 63388.00 | 28924.00 | 57848.00 | 31540.00 | 63080.00 | 57848.00 | POWER INDIA
152.00 | Electric hooter , Sr no : 17H513 ,Supply 90-270 V AC/DC Make:Proton Power control pvt ltd | 5.00 | No. | 1000.00 | 894.00 | 4470.00 | 816.00 | 4080.00 | 889.00 | 4445.00 | 4080.00 | POWER INDIA
153.00 | Push button(ON), 2 LHAR 240 A, IEC 60947-5-1, Ui 500 V [SL No:2517] Ith 10 Amp ,AC 15:415V.4A,Make Teknic | 5.00 | No. | 190.00 | 170.00 | 850.00 | 155.00 | 775.00 | 169.00 | 845.00 | 775.00 | POWER INDIA
154.00 | Push button(OFF), 2 LHAR 240 AC,IEC 60947-5-1,Ui 500 V, [SL No:2517] Ith 10 Amp ,AC 15:415V.4A Make Teknic or Equivalent | 5.00 | No. | 190.00 | 170.00 | 850.00 | 155.00 | 775.00 | 169.00 | 845.00 | 775.00 | POWER INDIA
155.00 | Push Button Red Colour Actuator 22.5mm Dia For Start, MAKE: TECHNIC/Suitable for Replacement of existing one | 40.00 | No. | 1000.00 | 894.00 | 35760.00 | 816.00 | 32640.00 | 889.00 | 35560.00 | 32640.00 | POWER INDIA
156.00 | Push Button Green Colour Actuator 22.5mm Dia For Stop, MAKE: TECHNIC/Suitable for Replacement of existing one | 40.00 | No. | 1000.00 | 894.00 | 35760.00 | 816.00 | 32640.00 | 889.00 | 35560.00 | 32640.00 | POWER INDIA
157.00 | 16A,Terminal Blocks Type CLTDM4 For 415 V 3 Phase Supply, MAKE: ELMAX | 200.00 | No. | 127.50 | 134.00 | 26800.00 | 122.00 | 24400.00 | 133.00 | 26600.00 | 24400.00 | POWER INDIA
158.00 | 6A, Terminal Blocks Type CST10 For Control CKT, MAKE: EELMAX | 200.00 | No. | 127.50 | 134.00 | 26800.00 | 122.00 | 24400.00 | 133.00 | 26600.00 | 24400.00 | POWER INDIA
159.00 | Terminal Block With Holding Screw ,Frame- ND160L, 20 HP motor. Make - Reputed | 10.00 | No. | 1500.00 | 1341.00 | 13410.00 | 1223.00 | 12230.00 | 1334.00 | 13340.00 | 12230.00 | POWER INDIA
160.00 | Terminal Cover Box - Nut Bolt (s.s) Set 6mm, MAKE: REPUTED | 25.00 | No. | 1300.00 | 1162.00 | 29050.00 | 1060.00 | 26500.00 | 1156.00 | 28900.00 | 26500.00 | POWER INDIA
161.00 | Cast Resin Epoxy Bushing (33-66 KV), MAKE: KIRLOSKER | 4.00 | No. | 79687.50 | 94960.00 | 379840.00 | 86662.00 | 346648.00 | 94499.00 | 377996.00 | 346648.00 | POWER INDIA
162.00 | Cast Resin Epoxy Bushing (11-22 KV), MAKE: KIRLOSKER | 4.00 | No. | 38437.50 | 45804.00 | 183216.00 | 41802.00 | 167208.00 | 45582.00 | 182328.00 | 167208.00 | POWER INDIA
163.00 | Porcelene Neutral Bushing (11 KV), MAKE: Suitable for replacement of existing one | 2.00 | No. | 12000.00 | 10725.00 | 21450.00 | 9788.00 | 19576.00 | 10673.00 | 21346.00 | 19576.00 | POWER INDIA
164.00 | 25mm dia Breather Cup for Conservator main tank, MAKE: KIRLOSKAR | 3.00 | No. | 27500.00 | 24578.00 | 73734.00 | 22430.00 | 67290.00 | 24459.00 | 73377.00 | 67290.00 | POWER INDIA
165.00 | 25mm dia Breather Cup for OLTC Conservator tank, MAKE: KIRLOSKAR | 3.00 | No. | 9500.00 | 8491.00 | 25473.00 | 7749.00 | 23247.00 | 8449.00 | 25347.00 | 23247.00 | POWER INDIA
166.00 | Nickle - Cadmium Bolt (M8), MAKE: Suitable for replacement of existing one | 25.00 | No. | 300.00 | 268.00 | 6700.00 | 245.00 | 6125.00 | 267.00 | 6675.00 | 6125.00 | POWER INDIA
167.00 | Nickle - Cadmium Bolt (M10), MAKE: Suitable for replacement of existing one | 25.00 | No. | 300.00 | 268.00 | 6700.00 | 245.00 | 6125.00 | 267.00 | 6675.00 | 6125.00 | POWER INDIA
168.00 | Nickle - Cadmium Bolt (M12), MAKE: Suitable for replacement of existing one | 25.00 | No. | 300.00 | 268.00 | 6700.00 | 245.00 | 6125.00 | 267.00 | 6675.00 | 6125.00 | POWER INDIA
169.00 | Nickle - Cadmium Bolt (M14), MAKE: Suitable for replacement of existing one | 25.00 | No. | 300.00 | 268.00 | 6700.00 | 245.00 | 6125.00 | 267.00 | 6675.00 | 6125.00 | POWER INDIA
170.00 | Gaskets (cork type 6mm, 8mm, 10mm), MAKE:Suitable for replacement of existing one | 100.00 | Mtr. | 800.00 | 894.00 | 89400.00 | 816.00 | 81600.00 | 889.00 | 88900.00 | 81600.00 | POWER INDIA
171.00 | OTI ( Oil type) (0-150 ° C) Analog (AD123), Make - PRESIMEASURE | 3.00 | No. | 15300.00 | 16087.00 | 48261.00 | 14682.00 | 44046.00 | 16009.00 | 48027.00 | 44046.00 | POWER INDIA
172.00 | WTI (Oil type) (0-150 ° C) Analog (AD123), Make - PRESIMEASURE | 3.00 | No. | 15300.00 | 16087.00 | 48261.00 | 14682.00 | 44046.00 | 16009.00 | 48027.00 | 44046.00 | POWER INDIA
173.00 | WTI (Dry type), (0-150 ° C) MAKE: Suitable for replacement of existing one | 10.00 | No. | 21420.00 | 22522.00 | 225220.00 | 20554.00 | 205540.00 | 22413.00 | 224130.00 | 205540.00 | POWER INDIA
174.00 | RTD required for WTI, MAKE KIRLOSKAR/Suitable for replacement of existing one | 10.00 | No. | 9350.00 | 9831.00 | 98310.00 | 8972.00 | 89720.00 | 9783.00 | 97830.00 | 89720.00 | POWER INDIA
175.00 | SS (6 mm, 1 inch, full thread) Nut Bolt, MAKE: Suitable for replacement of existing one | 25.00 | No. | 150.00 | 134.00 | 3350.00 | 122.00 | 3050.00 | 133.00 | 3325.00 | 3050.00 | POWER INDIA
176.00 | MS (6 mm, 3/4 inch, full thread) Nut Bolt, MAKE: Suitable for replacement of existing one | 50.00 | No. | 100.00 | 89.00 | 4450.00 | 82.00 | 4100.00 | 89.00 | 4450.00 | 4100.00 | POWER INDIA
177.00 | SS (6 mm, 1.5 inch, full thread) Nut Bolt, MAKE: Suitable for replacement of existing one | 25.00 | No. | 150.00 | 134.00 | 3350.00 | 122.00 | 3050.00 | 133.00 | 3325.00 | 3050.00 | POWER INDIA
178.00 | MS (6 mm, 1.5 inch, full thread) Nut Bolt, MAKE: Suitable for replacement of existing one | 25.00 | No. | 100.00 | 89.00 | 2225.00 | 82.00 | 2050.00 | 89.00 | 2225.00 | 2050.00 | POWER INDIA
179.00 | 12 -NTN Float with valve assembly 1 1/2", MAKE: ADVANCE COOLING TOWER | 3.00 | No. | 10000.00 | 8937.00 | 26811.00 | 8156.00 | 24468.00 | 8894.00 | 26682.00 | 24468.00 | POWER INDIA
180.00 | CT with CT Ratio 100/5, 5VA Class-I, MAKE: KAPPA | 3.00 | No. | 5000.00 | 4469.00 | 13407.00 | 4078.00 | 12234.00 | 4447.00 | 13341.00 | 12234.00 | POWER INDIA
181.00 | CT with CT Ratio 200/5, 5VA Class-I, MAKE: KAPPA | 3.00 | No. | 5000.00 | 4469.00 | 13407.00 | 4078.00 | 12234.00 | 4447.00 | 13341.00 | 12234.00 | POWER INDIA
182.00 | CT with CT Ratio 800/5, 5VA Class-I, MAKE: KAPPA | 2.00 | No. | 5000.00 | 4469.00 | 8938.00 | 4078.00 | 8156.00 | 4447.00 | 8894.00 | 8156.00 | POWER INDIA
183.00 | Ct with CT Ratio 3000/5, 5VA Class-I, MAKE: KAPPA | 3.00 | No. | 5000.00 | 4469.00 | 13407.00 | 4078.00 | 12234.00 | 4447.00 | 13341.00 | 12234.00 | POWER INDIA
184.00 | Resin cast,Window Type,Current Transformer to IS:2705/1992,Ratio:500-1000/1-1A,HSV:36KV,IL:36/70/170KVp Make-Pragati | 3.00 | No. | 75000.00 | 89374.00 | 268122.00 | 81565.00 | 244695.00 | 88940.00 | 266820.00 | 244695.00 | POWER INDIA
185.00 | Copper Lugs 10Sq mm, Ring type,Dowels/Jonson make or equivalent | 50.00 | No. | 6.00 | 5.00 | 250.00 | 5.00 | 250.00 | 5.00 | 250.00 | 250.00 | Power Engineering Associates, POWER INDIA, SUSAMA ENTERPRISES
186.00 | Copper Lugs 16 Sq mm, Ring type,Dowels/Jonson make or equivalent | 50.00 | No. | 12.00 | 11.00 | 550.00 | 10.00 | 500.00 | 11.00 | 550.00 | 500.00 | POWER INDIA
187.00 | Copper Lugs 25 Sq mm, Ring type,Dowels/Jonson make or equivalent | 50.00 | No. | 20.00 | 18.00 | 900.00 | 16.00 | 800.00 | 18.00 | 900.00 | 800.00 | POWER INDIA
188.00 | Copper Lugs 35 Sq mm, Ring type,Dowels/Jonson make or equivalent | 50.00 | No. | 26.00 | 23.00 | 1150.00 | 21.00 | 1050.00 | 23.00 | 1150.00 | 1050.00 | POWER INDIA
189.00 | Copper Lugs 10 sq mm (cu) ,pin type,Dowels/Jonson make or equivalent | 50.00 | No. | 6.00 | 5.00 | 250.00 | 5.00 | 250.00 | 5.00 | 250.00 | 250.00 | Power Engineering Associates, POWER INDIA, SUSAMA ENTERPRISES
190.00 | Copper Lugs 16 sq mm (cu) ,pin type,Dowels/Jonson make or equivalent | 50.00 | No. | 12.00 | 11.00 | 550.00 | 10.00 | 500.00 | 11.00 | 550.00 | 500.00 | POWER INDIA
191.00 | Copper Lugs 25sq mm (cu) ,pin type,Dowels/Jonson make or equivalent | 50.00 | No. | 22.00 | 20.00 | 1000.00 | 18.00 | 900.00 | 20.00 | 1000.00 | 900.00 | POWER INDIA
192.00 | Copper Lugs 35 sq mm (cu) ,pin type,Dowels/Jonson make or equivalent | 50.00 | No. | 26.00 | 23.00 | 1150.00 | 21.00 | 1050.00 | 23.00 | 1150.00 | 1050.00 | POWER INDIA
193.00 | Copper Lugs 1.5,2.5,4 sq mm (cu),Ring type,Dowels/Jonson make | 50.00 | No. | 12.00 | 11.00 | 550.00 | 10.00 | 500.00 | 11.00 | 550.00 | 500.00 | POWER INDIA
194.00 | Copper Lugs 1.5,2.5,4 sq mm (cu)Dowels/Jonson make, Pin type | 50.00 | No. | 12.00 | 11.00 | 550.00 | 10.00 | 500.00 | 11.00 | 550.00 | 500.00 | POWER INDIA
195.00 | Copper Lugs 1.5,2.5,4 sq mm (cu) Fork type,Dowels/Jonson make, | 50.00 | No. | 12.00 | 11.00 | 550.00 | 10.00 | 500.00 | 11.00 | 550.00 | 500.00 | POWER INDIA
196.00 | ALUMINIUAM LUGS (Ring Type) 35 sq mm (AL) Dowels/Jonson make | 50.00 | No. | 6.76 | 6.00 | 300.00 | 6.00 | 300.00 | 6.00 | 300.00 | 300.00 | Power Engineering Associates, POWER INDIA, SUSAMA ENTERPRISES
197.00 | ALUMINIUAM LUGS (Ring Type) 50 sq mm (AL) Dowels/Jonson make | 50.00 | No. | 10.24 | 9.00 | 450.00 | 8.00 | 400.00 | 9.00 | 450.00 | 400.00 | POWER INDIA
198.00 | ALUMINIUAM LUGS (Ring Type) 70 sq mm (AL) Dowels/Jonson make | 50.00 | No. | 15.34 | 14.00 | 700.00 | 13.00 | 650.00 | 14.00 | 700.00 | 650.00 | POWER INDIA
199.00 | ALUMINIUAM LUGS (Ring Type) 95 sq mm (AL) Dowels/Jonson make | 50.00 | No. | 16.96 | 15.00 | 750.00 | 14.00 | 700.00 | 15.00 | 750.00 | 700.00 | POWER INDIA
200.00 | ALUMINIUAM LUGS (Ring Type) 120 sq mm (AL) Dowels/Jonson make | 50.00 | No. | 23.74 | 21.00 | 1050.00 | 19.00 | 950.00 | 21.00 | 1050.00 | 950.00 | POWER INDIA
201.00 | ALUMINIUAM LUGS (Ring Type) 185 sq mm (AL) Dowels/Jonson make | 50.00 | No. | 38.40 | 34.00 | 1700.00 | 31.00 | 1550.00 | 34.00 | 1700.00 | 1550.00 | POWER INDIA
202.00 | ALUMINIUAM LUGS (Ring Type) 240 sq mm (AL) Dowels/Jonson make | 50.00 | No. | 65.62 | 59.00 | 2950.00 | 54.00 | 2700.00 | 58.00 | 2900.00 | 2700.00 | POWER INDIA
203.00 | ALUMINIUAM LUGS (Ring Type) 300 sq mm (AL)Dowels/Jonson make | 50.00 | No. | 92.60 | 83.00 | 4150.00 | 76.00 | 3800.00 | 82.00 | 4100.00 | 3800.00 | POWER INDIA
204.00 | ALUMINIUAM LUGS (Ring Type) 400 sq mm (AL) Dowels/Jonson make | 50.00 | No. | 133.00 | 119.00 | 5950.00 | 108.00 | 5400.00 | 118.00 | 5900.00 | 5400.00 | POWER INDIA
205.00 | Rectifier-SPE, MD5BU1016, 1510A | 5.00 | No. | 240.00 | 214.00 | 1070.00 | 196.00 | 980.00 | 213.00 | 1065.00 | 980.00 | POWER INDIA
206.00 | APFC - CONTROLLER MAKE EPCOS BR 600 | 1.00 | No. | 18400.00 | 16445.00 | 16445.00 | 15008.00 | 15008.00 | 16365.00 | 16365.00 | 15008.00 | POWER INDIA
207.00 | Nylon Cable Ties Size:100*3.2 mm | 5.00 | Packet. | 50.00 | 45.00 | 225.00 | 41.00 | 205.00 | 44.00 | 220.00 | 205.00 | POWER INDIA
208.00 | Nylon Cable Ties Size:250*3.2 mm | 5.00 | Packet. | 180.00 | 161.00 | 805.00 | 147.00 | 735.00 | 160.00 | 800.00 | 735.00 | POWER INDIA
209.00 | Ferrul Number 0 to 9 ,2.5 mm | 5.00 | Packet. | 14.00 | 13.00 | 65.00 | 11.00 | 55.00 | 12.00 | 60.00 | 55.00 | POWER INDIA
210.00 | Ferrul Number 0 to 9 ,1.5 mm | 5.00 | Packet. | 14.00 | 13.00 | 65.00 | 11.00 | 55.00 | 12.00 | 60.00 | 55.00 | POWER INDIA
211.00 | Ferrul Number A to Z, 2.5 mm | 5.00 | Packet. | 14.00 | 13.00 | 65.00 | 11.00 | 55.00 | 12.00 | 60.00 | 55.00 | POWER INDIA
212.00 | Ferrul Number A to Z, 1.5 mm | 5.00 | Packet. | 14.00 | 13.00 | 65.00 | 11.00 | 55.00 | 12.00 | 60.00 | 55.00 | POWER INDIA
213.00 | 1.5 Sqmm PVC Insulated multistrand copper conductor with flame ratardant properties voltage grade upto 1100V as per IS: 694/1990 ( 90 mtrs per coil) Make Polycab or equivalent | 2.00 | No. | 1652.40 | 1477.00 | 2954.00 | 1348.00 | 2696.00 | 1470.00 | 2940.00 | 2696.00 | POWER INDIA
214.00 | 2.5 Sqmm PVC Insulated multistrand copper conductor with flame ratardant properties voltage grade upto 1100V as per IS: 694/1990 ( 90 mtrs per coil) Make Polycab or equivalent | 2.00 | No. | 2676.60 | 2392.00 | 4784.00 | 2183.00 | 4366.00 | 2381.00 | 4762.00 | 4366.00 | POWER INDIA
215.00 | 10 Sqmm PVC Insulated multistrand copper conductor with flame ratardant properties voltage grade upto 110V as per IS: 694/1990 ( 90 mtrs per coil) Make Polycab or equivalent | 2.00 | No. | 10465.20 | 9353.00 | 18706.00 | 8536.00 | 17072.00 | 9308.00 | 18616.00 | 17072.00 | POWER INDIA
216.00 | 16 Sqmm PVC Insulated multistrand copper conductor with flame ratardant properties voltage grade upto 1100V as per IS: 694/1990 ( 90 mtrs per coil) Make Polycab or equivalent | 2.00 | No. | 16524.00 | 14768.00 | 29536.00 | 13478.00 | 26956.00 | 14696.00 | 29392.00 | 26956.00 | POWER INDIA
217.00 | 35 Sqmm PVC Insulated multistrand copper conductor with flame ratardant properties voltage grade upto 1100V as per IS: 694/1990 ( 90 mtrs per coil) Make Polycab or equivalent | 1.00 | No. | 28642.00 | 31998.00 | 31998.00 | 29202.00 | 29202.00 | 31842.00 | 31842.00 | 29202.00 | POWER INDIA
218.00 | Silica gel (4 mm- 6 mm), granular, blue colour , Indicating type | 50.00 | Kg. | 260.00 | 232.00 | 11600.00 | 212.00 | 10600.00 | 231.00 | 11550.00 | 10600.00 | POWER INDIA
219.00 | CRC 2 -26 Electro Cleaner,500 ml Aerosol | 10.00 | No. | 1200.00 | 1072.00 | 10720.00 | 979.00 | 9790.00 | 1067.00 | 10670.00 | 9790.00 | POWER INDIA
220.00 | Capacitor Switching Contactor,3 pole,415V AC, 45A, Coil voltage 230V, AC with Aux. Contact 2NO + 2 NC , Make GE CSC25A321N type GE Power make or equivalent | 6.00 | No. | 11000.00 | 9831.00 | 58986.00 | 8972.00 | 53832.00 | 9783.00 | 58698.00 | 53832.00 | POWER INDIA
221.00 | Capacitor Switching Contactor,3 pole,415V AC, 90A, Coil voltage 230V, AC with Aux. Contact 2NO + 2 NC , Make GE CSC45A311N type GE Power make or equivalent | 6.00 | No. | 14802.00 | 16536.00 | 99216.00 | 15091.00 | 90546.00 | 16456.00 | 98736.00 | 90546.00 | POWER INDIA
222.00 | Capacitor Switching Contactor,3 pole,220V AC,for 25 Kvar rating , with Aux. Contact 2NO + 2 NC ,similar to TC1-D25K11(N5) type of C&S make | 10.00 | No. | 3850.00 | 3441.00 | 34410.00 | 3140.00 | 31400.00 | 3424.00 | 34240.00 | 31400.00 | POWER INDIA
223.00 | Capacitor Switching Contactor,3 pole,220V AC,for 60 Kvar rating , with Aux. Contact 2NO + 2 NC ,similar to TC1-D60K12(M5) type of C&S make | 5.00 | No. | 12072.00 | 10789.00 | 53945.00 | 9846.00 | 49230.00 | 10737.00 | 53685.00 | 49230.00 | POWER INDIA
224.00 | Main contactor,U1: 690 V-50/60 HZ,IEC/EN 80947-5-1 Itn:10Amp Uimp:8kv JIS C8201-5-1, 600 VAC Max , Cont Current :16A,Make Schneider electric | 4.00 | No. | 3220.00 | 2878.00 | 11512.00 | 2626.00 | 10504.00 | 2864.00 | 11456.00 | 10504.00 | POWER INDIA
225.00 | Exhaust Fan Axial type for panel, Size 8 inches, 230V, 925CMH, Make -EBM NADI | 2.00 | No. | 7300.00 | 6524.00 | 13048.00 | 5954.00 | 11908.00 | 6493.00 | 12986.00 | 11908.00 | POWER INDIA
226.00 | Electronic Hooter,F3 MEH1 Electronic hooter 7P0036 Aux Suppiy-24-250 V AC/DC , Make:Minielect | 2.00 | No. | 1600.00 | 1430.00 | 2860.00 | 1305.00 | 2610.00 | 1423.00 | 2846.00 | 2610.00 | POWER INDIA
227.00 | Auxillary contact: Int:10A , IEC/EN 60947-5-1 , Ui:690V JIS C4531 W913791890341 A07,Make:Schneider electric | 3.00 | No. | 2500.00 | 2234.00 | 6702.00 | 2039.00 | 6117.00 | 2224.00 | 6672.00 | 6117.00 | POWER INDIA
228.00 | Tap Position indication,Size:96x96mm,model:EE_610 Power:95/260 v AC/Dc, 5 V A, serial no:2477/1k ohm,Make EMCO Electronics | 1.00 | No. | 14500.00 | 12959.00 | 12959.00 | 11827.00 | 11827.00 | 12896.00 | 12896.00 | 11827.00 | POWER INDIA
229.00 | Timer BAR 240-230-24V AC DC SBT00100,Make BCH Electrical | 3.00 | No. | 3340.00 | 2985.00 | 8955.00 | 2724.00 | 8172.00 | 2971.00 | 8913.00 | 8172.00 | POWER INDIA
230.00 | Indutrial type vacuum cleaner for vacuum pressure upto 270 bar Make- MAKE: Suitable make to be approved by EIC | 1.00 | No. | 13400.00 | 11976.00 | 11976.00 | 10930.00 | 10930.00 | 11918.00 | 11918.00 | 10930.00 | POWER INDIA
231.00 | Submersible dewatering pump, KSB make 1.5 hP, AmaPoter 503SE | 3.00 | No. | 39000.00 | 46474.00 | 139422.00 | 42414.00 | 127242.00 | 46249.00 | 138747.00 | 127242.00 | POWER INDIA
232.00 | 100 A MCCB SCHNEIDER/L&T, | 2.00 | No. | 11820.00 | 10564.00 | 21128.00 | 9641.00 | 19282.00 | 10513.00 | 21026.00 | 19282.00 | POWER INDIA
233.00 | 250 A MCCB SCHNEIDER/L&T, | 2.00 | No. | 31060.00 | 27760.00 | 55520.00 | 25334.00 | 50668.00 | 27625.00 | 55250.00 | 50668.00 | POWER INDIA
234.00 | Contactor, coil voltage 110V AC,4No+4 NC contact with spare addon block(No,NC),Schneider/siemens make, | 5.00 | No. | 3200.00 | 2860.00 | 14300.00 | 2610.00 | 13050.00 | 2846.00 | 14230.00 | 13050.00 | POWER INDIA
235.00 | UPS for for 750 KVA DG control supply,1P11S-1WN,1 KVA,36 V,1hr Back up | 1.00 | No. | 36000.00 | 32175.00 | 32175.00 | 29363.00 | 29363.00 | 32018.00 | 32018.00 | 29363.00 | POWER INDIA
236.00 | Vacuum Capacitor Switch- MV 12kV, 3 pole, outdoor type, 200A, Make- UNISTAR | 6.00 | No. | 90000.00 | 107249.00 | 643494.00 | 97877.00 | 587262.00 | 106728.00 | 640368.00 | 587262.00 | POWER INDIA
237.00 | Main Moving Contact of OLTC EL08 | 9.00 | Nos | 12962.50 | 13630.00 | 122670.00 | 12439.00 | 111951.00 | 13563.00 | 122067.00 | 111951.00 | POWER INDIA
238.00 | Resistor Moving Contact of OLTC EL08 | 9.00 | Nos | 12962.50 | 13630.00 | 122670.00 | 12439.00 | 111951.00 | 13563.00 | 122067.00 | 111951.00 | POWER INDIA
239.00 | Fixed Contact of OLTC EL08 | 90.00 | Nos | 6450.00 | 5765.00 | 518850.00 | 5261.00 | 473490.00 | 5737.00 | 516330.00 | 473490.00 | POWER INDIA
240.00 | CU Braided Wire for MMC of OLTC EL08 | 36.00 | Nos | 780.00 | 697.00 | 25092.00 | 636.00 | 22896.00 | 694.00 | 24984.00 | 22896.00 | POWER INDIA
241.00 | Retaining /DSS Switch of OLTC EL08 | 2.00 | Nos | 19810.00 | 17705.00 | 35410.00 | 16158.00 | 32316.00 | 17619.00 | 35238.00 | 32316.00 | POWER INDIA
242.00 | Transition Resistor (1 Set@ 03 Nrs) of OLTC EL08 | 3.00 | Sets | 26880.00 | 24024.00 | 72072.00 | 21925.00 | 65775.00 | 23907.00 | 71721.00 | 65775.00 | POWER INDIA
243.00 | Energy Accumulator Assembly of OLTC EL08 | 1.00 | Nos | 22400.00 | 20020.00 | 20020.00 | 18270.00 | 18270.00 | 19923.00 | 19923.00 | 18270.00 | POWER INDIA
244.00 | Oil Seal of OLTC EL08 | 6.00 | Nos | 640.00 | 572.00 | 3432.00 | 522.00 | 3132.00 | 569.00 | 3414.00 | 3132.00 | POWER INDIA
245.00 | 110V Contactor with Add-onblock of OLTC EL08 | 3.00 | Nos | 7000.00 | 6256.00 | 18768.00 | 5710.00 | 17130.00 | 6226.00 | 18678.00 | 17130.00 | POWER INDIA
246.00 | Motor Protection Relay of OLTC EL08 | 2.00 | Nos | 12820.00 | 11458.00 | 22916.00 | 10457.00 | 20914.00 | 11402.00 | 22804.00 | 20914.00 | POWER INDIA
247.00 | Moly Paste of OLTC EL08 | 2.00 | Kgs. | 7000.00 | 6256.00 | 12512.00 | 5710.00 | 11420.00 | 6226.00 | 12452.00 | 11420.00 | POWER INDIA
248.00 | Bearing Plate Assly of OLTC EL08 | 1.00 | Nos | 26820.00 | 23970.00 | 23970.00 | 21876.00 | 21876.00 | 23854.00 | 23854.00 | 21876.00 | POWER INDIA
249.00 | Top/Bottom Gasket of OLTC EL08 | 3.00 | Sets | 6160.00 | 5505.00 | 16515.00 | 5024.00 | 15072.00 | 5479.00 | 16437.00 | 15072.00 | POWER INDIA
250.00 | Door Gasket of OLTC EL08 | 3.00 | Nos | 1800.00 | 1609.00 | 4827.00 | 1468.00 | 4404.00 | 1601.00 | 4803.00 | 4404.00 | POWER INDIA
| Total in Figures |  |  |  |  | 12134812.00 |  | 11074535.00 |  | 12075535.00
Lowest Amount Quoted BY: POWER INDIA(11074535.00)

## BOQ Summary
BOQ Summary Details Tender Title: MO Power Supply including stand by DG sets at NSCBI Airport during 2020 21. SH Procurement of spares for Service Yard Panels ATS HT capacitor bank syn Panel Electrical spares for all Sub Stations HT and LT SWGRs and Capacitors. Tender ID: 2020_AAI_55734_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | POWER INDIA | 11074535.00 | L1
| 2 | SUSAMA ENTERPRISES | 12075535.00 | L2
| 3 | Power Engineering Associates | 12134812.00 | L3