## BoQ1
Government eProcurement System Created By: PAWAN KUMAR HANDA Created Date/Time: 15-Oct-2020 11:43 AM Tender Title: Supply Installation Testing and Commissioning of UPS for Equipment Room, Nav-Aids and Automation System Tender ID: 2020_AAI_55742_1
Tender Inviting Authority: AIRPORTS AUTHORITY OF INDIA
Name of Work: Supply, Installation, Testing&Commissioning (SITC)andCAMCOFUPSFOREquipment room ,Automation and Nav-Aids
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | DS SYSTEMS PVT. LTD.(GSTN-18AACCD8183C1ZO)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | 10 KVA online UPSin Parallel load sharingConfiguration. | 6.00 | Each |  | 105800.00 | 634800.00 | 634800.00 | DS SYSTEMS PVT. LTD.
2.00 | Battery bank with rack for backup up to 30 minutes or more on full load. (along with warranty for 2 years) | 6.00 | Each |  | 64400.00 | 386400.00 | 386400.00 | DS SYSTEMS PVT. LTD.
3.00 | 10 KVA online UPSin Main/StandbyConfiguration. | 2.00 | Each |  | 105800.00 | 211600.00 | 211600.00 | DS SYSTEMS PVT. LTD.
4.00 | Battery bank with rack, for backup up to 30 minutes or more on full load. (along with warranty for 2 years) | 2.00 | Each |  | 64400.00 | 128800.00 | 128800.00 | DS SYSTEMS PVT. LTD.
5.00 | 5 KVA online UPSin Parallel load sharingConfiguration. | 6.00 | Each |  | 87400.00 | 524400.00 | 524400.00 | DS SYSTEMS PVT. LTD.
6.00 | Battery bank with rack, for backup up to 30 minutes or more on full load. (along with warranty for 2 years) | 6.00 | Each |  | 32200.00 | 193200.00 | 193200.00 | DS SYSTEMS PVT. LTD.
7.00 | Installation Testing & Commissioning | 1.00 | JOB |  | 32200.00 | 32200.00 | 32200.00 | DS SYSTEMS PVT. LTD.
8.00 | Status of UPS at Equipment Room via Ethernet connection | 1.00 | JOB |  | 16100.00 | 16100.00 | 16100.00 | DS SYSTEMS PVT. LTD.
9.00 | PC Based Software for monitoring of UPS | 1.00 | JOB |  | 16100.00 | 16100.00 | 16100.00 | DS SYSTEMS PVT. LTD.
10.00 | Maintenance Training | 1.00 | JOB |  | 32200.00 | 32200.00 | 32200.00 | DS SYSTEMS PVT. LTD.
11.00 | Warranty of all UPS for 3 years | 1.00 | JOB |  | 96600.00 | 96600.00 | 96600.00 | DS SYSTEMS PVT. LTD.
12.00 | CAMC of all UPS for 3 years after warranty | 1.00 | JOB |  | 193200.00 | 193200.00 | 193200.00 | DS SYSTEMS PVT. LTD.
| Total in Figures |  |  |  |  | 2465600.00
Lowest Amount Quoted BY: DS SYSTEMS PVT. LTD.(2465600.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply Installation Testing and Commissioning of UPS for Equipment Room, Nav-Aids and Automation System Tender ID: 2020_AAI_55742_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DS SYSTEMS PVT. LTD. | 2465600.00 | L1