## BoQ1
Government eProcurement System Created By: ANILDAS BEKAL Created Date/Time: 23-Sep-2020 12:33 PM Tender Title: SH- Internal Electrification of SCADA room Tender ID: 2020_AAI_55788_1
Tender Inviting Authority: Asst. General Manager (Engg. – Electrical), AAI, Hubballi
Name of Work: Design, Supply, Installation, Testing Commissioning of 8 MW Ground mounted, Grid connected, PV solar plant at Hubballi Airport, SH: Internal Electrification of SCADA room.
Contract No: 2020_AAI_55788_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Shantha ELectricals and Engineers Pvt Ltd(GSTN-29AARCS2866G1ZP) |  | SRI VASUKI POWER SYSTEMS PVT LTD(GSTN-29AAUCS9791D1ZE)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | WIRING AND ACCESSORIES Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5sq.mm FRLSH PVC insulated copper conductor single core cable in surface/ recessed steel conduit, with modular switch, modular plate, suitable GI box and Earthing the point with 1.5 sq.mm. FRLSH PVC insulated copper conductor single core cable etc. as required.(Group C). With Medium range switches (Make:Havells Coral or equivalent approved make) | 16.00 | Point |  | 725.00 | 11600.00 | 700.00 | 11200.00 | 11200.00 | SRI VASUKI POWER SYSTEMS PVT LTD
2.00 | Wiring for group controlled (from point to point) light point/fan point/exhaust fan point/ call bell point with 1.5sq.mm FRLSH PVC insulated copper conductor single core cable in surface/ recessed steel conduit, with modular switch, modular plate, suitable GI box and Earthing the point with 1.5 sq.mm. FRLSH PVC insulated copper conductor single core cable etc. as required. (Group C). | 16.00 | Point |  | 775.00 | 12400.00 | 866.00 | 13856.00 | 12400.00 | Shantha ELectricals and Engineers Pvt Ltd
3.00 | Group controlled wiring for light point (first point) with 2.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface / recessed steel conduit with modular switch, modular plate, suitable GI box and earthing the point with 2.5 sq.mm. FRLSH PVC insulated copper conductor single core cable including 6/16A modular switches etc as required | 6.00 | Point |  | 825.00 | 4950.00 | 999.00 | 5994.00 | 4950.00 | Shantha ELectricals and Engineers Pvt Ltd
4.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLSH PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required.
4.10 | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 50.00 | Metre |  | 90.00 | 4500.00 | 102.00 | 5100.00 | 4500.00 | Shantha ELectricals and Engineers Pvt Ltd
4.20 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 169.00 | Metre |  | 110.00 | 18590.00 | 130.00 | 21970.00 | 18590.00 | Shantha ELectricals and Engineers Pvt Ltd
4.30 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 515.00 | Metre |  | 145.00 | 74675.00 | 169.00 | 87035.00 | 74675.00 | Shantha ELectricals and Engineers Pvt Ltd
5.00 | Supplying and fixing 3 pin, 5 amp ceiling rose on the existing junction box/ wooden block including connection etc. as required. | 38.00 | Each |  | 75.00 | 2850.00 | 90.00 | 3420.00 | 2850.00 | Shantha ELectricals and Engineers Pvt Ltd
6.00 | Supplying and fixing suitable size Gl box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 11.00 | Each |  | 390.00 | 4290.00 | 558.00 | 6138.00 | 4290.00 | Shantha ELectricals and Engineers Pvt Ltd
7.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing the following, with connection etc. as required with medium range switches.(Make:MK Blenz or equivalent approved make) 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch | 10.00 | Each |  | 550.00 | 5500.00 | 676.00 | 6760.00 | 5500.00 | Shantha ELectricals and Engineers Pvt Ltd
8.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc.as required. | 5.00 | Each |  | 390.00 | 1950.00 | 439.00 | 2195.00 | 1950.00 | Shantha ELectricals and Engineers Pvt Ltd
9.00 | Installation, testing and commissioning of wall bracket/ ceiling fittings of all sizes and shapes containing upto two GLS/ CFL/ LED lamps per fitting, complete with all accessories including connections etc. as required. | 38.00 | Each |  | 225.00 | 8550.00 | 237.00 | 9006.00 | 8550.00 | Shantha ELectricals and Engineers Pvt Ltd
10.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 5.00 | Each |  | 250.00 | 1250.00 | 299.00 | 1495.00 | 1250.00 | Shantha ELectricals and Engineers Pvt Ltd
11.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. Upto 450 mm sweep | 1.00 | Each |  | 250.00 | 250.00 | 299.00 | 299.00 | 250.00 | Shantha ELectricals and Engineers Pvt Ltd
12.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 10.00 | Each |  | 25.00 | 250.00 | 75.00 | 750.00 | 250.00 | Shantha ELectricals and Engineers Pvt Ltd
13.00 | LIGHT FIXTURES Supply of 2x2 LED surface mounting type fixture with housing made of metallic CRCA powder coated body and a high efficiency diffuser along with driver, system wattage maximum of 40 Watts, lumen output of lamp greater than 2500 lumens, power factor > 0.9, rated life of L70 @ 40,000 hours, system efficacy greater than 60 lumen/ watt, with suitable driver and including all necessary accessories suitable for operation on 230V, 50Hz AC supply as complete required (Make:-Crompton-LCTLSN-36-CDL or equivalent approved make) | 12.00 | Each |  | 2950.00 | 35400.00 | 2449.00 | 29388.00 | 29388.00 | SRI VASUKI POWER SYSTEMS PVT LTD
14.00 | Supply of 1x20 W, surface mountable type Universal batten T8 double side LED Tube light fixtures, complete with all necessary accessories like high efficiency electronic driver, lamp holders, prewired upto a terminal block including one number of 20 W T8 lamp, necessary accessories and connections. (Make: Havells LHFYBWP1TB1W020 or any other approved equivalent make) | 14.00 | Each |  | 690.00 | 9660.00 | 859.00 | 12026.00 | 9660.00 | Shantha ELectricals and Engineers Pvt Ltd
15.00 | Supply of following sizes of 1200 mm sweep. 5 star rated ceiling fan, with double ball bearing, Aluminium pressure die cast body with Aluminium blades, canopies, hanging shackle, 30 cm down rod and without speed regulator suitable for 240V 50 HZ, AC supply (Make: Crompton: HB Plus-5 star or any other approved equivalent make). | 5.00 | Each |  | 2300.00 | 11500.00 | 2900.00 | 14500.00 | 11500.00 | Shantha ELectricals and Engineers Pvt Ltd
16.00 | Supply of 150 mm sweep, exhaust fan in with self opening louvers working on 230 V AC supply complete with all accessories as required. (Make: Crompton - Mountair or equivalent approved make) | 1.00 | Each |  | 1600.00 | 1600.00 | 2200.00 | 2200.00 | 1600.00 | Shantha ELectricals and Engineers Pvt Ltd
17.00 | MCB's and MCB Distribution Board Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole | 20.00 | Each |  | 250.00 | 5000.00 | 225.00 | 4500.00 | 4500.00 | SRI VASUKI POWER SYSTEMS PVT LTD
18.00 | Supplying and fixing of 25 amps rating, 240/415 volts, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Double pole | 10.00 | Each |  | 500.00 | 5000.00 | 450.00 | 4500.00 | 4500.00 | SRI VASUKI POWER SYSTEMS PVT LTD
19.00 | Supplying and fixing of IP 66 termination box including suitable mounting arrangment along with 25/32 amps 240 volts “C” curve DP MCB complete with connections, testing and commissioning etc. as required. | 1.00 | Each |  | 600.00 | 600.00 | 1200.00 | 1200.00 | 600.00 | Shantha ELectricals and Engineers Pvt Ltd
20.00 | Supplying and fixing of 40 amps to 63 amps rating, 240/415 volts, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Four pole | 2.00 | Each |  | 2100.00 | 4200.00 | 3000.00 | 6000.00 | 4200.00 | Shantha ELectricals and Engineers Pvt Ltd
21.00 | Supply and fixing of following rating residual current circuit breaker having earth leakage protection (RCCB) as per specification as required 2 pole 25 amps. (240 Volts), 30mA sensitivity. | 1.00 | Each |  | 2750.00 | 2750.00 | 3000.00 | 3000.00 | 2750.00 | Shantha ELectricals and Engineers Pvt Ltd
22.00 | Supply and fixing of following rating residual current circuit breaker having earth leakage protection (RCCB) as per specification as required 2 pole 16amps. (240 Volts), 30mA sensitivity | 1.00 | Each |  | 2750.00 | 2750.00 | 2600.00 | 2600.00 | 2600.00 | SRI VASUKI POWER SYSTEMS PVT LTD
23.00 | Supply and fixing of following rating residual current circuit breaker having earth leakage protection (RCCB) as per specification as required 4 pole 40 amps. (415 Volts), 100mA sensitivity. | 1.00 | Each |  | 3250.00 | 3250.00 | 3800.00 | 3800.00 | 3250.00 | Shantha ELectricals and Engineers Pvt Ltd
24.00 | Supply and fixing of following rating residual current circuit breaker having earth leakage protection (RCCB) as per specification as required 4 pole 63 amps. (415 Volts), 300mA sensitivity. | 1.00 | Each |  | 3600.00 | 3600.00 | 4200.00 | 4200.00 | 3600.00 | Shantha ELectricals and Engineers Pvt Ltd
25.00 | Supplying and fixing following way, single phase and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc.as required. (But without MCB/ RCCB/ Isolator) 4 way, Single door | 1.00 | Each |  | 2900.00 | 2900.00 | 3500.00 | 3500.00 | 2900.00 | Shantha ELectricals and Engineers Pvt Ltd
26.00 | Supplying and fixing following way, single phase and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc.as required. (But without MCB/RCCB/Isolator) 12 way, Single door | 1.00 | Each |  | 2800.00 | 2800.00 | 5000.00 | 5000.00 | 2800.00 | Shantha ELectricals and Engineers Pvt Ltd
27.00 | Supplying and fixing of following ways surface/ recess mounting, horizontal type, 415 volts, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 amps tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB’s (but without MCB’s and incomer ) as required. 4 way (8 + 12), Double door | 1.00 | Each |  | 4200.00 | 4200.00 | 8000.00 | 8000.00 | 4200.00 | Shantha ELectricals and Engineers Pvt Ltd
28.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 volts, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 amps tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB’s (but without MCB’s and incomer) as required. (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) 12 way (8 + 36), Single door | 1.00 | Each |  | 7800.00 | 7800.00 | 12000.00 | 12000.00 | 7800.00 | Shantha ELectricals and Engineers Pvt Ltd
29.00 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 amps “C” curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 15.00 | Each |  | 1800.00 | 27000.00 | 1800.00 | 27000.00 | 27000.00 | Shantha ELectricals and Engineers Pvt Ltd, SRI VASUKI POWER SYSTEMS PVT LTD
30.00 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 amps “C” curve, DP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 2.00 | Each |  | 2200.00 | 4400.00 | 1800.00 | 3600.00 | 3600.00 | SRI VASUKI POWER SYSTEMS PVT LTD
31.00 | SITC of AC UNITS Supply, Installation, Testing and Commissioning of 2TR Inverter type 5 star rated Split Air-conditioner of wall mounting type consisting of non-ductable type room units (fan coil)with cord less LCD type remote control and one number out door condensing unite with compressor, copper condensing coil, suitable for operation on single phase, 230 +/- 10% volts, 50HZ, AC supply including fixing the outdoor unit on a fabricated MS stand/wall Bracket/Brick foundation as per the site requirement and fixing of Indoor room unit. Providing and making interconnections between room unit and condensing unit upto a length of 5mtrs. Comprising of the following including first charge of refrigerent etc, as required. a)Insulated Coppr Pipe Lines Liquid and suction line (Size as per manufacturer recommendation) b) flexible copper cable between Indoor and Outdoor units(Size as per manufaturer recommendation c) Drain Pipe d) Suitable size of PVC pipe for covering the refrigerant line of above (a) | 15.00 | Each |  | 45000.00 | 675000.00 | 33650.00 | 504750.00 | 504750.00 | SRI VASUKI POWER SYSTEMS PVT LTD
32.00 | Supply and fixing additional set of copper pipe line and PVC insulated PVC sheathed copper conductor cable suitable for 2TR AC from the indoor units to outdoor In Suitable size of PVC pipe on the wall surface/cable tray/ using suitable clamp etc complete as reqired | 45.00 | Metres |  | 1140.00 | 51300.00 | 1050.00 | 47250.00 | 47250.00 | SRI VASUKI POWER SYSTEMS PVT LTD
33.00 | Supplying,installations, Testing and commissioning of wall mounting type , 4 KVA capacity, single phase, automatic line volatage stablizer sutable for operation on 170 volts to 270 volts, 50Hz AC Input voltage ,with steady single phase out put voltage with built in time delay, cut off and low voltage cut off, input/ out put/ trip indications and suitable for operation of 2 Ton Airconditioning Unit etc as required | 15.00 | Each |  | 2400.00 | 36000.00 | 3500.00 | 52500.00 | 36000.00 | Shantha ELectricals and Engineers Pvt Ltd
34.00 | SITC of Fire Alarm systems & Fire Extingushers Supply, installation, testing and commissioning of conventional Fire Alarm control panel having minimum of 2 zones suitable for connecting sensors, manual call points, Hooters and Response indicators operation on 230 Volts, 50 Hz power supply, LCD display to indicate fire and normal operation & power supply status, push button for accept and Reset, sealed leadacid batteries with minimum 24V DC backup on alarm mode & normal operation mode with battery charger etc., shall be complete as required. Panel shall have necessary provision for connecting and functioning with auto dialer etc as required. (Make: As per AAI approved makes list) | 1.00 | Each |  | 15000.00 | 15000.00 | 27450.00 | 27450.00 | 15000.00 | Shantha ELectricals and Engineers Pvt Ltd
35.00 | SITC of auto dialer with landline dialer capability complete with all necessary accessories including connections etc. as required. | 1.00 | Each |  | 12000.00 | 12000.00 | 9499.00 | 9499.00 | 9499.00 | SRI VASUKI POWER SYSTEMS PVT LTD
36.00 | Supply & fixing of indoor manual call point complete with all accessories including connections of etc. as required. (As per approved makes List) | 3.00 | Each |  | 1800.00 | 5400.00 | 2200.00 | 6600.00 | 5400.00 | Shantha ELectricals and Engineers Pvt Ltd
37.00 | SITC of Hooter with base plate etc as required. (As per approved makes List) | 3.00 | Each |  | 3500.00 | 10500.00 | 2200.00 | 6600.00 | 6600.00 | SRI VASUKI POWER SYSTEMS PVT LTD
38.00 | Supply & fixing of conventional type Photoelectric, Multi sensor smoke detectors along with mounting base with unique optical sensing chamber, visible LED's fully coated circuit boards with RF/transient protection, complete with all accessories including connections etc. as required. (As per approved makes list) | 7.00 | Each |  | 3800.00 | 26600.00 | 6500.00 | 45500.00 | 26600.00 | Shantha ELectricals and Engineers Pvt Ltd
39.00 | Supply and laying of MS steel conduits ISI Marked red painted with all fittings and saddles for drawing detector control cables on surface/ recess/ above false ceiling/ concealed space/ wall concealed, etc of following sizes: 20 mm | 133.00 | Meters |  | 190.00 | 25270.00 | 155.00 | 20615.00 | 20615.00 | SRI VASUKI POWER SYSTEMS PVT LTD
40.00 | Supply and laying of following size PVC insulated FRLSH 2Cx1.5sq.mm copper conductor cable through conduits/ surface/ recess/ above false ceiling/ concealed space/ wall concealed, etc. for control cabling for Fire detection & alarm devices and interconnecting etc as required. (As per Approved makes list) | 55.00 | Meters |  | 120.00 | 6600.00 | 75.00 | 4125.00 | 4125.00 | SRI VASUKI POWER SYSTEMS PVT LTD
41.00 | Supply and laying of following size PVC insulated FRLSH 2Cx2.5sq.mm copper conductor cable through conduits/ surface/ recess/ above false ceiling/ concealed space/ wall concealed, etc. for control cabling for Fire detection & alarm devices and interconnecting etc as required. (As per Approved makes list) | 78.00 | Meters |  | 145.00 | 11310.00 | 95.00 | 7410.00 | 7410.00 | SRI VASUKI POWER SYSTEMS PVT LTD
42.00 | Supply of ABC Stored pressure type Fire Extinguisher 6 Kgs Capacitywith M.S Body Mono Ammonium Phosphate based Dry Chemical Powder as per IS 14609 with ISI Mark for Fighting ABC Class of Fire, stored Pressure type of Mild steel body pressurized by Nitrogen Gas. The Extinguisher shall have pressure gauge for indicating inside pressure with opening and closing lever of squeeze grip type with tamper proof seal, complete with wall bracket. The Extinguisher is Manufactured Strictly as per IS: 15683:2006 with ISI mark. CE mark valve with below mentioned additional facilities a. In built NRV on valve to cross check internal pressure b. Operating temperature marking on valve c. Automatic safety release valve | 14.00 | Each |  | 5500.00 | 77000.00 | 8500.00 | 119000.00 | 77000.00 | Shantha ELectricals and Engineers Pvt Ltd
43.00 | Supply of Co2 type Fire Extinguisher 2 Kgs Capacity, made from brand new seamless steel cylinder, as per IS: 7285 and CCE approval, fitted with Discharge bend and horn and Wheel type valve with initial Charge as per IS: 15683-2006 specification, bearing ISI Mark. | 8.00 | Each |  | 6800.00 | 54400.00 | 6500.00 | 52000.00 | 52000.00 | SRI VASUKI POWER SYSTEMS PVT LTD
44.00 | Supply and installation of Fire bucket stand with canopy consisting of 04 nos Buckets, fire bucket stand made of angle iron size 40 x 40 x 6mm having arrangement for hanging of 04 nos. bucket on suitable hooks made of MS roundbar, the stand should be painted with post office red enamel paint, fire bucket of size 11x40x8 high top bottom duly painted by post office red enemal paint outside and white enameled paint in inner side with mark... | 11.00 | Set |  | 3200.00 | 35200.00 | 8000.00 | 88000.00 | 35200.00 | Shantha ELectricals and Engineers Pvt Ltd
45.00 | SUPPLY & FIXING OF INSULATION MATS Supply and fixing of fire Retardant/ extinguishing electrical Insulatied synthetic mat of following thickness +/-10 % confirmity to BIS Doc No.Et-02(5440) meeting requirements of IS 15652:2006 (With up to date ammendement) suitable for following voltage and having minimum width of 1000 mm+/- 20 mm and including supply of required qty of adhesive/compound and fixing the same at site as per site requirement.
45.10 | Class A 2.0 mm Thick ( for 3.3 KV grade) | 243.00 | Meters |  | 2200.00 | 534600.00 | 1863.00 | 452709.00 | 452709.00 | SRI VASUKI POWER SYSTEMS PVT LTD
45.20 | Class B 2.5 mm Thick (for 11 KV grade) | 6.00 | Meters |  | 2500.00 | 15000.00 | 1405.00 | 8430.00 | 8430.00 | SRI VASUKI POWER SYSTEMS PVT LTD
45.30 | Class C 3.0 mm Thick (for 33 KV grade) | 16.00 | Meters |  | 3500.00 | 56000.00 | 2097.00 | 33552.00 | 33552.00 | SRI VASUKI POWER SYSTEMS PVT LTD
| Total in Figures |  |  |  |  | 1933195.00 |  | 1808222.00
Lowest Amount Quoted BY: SRI VASUKI POWER SYSTEMS PVT LTD(1808222.00)

## BOQ Summary
BOQ Summary Details Tender Title: SH- Internal Electrification of SCADA room Tender ID: 2020_AAI_55788_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SRI VASUKI POWER SYSTEMS PVT LTD | 1808222.00 | L1
| 2 | Shantha ELectricals and Engineers Pvt Ltd | 1933195.00 | L2