## BoQ1
Government eProcurement System Created By: Gajraj Singh Bhati Created Date/Time: 08-Oct-2020 05:42 PM Tender Title: ARMO of Electrical and Allied Works at New Civil Airport, Jaisalmer. (For the year2020-22) Tender ID: 2020_AAI_55848_1
Tender Inviting Authority: Sr. Manager Engg.- E, Northern Region, Airports Authority of India, New Delhi
Name of Work:- "ARMO of Electrical & Allied Works at New Civil Airport, Jaisalmer. (For the year2020-22).
Contract No: (Tender ID- 2020_AAI_55848_1)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S. N ELECTRICALS(GSTN-07AKEPG8675R2Z9) |  | ASHWANI REFRIGERATION AND ELECTRICALS(GSTN-36ACAPG1851D1Z7) |  | ANOOP REFRIGERATION(GSTN-09AAGFA4646N1Z1) |  | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | MPC ELECTRICALS AND ENGINEERS(GSTN-08ABUPP6558K1ZM) |  | M/s K.N.Construction(GSTN-20AAHFK7857Q1ZP) |  | ABHISHEK ASSOCIATES(GSTN-24ADZPD4239Q1ZT)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Running, operation & maintenance of all Internal & External electrical installations, i/c operation of AHUs for air circulation at Terminal Building, Power House,Trolley Gate, Apron and Car Parking etc. i/c other ancillary installations by deputing following minimum manpower per day i/c Sunday,Gazzetted holidays, National holidays, but excluding weekly off alongwith required T&P and sundries etc. complete as required. (a) Supervisor - Highly Skilled - 01 No. (b) Computer operator - Highly Skilled - 01 No. (c) Wireman - Skilled - 04 Nos. (d) Helper - Unskilled - 05 Nos. | 24.00 | Month |  | 182122.00 | 4370928.00 | 156186.00 | 3748464.00 | 166129.00 | 3987096.00 | 169000.00 | 4056000.00 | 167378.00 | 4017072.00 | 170000.00 | 4080000.00 | 184865.00 | 4436760.00 | 171333.00 | 4111992.00 | 3748464.00 | ASHWANI REFRIGERATION AND ELECTRICALS
2.00 | Running, operation & general upkeep of 100 & 50 KVA DG Sets installed at Power House by deputing following minimum manpower per day (on all days i/c sunday / Weekly offs & other holidays) alongwith required T&P and sundries etc. complete as required. (a) Assistant Operator - Semi Skilled - 03 Nos. ( Reliever Extra) (Contractor has to depute the required staff on all days including weekly offs & holidays) | 24.00 | Month |  | 51636.00 | 1239264.00 | 53999.00 | 1295976.00 | 51247.00 | 1229928.00 | 53500.00 | 1284000.00 | 48943.00 | 1174632.00 | 53000.00 | 1272000.00 | 61826.00 | 1483824.00 | 49300.00 | 1183200.00 | 1174632.00 | Manish Electricals
3.00 | Annual comprehensive maintenence contract of following capacity window/split type airconditioner/ water cooler i/c supply & replacement of wornout spares, refrigerent gas & defective compressor of OEM make i/c rewinding of motor and repair of voltage stabilizer etc. as reqd. as per terms & condtions of the contact(Rates per unit per Month).
3.01 | Window type Airconditioner, 1.5 TR | 96.00 | Each |  | 850.00 | 81600.00 | 444.00 | 42624.00 | 55.00 | 5280.00 | 250.00 | 24000.00 | 300.00 | 28800.00 | 340.00 | 32640.00 | 1100.00 | 105600.00 | 200.00 | 19200.00 | 5280.00 | ANOOP REFRIGERATION
3.02 | Split type Airconditioner, 1.5 TR | 192.00 | Each |  | 850.00 | 163200.00 | 499.00 | 95808.00 | 69.00 | 13248.00 | 300.00 | 57600.00 | 400.00 | 76800.00 | 350.00 | 67200.00 | 1500.00 | 288000.00 | 250.00 | 48000.00 | 13248.00 | ANOOP REFRIGERATION
3.03 | Split type Airconditioner, 2 TR | 312.00 | Each |  | 1250.00 | 390000.00 | 499.00 | 155688.00 | 92.00 | 28704.00 | 350.00 | 109200.00 | 425.00 | 132600.00 | 350.00 | 109200.00 | 1300.00 | 405600.00 | 300.00 | 93600.00 | 28704.00 | ANOOP REFRIGERATION
3.04 | Split type Airconditioner/Floor Type Tower AC, 3 TR | 336.00 | Each |  | 2250.00 | 756000.00 | 499.00 | 167664.00 | 138.00 | 46368.00 | 400.00 | 134400.00 | 800.00 | 268800.00 | 350.00 | 117600.00 | 1500.00 | 504000.00 | 350.00 | 117600.00 | 46368.00 | ANOOP REFRIGERATION
3.05 | Water cooler, 150/150L | 144.00 | Each |  | 1350.00 | 194400.00 | 444.00 | 63936.00 | 250.00 | 36000.00 | 200.00 | 28800.00 | 300.00 | 43200.00 | 350.00 | 50400.00 | 2500.00 | 360000.00 | 250.00 | 36000.00 | 28800.00 | NATIONAL SAFETY ENGINEERS
4.00 | Annual comprehensive maintenence contract of 25 LPH RO System(Make:kent) including supply & replacement worn out spares repair of RO booster pump Pre filter service charge SMPS kent etc . complete as required and as per instructions of Engineer-in- Charge. (Rates per unit per Month). | 96.00 | Each |  | 1450.00 | 139200.00 | 444.00 | 42624.00 | 115.00 | 11040.00 | 800.00 | 76800.00 | 250.00 | 24000.00 | 440.00 | 42240.00 | 2650.00 | 254400.00 | 300.00 | 28800.00 | 11040.00 | ANOOP REFRIGERATION
5.00 | Annual comprehensive maintenence contract of Hand Dryer System(Make-Kopal,22S,240v,15A,AC) including supply & replacement worn out spares etc . Complete as required and as per instructions of Engineer-in- Charge. (Rates per unit per Month). | 216.00 | Each |  | 500.00 | 108000.00 | 222.00 | 47952.00 | 117.00 | 25272.00 | 100.00 | 21600.00 | 300.00 | 64800.00 | 170.00 | 36720.00 | 500.00 | 108000.00 | 200.00 | 43200.00 | 21600.00 | NATIONAL SAFETY ENGINEERS
6.00 | Supplying and replacement of following make, Battery with Cu. Cable/Lugs etc. as reqd at site for DG Sets/Diesel Engine as specified below (Old worn /scrap battery shall be retained by the firm)
6.01 | SMF Battery 12 V, 65 AH | 2.00 | Each |  | 7500.00 | 15000.00 | 8888.00 | 17776.00 | 5100.00 | 10200.00 | 6500.00 | 13000.00 | 3500.00 | 7000.00 | 6200.00 | 12400.00 | 17000.00 | 34000.00 | 4600.00 | 9200.00 | 7000.00 | Manish Electricals
6.02 | Lead Acid Battery ,12 V, 180 AH , 25 Plates, for Fire Diesel Engine(Exide/AMCO/AMARON/PRESTOLITE/GENPRO/LUCAS make) | 2.00 | Each |  | 11300.00 | 22600.00 | 18888.00 | 37776.00 | 12400.00 | 24800.00 | 12500.00 | 25000.00 | 17000.00 | 34000.00 | 14300.00 | 28600.00 | 19000.00 | 38000.00 | 11500.00 | 23000.00 | 22600.00 | S. N ELECTRICALS
7.00 | Supply and topping of transformer oil (Tested). | 50.00 | Liter |  | 110.00 | 5500.00 | 222.00 | 11100.00 | 250.00 | 12500.00 | 120.00 | 6000.00 | 210.00 | 10500.00 | 170.00 | 8500.00 | 120.00 | 6000.00 | 110.00 | 5500.00 | 5500.00 | S. N ELECTRICALS, ABHISHEK ASSOCIATES
8.00 | Supply of 240 V,50 Hz.AC Digital voltmeter(Range 0-600 V) | 5.00 | Each |  | 2500.00 | 12500.00 | 888.00 | 4440.00 | 850.00 | 4250.00 | 1200.00 | 6000.00 | 1200.00 | 6000.00 | 1250.00 | 6250.00 | 2500.00 | 12500.00 | 870.00 | 4350.00 | 4250.00 | ANOOP REFRIGERATION
9.00 | Supply of 240 V,50 Hz.AC CT Operated Digital Ammeter(Range 100/1650 A) | 10.00 | Job |  | 4500.00 | 45000.00 | 999.00 | 9990.00 | 900.00 | 9000.00 | 1300.00 | 13000.00 | 1200.00 | 12000.00 | 1250.00 | 12500.00 | 3800.00 | 38000.00 | 870.00 | 8700.00 | 8700.00 | ABHISHEK ASSOCIATES
10.00 | Repairing of 415 V, 50 KVA,3 phase SVS Type Servo Voltage Stablizer including replacement of one number S3 type survo motor(3 kg) with PC Network connections minor parts,Connections Complete as per Site requirement. (Make of survo stabilizer:LaboTek,Model:303) | 1.00 | Job |  | 5500.00 | 5500.00 | 9999.00 | 9999.00 | 15000.00 | 15000.00 | 15000.00 | 15000.00 | 25000.00 | 25000.00 | 53000.00 | 53000.00 | 13000.00 | 13000.00 | 15000.00 | 15000.00 | 5500.00 | S. N ELECTRICALS
11.00 | Dismentalling / shifting / Re-installation / Testing and Commissioning of 1.5/2.0/3.0 TR Spilt / Tower type Airconditioners suitable for operation on 230V, 50Hz, A. C. Supply on wall, Floor or Ceiling i/c gas charging, accociated Civil Works and making all arangement for successful ITC of AC Units etc. complete as required. | 1.00 | Job |  | 1500.00 | 1500.00 | 4999.00 | 4999.00 | 3000.00 | 3000.00 | 1500.00 | 1500.00 | 3000.00 | 3000.00 | 2500.00 | 2500.00 | 4500.00 | 4500.00 | 3500.00 | 3500.00 | 1500.00 | S. N ELECTRICALS, NATIONAL SAFETY ENGINEERS
12.00 | Supply, Installation, Testing & Commissioning of suitable dia. Copper piping for suction and discharge liquid lines for 1.5/2/3 TR split / Tower type airconditioners i/c wiring, drain pipe, insulation and protective covering etc. complete as required.(Old rewinding wire shall be the property of agency) | 30.00 | Meter |  | 750.00 | 22500.00 | 199.00 | 5970.00 | 800.00 | 24000.00 | 650.00 | 19500.00 | 700.00 | 21000.00 | 950.00 | 28500.00 | 990.00 | 29700.00 | 600.00 | 18000.00 | 5970.00 | ASHWANI REFRIGERATION AND ELECTRICALS
13.00 | Rewinding of 1400/ 1200 mm sweep ceiling fan with super enemelled copper winding wire with varnishing etc. including greasing the bearings complete as required.(Old winding wire shall be the property of agency) | 4.00 | Each |  | 250.00 | 1000.00 | 555.00 | 2220.00 | 550.00 | 2200.00 | 300.00 | 1200.00 | 400.00 | 1600.00 | 500.00 | 2000.00 | 700.00 | 2800.00 | 250.00 | 1000.00 | 1000.00 | S. N ELECTRICALS, ABHISHEK ASSOCIATES
14.00 | Rewinding of 12"/15"/18"size exhaust fan with super enemelled copper winding wire with varnishing and backing including greasing the bearings as required. (Old winding wire shall be the property of agency) | 4.00 | Each |  | 350.00 | 1400.00 | 777.00 | 3108.00 | 650.00 | 2600.00 | 400.00 | 1600.00 | 600.00 | 2400.00 | 900.00 | 3600.00 | 1200.00 | 4800.00 | 250.00 | 1000.00 | 1000.00 | ABHISHEK ASSOCIATES
15.00 | Reparing of subersible, motor pump set including rewinding, repairing and overhauling of 3 phase motor with super enemelled copper winding wire with replacement of defective rubber bush, thrush bearing, shaft pin,impellers etc. Complete as required.
15.01 | upto 03 HP | 5.00 | Job |  | 3500.00 | 17500.00 | 4999.00 | 24995.00 | 4000.00 | 20000.00 | 6000.00 | 30000.00 | 4000.00 | 20000.00 | 3500.00 | 17500.00 | 4500.00 | 22500.00 | 1000.00 | 5000.00 | 5000.00 | ABHISHEK ASSOCIATES
15.02 | Upto 15 HP | 2.00 | Job |  | 5500.00 | 11000.00 | 8888.00 | 17776.00 | 9000.00 | 18000.00 | 13000.00 | 26000.00 | 12000.00 | 24000.00 | 5500.00 | 11000.00 | 9000.00 | 18000.00 | 3000.00 | 6000.00 | 6000.00 | ABHISHEK ASSOCIATES
16.00 | Lifting and Lowering of Submersible, motor pump set (upto 15 HP) from existing borewell & installation testing and commissioning at site by using tripod and other tools, including its connected pipe & cable, packing, nut bolts etc and making water proof joint in submersible cable complete as required. | 2.00 | Each |  | 3500.00 | 7000.00 | 8888.00 | 17776.00 | 7500.00 | 15000.00 | 7000.00 | 14000.00 | 6500.00 | 13000.00 | 4500.00 | 9000.00 | 18000.00 | 36000.00 | 3000.00 | 6000.00 | 6000.00 | ABHISHEK ASSOCIATES
17.00 | Painting of MS double leaf sliding gate (Trolley Gate) for 45 Mtr.wide and 2.5 Mtrs height (Each door in 8leaves, 4 leves left side sliding and another 4 leaves right side sliding ) including cleaning the surface and two coats of grey or any other colour of make (Asian / Barger) complete as reqd. The total area for painting will be approx 200Sq.meter. (Sectional details of trolley gate to be painted is given for reference in technical specifications). | 1.00 | Sq.Mtr. |  | 150.00 | 150.00 | 227.00 | 227.00 | 500.00 | 500.00 | 16000.00 | 16000.00 | 250.00 | 250.00 | 125.00 | 125.00 | 19000.00 | 19000.00 | 15000.00 | 15000.00 | 125.00 | MPC ELECTRICALS AND ENGINEERS
18.00 | To carry out the complete item of work on CPWD schedule of rates (Electrical DSR -2018) as per CPWD specification complete as required. (Total amount of Rs. 1,00,000.00 is kept for DSR Item-2018) (Note : Rate of DSR items shall be calculated by deducting GST component from schedule rate on account of GST and the quantity. Rs 100000.00 is after deducting the GST component) (Refer clause- 33 of Guidence to the bidder at page No.- NIT-4 & NIT-5 for quoting rate for this item.) | 100000.00 | Job |  | .50 | 50000.00 | .60 | 60000.00 | .30 | 30000.00 | .80 | 80000.00 | .90 | 90000.00 | .85 | 85000.00 | .60 | 60000.00 | .70 | 70000.00 | 30000.00 | ANOOP REFRIGERATION
| Total in Figures |  |  |  |  | 7660742.00 |  | 5888888.00 |  | 5573986.00 |  | 6060200.00 |  | 6100454.00 |  | 6088475.00 |  | 8284984.00 |  | 5872842.00
Lowest Amount Quoted BY: ANOOP REFRIGERATION(5573986.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of Electrical and Allied Works at New Civil Airport, Jaisalmer. (For the year2020-22) Tender ID: 2020_AAI_55848_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ANOOP REFRIGERATION | 5573986.00 | L1
| 2 | ABHISHEK ASSOCIATES | 5872842.00 | L2
| 3 | ASHWANI REFRIGERATION AND ELECTRICALS | 5888888.00 | L3
| 4 | NATIONAL SAFETY ENGINEERS | 6060200.00 | L4
| 5 | MPC ELECTRICALS AND ENGINEERS | 6088475.00 | L5
| 6 | Manish Electricals | 6100454.00 | L6
| 7 | S. N ELECTRICALS | 7660742.00 | L7
| 8 | M/s K.N.Construction | 8284984.00 | L8