## BoQ1
Government eProcurement System Created By: K SANTHOSH KUMAR Created Date/Time: 09-Sep-2020 11:19 AM Tender Title: Annual Maintenance and Servicing Contract of L.T. Panels, ACBs and Protective Relays Tender ID: 2020_AAI_55877_1
Tender Inviting Authority: Asstt. Gen. Mgr. (E-E), NATS Complex, IGI Airport, New Delhi
Name of Work : Annual Maintenance & Servicing Contract of L.T. Panels, ACBs & Protective Relays for 02 years at NATS Sub-Stations, IGI Airport and CATFM Building, Vasantkunj, New Delhi (2020-22).
Contract No/Tender ID : 2020_AAI_55877_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | shiva engineering company(GSTN-07AAZFS6813Q1Z1) |  | Ring Enterprises(GSTN-NA) |  | REGENT SWITCHGEAR(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I : NATS COMPLEX
2.00 | Annual Maintenance and servicing of MV/LT panel consisting of Non-Essential panel and double side Essential panel, capacitor bank i/c control wiring, relays etc. at sub-station as per maintenance schedule /scope of work including attending complaints/breakdown whenever required and scheduled visit by deputing the manpower including the submission of servicing report, etc. excluding circuit breaker service complete as required & as per specification . (Remarks : The spares & electrical parts shall be supplied separately by the agency as and when required on payment basis). (service two times in a year). (FOR TWO YEARS).
3.00 | (a) LT panel L&T make :
4.00 | Non essential with 2 nos. Incomer, 2 nos. O/G feeder to Essential panel, 01 buscoupler, 09 O/G feeder i/c control relays , ammeter, voltmer, Indication lamps etc.
5.00 | Essential panel with 2 nos. Incomer, 2 nos. Buscoupler, 03 nos. incomer from DG, 30 O/G feeder i/c control relays , ammeter, voltmer, indication lamps etc. | 1.00 | Job | 100.00 | 236898.00 | 236898.00 | 246000.00 | 246000.00 | 245300.00 | 245300.00 | 236898.00 | shiva engineering company
6.00 | 2. Annual Servicing of LT panel of Air Circuit breaker of 1600A, Make L&T as per scope of work including attending the complaints whenever required and normal visit and submission of servicing report (service two times in a year). (FOR TWO YEARS). | 3.00 | Nos. | 100.00 | 20330.00 | 60990.00 | 21000.00 | 63000.00 | 20710.00 | 62130.00 | 60990.00 | shiva engineering company
7.00 | 3. Annual Servicing of LT panel Air Circuit Breaker 3200A, Make L & T as per scope of work including attending the complaints whenever required, normal visit and submission of service report (service two times in a year). (FOR TWO YEARS) | 10.00 | Nos. | 10.00 | 33619.00 | 336190.00 | 34910.00 | 349100.00 | 33950.00 | 339500.00 | 336190.00 | shiva engineering company
8.00 | 4. Testing and calibration of following type of relays installed in HT panel, LT distribution panel at NATS Bldg., as per the approved relay testing format ( The calibration report of relay testing equipment shall be submitted by Agency before start of calibration) and submission of the testing report to Engineer-In-Charge etc complete as required and as per specificatios. (FOR TWO YEARS).
8.01 | 4(a). Over current inverse type relay ( 1 set comprises -3 Nos. Over current relay) complete in One set treated as One Job. (CDG type, Make -English Electric). | 4.00 | Job | 100.00 | 1344.00 | 5376.00 | 1519.00 | 6076.00 | 1500.00 | 6000.00 | 5376.00 | shiva engineering company
8.02 | 4(b). Over current inverse type and earth fault relay ( 1 set comprises -2 Nos. Over current relay+ 1 No. Earth fault relay) complete in One set treated as One Job. (CDG type, make -English Electric). | 4.00 | Job | 10.00 | 1344.00 | 5376.00 | 1519.00 | 6076.00 | 1500.00 | 6000.00 | 5376.00 | shiva engineering company
8.03 | 4(c). Trip circuit supervisory relay/ control relay/definite time relay/tripping relay ( Type- VAXMK-II/VAJC/VTT/VAJ, Make -English Electric). | 36.00 | Job | 10.00 | 1344.00 | 48384.00 | 1519.00 | 54684.00 | 1500.00 | 54000.00 | 48384.00 | shiva engineering company
8.04 | 4(d). Instentenious Under Voltage relay ( Type VAG/VAGM, Make - English Electric/ Alstom). | 21.00 | Job | 100.00 | 1344.00 | 28224.00 | 1519.00 | 31899.00 | 1500.00 | 31500.00 | 28224.00 | shiva engineering company
8.05 | 4(e ) Earth fault relay, Type -CDG, Make -Alstom | 4.00 | Job | 10.00 | 1344.00 | 5376.00 | 1519.00 | 6076.00 | 1500.00 | 6000.00 | 5376.00 | shiva engineering company
9.00 | 5. Repairing of 3200 Amps, Air circuit breaker with replacement of following items and making the ACB in serviceable condition complete as required. (FOR ONE YEAR)
9.01 | 5(a). CNCS 400C Pole Assembly | 1.00 | No. | 100.00 | 111724.00 | 111724.00 | 112510.00 | 112510.00 | 113100.00 | 113100.00 | 111724.00 | shiva engineering company
9.02 | 5(b). Spring Charger motor 240V | 1.00 | No. | 10.00 | 19582.00 | 19582.00 | 21275.00 | 21275.00 | 19860.00 | 19860.00 | 19582.00 | shiva engineering company
10.00 | SH-II : CATFM BUILDING
11.00 | 1. Annual Maintenance and servicing of MV/LT panel consisting i/c control wiring, relays etc. installed at CATFM as per maintenance schedule / scope of work including attending complaints / breakdown whenever required and scheduled visit by deputing the manpower including the submission of servicing report etc excluding circuit breaker service complete as required & as per specificatyion (Remarks : The spares & electrical parts shall be supplied separately by the agency as and when required on payment basis). (service two times in a year). (FOR TWO YEARS). | 1.00 | Job | 10.00 | 59920.00 | 59920.00 | 61650.00 | 61650.00 | 61850.00 | 61850.00 | 59920.00 | shiva engineering company
12.00 | 2. Annual Servicing of LT Panel Air Circuit breaker of 800A make L&T as per scope of work including attending the complaints whenever required and normal visit and subnmission of servicing report (Service two time in a year). (FOR TWO YEARS). | 3.00 | No. | 10.00 | 20330.00 | 60990.00 | 21275.00 | 63825.00 | 21100.00 | 63300.00 | 60990.00 | shiva engineering company
13.00 | 3. Annual Servicing & Testing Change over panel 400 Amp, ATS as per scope of work including attending the complaints whenever required normal visit and submission of service report (service two in a year). (FOR TWO YEARS). | 2.00 | No. | 100.00 | 10700.00 | 21400.00 | 11710.00 | 23420.00 | 11500.00 | 23000.00 | 21400.00 | shiva engineering company
| Total in Figures |  |  |  |  | 1000430.00 |  | 1045591.00 |  | 1031540.00
Lowest Amount Quoted BY: shiva engineering company(1000430.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance and Servicing Contract of L.T. Panels, ACBs and Protective Relays Tender ID: 2020_AAI_55877_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | shiva engineering company | 1000430.00 | L1
| 2 | REGENT SWITCHGEAR | 1031540.00 | L2
| 3 | Ring Enterprises | 1045591.00 | L3