## BoQ1
Government eProcurement System Created By: UMASANKAR AMBIGAPATHI Created Date/Time: 11-Sep-2020 05:22 PM Tender Title: Miscellaneous Civil works at Chennai Airport Chennai SH-Provision of 02 nos Dewatering pumps Tender ID: 2020_AAI_55946_1
Tender Inviting Authority: Dy. Genl. Mgr. (Engg - Elec) Project Electrical Division-III, Airports Authority of India, Metro Station Building, 3rd Floor, Chennai Airport, Chennai - 600016
Name of Work: Miscellaneous Civil Works at Chennai Airport, Chennai - SH: Provision of 02 nos. De-watering pumps
Contract No: 02_2020_PED_DeWtr_Pumps :: Tender ID : 2020_AAI_55946_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | BI MARKETING AND SERVICES PRIVATE LIMITED(GSTN-33AABCB4871G1ZW) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
.80 | SUB HEAD - I - PUMPS & EQUIPMENTS
1.00 | Supply of 11 KW Non-self-priming, single-stage, centrifugal Submersible type Dewatering pump operating at 415 Volts 50 Hz 3 Phase AC Supply having capacity of solid handling size upto 110mm, flow rate of 300 m3/hr, head flow rate of 8 mtrs, CI body, tolerence of +10%, Class of IP68 with necessary protection and mechanical seal etc as required. (Gundfos Make :: Model No. SL1.110.200.100.4.52M.S.N.51D) or equivalent | 2.00 | EA |  | 596120.00 | 1192240.00 | 591999.00 | 1183998.00 | 1183998.00 | DElite System Engineering (India) Pvt. Ltd.
2.00 | Supply of Autocoupling arrangment Unit with its accessories suitable for above mentioned pump Sl.No.01 etc as required | 2.00 | EA |  | 141810.00 | 283620.00 | 135999.00 | 271998.00 | 271998.00 | DElite System Engineering (India) Pvt. Ltd.
3.00 | Supply of suitable Guide rail GI Pipe of 3 Mtrs Length for above mentioned dewatering pump and autocoupling arrangement etc as required | 4.00 | EA |  | 8500.00 | 34000.00 | 5999.00 | 23996.00 | 23996.00 | DElite System Engineering (India) Pvt. Ltd.
4.00 | Supply of Star / Delta Starter Panel for operating the 11KW submersible pump, Protection Class of IP 55, with necessary interlocking arrangements. The panel should suitable to operate the above mentioned Dewatering Pump. | 2.00 | EA |  | 82270.00 | 164540.00 | 89000.00 | 178000.00 | 164540.00 | BI MARKETING AND SERVICES PRIVATE LIMITED
5.00 | Supply of Automatic Float type Level Controller switch operating the above mentioned submersible pump etc as required | 4.00 | EA |  | 4200.00 | 16800.00 | 2999.00 | 11996.00 | 11996.00 | DElite System Engineering (India) Pvt. Ltd.
6.00 | Supply of suitable lifting chain (Hot Dipped Galvanised) of 6 mtrs length for above pump etc as required | 2.00 | EA |  | 5200.00 | 10400.00 | 2500.00 | 5000.00 | 5000.00 | DElite System Engineering (India) Pvt. Ltd.
7.00 | Supply of 200 mm dia Drain Water PVC Hose suitable to attach with above mentinoned pump including accessories etc as required. | 60.00 | M |  | 580.00 | 34800.00 | 2000.00 | 120000.00 | 34800.00 | BI MARKETING AND SERVICES PRIVATE LIMITED
7.10 | SUB HEAD:2 Electrical work
8.00 | Supplying and drawing size of 3 x 1.5 Sqmm FRLS PVC insulated copper conductor, three core cable in the existing surface / recessed steel / PVC conduit as required. | 50.00 | M |  | 250.00 | 12500.00 | 99.00 | 4950.00 | 4950.00 | DElite System Engineering (India) Pvt. Ltd.
9.00 | Supplying and drawing size of 6 x 4 Sqmm FRLS PVC insulated copper conductor, Six core cable in the existing surface / recessed steel / PVC conduit as required. | 50.00 | M |  | 300.00 | 15000.00 | 399.00 | 19950.00 | 15000.00 | BI MARKETING AND SERVICES PRIVATE LIMITED
10.00 | Supplying and drawing size of 4 x 6 Sqmm FRLS PVC insulated copper conductor, four core cable in the existing surface / recessed steel / PVC conduit as required. | 50.00 | M |  | 350.00 | 17500.00 | 379.00 | 18950.00 | 17500.00 | BI MARKETING AND SERVICES PRIVATE LIMITED
11.00 | Providing and fixing 100 A, 36KA, FP MCCB rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required. | 2.00 | EA |  | 27000.00 | 54000.00 | 12000.00 | 24000.00 | 24000.00 | DElite System Engineering (India) Pvt. Ltd.
12.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface / recessed conduit / submain wiring / cable as required. | 100.00 | M |  | 275.00 | 27500.00 | 19.00 | 1900.00 | 1900.00 | DElite System Engineering (India) Pvt. Ltd.
13.00 | Erection testing and commissioning of the items of Sl.No.01 to Sl.No.07 as per site requirement etc as required | 2.00 | JOBS |  | 65000.00 | 130000.00 | 2500.00 | 5000.00 | 5000.00 | DElite System Engineering (India) Pvt. Ltd.
14.00 | Providing 01 No. Manpower for Operation and Maintainance of above mentioned dewatering pump etc as per direction of Engineer in charge | 100.00 | Days |  | 2000.00 | 200000.00 | 1000.00 | 100000.00 | 100000.00 | DElite System Engineering (India) Pvt. Ltd.
| Total in Figures |  |  |  |  | 2192900.00 |  | 1969738.00
Lowest Amount Quoted BY: DElite System Engineering (India) Pvt. Ltd.(1969738.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Civil works at Chennai Airport Chennai SH-Provision of 02 nos Dewatering pumps Tender ID: 2020_AAI_55946_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DElite System Engineering (India) Pvt. Ltd. | 1969738.00 | L1
| 2 | BI MARKETING AND SERVICES PRIVATE LIMITED | 2192900.00 | L2