## BoQ1
Government eProcurement System Created By: Dadan Singh Created Date/Time: 01-Oct-2020 12:19 PM Tender Title: Replacement of existing Halogen type taxi light fittings with LED taxi light fittings and Isolating Transformers of Isolation bay at R. B. Airport, Bhopal Tender ID: 2020_AAI_55952_1
Tender Inviting Authority: AGM(E-E)-II, AAI, R.B. Airport, Bhopal
Name of Work: Replacement of existing Halogen type taxi light fittings with LED taxi light fittings and Isolating Transformers of Isolation bay at R. B. Airport, Bhopal.
Contract No: AAI/BPL/ENGG(E)/NIT-02/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AMA Private Limited(GSTN-24AAACA1016F1ZK) |  | POSHDECOR(GSTN-27AAAPL7043G1ZV) |  | Vardhman Airport Solutions Pvt Ltd(GSTN-07AAECN5914F1ZK) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | surbhi association(GSTN-23AGKPD2522N1ZK) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of Medium intensity elevated type omni directional LED Taxiway Edge Light Fitting with 1W LED complete with all accessories including blue lens for LED, base plate and assembly with heat resistant accessories, prism assembly, optical assembly, ""O"" ring seal, pressure relief test plug, connecting secondary lead, all required hardware etc. as required for ready to site installation fixture and as per confirming to ICAO Annex-14 requirement. | 60.00 | Each |  | 4000.00 | 240000.00 | 5100.00 | 306000.00 | 4150.00 | 249000.00 | 5075.00 | 304500.00 | 5400.00 | 324000.00 | 5200.00 | 312000.00 | 240000.00 | AMA Private Limited
2.00 | Installation, testing & commissioning of elevated type omni directional LED Taxiway Edge Light Fitting complete as required. | 35.00 | Job |  | 250.00 | 8750.00 | 240.00 | 8400.00 | 50.00 | 1750.00 | 158.00 | 5530.00 | 150.00 | 5250.00 | 200.00 | 7000.00 | 1750.00 | Vardhman Airport Solutions Pvt Ltd
3.00 | Supply of 15 watt, 6.6A/6.6A, rating 5KV, 50 Hz series Isolating transformers encapsulated in polyster resin, finally moulded in neoprene type rubber and with primary and secondry connections confirming to specification as required suitable for above mentioned fittings. | 60.00 | Each |  | 2350.00 | 141000.00 | 3300.00 | 198000.00 | 2250.00 | 135000.00 | 2753.00 | 165180.00 | 3000.00 | 180000.00 | 2800.00 | 168000.00 | 135000.00 | Vardhman Airport Solutions Pvt Ltd
4.00 | Supply of 6 Sqmm, 5 KV grade plug and receptacle of type 1 class B connector and suitable field attachment with 5 KV grade PVC insulated PVC sheathed single core 6 sqmm size copper conductor cable confirming to the specified specification etc complete as required. | 60.00 | Each |  | 385.00 | 23100.00 | 510.00 | 30600.00 | 375.00 | 22500.00 | 350.00 | 21000.00 | 400.00 | 24000.00 | 370.00 | 22200.00 | 21000.00 | Techno Electricals
| Total in Figures |  |  |  |  | 412850.00 |  | 543000.00 |  | 408250.00 |  | 496210.00 |  | 533250.00 |  | 509200.00
Lowest Amount Quoted BY: Vardhman Airport Solutions Pvt Ltd(408250.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of existing Halogen type taxi light fittings with LED taxi light fittings and Isolating Transformers of Isolation bay at R. B. Airport, Bhopal Tender ID: 2020_AAI_55952_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Vardhman Airport Solutions Pvt Ltd | 408250.00 | L1
| 2 | AMA Private Limited | 412850.00 | L2
| 3 | Techno Electricals | 496210.00 | L3
| 4 | Manish Electricals | 509200.00 | L4
| 5 | surbhi association | 533250.00 | L5
| 6 | POSHDECOR | 543000.00 | L6