## BoQ1
Government eProcurement System Created By: ANILDAS BEKAL Created Date/Time: 30-Sep-2020 04:16 PM Tender Title: ARMO Works. SH-Annual Comprehensive Maintenance Contract for fire Alarm and Fire Fighting system and associated accessories at Hubballi Airport. Tender ID: 2020_AAI_56019_1
Tender Inviting Authority: Asst. General Manager (Engg. – Electrical), AAI, Hubballi
Name of Work: ARMO works, SH:- Annual Comprehensive Maintenance Contract for Fire Alarm and Fire Fighting system and associated accessories at Hubballi Airport.
Contract No: 2020_AAI_56019_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Ponmani International (India) Pvt Ltd(GSTN-33AADCP6242R2ZZ) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | All inclusive comprehensive maintenance contract for analogue addressable fire alarm & detection system including preventive and corrective maintenance as per OEM by carrying out periodical inspection, testing and health check of the system, attending breakdown calls,checking and replacing of all defective items/ parts, of complete system consist of multi sense detector, Analogue Addressable Multi Sense Detector, Heat Detector, Beam Detector, Manual Pull Station, Conventional Sounder with Strobe, Addressable Input Module, Relay Module, Loop Isolators, 32 bit Intelligent Addressable Fire Alarm Control Panel with Battery, Power Supply Unit, Passive type Repeater Panel, Response Indicator, 1KVA single phase 230V 50Hz UPS and Computer based Graphical Viewing Fire Software etc as per attached inventory vide Annexure-1 Location : a) New terminal building - make Honeywell morely IAS b) New ATC building - complete asper site requirement and AAI Special Condition of contract and as per the direction of E-I-C.
1.10 | 1st year | 12.00 | Month |  | 8000.00 | 96000.00 | 5000.00 | 60000.00 | 6000.00 | 72000.00 | 60000.00 | CENTRE TAP ENGINEERING
1.20 | 2nd year | 12.00 | Month |  | 8500.00 | 102000.00 | 5500.00 | 66000.00 | 6500.00 | 78000.00 | 66000.00 | CENTRE TAP ENGINEERING
2.00 | All inclusive comprehensive maintenance contract for Conventional fire alarm & detection system including preventive and corrective maintenance as per OEM by carrying out periodical inspection, testing and health check of the system, attending breakdown calls, checking and replacing of all defective items/ parts, of complete system consist of multi sense detector, Conventional Fire Alarm Control Panel, Conventional Manual call point, Conventional Sounder with Strobe, 1KVA single phase 230V 50Hz UPS, Auto Dialer etc as per attached inventory vide Annexure-2 at New DVOR, New NDB, Localizer and Glide path at hubbali airport complete asper site requirement and AAI Special Condition of contract and as per direction of E-I-C.
2.10 | 1st year | 12.00 | Month |  | 3200.00 | 38400.00 | 3000.00 | 36000.00 | 6000.00 | 72000.00 | 36000.00 | CENTRE TAP ENGINEERING
2.20 | 2nd year | 12.00 | Month |  | 3500.00 | 42000.00 | 3500.00 | 42000.00 | 6500.00 | 78000.00 | 42000.00 | Ponmani International (India) Pvt Ltd, CENTRE TAP ENGINEERING
3.00 | All inclusive comprehensive maintenance contract for Fire Hydrant system and fire Fighting System including preventive and corrective maintenance as per OEM by carrying out periodical inspection, testing and health check of the system, attending breakdown calls, checking and replacing of all defective items/ parts of system consist of Fire LT Panel, Electric driven main fire pump, Diesel engine driven pump (Including DG B-Check as per OEM), Booster pump, Jockey pump (Including Servicing of all pumps through OEM or its authorized dealer), Diesel engines Battery, Battery panel, Sprinkler system, Valves, pressure switches etc as per attached inventory vide Annexure-3 through OEM / its authorized delar complete as per site requirement and AAI Special Condition of contract and as per direction of E-I-C.
3.10 | First Year | 12.00 | Month |  | 12500.00 | 150000.00 | 5000.00 | 60000.00 | 6000.00 | 72000.00 | 60000.00 | CENTRE TAP ENGINEERING
3.20 | Second Year | 12.00 | Month |  | 13550.00 | 162600.00 | 5500.00 | 66000.00 | 6500.00 | 78000.00 | 66000.00 | CENTRE TAP ENGINEERING
4.00 | Engaging 01 Semi-skilled manpower to lookafter and supervise the all inclusive comprehensive maintenence of installations as detailed in item 1to3 above including all necessary co-ordinations for maintenance, attending breakdown, maintaining serviceability of the installations on all days including holidays (General shift) excluiding W/off. W/off shall be as decided by Engineer-in-charge. | 24.00 | Month |  | 17000.00 | 408000.00 | 22000.00 | 528000.00 | 22000.00 | 528000.00 | 408000.00 | Ponmani International (India) Pvt Ltd
| Total in Figures |  |  |  |  | 999000.00 |  | 858000.00 |  | 978000.00
Lowest Amount Quoted BY: CENTRE TAP ENGINEERING(858000.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO Works. SH-Annual Comprehensive Maintenance Contract for fire Alarm and Fire Fighting system and associated accessories at Hubballi Airport. Tender ID: 2020_AAI_56019_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CENTRE TAP ENGINEERING | 858000.00 | L1
| 2 | Manish Electricals | 978000.00 | L2
| 3 | Ponmani International (India) Pvt Ltd | 999000.00 | L3