## BoQ1
Government eProcurement System Created By: Debdeep Dutta Created Date/Time: 27-Oct-2020 04:46 PM Tender Title: Annual Maintenance contract of 02 nos. 33KV HT Automatic Voltage Regulator (HT AVR) installed at Goa Airport Tender ID: 2020_AAI_56187_2
Tender Inviting Authority: Asst. Gen. Manager (Engg-E)
Name of Work: Annual Maintenance contract of 02 nos. 33KV HT Automatic Voltage Regulator (HT AVR) installed at Goa Airport.
Contract No: 2020_AAI_56187_2
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | HLP SOLUTION(GSTN-NA) |  | MAHADEV ENTERPRISE(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual maintenance contract of 2 nos., 33KV HT Automatic Voltage Regulator (HT AVR) of 5000 KVA,3 phase, 50Hz AC capacity having an input voltage range from 27KV to 35KV and stabilized output voltage of 33KV +/- 1%, 3 phase, 50Hz AC including all accessories and protection devices including earthing terminals, drain valve, oil level indicator, conservator, explosion vent, buchholz relay, dial type temperature indicator etc. and including regular visit and breakdown call/visit within 48 hrs etc. as required as per instruction of Engineer-In-charge. | 24.00 | Months |  | 21600.00 | 518400.00 | 21700.00 | 520800.00 | 518400.00 | HLP SOLUTION
2.00 | Supply of Spares etc. as follows as required time to time as per instruction of Engineer In-charge:-
2.01 | PCB 1002/3 relay | 2.00 | Each |  | 11000.00 | 22000.00 | 11500.00 | 23000.00 | 22000.00 | HLP SOLUTION
2.02 | Flip flop circuit | 2.00 | Each |  | 5000.00 | 10000.00 | 4400.00 | 8800.00 | 8800.00 | MAHADEV ENTERPRISE
2.03 | 40 kg TOURQ, Step sys. Motor with gear, sprocket, resistance, capacitor etc. complete accessories as required | 1.00 | Each |  | 17000.00 | 17000.00 | 18000.00 | 18000.00 | 17000.00 | HLP SOLUTION
2.04 | Power contactor, 800 Amps, 240V AC (Make: ABB or equivalent) | 2.00 | Each |  | 70000.00 | 140000.00 | 72000.00 | 144000.00 | 140000.00 | HLP SOLUTION
2.05 | B4C limit switch | 2.00 | Each |  | 500.00 | 1000.00 | 400.00 | 800.00 | 800.00 | MAHADEV ENTERPRISE
2.06 | 100/12 Balancer core & coil assembly | 3.00 | Each |  | 4500.00 | 13500.00 | 4600.00 | 13800.00 | 13500.00 | HLP SOLUTION
2.07 | 200/12 Balancer core & coil assembly | 2.00 | Each |  | 4500.00 | 9000.00 | 4700.00 | 9400.00 | 9000.00 | HLP SOLUTION
2.08 | 240 Volt, AC, Single phase auxiliary contactor (NCC) | 1.00 | Each |  | 1400.00 | 1400.00 | 1500.00 | 1500.00 | 1400.00 | HLP SOLUTION
2.09 | 240 Volt, AC, Single phase auxiliary contactor (RCC) | 1.00 | Each |  | 1400.00 | 1400.00 | 1500.00 | 1500.00 | 1400.00 | HLP SOLUTION
2.10 | 240 Volt, AC, Single phase auxiliary contactor (CFF) | 1.00 | Each |  | 1400.00 | 1400.00 | 1300.00 | 1300.00 | 1300.00 | MAHADEV ENTERPRISE
2.11 | 240 Volt, AC, Single phase auxiliary contactor (CFL) | 1.00 | Each |  | 1400.00 | 1400.00 | 1300.00 | 1300.00 | 1300.00 | MAHADEV ENTERPRISE
2.12 | 240 Volt, AC, Single phase auxiliary contactor (CM) | 1.00 | Each |  | 1400.00 | 1400.00 | 1300.00 | 1300.00 | 1300.00 | MAHADEV ENTERPRISE
2.13 | 240 Volt, AC, Single phase auxiliary contactor (CC) | 1.00 | Each |  | 1400.00 | 1400.00 | 1300.00 | 1300.00 | 1300.00 | MAHADEV ENTERPRISE
2.14 | 240 Volt, AC, Single phase auxiliary contactor (AC) | 1.00 | Each |  | 1400.00 | 1400.00 | 1300.00 | 1300.00 | 1300.00 | MAHADEV ENTERPRISE
2.15 | 110 Volt, AC, Single phase auxiliary contactor (CLS) | 1.00 | Each |  | 1400.00 | 1400.00 | 1300.00 | 1300.00 | 1300.00 | MAHADEV ENTERPRISE
2.16 | 240 Volt, AC, Single phase cutler hammer Timmer (0 to 60 sec) | 2.00 | Each |  | 3000.00 | 6000.00 | 2800.00 | 5600.00 | 5600.00 | MAHADEV ENTERPRISE
3.00 | Onetime repair & commissioning of 2nos, 33KV HT AVR including servicing/replacement of carbon roller assembly, B4C tag, limit switches, tail assembly with sleevings, HT bushings complete set, oil temperature indicator,33KV PTs and CTs, top up of transformer oil etc. to make the AVR completely serviceable, as required as per the instruction of Engineer In-charge | 2.00 | Set |  | 270000.00 | 540000.00 | 272000.00 | 544000.00 | 540000.00 | HLP SOLUTION
| Total in Figures |  |  |  |  | 1288100.00 |  | 1299000.00
Lowest Amount Quoted BY: HLP SOLUTION(1288100.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance contract of 02 nos. 33KV HT Automatic Voltage Regulator (HT AVR) installed at Goa Airport Tender ID: 2020_AAI_56187_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | HLP SOLUTION | 1288100.00 | L1
| 2 | MAHADEV ENTERPRISE | 1299000.00 | L2