## BoQ1
Government eProcurement System Created By: Hemant Bhavsar Created Date/Time: 09-Oct-2020 03:46 PM Tender Title: Servicing, Testing and Calibration of 11 KV VCB, Relays, 11/0.433 kV Transformer i/c Dehydration, Filtration etc installed at T-2 Sub-Station of SVPI Airport, Ahmedabad (Year-2020-21) Tender ID: 2020_AAI_56378_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg.-Elect), Airports Authority of India, S.V.P.I. Airport, Ahmedabad
Name of Work: Servicing, Testing and Calibration of 11 KV VCB, Relays, 11/0.433 kV Transformer i/c Dehydration, Filtration etc installed at T-2 Sub-Station of SVPI Airport, Ahmedabad (Year-2020-21).
Contract No: 079-22858057
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Adarsh electric works(GSTN-24AGLPS9901P1ZL) |  | SHRI SAI ELECTRICAL(GSTN-24ACRFS4803Q2ZE) |  | System Protection(GSTN-24AAXFS4981P1Z0) |  | Taral Electricals(GSTN-24ACMPR0280M1Z9) |  | NS ENGINEERS(GSTN-24ALLPD3750G1ZD) |  | Ascent Electrification Engineers(GSTN-24AAOFA2574R1ZU) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | SHREE SAI ELECTRICAL and INSTRUMENTATION(GSTN-24AHZPP4046P2ZD) |  | POOJA ELECTRICALS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Servicing of 3 Ph 11KV 630A HT Vaccum Circuit Breaker (VCB) of Areva/CG make and connected CTs & PTs, minor repairing works if any complete as required including checking, testing and submission of test reports as detailed in particular specification and as per OEM recommended standards etc. complete all as required and as specified. | 27.00 | Job |  | 4675.00 | 126225.00 | 2800.00 | 75600.00 | 6000.00 | 162000.00 | 9884.00 | 266868.00 | 11000.00 | 297000.00 | 5966.91 | 161106.57 | 7752.00 | 209304.00 | 6000.00 | 162000.00 | 4290.00 | 115830.00 | 9500.00 | 256500.00 | 75600.00 | SHRI SAI ELECTRICAL
2.00 | Servicing, Testing and Calibration of following relays at site as detailed in particular specification and as per OEM recommended standard and submission of calibration report complete all as required and as specified. a) Instantaneous Differential relay (CAG) | 4.00 | Job |  | 1045.00 | 4180.00 | 9500.00 | 38000.00 | 1500.00 | 6000.00 | 1744.00 | 6976.00 | 800.00 | 3200.00 | 1181.15 | 4724.60 | 2000.00 | 8000.00 | 1850.00 | 7400.00 | 960.00 | 3840.00 | 2000.00 | 8000.00 | 3200.00 | NS ENGINEERS
3.00 | Servicing, Testing and Calibration of following relays at site as detailed in particular specification and as per OEM recommended standard and submission of calibration report complete all as required and as specified. b) Trip circuit supervision relay (VAX) | 4.00 | Job |  | 275.00 | 1100.00 | 9500.00 | 38000.00 | 500.00 | 2000.00 | 698.00 | 2792.00 | 500.00 | 2000.00 | 310.83 | 1243.32 | 2000.00 | 8000.00 | 1000.00 | 4000.00 | 960.00 | 3840.00 | 2000.00 | 8000.00 | 1100.00 | Adarsh electric works
4.00 | Servicing, Testing and Calibration of following relays at site as detailed in particular specification and as per OEM recommended standard and submission of calibration report complete all as required and as specified. c) Tripping relay (VAJ / CGXH1) | 32.00 | Job |  | 275.00 | 8800.00 | 1200.00 | 38400.00 | 500.00 | 16000.00 | 698.00 | 22336.00 | 500.00 | 16000.00 | 310.83 | 9946.56 | 3000.00 | 96000.00 | 900.00 | 28800.00 | 1500.00 | 48000.00 | 1000.00 | 32000.00 | 8800.00 | Adarsh electric works
5.00 | Servicing, Testing and Calibration of following relays at site as detailed in particular specification and as per OEM recommended standard and submission of calibration report complete all as required and as specified. d) Aux. relay (VAA /B33X3 / (AVANA) EMR 261)) | 37.00 | Job |  | 275.00 | 10175.00 | 1200.00 | 44400.00 | 500.00 | 18500.00 | 698.00 | 25826.00 | 500.00 | 18500.00 | 310.83 | 11500.71 | 1500.00 | 55500.00 | 900.00 | 33300.00 | 780.00 | 28860.00 | 1000.00 | 37000.00 | 10175.00 | Adarsh electric works
6.00 | Servicing, Testing and Calibration of following relays at site as detailed in particular specification and as per OEM recommended standard and submission of calibration report complete all as required and as specified. e) Micom relay (For HT breaker) | 20.00 | Job |  | 1045.00 | 20900.00 | 1500.00 | 30000.00 | 1500.00 | 30000.00 | 2907.00 | 58140.00 | 900.00 | 18000.00 | 1181.15 | 23623.00 | 2235.00 | 44700.00 | 2000.00 | 40000.00 | 4290.00 | 85800.00 | 2500.00 | 50000.00 | 18000.00 | NS ENGINEERS
7.00 | Servicing, Testing and Calibration of following relays at site as detailed in particular specification and as per OEM recommended standard and submission of calibration report complete all as required and as specified. f) Overcurrent Relay (CGI 14N) | 4.00 | Job |  | 660.00 | 2640.00 | 3000.00 | 12000.00 | 1500.00 | 6000.00 | 1744.00 | 6976.00 | 1100.00 | 4400.00 | 745.99 | 2983.96 | 2000.00 | 8000.00 | 1750.00 | 7000.00 | 4200.00 | 16800.00 | 2500.00 | 10000.00 | 2640.00 | Adarsh electric works
8.00 | Servicing, Testing and Calibration of following relays at site as detailed in particular specification and as per OEM recommended standard and submission of calibration report complete all as required and as specified. g) Protection Relay (M2-4) (EAPL) | 1.00 | Job |  | 385.00 | 385.00 | 8000.00 | 8000.00 | 1500.00 | 1500.00 | 1744.00 | 1744.00 | 900.00 | 900.00 | 435.16 | 435.16 | 5000.00 | 5000.00 | 2500.00 | 2500.00 | 4200.00 | 4200.00 | 2500.00 | 2500.00 | 385.00 | Adarsh electric works
9.00 | Servicing of Oil type transformer i/c. checking, blowering, cleaning, tightening, physical inspection, arresting the oil leakages by replacing suitable size gaskets from radiator valve & drain plug, Buchholz relay and other visible leakages followed with testing and submission of Test Report and BDV Report (before & after) etc. complete through OEM or his authorized representative and all as specified in Particular Specification for the following capacity of Voltamp Make transformer. a) 11/0.433 kV, 2000 KVA ONAN Transformer | 3.00 | Job |  | 42570.00 | 127710.00 | 43000.00 | 129000.00 | 40000.00 | 120000.00 | 45395.00 | 136185.00 | 35000.00 | 105000.00 | 44266.90 | 132800.70 | 17855.00 | 53565.00 | 29000.00 | 87000.00 | 42000.00 | 126000.00 | 35000.00 | 105000.00 | 53565.00 | Techno Electricals
10.00 | Servicing of Oil type transformer i/c. checking, blowering, cleaning, tightening, physical inspection, arresting the oil leakages by replacing suitable size gaskets from tap switch and other visible leakages followed with testing and submission of Test Report and BDV Report (before & after) etc. complete through OEM or his authorized representative and all as specified in Particular Specification for the following capacity of Voltamp Make transformer. a) 11/0.433 kV, 2000 KVA ONAN Transformer | 1.00 | Job |  | 60500.00 | 60500.00 | 43000.00 | 43000.00 | 57000.00 | 57000.00 | 64514.00 | 64514.00 | 35000.00 | 35000.00 | 62964.25 | 62964.25 | 17855.00 | 17855.00 | 22000.00 | 22000.00 | 55500.00 | 55500.00 | 35000.00 | 35000.00 | 17855.00 | Techno Electricals
11.00 | Servicing of 11/0.433 KVA different capacities from 1600 KVA to 2500 KVA of Voltamp Make Dry type transformers i/c checking, blowering, cleaning, tightening, physical inspection followed with testing and submission of test reports complete through OEM or his authorized representative and all as specified in Particular Specification for the following capacity of Voltamp Make transformer. | 7.00 | Job |  | 29150.00 | 204050.00 | 34000.00 | 238000.00 | 28000.00 | 196000.00 | 31085.00 | 217595.00 | 35000.00 | 245000.00 | 29839.50 | 208876.50 | 17855.00 | 124985.00 | 25000.00 | 175000.00 | 24000.00 | 168000.00 | 30000.00 | 210000.00 | 124985.00 | Techno Electricals
12.00 | Supply and Installation of PECON make (ER7570) WTI meter for 2000KVA, 11/0.433 kV Voltamp make dry type transformer. | 2.00 | Each |  | 23100.00 | 46200.00 | 27000.00 | 54000.00 | 23000.00 | 46000.00 | 24630.00 | 49260.00 | 28000.00 | 56000.00 | 24020.80 | 48041.60 | 55000.00 | 110000.00 | 12000.00 | 24000.00 | 21210.00 | 42420.00 | 19000.00 | 38000.00 | 24000.00 | Manish Electricals
| Total in Figures |  |  |  |  | 612865.00 |  | 748400.00 |  | 661000.00 |  | 859212.00 |  | 801000.00 |  | 668246.93 |  | 740909.00 |  | 593000.00 |  | 699090.00 |  | 792000.00
Lowest Amount Quoted BY: Manish Electricals(593000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Servicing, Testing and Calibration of 11 KV VCB, Relays, 11/0.433 kV Transformer i/c Dehydration, Filtration etc installed at T-2 Sub-Station of SVPI Airport, Ahmedabad (Year-2020-21) Tender ID: 2020_AAI_56378_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 593000.00 | L1
| 2 | Adarsh electric works | 612865.00 | L2
| 3 | System Protection | 661000.00 | L3
| 4 | Ascent Electrification Engineers | 668246.93 | L4
| 5 | SHREE SAI ELECTRICAL and INSTRUMENTATION | 699090.00 | L5
| 6 | Techno Electricals | 740909.00 | L6
| 7 | SHRI SAI ELECTRICAL | 748400.00 | L7
| 8 | POOJA ELECTRICALS | 792000.00 | L8
| 9 | NS ENGINEERS | 801000.00 | L9
| 10 | Taral Electricals | 859212.00 | L10