## BoQ1
Government eProcurement System Created By: DEVENDRA GOSWAMI Created Date/Time: 16-Sep-2020 12:16 PM Tender Title: Annual Maintenance Contract and Repairing of Fire Hydrant and Wet Riser System of Academy and Hostel Block at Indian Aviation Academy Vasant Kunj New Delhi Tender ID: 2020_AAI_56409_1
Tender Inviting Authority: <Asstt. General Manager (Engg.-Elect.)>
Name of Work: <Annual Maintenance Contract and Repairing of Fire Hydrant & Wet Riser System of Academy & Hostel Block at Indian Aviation Academy Vasant Kunj, New Delhi. >
Contract No: <IAA/E(E)/AMC/Fire-Fighting/2020-21>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | Oxybee Solutions(GSTN-09AADFO1623N1Z3)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual Maintenance Contract Of Complete Fire Hydrant And Wet Riser System Of Academic Block And Hostel Block Of Indian Aviation Academy Including Weekly Inspection, Monthly Preventive Maintenance With The Following Manpower And Carrying Out Mock Drill As Per Fire Standards. (Hydrant:- 43 Nos., & Sprinklers. Disesl Pump:- 1 No., Main Pump:- 1 No., Jockey Pump:- 1 No. Booster Pump:- 2 Nos.) (A) Weekly Inspection: One Senior Electrical Technician & One Mechanical Technician, One Helper. (B) Monthly Preventive Maintenance:- One Expert Engineer,One Senior Electrical Technician & One Mechanical Technician, Two Helpers. | 24.00 | Month | 16400.00 | 13500.00 | 324000.00 | 15600.00 | 374400.00 | 324000.00 | NATIONAL SAFETY ENGINEERS
2.00 | SITC of following Butter Fly (Wafer Type) Valve With Flanges, Nut, Bolt & Washer Etc., In The Existing Raiser / Down Comer Pipe Including Cutting & Grinding The Pipe As Per Site Requirement, Insert The Flanges & Fix It By Welding Pn 1.6 Rating With Isi Mark, Ss - 304 Disc ,Sg Iron Body , Lever Operated,Nitrile/ Epdm Lining Complete With Nuts, Bolts, Washers, Gaskets. 150MM ( At Pump House = 2 , Basement = 3 & Terrace = 4 ) | 9.00 | Each | 9500.00 | 9000.00 | 81000.00 | 6240.00 | 56160.00 | 56160.00 | Oxybee Solutions
3.00 | Dismantling the Hydrant Valve, Replace of Stop Rubber Washer ,Asbestos Rope & Coupling Washer etc., to arrest the Leakage And Reassembling It. | 5.00 | Each | 550.00 | 500.00 | 2500.00 | 420.00 | 2100.00 | 2100.00 | Oxybee Solutions
4.00 | Replacement Of Pressure Gauge(0-14 Kg/Cm2)Of 150 mm Dia With 15 mm Brass/Bronze Valve & Accessories Like Nipple,Reduce & Bush Etc., At Pump House I/C Dismantling The Damaged Siphon And Accessories. | 3.00 | Each | 1700.00 | 1500.00 | 4500.00 | 1200.00 | 3600.00 | 3600.00 | Oxybee Solutions
5.00 | SITC of 25 Mm Forged Brass/Bronze Air Release Valve with required Accessories at Terrace. | 9.00 | Each | 1150.00 | 1000.00 | 9000.00 | 1260.00 | 11340.00 | 9000.00 | NATIONAL SAFETY ENGINEERS
6.00 | Supply & Fixing Of Shutoff Nozzle made of Abs with Suitable Clamps. | 40.00 | Each | 305.00 | 250.00 | 10000.00 | 360.00 | 14400.00 | 10000.00 | NATIONAL SAFETY ENGINEERS
7.00 | Dismantling the Damaged Siphon & Working Pressure Gauage And S I T C Of Bronze Gate valve, Nipples , Reducers & Accessories etc.,i/c Fixing the Removed Pressure Gauage in the same place at all floors & terrace. | 45.00 | Each | 1330.00 | 1000.00 | 45000.00 | 1260.00 | 56700.00 | 45000.00 | NATIONAL SAFETY ENGINEERS
8.00 | SITC of following CI Dual Plate (Wafer Type) Check Valve With Flanges, Nut ,Bolt & Washer etc., In The Existing Down Comer Inclding Cutting & Grinding the Pipe as Per Site Requirement, Insert the Flanges & Fix It by Welding Pn 1.6 Rating with,SS-304 Disc ,Nitrile Lining Complete with Nuts, Bolts, Washers & Gaskets etc.,150 Mm ( At Terrace) | 4.00 | Each | 10300.00 | 9500.00 | 38000.00 | 7440.00 | 29760.00 | 29760.00 | Oxybee Solutions
9.00 | Supply,Testing & Placing Of Stainless Steel Short Branch Pipe With 20mm Nozzle,63mm Inlet & 20mm Oulet. | 32.00 | Each | 2280.00 | 2000.00 | 64000.00 | 1500.00 | 48000.00 | 48000.00 | Oxybee Solutions
10.00 | Making The Fire Fighting,Sprinkler & Down Comer System Serviceable in Auto Mode By Deputing Experts , Mechanic, Fitter, Electrician & Helper I/C , Fixing Dead End Plates To Locate The Fault,Replacement Of Rubber Gaskets, Washers, Bolt & Nuts Etc., | 1.00 | Job | 32000.00 | 24500.00 | 24500.00 | 120000.00 | 120000.00 | 24500.00 | NATIONAL SAFETY ENGINEERS
11.00 | Refilling of following type Fire Extinguishers.
11.01 | AB Type 9.0 Kg | 8.00 | Each | 800.00 | 1100.00 | 8800.00 | 360.00 | 2880.00 | 2880.00 | Oxybee Solutions
11.02 | CO2 Type 4.5 kg | 10.00 | Each | 850.00 | 500.00 | 5000.00 | 420.00 | 4200.00 | 4200.00 | Oxybee Solutions
12.00 | Supply and Fixing of Fireman Axe with Enclosure. | 20.00 | Each | 1000.00 | 525.00 | 10500.00 | 540.00 | 10800.00 | 10500.00 | NATIONAL SAFETY ENGINEERS
13.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :One or more coats on old work. | 200.00 | SQM | 79.95 | 80.00 | 16000.00 | 26.40 | 5280.00 | 5280.00 | Oxybee Solutions
14.00 | Re-lettering with black Japan paint of approved brand and manufacture. | 1000.00 | Each | 3.00 | 3.00 | 3000.00 | 3.60 | 3600.00 | 3000.00 | NATIONAL SAFETY ENGINEERS
| Total in Figures |  |  |  |  | 645800.00 |  | 743220.00
Lowest Amount Quoted BY: NATIONAL SAFETY ENGINEERS(645800.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance Contract and Repairing of Fire Hydrant and Wet Riser System of Academy and Hostel Block at Indian Aviation Academy Vasant Kunj New Delhi Tender ID: 2020_AAI_56409_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | NATIONAL SAFETY ENGINEERS | 645800.00 | L1
| 2 | Oxybee Solutions | 743220.00 | L2