## BoQ1
Government eProcurement System Created By: Pawan Singh Created Date/Time: 05-Nov-2020 09:51 AM Tender Title: SITC of designed based Public Address System. Tender ID: 2020_AAI_56429_1
Tender Inviting Authority: AGM (Engg-Elect), AAI, Deoghar Airport, Deoghar.
Name of Work: Construction of New Integrated Terminal Building at Deoghar Airport. Sub Head - SITC of designed based Public Address System at AAI Deoghar Airport.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AUDIOTRONICS(GSTN-21AEHPD5460N1ZK) |  | HEINRICH CORPORATION INDIA PVT LTD(GSTN-07AADCH3587R1ZT) |  | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.(GSTN-07AABCI1558D1ZW)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of IP based Public Address Sound Management System with dedicated hot standby (1+1) Network controller / Server EN-54 certified, Digital Audio and Control for simultaneous multi Audio channel, Pre-recorded or manual announcement broadcast, Built in Supervision and monitoring for Amplifier, loudspeaker line circuit and Microphone station, Alarm Input and Output for interfacing with existing external Fire Alarm, CCTV, Access Control or other Alarm Input, System shall have Support for multi-channel Digital Audio Inputs from Call station, multi-level of priority, support several type chime/tones/ emergency tones, the systems should allow PC based controlling to the network controller and programming. The systems shall have open interface for interfacing other services such as Fire and FID with Building Integrated service software and POE enabled L-2 Switch etc. (if required). The Text to Speech Hardware for making announcements in different languages should also be included. | 1.00 | Set | 950000.00 | 890000.00 | 890000.00 | 1155000.00 | 1155000.00 | 750000.00 | 750000.00 | 750000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
2.00 | SITC of PC Control GUI Software along with Desktop PC of Intel Core i7, 8GB RAM, 500 GB HDD, DVD RW, 19" LED, Mouse, Keyboard or higher configuration for complete administration of PA system, programming and monitoring of Controller, Amplifiers, Call station, zone setting, priority etc. | 1.00 | Set | 85000.00 | 85000.00 | 85000.00 | 80000.00 | 80000.00 | 175000.00 | 175000.00 | 80000.00 | HEINRICH CORPORATION INDIA PVT LTD
3.00 | SITC of rack-mountable hard disk/PC (as per specifications) based Music player capable of playback of common digital media like MP3 / MP4 / WMA / AVI / WMV / Div X etc., with minimum 500GB hard disk, with full function for facilities like skip / shuffle/repeat as per specification. | 1.00 | Each | 35000.00 | 12000.00 | 12000.00 | 45000.00 | 45000.00 | 50000.00 | 50000.00 | 12000.00 | AUDIOTRONICS
4.00 | SITC of Equipment Rack for housing Central Controller, Amplifiers and Music Source, consisting of mains panel as per specifications. | 1.00 | Set | 44196.00 | 45000.00 | 45000.00 | 45000.00 | 45000.00 | 150000.00 | 150000.00 | 45000.00 | AUDIOTRONICS, HEINRICH CORPORATION INDIA PVT LTD
5.00 | SITC of Digital Call Stations with High Quality Condenser Microphone on gooseneck, keypad for minimum 12 zone selection, relay of pre-recorded messages / Alarm messages / tones / call routines, upgradable to any number of zone selection by adding keypad etc. with suitable Console Table as per specifications. (EN 54 Certified) | 1.00 | Each | 85000.00 | 89000.00 | 89000.00 | 72000.00 | 72000.00 | 225000.00 | 225000.00 | 72000.00 | HEINRICH CORPORATION INDIA PVT LTD
6.00 | SITC of Digital Remote Call Stations with High Quality Condenser Microphone on gooseneck, Keypad for min 12 zone selection, relay of prerecorded messages / Alarm messages / tones / call routines, upgradable to any number of zone selection by adding keypad etc. as per specifications. (EN 54 Certified) | 5.00 | Each | 45000.00 | 155000.00 | 775000.00 | 72000.00 | 360000.00 | 150000.00 | 750000.00 | 360000.00 | HEINRICH CORPORATION INDIA PVT LTD
7.00 | SITC of Digital Car Call console with wall mounted housing and Flush mounted microphone for Car Call announcement. | 2.00 | Each | 45000.00 | 48000.00 | 96000.00 | 50000.00 | 100000.00 | 200000.00 | 400000.00 | 96000.00 | AUDIOTRONICS
8.00 | SITC of Power Amplifier (Separate amplifier or separate channel of amplifiers for every Zone should be considered), minimum duel channel, 2x240 W / 1X500 W / More wattage (EN 54 Certified), Class D amplification with built in DSP with min. 2 channel AVC (Automatic Volume Control) per amplifier, Automatic Changeover to standby Amplifier in case of failure, Front LCD/LED display for status/error display, headphone socket for audio monitoring., 100 V Outputs, Digital Audio Inputs via CAT / Fibre Cable (for interconnection and looping between amplifiers) | 1.00 | Lot | 1050000.00 | 1550000.00 | 1550000.00 | 900000.00 | 900000.00 | 1275000.00 | 1275000.00 | 900000.00 | HEINRICH CORPORATION INDIA PVT LTD
9.00 | SITC of Recessed Ceiling Mount speaker, Full range 120 Hz-18Khz, tapping 6W RMS, SPL at 1 W/1M@ 1 KHz > 90 dB opening angle ≥ 150 degree, mounting Clamp, front Metal Grill, Built in LMT. with suitable Fire Dome Safety acc. To EN60065 | 1.00 | Lot | 126000.00 | 164580.00 | 164580.00 | 198250.00 | 198250.00 | 150000.00 | 150000.00 | 150000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
10.00 | SITC of Line Array, Column Loudspeaker, rated power of 30W rms, SPL ≥105 dB@30 W 1 W / 1 Mtr, Frequency range 100 Hz - 18 KHz, 100 V rated input, Opening angle @1Khz HxV :210 x 70 degree, Ceramic terminal block, thermal Fuse, EVAC Compliant and IEC 60849 compliant Safety acc. To EN60529, dust proof and weather proof. | 1.00 | Lot | 135000.00 | 370000.00 | 370000.00 | 240000.00 | 240000.00 | 310500.00 | 310500.00 | 240000.00 | HEINRICH CORPORATION INDIA PVT LTD
11.00 | SITC of Cabinet Speaker 30W – 50W, Effective Frequency Response better or equal to 80 Hz – 18 Khz, SPL at 1W / 1 M @ 1 Khz ≥ 87 dB complete as per specifications. | 1.00 | Lot | 78571.00 | 25500.00 | 25500.00 | 44000.00 | 44000.00 | 250000.00 | 250000.00 | 25500.00 | AUDIOTRONICS
12.00 | SITC of Digital Line Array loudspeaker with Built-in DSP with coaxial drivers for improved high frequency response., Sophisticated beam configuration with EASE support, Integrated ambient noise level sensor for AVC, 100W, with following features: Audio beam steering- 25 degree to 60 degrees or better, Frequency Range: 150Hz – 18KHz or better, Built in multichannel Class D Amplifier and DSP technology for vertical beam steering, amplifier ≥ 10/15 Watts per channel Class D Amplifier Channel and Loudspeaker drivers ≥ 8 Nos complete as per specifications. | 1.00 | Lot | 3850000.00 | 2400000.00 | 2400000.00 | 1050000.00 | 1050000.00 | 2070000.00 | 2070000.00 | 1050000.00 | HEINRICH CORPORATION INDIA PVT LTD
13.00 | SITC of weather proof metallic/ horn Speakers EN 54 Certified for Car calling/ parking area, as per the specifications | 1.00 | Lot | 23200.00 | 405560.00 | 405560.00 | 180000.00 | 180000.00 | 22000.00 | 22000.00 | 22000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
14.00 | Supply of Omni direction Noise sensing Microphone in suitable housing as per design requirement and specifications. | 1.00 | Lot | 15321.00 | 26364.00 | 26364.00 | 189000.00 | 189000.00 | 110000.00 | 110000.00 | 26364.00 | AUDIOTRONICS
15.00 | Supply of Redundant (1+1) 10 KVA Online UPS with SMF batteries, 30 minutes of battery backup with each UPS. | 1.00 | Set | 409554.00 | 360000.00 | 360000.00 | 1000000.00 | 1000000.00 | 340000.00 | 340000.00 | 340000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
16.00 | Supply and laying of 1.5 sq.mm. multistrand PVC sheathed Two Core Twin Twisted Speaker Cable in existing conduit / floor channel as per specifications. | 1500.00 | Meter | 54.00 | 160.00 | 240000.00 | 47.00 | 70500.00 | 48.00 | 72000.00 | 70500.00 | HEINRICH CORPORATION INDIA PVT LTD
17.00 | Supply and laying of PVC sheathed 0.75 sq.mm. multistrand Two Core shielded microphone cable in existing conduits / floor channel as per specifications. | 1000.00 | Meter | 65.00 | 85.00 | 85000.00 | 49.00 | 49000.00 | 40.00 | 40000.00 | 40000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
18.00 | Supply and laying of Fibre Optic Network cable with connectors and splicing etc. as per specifications. | 200.00 | Meter | 85.00 | 200.00 | 40000.00 | 25.00 | 5000.00 | 120.00 | 24000.00 | 5000.00 | HEINRICH CORPORATION INDIA PVT LTD
19.00 | Supply and laying of Armoured 0.75 sq.mm. multistrand, Two Pair Twin Twisted Speaker Cable for laying on wall/ underground laying in existing HDPE Pipe/Hume Pipe/ GI Conduit as per specifications. | 1000.00 | Meter | 99.00 | 120.00 | 120000.00 | 55.00 | 55000.00 | 90.00 | 90000.00 | 55000.00 | HEINRICH CORPORATION INDIA PVT LTD
20.00 | Supply and laying of UTP CAT 6 data cable in existing conduit/pipe on surface/recess/concealed, with connectors, termination etc. required as per specifications | 1200.00 | Meter | 45.00 | 35.00 | 42000.00 | 40.00 | 48000.00 | 31.00 | 37200.00 | 37200.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
21.00 | Supply and laying of 3 core 1.5 sq. mm PVC insulated PVC sheathed copper conductor power cable in existing conduit/pipe on surface/recess/concealed including termination etc. required as per specifications | 800.00 | Meter | 58.00 | 82.00 | 65600.00 | 60.00 | 48000.00 | 58.00 | 46400.00 | 46400.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
22.00 | Supply and laying of 80 mm dia GI Pipe (Class B) with all accessories on surface / recess / concealed as per specifications and preferred makes. | 150.00 | Meter | 663.00 | 420.00 | 63000.00 | 250.00 | 37500.00 | 530.00 | 79500.00 | 37500.00 | HEINRICH CORPORATION INDIA PVT LTD
23.00 | Supply & installation of 5 Mtrs. GI Pole (Class B) of 65 mm dia for mounting of Car call Horn speakers including all accessories and making foundation of reinforced cement concrete 1:3:6 (1 cement :3 coarse sand : 6 graded stone aggregate 40mm nominal size) including excavation and refilling, including positioning of template & foundations bolts (supplied with pole to match with pole base plate) complete as required and as specified | 1.00 | Lot | 55000.00 | 60000.00 | 60000.00 | 65000.00 | 65000.00 | 60000.00 | 60000.00 | 60000.00 | AUDIOTRONICS, INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
24.00 | COMPREHENSIVE ANNUAL MAINTENANCE CONTRACT All inclusive comprehensive AMC with spares after expiry of defect liability period of 03 year as per agreement for complete PA system.
24.01 | First year Comprehensive AMC with spares ( 7.639% for 1st year vide Clause no. 15 of SCC) | 1.00 | Per Year | 568790.41 | 638000.00 | 638000.00 | 461109.14 | 461109.14 | 351565.00 | 351565.00 | 351565.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
24.02 | Second year Comprehensive AMC with spares ( 8.698% for IInd year vide Clause no. 15 of SCC) | 1.00 | Per Year | 671371.83 | 730000.00 | 730000.00 | 525033.03 | 525033.03 | 421875.00 | 421875.00 | 421875.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
24.03 | Third year Comprehensive AMC with spares ( 9.757% for IIIrd year vide Clause no. 15 of SCC) | 1.00 | Per Year | 753112.78 | 822000.00 | 822000.00 | 588956.91 | 588956.91 | 492200.00 | 492200.00 | 492200.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
| Total in Figures |  |  |  |  | 10199604.00 |  | 7611349.08 |  | 8742240.00
Lowest Amount Quoted BY: HEINRICH CORPORATION INDIA PVT LTD(7611349.08)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of designed based Public Address System. Tender ID: 2020_AAI_56429_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | HEINRICH CORPORATION INDIA PVT LTD | 7611349.08 | L1
| 2 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD. | 8742240.00 | L2
| 3 | AUDIOTRONICS | 10199604.00 | L3