## BoQ1
Government eProcurement System Created By: Shyamashis Das Created Date/Time: 25-Sep-2020 06:01 PM Tender Title: SITC of Frangible Hut of LLZ and GP at B.M.Airport, Ranchi. SH - Electrical works. Tender ID: 2020_AAI_56476_1
Tender Inviting Authority: AGM (Engg-Elect), AAI, B.M.Airport, Ranchi.
Name of Work:SITC of Frangible Hut of LLZ & GP at B.M.Airport, Ranchi. SH: Electrical works.
Contract No: 2020_AAI_56476_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ASHISH TOWERS PVT LTD(GSTN-20AAFCA3318R1ZP) |  | Incotech Engineers Pvt Ltd(GSTN-19AAACI5242B1ZZ) |  | Yash Energy Pvt. Ltd(GSTN-24AAACY3771H1ZA) |  | National Electric Store(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of surface mounted LED flat panel 1' X 4' luminaire, with high efficient LEDs and glare free soft illumination, 36W, min 100 lumens/ watt integral electronics power driver suitable for 230 V + 10% , 50Hz AC supply, Indoor, thermal management with heat sinks, average life of LED > 50000 hrs., power factor > 0.95, mounting arrangement etc. as required, having five years guarantee for the complete LED fixture. | 20.00 | Each | 6788.00 | 4200.00 | 84000.00 | 1161.50 | 23230.00 | 2922.00 | 58440.00 | 4819.00 | 96380.00 | 23230.00 | Incotech Engineers Pvt Ltd
2.00 | Supply of 1200 mm sweep ceiling fan suitable to operate on 230V, single phase, AC supply along with all accessories except regulator as required. | 2.00 | Each | 2291.00 | 1500.00 | 3000.00 | 1936.00 | 3872.00 | 1694.00 | 3388.00 | 1627.00 | 3254.00 | 3000.00 | ASHISH TOWERS PVT LTD
3.00 | Supply of 300 mm sweep and 1400 RPM industrial type heavy duty exhaust fan suitable to operate on 230V, single phase, AC supply. | 2.00 | Each | 3141.00 | 3800.00 | 7600.00 | 2057.00 | 4114.00 | 2541.00 | 5082.00 | 2230.00 | 4460.00 | 4114.00 | Incotech Engineers Pvt Ltd
4.00 | Supply of LED Tube light ( 4'), 18W, having minimum system lumen output min 100 lumens/ watt , high power LEDS suitable for 230 V + 10% , 50Hz AC supply, average life of LED > 50000 hrs, power factor > 0.95, mounting arrangement with all accessories, etc as required having five years guarantee for the complete LED fixture. | 9.00 | Each | 707.00 | 350.00 | 3150.00 | 968.00 | 8712.00 | 194.00 | 1746.00 | 502.00 | 4518.00 | 1746.00 | Yash Energy Pvt. Ltd
5.00 | Supply of Batten for fixing 4 ft. dual LED tubes & other accessories complete as required. | 5.00 | Each | 492.00 | 750.00 | 3750.00 | 363.00 | 1815.00 | 956.00 | 4780.00 | 349.00 | 1745.00 | 1745.00 | National Electric Store
6.00 | Supply of LED street light luminaire with pressure die-cast housing with toughened glass and individual LEDs with secondary optics and IP 66 protection, having minimum system lumen output min 110 lumens/ watt, 45 watt input power with sufficient nos. of LEDs with uniform distribution of light, integral electronics power driver suitable for 230 V + 10% , 50Hz AC supply, Indoor, thermal management with heat sinks, average life of LED > 50000 hrs., power factor > 0.95, mounting arrangement etc. as required, having five years guarantee for the complete LED fixture. | 9.00 | Each | 4713.00 | 3000.00 | 27000.00 | 5142.50 | 46282.50 | 2160.00 | 19440.00 | 3346.00 | 30114.00 | 19440.00 | Yash Energy Pvt. Ltd
7.00 | Supply of Integral LED aviation light comprising of aluminium housing with polycarbonate enclosure suitable to operate on 230V, single phase, AC supply. | 3.00 | Point | 3770.00 | 4600.00 | 13800.00 | 6534.00 | 19602.00 | 4477.00 | 13431.00 | 2677.00 | 8031.00 | 8031.00 | National Electric Store
8.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface / recessed PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable etc. as required ( Group C ). | 30.00 | Each | 1044.00 | 750.00 | 22500.00 | 922.50 | 27675.00 | 600.00 | 18000.00 | 741.00 | 22230.00 | 18000.00 | Yash Energy Pvt. Ltd
9.00 | Supplying and fixing suitable size PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 and 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 30.00 | Each | 418.00 | 600.00 | 18000.00 | 985.00 | 29550.00 | 711.00 | 21330.00 | 297.00 | 8910.00 | 8910.00 | National Electric Store
10.00 | Supplying and fixing stepped type electronic fan regulator on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | 2.00 | Each | 281.00 | 400.00 | 800.00 | 614.50 | 1229.00 | 400.00 | 800.00 | 200.00 | 400.00 | 400.00 | National Electric Store
11.00 | Installation of exhaust fan upto 450 mm sweep in the existing opening including making the hole to suit the size of the above fan, making good the damage, connection, testing, commissioning etc. as required. | 2.00 | Each | 344.00 | 1000.00 | 2000.00 | 450.00 | 900.00 | 350.00 | 700.00 | 244.00 | 488.00 | 488.00 | National Electric Store
12.00 | Installation, testing and commissioning of ceiling fan including wiring the down rod of standard length (up to 30 cm) with 1.5 sq. mm. FRLSH PVC insulated copper conductor, single core cable etc. as required. | 2.00 | Each | 161.00 | 500.00 | 1000.00 | 200.00 | 400.00 | 183.00 | 366.00 | 114.00 | 228.00 | 228.00 | National Electric Store
13.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting of all types, complete with all accessories and tube / lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLSH PVC insulated, copper conductor, single core cable and earthing etc. as required. | 24.00 | Each | 149.00 | 160.00 | 3840.00 | 200.00 | 4800.00 | 208.00 | 4992.00 | 106.00 | 2544.00 | 2544.00 | National Electric Store
14.00 | Supplying and fixing following way Triple pole and neutral, sheet steel, MCB distribution board (IP54 protection), 415 volts, on surface/ recess, complete with Din bar, neutral bus bar, earth bar, interconnections, powder painted including earthing etc. as required (But without MCB/ RCCB/ Isolator). (i) 4 way (8 + 18), Double door | 4.00 | Each | 5386.00 | 5300.00 | 21200.00 | 3525.00 | 14100.00 | 12815.00 | 51260.00 | 3824.00 | 15296.00 | 14100.00 | Incotech Engineers Pvt Ltd
15.00 | Supplying and fixing 6 A to 32 A rating, 240/415 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of Single pole in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 50.00 | Each | 267.00 | 200.00 | 10000.00 | 169.00 | 8450.00 | 225.00 | 11250.00 | 190.00 | 9500.00 | 8450.00 | Incotech Engineers Pvt Ltd
16.00 | Supplying and fixing 40A rating, Four Pole, 415 V, residual current circuit breaker (RCCB), having a sensitivity current 30mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 4.00 | Each | 3383.00 | 2500.00 | 10000.00 | 3327.00 | 13308.00 | 2200.00 | 8800.00 | 2402.00 | 9608.00 | 8800.00 | Yash Energy Pvt. Ltd
17.00 | Supplying and fixing 63 amps. rating, 415 Volts, 'C' Series, FP miniature circuit breaker suitable for inductive load in the existing MCB DB complete with connections, testing and commissioning etc. as required | 4.00 | Each | 2126.00 | 1700.00 | 6800.00 | 1572.50 | 6290.00 | 1462.00 | 5848.00 | 1509.00 | 6036.00 | 5848.00 | Yash Energy Pvt. Ltd
18.00 | Supplying and fixing 32 amps. rating, 415 Volts, 'C' Series, FP miniature circuit breaker suitable for inductive load in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 4.00 | Each | 1518.00 | 1200.00 | 4800.00 | 1149.00 | 4596.00 | 1075.00 | 4300.00 | 1078.00 | 4312.00 | 4300.00 | Yash Energy Pvt. Ltd
19.00 | Supplying and fixing 63 amps. Rating, 415 Volts, Onload changeover complete with connections, testing and commissioning etc. as required. | 2.00 | Each | 6377.00 | 4000.00 | 8000.00 | 6500.00 | 13000.00 | 4875.00 | 9750.00 | 4528.00 | 9056.00 | 8000.00 | ASHISH TOWERS PVT LTD
20.00 | Supplying and fixing of following sizes of PVC conduit alongwith accessories in surface/ recess including painting incase of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. (i) 25 mm | 300.00 | Metre | 104.00 | 120.00 | 36000.00 | 57.35 | 17205.00 | 56.00 | 16800.00 | 74.00 | 22200.00 | 16800.00 | Yash Energy Pvt. Ltd
21.00 | Supplying and drawing following sizes of FRLSH PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. (i) 2 X 2.5 sq. mm | 100.00 | Metre | 72.00 | 45.00 | 4500.00 | 71.80 | 7180.00 | 54.00 | 5400.00 | 51.00 | 5100.00 | 4500.00 | ASHISH TOWERS PVT LTD
22.00 | Supplying and drawing following sizes of FRLSH PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. (ii) 3 X 2.5 sq. mm | 100.00 | Metre | 101.00 | 65.00 | 6500.00 | 105.70 | 10570.00 | 78.00 | 7800.00 | 72.00 | 7200.00 | 6500.00 | ASHISH TOWERS PVT LTD
23.00 | Supplying and drawing following sizes of FRLSH PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. (iii) 3 X 4 sq. mm | 500.00 | Metre | 149.00 | 95.00 | 47500.00 | 175.22 | 87610.00 | 107.00 | 53500.00 | 106.00 | 53000.00 | 47500.00 | ASHISH TOWERS PVT LTD
24.00 | Supplying and drawing following sizes of FRLSH PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. (iv) 3 X 6 sq. mm | 100.00 | Metre | 191.00 | 130.00 | 13000.00 | 240.20 | 24020.00 | 161.00 | 16100.00 | 136.00 | 13600.00 | 13000.00 | ASHISH TOWERS PVT LTD
25.00 | Supply of following size of XLPE insulated & PVC sheathed, armoured, aluminium conductor cable of 1.1KV grade as per IS 7098:1988 Part-I with upto date amendments etc. complete as required. (i) 3.5 Core X 185 Sq.mm Aluminium conductor | 500.00 | Metre | 584.00 | 720.00 | 360000.00 | 605.88 | 302940.00 | 525.00 | 262500.00 | 415.00 | 207500.00 | 207500.00 | National Electric Store
26.00 | Supply of following size PVC sheathed, unarmoured, copper conductor cable of 1.1KV grade as per IS 7098:1988 Part-I with upto date amendments etc. complete as required. (i) 3.5 Core X 35 Sq.mm copper conductor | 200.00 | Metre | 918.00 | 1120.00 | 224000.00 | 190.08 | 38016.00 | 755.00 | 151000.00 | 652.00 | 130400.00 | 38016.00 | Incotech Engineers Pvt Ltd
27.00 | Laying of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 kv grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc. as required. (i) Above 95 sq. mm and upto 185 sq. mm | 400.00 | Metre | 336.00 | 240.00 | 96000.00 | 500.00 | 200000.00 | 355.00 | 142000.00 | 239.00 | 95600.00 | 95600.00 | National Electric Store
28.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. (i) Above 95 sq. mm and upto 185 sq. mm | 20.00 | Metre | 57.00 | 110.00 | 2200.00 | 100.00 | 2000.00 | 150.00 | 3000.00 | 40.00 | 800.00 | 800.00 | National Electric Store
29.00 | Laying and fixing of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 kv grade of following size on wall surface as required. (i) Upto 35 sqmm. | 120.00 | Metre | 46.00 | 80.00 | 9600.00 | 35.00 | 4200.00 | 46.00 | 5520.00 | 33.00 | 3960.00 | 3960.00 | National Electric Store
30.00 | Laying and fixing of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 kv grade of following size on wall surface as required. (ii) Above 95 sq. mm and upto 185 sq. mm | 40.00 | Metre | 119.00 | 130.00 | 5200.00 | 100.00 | 4000.00 | 156.00 | 6240.00 | 84.00 | 3360.00 | 3360.00 | National Electric Store
31.00 | Supplying and making end termination with nickel plated double compression brass double compression gland and copper lugs for following size of PVC insulated and PVC sheathed copper conductor cable of 1.1 KV grade as required. (i) 3.5 Core X 35 Sq.mm copper conductor | 16.00 | Each | 885.00 | 500.00 | 8000.00 | 664.50 | 10632.00 | 661.00 | 10576.00 | 628.00 | 10048.00 | 8000.00 | ASHISH TOWERS PVT LTD
32.00 | Supplying and making end termination with nickel plated double compression brass double compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. (i) 3.5 Core X 185 Sq.mm Aluminium conductor | 12.00 | Each | 2096.00 | 1800.00 | 21600.00 | 1925.50 | 23106.00 | 1630.00 | 19560.00 | 1488.00 | 17856.00 | 17856.00 | National Electric Store
33.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed/XLPE aluminium conductor cable of 1.1 kv grade as required. (i) 3.5 Core X 185 Sq.mm Aluminium conductor | 4.00 | Each | 5051.00 | 2300.00 | 9200.00 | 7140.00 | 28560.00 | 2898.00 | 11592.00 | 3586.00 | 14344.00 | 9200.00 | ASHISH TOWERS PVT LTD
34.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed/XLPE aluminium conductor cable of 1.1 kv grade as required. (ii) 3.5 Core X 240 Sq.mm Aluminium conductor | 2.00 | Each | 7459.00 | 2300.00 | 4600.00 | 8328.00 | 16656.00 | 3830.00 | 7660.00 | 5296.00 | 10592.00 | 4600.00 | ASHISH TOWERS PVT LTD
35.00 | Supplying and making cable route marker with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ) of size 60 cm X 60 cm at the bottom and 50 cm X 50 cm at the top with a thickness of 10cm including inscription duly engraved as required. | 12.00 | Each | 443.00 | 1500.00 | 18000.00 | 5846.00 | 70152.00 | 595.00 | 7140.00 | 315.00 | 3780.00 | 3780.00 | National Electric Store
36.00 | Earthing with Copper plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 4.00 | Each | 14945.00 | 13000.00 | 52000.00 | 11743.50 | 46974.00 | 19320.00 | 77280.00 | 10611.00 | 42444.00 | 42444.00 | National Electric Store
37.00 | Earthing with G.I. plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 6.00 | Each | 9676.00 | 13000.00 | 78000.00 | 6991.60 | 41949.60 | 12120.00 | 72720.00 | 6870.00 | 41220.00 | 41220.00 | National Electric Store
38.00 | Supplying and laying 25 mm X 5 mm G.I. strip in 40 mm dia GI pipe from earth electrode, including connection with G.l. nut, bolt, spring, washer excavation and refilling etc. as required. | 90.00 | Metre | 442.00 | 115.00 | 10350.00 | 1398.30 | 125847.00 | 165.00 | 14850.00 | 314.00 | 28260.00 | 10350.00 | ASHISH TOWERS PVT LTD
39.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 30.00 | Metre | 183.00 | 115.00 | 3450.00 | 228.44 | 6853.20 | 166.00 | 4980.00 | 130.00 | 3900.00 | 3450.00 | ASHISH TOWERS PVT LTD
40.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 60.00 | Metre | 34.00 | 20.00 | 1200.00 | 43.00 | 2580.00 | 25.00 | 1500.00 | 24.00 | 1440.00 | 1200.00 | ASHISH TOWERS PVT LTD
41.00 | Providing and fixing of lightning conductor finial, made of 25 mm dia 300 mm long, G.l. tube, having single prong at top, with 85 mm dia 6 mm thick G.l. base plate including holes etc. complete as required. | 2.00 | Each | 497.00 | 1200.00 | 2400.00 | 1538.00 | 3076.00 | 2470.00 | 4940.00 | 353.00 | 706.00 | 706.00 | National Electric Store
42.00 | Providing and fixing G.l. tape 20 mm X 3 mm thick on parapet or on surface of wall for lightning conductor complete as required (For horizontal run). | 10.00 | Metre | 95.00 | 70.00 | 700.00 | 161.90 | 1619.00 | 201.00 | 2010.00 | 67.00 | 670.00 | 670.00 | National Electric Store
43.00 | Providing and fixing G.l. tape 20 mm X 3 mm thick on parapet or on surface of wall for lightning conductor complete as required (For vertical run). | 10.00 | Metre | 149.00 | 70.00 | 700.00 | 161.90 | 1619.00 | 201.00 | 2010.00 | 106.00 | 1060.00 | 700.00 | ASHISH TOWERS PVT LTD
44.00 | Jointing G.l. tape (with another G.I. tape, base of the finial or any other metallic object) by riveting/ nut bolting/ sweating and soldering etc. as required. | 2.00 | Each | 87.00 | 200.00 | 400.00 | 292.60 | 585.20 | 100.00 | 200.00 | 62.00 | 124.00 | 124.00 | National Electric Store
45.00 | Providing and fixing testing joint, made of 20 mm X 3 mm thick G.l. strip, 125 mm long with 4 nos. of G.l. bolts, nuts, chuck nuts and spring washers etc. complete as required. | 2.00 | Each | 92.00 | 150.00 | 300.00 | 292.60 | 585.20 | 231.00 | 462.00 | 65.00 | 130.00 | 130.00 | National Electric Store
46.00 | ITC of LED Aviation Obstruction Lights on suitable size and length GI pipe (i/c supply) and mounting of the same at building complete as required. | 2.00 | Each | 657.00 | 1800.00 | 3600.00 | 500.00 | 1000.00 | 250.00 | 500.00 | 466.00 | 932.00 | 500.00 | Yash Energy Pvt. Ltd
47.00 | ITC of wall light luminaire on suitable size and length GI pipe (i/c supply) and making mounting arrangement of the same at building complete as required. | 8.00 | Each | 758.00 | 1000.00 | 8000.00 | 500.00 | 4000.00 | 600.00 | 4800.00 | 538.00 | 4304.00 | 4000.00 | Incotech Engineers Pvt Ltd
48.00 | SITC of 3-phase surge protection device with neutral protection having suitable surge protection of 100 kA enclosed in IP65 grade powder coated metal enclosure with 63 amps. Safety Circuit Breaker including providing copper cables and interconnecting and end terminations etc. as required to be installed for the LT panel in parallel mode. | 6.00 | Each | 131300.00 | 55000.00 | 330000.00 | 25698.00 | 154188.00 | 26668.00 | 160008.00 | 93223.00 | 559338.00 | 154188.00 | Incotech Engineers Pvt Ltd
49.00 | SITC of 3-phase surge protection device with neutral protection with MOV 40kA + 25kA rating enclosed in IP55 grade powder coated metal enclosure with 63 amps. bypass changeover switch including providing and copper cables and interconnecting and termintions etc. as required to be installed for input of the UPS/ Stabilizer in series. | 2.00 | Each | 237350.00 | 25000.00 | 50000.00 | 31044.00 | 62088.00 | 7170.00 | 14340.00 | 168519.00 | 337038.00 | 14340.00 | Yash Energy Pvt. Ltd
50.00 | Design, manufacture, supply, installation, testing and commissioning of fully compartmentalized, double door, bothside operative Cubicle type panels, made of 14 SWG CRCA sheet steel, totally enclosed, standing on a MS Angle frame suitably fixed on floor foundation, dust and vermin proof, powder coated painting, complete with Bu-bar having 200 amps, suitable for operation on 3 phase and neutral, 415 V, 50 Hz AC system with busbars, connection and interconnections, providing mechanical interlocking including supply & installation of following items and as per specifications : a) Incomer (i) 160 Amp FP MCCB, 50 KA - 01 No. with thermo-magentic release with O/C & S/C Protection-2 nos. (ii) Extended Rotary Handle – 1 no. (iii)Castel Key Interlock for mechanical inter locking-1 set (iv)Ammeter of size 96/96mm, (0-150 A), 3 Phase along with selector switch with Resin cast CT 150/5A,Class 1.0,15 VA -1 set. (v)Voltmeter of size 96/96mm, (0-500 V), 3 Phase along with selector switch - 1 set. (vi)LED type R,Y,B Indication lamp with MCB protection -6 nos. (vii) 200A TPN Al Bus Bar – 1 Set b) Changeover:- (i)160 Amp 4 Pole On Load Change Over Switch-2 nos (ii)LED Type Indication Lamp(ON) with MCB Protection- 4 nos. (iii)Ammeter of size 96/96mm, (0-150 A), 3 Phase along with selector switch with Resin cast CT 150/5A,Class 1.0,15 VA -1set. (iv)Voltmeter of size 96/96mm, (0-500 V), 3 Phase along with selector switch - 1set c) Outgoing :- i) 63 Amps, FP, MCCB 50kA - 02 Nos. ii) 40 Amps, FP, MCCB 50kA, 10 kA - 02 Nos. (iii) Extended Rotary Handle – 4 nos. (iv) LED Type Indication Lamp(ON & OFF) with MCB Protection- 4 sets. Note: Connections from MCB to connectors by a suitable size PVC insulated flexible FRLSH copper cable. | 2.00 | Each | 227250.00 | 198000.00 | 396000.00 | 147500.00 | 295000.00 | 565000.00 | 1130000.00 | 161348.00 | 322696.00 | 295000.00 | Incotech Engineers Pvt Ltd
51.00 | Supply of 1.5 TR five star inverter split type air conditioners fitted with high EER twin rotary - BLDC compressors, operating on refrigrant R-410A wall mounting suitable for operation on 230V 50 hz .Single phase, A.C supply complete with filter, drain & refrigerant pipe with insulation & electrical connection with wire complete as reqd. (Note : cost of drain (UPVC),regrigerant piping with insulation and electrical cable upto 10 feet length is included with this item) | 6.00 | Each | 43430.00 | 59000.00 | 354000.00 | 53460.00 | 320760.00 | 50655.00 | 303930.00 | 30835.00 | 185010.00 | 185010.00 | National Electric Store
52.00 | Installation, testing and commissoning of for 1.5TR split type air conditioner i/c Copper piping work, providing stand for outdoor unit, compelete with wall cutting, hole cutting, plastering etc. as reqd. | 6.00 | Each | 2273.00 | 8000.00 | 48000.00 | 3000.00 | 18000.00 | 3500.00 | 21000.00 | 1614.00 | 9684.00 | 9684.00 | National Electric Store
53.00 | Supply & fixing following danger notice plate made of mild steel sheet of at least 2mm thick & vitreous enamelled white on both sides and with inscription in signal red colour on front side as required. Danger board for 433V size 200mm x 150mm . | 4.00 | Each | 586.00 | 400.00 | 1600.00 | 382.65 | 1530.60 | 292.00 | 1168.00 | 416.00 | 1664.00 | 1168.00 | Yash Energy Pvt. Ltd
54.00 | Supply and fixing of flame retardant electrical insulation mat of 2.0 mm thick to withstand upto 3.3 KV conforming to IS 15652:2006 with upto date amendments and having minimum width 1000mm (+/- 20mm). The sufficient of adhesive/compound shall be supplied to fix the insulation mat on the front/rear side of electrical installation Mat shall be ISI marked. Its leakage current at 3.3 KV shall not be more than 10 mA. The mat shall be welded by hot gas welding with filler material method by making V grove cut at joints with suitable welding cord of insulating materia of matching colour to provide a seamless jointed surface as per IS : 8002. | 12.00 | Sqm. | 2222.00 | 1000.00 | 12000.00 | 931.00 | 11172.00 | 2315.00 | 27780.00 | 1578.00 | 18936.00 | 11172.00 | Incotech Engineers Pvt Ltd
55.00 | Supplying, installation , testing and commissioning of addressable type, 01 Loop Fire Alarm control panel conforming to UL/LPCB/FMI/EN-54, with all accessories viz : maintenance free battery for 24 hrs back up, battery charger module, auto dialer complete with all accessories. | 2.00 | Each | 80800.00 | 84000.00 | 168000.00 | 277600.00 | 555200.00 | 64080.00 | 128160.00 | 57368.00 | 114736.00 | 114736.00 | National Electric Store
56.00 | Supplying, installation, testing and commissioning of analogue addressable type smoke detector, conforming to UL/LPCB/FMI/EN-54, with all accessories viz : indicator, base, base box etc. to be installed on ceiling / false ceiling etc. complete as required. | 16.00 | Each | 4545.00 | 5000.00 | 80000.00 | 5752.00 | 92032.00 | 3162.00 | 50592.00 | 3227.00 | 51632.00 | 50592.00 | Yash Energy Pvt. Ltd
57.00 | SITC of flasher sounder complete with base and all mounting accessories. | 2.00 | Each | 3535.00 | 5000.00 | 10000.00 | 5752.00 | 11504.00 | 2850.00 | 5700.00 | 2510.00 | 5020.00 | 5020.00 | National Electric Store
58.00 | Supplying and fixing of armoured type 2 X 1.5 sq.mm. Cu conductor, XLPE / PVC insulated, 1.1 kv, steel wire armoured, PVC sheathed AC cable generally conforming to IS-7098(p-1) / 1554(p-1) with upto date ammendments etc. complete as required | 250.00 | Metre | 152.00 | 75.00 | 18750.00 | 103.20 | 25800.00 | 376.00 | 94000.00 | 108.00 | 27000.00 | 18750.00 | ASHISH TOWERS PVT LTD
59.00 | Supplying and Fixing of portable CO2 base 4.5 Kg fire extinguisher as per relevant IS. | 4.00 | Each | 5555.00 | 6000.00 | 24000.00 | 6140.00 | 24560.00 | 5324.00 | 21296.00 | 3944.00 | 15776.00 | 15776.00 | National Electric Store
60.00 | Supplying and fixing of portable DCP base 4 Kg fire extinguisher as per relevant IS. | 4.00 | Each | 8585.00 | 3000.00 | 12000.00 | 11486.00 | 45944.00 | 3388.00 | 13552.00 | 6095.00 | 24380.00 | 12000.00 | ASHISH TOWERS PVT LTD
| Total in Figures |  |  |  |  | 2782590.00 |  | 2933239.30 |  | 3127869.00 |  | 2634550.00
Lowest Amount Quoted BY: National Electric Store(2634550.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of Frangible Hut of LLZ and GP at B.M.Airport, Ranchi. SH - Electrical works. Tender ID: 2020_AAI_56476_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | National Electric Store | 2634550.00 | L1
| 2 | ASHISH TOWERS PVT LTD | 2782590.00 | L2
| 3 | Incotech Engineers Pvt Ltd | 2933239.30 | L3
| 4 | Yash Energy Pvt. Ltd | 3127869.00 | L4