## BoQ1
Government eProcurement System Created By: RAJITH V Created Date/Time: 21-Sep-2020 06:14 PM Tender Title: ARMO Works of Eand M Installations at Madurai Airport during 2020 2021. SH Comprehensive Annual Maintenance contract of unitary Air conditioning, water coolers, RO plant and water dispensers at Madurai Airport Tender ID: 2020_AAI_56514_1
Tender Inviting Authority: AIRPORTS AUTHORITY OF INDIA
Name of Work: ARMO Works of E&M Installations at Madurai Airport during 2020-2021. SH: Comprehensive Annual Maintenance Contract of unitary Air conditioning, Water coolers, RO Plant & Water dispensers at Madurai Airport
Contract No: AAI/MDU/E-E/MDU-279/NIT-03/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | GENIUS AIRCON PRIVATE LIMITED(GSTN-33AAECG9150C1ZY) |  | M K ENTERPRISES(GSTN-27AMDPK7085L1ZJ) |  | CAC ENGINEERS PVT LTD(GSTN-33AAECC2301D2ZK)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Job Contract for Operation, preventive and breakdown maintenance of various AC’s, water Coolers, water dispensers, RO units etc Installed at Nav-aids, OTB, engineering offices etc as detailed in “ANNEXURE-A” at Madurai Airport on general duty / shift duty / need basis in line with the requirements indicated in the tender document as required. (Two Skilled Technicians) | 12.00 | Months |  | 55000.00 | 660000.00 | 40500.00 | 486000.00 | 45840.00 | 550080.00 | 486000.00 | M K ENTERPRISES
2.00 | All inclusive comprehensive maintenance of all types, makes and capacities of Air conditioning units including replacing spares, consumables, gas Charging, painting etc attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. Ductable split type - 8.5 Ton | 8.00 | Each per Quarter |  | 750.00 | 6000.00 | 2250.00 | 18000.00 | 2099.00 | 16792.00 | 6000.00 | GENIUS AIRCON PRIVATE LIMITED
3.00 | All inclusive comprehensive maintenance of all types, makes and capacities of Air conditioning units including replacing spares, consumables, gas Charging, painting etc attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. Hide away split type - 7.5 Ton | 8.00 | Each per Quarter |  | 750.00 | 6000.00 | 2250.00 | 18000.00 | 1870.00 | 14960.00 | 6000.00 | GENIUS AIRCON PRIVATE LIMITED
4.00 | All inclusive comprehensive maintenance of all types, makes and capacities of Air conditioning units including replacing spares, consumables, gas Charging, painting etc attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. Non-ductable split type with hide away fan coil units - 5 Ton | 8.00 | Each per Quarter |  | 750.00 | 6000.00 | 1500.00 | 12000.00 | 1200.00 | 9600.00 | 6000.00 | GENIUS AIRCON PRIVATE LIMITED
5.00 | All inclusive comprehensive maintenance of all types, makes and capacities of Air conditioning units including replacing spares, consumables, gas Charging, painting etc attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. Cassette type Split - 4 Ton | 17.00 | Each per Quarter |  | 750.00 | 12750.00 | 1150.00 | 19550.00 | 1000.00 | 17000.00 | 12750.00 | GENIUS AIRCON PRIVATE LIMITED
6.00 | All inclusive comprehensive maintenance of all types, makes and capacities of Air conditioning units including replacing spares, consumables, gas Charging, painting etc attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. Vertical Split type - 3 Ton | 48.00 | Each per Quarter |  | 450.00 | 21600.00 | 1075.00 | 51600.00 | 750.00 | 36000.00 | 21600.00 | GENIUS AIRCON PRIVATE LIMITED
7.00 | All inclusive comprehensive maintenance of all types, makes and capacities of Air conditioning units including replacing spares, consumables, voltage stabilizer, gas Charging, painting etc attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. Split type - 2Ton | 82.00 | Each per Quarter |  | 420.00 | 34440.00 | 900.00 | 73800.00 | 500.00 | 41000.00 | 34440.00 | GENIUS AIRCON PRIVATE LIMITED
8.00 | All inclusive comprehensive maintenance of all types, makes and capacities of Air conditioning units including replacing spares, consumables, voltage stabilizer, gas Charging, painting etc attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. Split type - 1.5Ton | 167.00 | Each per Quarter |  | 120.00 | 20040.00 | 875.00 | 146125.00 | 400.00 | 66800.00 | 20040.00 | GENIUS AIRCON PRIVATE LIMITED
9.00 | All inclusive comprehensive maintenance of all types, makes and capacities of water coolers including routine and preventive maintenance, breakdown repairs, replacing spares,consumables, painting etc utilizing the workman engaged vide job contract (Item No-I) complete as required. 40/80 liter water cooler | 8.00 | Each per Quarter |  | 450.00 | 3600.00 | 870.00 | 6960.00 | 200.00 | 1600.00 | 1600.00 | CAC ENGINEERS PVT LTD
10.00 | All inclusive Comprehensive Maintenance of 16 ltrs capacity hot & cold water dispensers with separate freezer compartment including water container for 20 ltrs capacity suitable for operation on 230V 50Hz AC supply including replacing spares, consumables etc utilizing the workman engaged vide job contract (Item No-I) complete as required. | 24.00 | Each per Quarter |  | 350.00 | 8400.00 | 800.00 | 19200.00 | 200.00 | 4800.00 | 4800.00 | CAC ENGINEERS PVT LTD
11.00 | Trans installation of split airconditioners of following tonnages including dismantling, gas charging, modifying and joining of old pipelines etc., utilizing the workman engaged vide job contract (Item No-1) complete as required. 1.5 TR Split A/C | 1.00 | Job |  | 500.00 | 500.00 | 3501.00 | 3501.00 | 500.00 | 500.00 | 500.00 | GENIUS AIRCON PRIVATE LIMITED, CAC ENGINEERS PVT LTD
12.00 | Trans installation of split airconditioners of following tonnages including dismantling, gas charging, modifying and joining of old pipelines etc., utilizing the workman engaged vide job contract (Item No-1) complete as required. 2.0 TR split A/C | 1.00 | Job |  | 500.00 | 500.00 | 3500.00 | 3500.00 | 500.00 | 500.00 | 500.00 | GENIUS AIRCON PRIVATE LIMITED, CAC ENGINEERS PVT LTD
13.00 | Supply of 1/4" & 1/2" insulated copper pipe as per site requirement | 10.00 | Mtr |  | 220.00 | 2200.00 | 360.00 | 3600.00 | 550.00 | 5500.00 | 2200.00 | GENIUS AIRCON PRIVATE LIMITED
14.00 | All inclusive comprehensive maintenance of Clear Aqua make 6 stage wall mounted 50 LPH R.O Purifier including replacing all spares , consumables etc utilizing the workman engaged vide job contract (Item No-I) complete as required. | 4.00 | Each per Quarter |  | 800.00 | 3200.00 | 1500.00 | 6000.00 | 1999.00 | 7996.00 | 3200.00 | GENIUS AIRCON PRIVATE LIMITED
15.00 | All inclusive comprehensive maintenance of 40/80 liter water cooler with 50 LPH inbuilt RO purifier including replacing spares, consumables, etc.attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required.Location: Cargo, OTB & Engg Office Electrical) | 12.00 | Each per Quarter |  | 800.00 | 9600.00 | 1500.00 | 18000.00 | 1989.00 | 23868.00 | 9600.00 | GENIUS AIRCON PRIVATE LIMITED
16.00 | Half yearly testing of water quality for both chemical & bacterlogical examination At approved lab and furnishing the test report to AAI (Viz Appearance, color, order, turbidity, E.C, TDS, PH, alkalinity, hardness, Ca, Mg, Na, K, Fe, Mn, NH3, NO2, NO3, CI, F, SO4, PO4, Tidy's, E.coli count & TC) etc. as required. | 10.00 | Job |  | 1300.00 | 13000.00 | 1395.00 | 13950.00 | 300.00 | 3000.00 | 3000.00 | CAC ENGINEERS PVT LTD
| Total in Figures |  |  |  |  | 807830.00 |  | 899786.00 |  | 799996.00
Lowest Amount Quoted BY: CAC ENGINEERS PVT LTD(799996.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO Works of Eand M Installations at Madurai Airport during 2020 2021. SH Comprehensive Annual Maintenance contract of unitary Air conditioning, water coolers, RO plant and water dispensers at Madurai Airport Tender ID: 2020_AAI_56514_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CAC ENGINEERS PVT LTD | 799996.00 | L1
| 2 | GENIUS AIRCON PRIVATE LIMITED | 807830.00 | L2
| 3 | M K ENTERPRISES | 899786.00 | L3