## BoQ1
Government eProcurement System Created By: NANDKUMAR KUNDALE Created Date/Time: 09-Oct-2020 02:52 PM Tender Title: Comprehensive Maintenance Contract of HVAC System and other allied equipments at Integrated Operational Offices Building, Mumbai (2020-22) Tender ID: 2020_AAI_56528_1
Tender Inviting Authority: AGM(E-E)
Name of Work: Comprehensive Maintenance Contract of HVAC System and other allied equipments at Integrated Operational Offices Building, Mumbai (2020-22).
Contract No: 2020_AAI_56528_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S N COOL(GSTN-27ABFMS5493A1ZX) |  | ROSHAN REFRIGERATION AND ELECTRICALS(GSTN-23AAJFR9192B1Z5) |  | SNOWMEX ENGINEERS LIMITED(GSTN-07AAMCS8717P1ZF)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Comprehensive maintenance Contract of following HVAC system. a) AHU capacity 5500 CFM- 04 Nos b) AHU capacity 8500 CFM - 1 No c) AHU capacity 14500/15500 CFM - 3 Nos d) AHU capacity 18000/18500 CFM - 3 Nos e) AHU capacity 23000 CFM - 1 No f) FRB Cooling tower capacity 30,00,000 BTU/Hr - 3 Nos g) Primary Pump capacity 7.5 HP - 3 Nos h) Secondary Pumps capacity 25 HP with VFD - 3 Nos i) Condensor Pumps capacity 25 HP - 3 Nos j) 1250 Amps, 4 pole 50 KA LT panel - 1 No k) VFD having capacity 2.2 KW, 5.5 KW, 7.5 KW, 11 KW - 15 No l) 2 way modulating control valves of size 40 mm, 50 mm, 65 mm, 80 mm - 12 nos m) Motorised Butterfly valves of size 150 mm, 200 mm - 6 Nos n) Manual Butterfly valves of size 50 mm to 250 mm - 99 Nos o) Manual Balancing valves of size 50 mm to 200 mm - 21 Nos p) Pot strainers of size 50 mm to 250 mm - 23 Nos q) Pressurizing unit - 1 no r) Non return valves - 150 mm to 200 mm - 9 Nos s) Various size fire dampers (Aprox.) - 35 Nos. t) Fire damper actuators with control circuit - 35 Nos Other associted equipments, accessories such as chilled/condensor water piping, ducting, SA/RA diffusers/grills, and various size VCDs by carrying out repair, maintenance, attending to complaints / faults / breakdowns and taking rectification action, ensuring serviceability / satisfactory working condition of the systems i/c preventive maintenance, maintaining records / documentation etc as per special conditions of contract & additional special conditions of contract.
1.01 | Period 1st year | 1.00 | Job | 525000.00 | 283000.00 | 283000.00 | 407988.00 | 407988.00 | 380000.00 | 380000.00 | 283000.00 | S N COOL
1.02 | Period 2nd year | 1.00 | Job | 577500.00 | 283000.00 | 283000.00 | 407988.00 | 407988.00 | 393000.00 | 393000.00 | 283000.00 | S N COOL
2.00 | Comprehensive maintenance of 2.8 TR capacity Cassette type AC of LG make including repair / replacement of defective components such as compressor, gas charging and other accessories by providing all necessary consumables & spares and carrying out maintenance, attending to complaints / faults / breakdowns and taking rectification action, ensuring serviceability / satisfactory working condition of the systems i/c preventive maintenance, maintaining records / documentation etc as per special conditions of contract & additional special conditions of contract.
2.01 | Period 1st year | 3.00 | Job | 4000.00 | 3400.00 | 10200.00 | 6900.00 | 20700.00 | 10000.00 | 30000.00 | 10200.00 | S N COOL
2.02 | Period 2nd year | 3.00 | Job | 4400.00 | 3400.00 | 10200.00 | 6900.00 | 20700.00 | 11000.00 | 33000.00 | 10200.00 | S N COOL
3.00 | Comprehensive maintenance of 1.5 TR capacity Split type AC of Bluestar make including repair / replacement of defective components such as compressor, gas charging and other accessories by providing all necessary consumables & spares and carrying out maintenance, attending to complaints / faults / breakdowns and taking rectification action, ensuring serviceability / satisfactory working condition of the systems i/c preventive maintenance, maintaining records / documentation etc as per special conditions of contract & additional special conditions of contract.
3.01 | Period 1st year | 3.00 | Job | 3500.00 | 2400.00 | 7200.00 | 2999.00 | 8997.00 | 2500.00 | 7500.00 | 7200.00 | S N COOL
3.02 | Period 2nd year | 3.00 | Job | 3500.00 | 2400.00 | 7200.00 | 2999.00 | 8997.00 | 2600.00 | 7800.00 | 7200.00 | S N COOL
4.00 | Comprehensive maintenance of storage type water cooler of capacity 80/40 ltrs including repair / replacement of defective components such as compressor, gas charging and other accessories by providing all necessary consumables & spares, and carrying out maintenance, attending to complaints / faults / breakdowns and taking rectification action, ensuring serviceability / satisfactory working condition of the systems i/c preventive maintenance, maintaining records / documentation etc as per special conditions of contract & additional special conditions of contract.
4.01 | Period 1st year | 11.00 | Job | 4000.00 | 2100.00 | 23100.00 | 1999.00 | 21989.00 | 2000.00 | 22000.00 | 21989.00 | ROSHAN REFRIGERATION AND ELECTRICALS
4.02 | Period 2nd year | 11.00 | Job | 4400.00 | 2100.00 | 23100.00 | 1999.00 | 21989.00 | 2200.00 | 24200.00 | 21989.00 | ROSHAN REFRIGERATION AND ELECTRICALS
5.00 | Comprehensive maintenance contract of water purifiers of make Eureka Forbes aquaguard model hi-flow with water filter candle having capacity 120 LPH by carrying out maintenance, attending to complaints / faults / breakdowns and taking rectification action, ensuring serviceability / satisfactory working condition of the systems i/c preventive maintenance, maintaining records / documentation, replacement of worn out parts such as candle, filters etc as and when required as per special conditions of contract & additional special conditions of contract.
5.01 | Period 1st year | 13.00 | Job | 3000.00 | 1000.00 | 13000.00 | 3499.00 | 45487.00 | 10000.00 | 130000.00 | 13000.00 | S N COOL
5.02 | Period 2nd year | 13.00 | Job | 3300.00 | 1000.00 | 13000.00 | 3499.00 | 45487.00 | 14000.00 | 182000.00 | 13000.00 | S N COOL
6.00 | Supply, Fabrication & installation of 24 gauge Galvanised sheet (GSS) metal ducts complete with neoprene rubber gasket, MS angle supports etc. as per IS standard and as per site requirement. | 20.00 | Sq Mtr | 1150.00 | 600.00 | 12000.00 | 199.00 | 3980.00 | 50.00 | 1000.00 | 1000.00 | SNOWMEX ENGINEERS LIMITED
7.00 | Supplying and fixing of resin bonded fiber glass insulation of 50 mm thick, having 32 kg/Cum density suitable for existing chilled water pipe line of different size, fittings like valves, flanges, union, also covered with a layer of 120 gm/sqm polythene sheet (Vapour barrier) and finally applying 0.63mm aluminium sheet cladding complete etc. as per site requirement. | 20.00 | Sq Mtr | 670.00 | 600.00 | 12000.00 | 699.00 | 13980.00 | 50.00 | 1000.00 | 1000.00 | SNOWMEX ENGINEERS LIMITED
8.00 | Supply and fixing of 50 mm thick Aluminium foil faced resin bonded fiberglass insulation of density 24 kg/Cum on Galvanised sheet (GSS) metal duct after applying cold adhesive. The insulation shall be covered with chicken wire mesh complete etc as per site requirement. | 30.00 | Sq Mtr | 650.00 | 1500.00 | 45000.00 | 599.00 | 17970.00 | 50.00 | 1500.00 | 1500.00 | SNOWMEX ENGINEERS LIMITED
9.00 | Supply of Aluminium frame box type Pre-Fliter suitable for ZECO make (model ZDS) floor mounted AHU with thickness of 50 mm + 1 mm with one layer of Synthetic non woven sandwitched between two layers of different HDPE mesh sizes, held by suitable adhesive and supported by rigid spacers confirming to ASHRAE 52.2/BS EN779 or equivalent standard ammended upto date. The construction of Pre-filter shall be robust and rigid, suitable water jet presuure cleaning from the opposite side of airflow having efficiency 90-95% down to 10 micron and face velocity not exceeding to 500 feet per Minute for following size of filters.
9.01 | 610 x 610 mm x 50 mm thickness | 70.00 | Each | 1800.00 | 2300.00 | 161000.00 | 1999.00 | 139930.00 | 850.00 | 59500.00 | 59500.00 | SNOWMEX ENGINEERS LIMITED
9.02 | 305 x 610 mm x 50 mm thickness | 30.00 | Each | 1000.00 | 1900.00 | 57000.00 | 1999.00 | 59970.00 | 700.00 | 21000.00 | 21000.00 | SNOWMEX ENGINEERS LIMITED
9.03 | 305 x 305 mm x 50 mm thickness | 5.00 | Each | 600.00 | 1800.00 | 9000.00 | 1399.00 | 6995.00 | 500.00 | 2500.00 | 2500.00 | SNOWMEX ENGINEERS LIMITED
| Total in Figures |  |  |  |  | 969000.00 |  | 1253147.00 |  | 1296000.00
Lowest Amount Quoted BY: S N COOL(969000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Comprehensive Maintenance Contract of HVAC System and other allied equipments at Integrated Operational Offices Building, Mumbai (2020-22) Tender ID: 2020_AAI_56528_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S N COOL | 969000.00 | L1
| 2 | ROSHAN REFRIGERATION AND ELECTRICALS | 1253147.00 | L2
| 3 | SNOWMEX ENGINEERS LIMITED | 1296000.00 | L3