## BoQ1
Government eProcurement System Created By: Ashwini Kumar Created Date/Time: 27-Oct-2020 12:34 PM Tender Title: Construction of New Integrated Terminal Building at VSI Airport, Port Blair. SH Provision of Escalators and Elevators Tender ID: 2020_AAI_56613_1
Tender Inviting Authority:
Name of Work:
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Johnson Lifts Pvt Ltd(GSTN-33AAACJ0838Q1ZD) |  | Schindler India Private Limited(GSTN-27AAECS1548J1Z6)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of monolithic step reversible type Escalators with an inclination of 35 deg from horizontal for ascending and descending passenger service from LGF to UGF or UGF to FF having 5.5 Mtrs Approximate vertical height; including all safty devices as per latest statutory requirement. The Escalators shall have a capacity of 9000 persons / hour at a linear speed of 0.5m/sec operating on 3 phase 415V (+/-5%), 50 HZ, AC supply as per enclosed technical specifications and special conditions of contract as required. Installation: Indoor / 24 hours per day Rise: 5.5m (Approx.) Inclination:35 deg Step width: 1000mm Horizontal steps: Three (03) Speed: 0.5m/ sec Capacity: 9000 person/ hour Power supply: 415V (+-5%), 5- HZ, AC supply. | 6.00 | Job |  | 2880000.00 | 17280000.00 | 4709763.00 | 28258578.00 | 17280000.00 | Johnson Lifts Pvt Ltd
2.00 | SITC of Machine Room Less (MRL) Electric traction type Lifts of following capacity and type suitable for operation on 415 V( -/+5%), 3 phase, 50 Hz AC supply, having AC Variable Voltage and Variable Frequency type traction control, minimum speed of 1 Mtr/ sec, electro magnetic brake system, simplex mode operating panel with luminous buttons with brails marking, overload warning indicator, battery operated alarm bell, LED type emergency light, intercom suitable for hook up to AAI’s EPABX, infrared ray sensing door protection for full height, reverse phase relay on controller, fireman’s switch at ground floor, digital car positions indicator in car and at all positions indicator in car at all floors with UP/ DOWN direction, Concealed decorative LED light fixtures, ventilation fan (Axial pressure fan), SS tubular Hand Rail (03 side), etc complete with all accessories including Automatic Rescue Device (ARD) and Manual Rescue Device (MRD) in the event of power failure etc., as per enclosed technical specifications and special conditions as required. The traction motor of machine room less lifts shall be of gearless type and placed inside the lift hoist way. 16 Passengers , 1088 KG Capacity, 02 stops, 02 Openings (G+1) and entrance at front side on all the serving floors, automatic centre opening stainless steel hairline finish door, car enclosure provided with Stainless Steel Hairline finish panel on sides and with travel height of 5.5 mtrs (Approx). | 1.00 | Job |  | 1898000.00 | 1898000.00 | 3142882.00 | 3142882.00 | 1898000.00 | Johnson Lifts Pvt Ltd
3.00 | SITC of Machine Room Less (MRL) Electric traction type Lifts of following capacity and type suitable for operation on 415 V( -/+5%), 3 phase, 50 Hz AC supply, having AC Variable Voltage and Variable Frequency type traction control, minimum speed of 1 Mtr/ sec, electro magnetic brake system, simplex mode operating panel with luminous buttons with brails marking, overload warning indicator, battery operated alarm bell, LED type emergency light, intercom suitable for hook up to AAI’s EPABX, infrared ray sensing door protection for full height, reverse phase relay on controller, fireman’s switch at ground floor, digital car positions indicator in car and at all positions indicator in car at all floors with UP/ DOWN direction, Concealed decorative LED light fixtures, ventilation fan (Axial pressure fan), SS tubular Hand Rail (03 side), etc complete with all accessories including Automatic Rescue Device (ARD) and Manual Rescue Device (MRD) in the event of power failure etc., as per enclosed technical specifications and special conditions as required. The traction motor of machine room less lifts shall be of gearless type and placed inside the lift hoist way. 16 Passengers , 1088 KG Capacity, 02 stops, 02 Openings (G+1) and entrance at front side on all the serving floors, automatic centre opening Glass door, car enclosure provided with Stainless Steel Hairline finish panel on sides and with travel height of 5.5 mtrs (Approx). | 7.00 | Job |  | 2030900.00 | 14216300.00 | 3505842.00 | 24540894.00 | 14216300.00 | Johnson Lifts Pvt Ltd
4.00 | SITC of Machine Room Less (MRL) Electric traction type Lifts of following capacity and type suitable for operation on 415 V( -/+5%), 3 phase, 50 Hz AC supply, having AC Variable Voltage and Variable Frequency type traction control, minimum speed of 1 Mtr/ sec, electro magnetic brake system, simplex mode operating panel with luminous buttons with brails marking, overload warning indicator, battery operated alarm bell, LED type emergency light, intercom suitable for hook up to AAI’s EPABX, infrared ray sensing door protection for full height, reverse phase relay on controller, fireman’s switch at ground floor, digital car positions indicator in car and at all positions indicator in car at all floors with UP/ DOWN direction, Concealed decorative LED light fixtures, ventilation fan (Axial pressure fan), SS tubular Hand Rail (03 side), etc complete with all accessories including Automatic Rescue Device (ARD) and Manual Rescue Device (MRD) in the event of power failure etc., as per enclosed technical specifications and special conditions as required. The traction motor of machine room less lifts shall be of gearless type and placed inside the lift hoist way. 16 Passengers , 1088 KG Capacity, 02 stops, 02 Openings (G+1) and entrance at front side on LG floor and opposite side on UG floor, automatic centre opening Glass door (Both side), car enclosure provided with Stainless Steel Hairline finish panel on sides and with travel height of 5.4 mtrs (Approx). | 1.00 | Job |  | 2184200.00 | 2184200.00 | 3679956.00 | 3679956.00 | 2184200.00 | Johnson Lifts Pvt Ltd
5.00 | SITC of Machine Room Less (MRL) Electric traction type Lifts of following capacity and type suitable for operation on 415 V( -/+5%), 3 phase, 50 Hz AC supply, having AC Variable Voltage and Variable Frequency type traction control, minimum speed of 1 Mtr/ sec, electro magnetic brake system, simplex mode operating panel with luminous buttons with brails marking, overload warning indicator, battery operated alarm bell, LED type emergency light, intercom suitable for hook up to AAI’s EPABX, infrared ray sensing door protection for full height, reverse phase relay on controller, fireman’s switch at ground floor, digital car positions indicator in car and at all positions indicator in car at all floors with UP/ DOWN direction, Concealed decorative LED light fixtures, ventilation fan (Axial pressure fan), SS tubular Hand Rail (03 side), etc complete with all accessories including Automatic Rescue Device (ARD) and Manual Rescue Device (MRD) in the event of power failure etc., as per enclosed technical specifications and special conditions as required. The traction motor of machine room less lifts shall be of gearless type and placed inside the lift hoist way. 16 Passengers , 1088 KG Capacity, 03 stops, 03 Openings (G+2) and entrance at front side on all the serving floors, automatic centre opening, Glass door, car enclosure provided with Stainless Steel Hairline finish panel on sides and with travel height of 11 mtrs (Approx). | 1.00 | Job |  | 2144900.00 | 2144900.00 | 3714170.00 | 3714170.00 | 2144900.00 | Johnson Lifts Pvt Ltd
6.00 | All inclusive comprehensive maintenance contract for Escalator installed as per Item no. 01 of Subhead-I; including carrying out monthly servicing and complete preventive maintenance, attending to complaints/breakdowns, by providing all spares required, trained man power, tools to ensure the serviceability round the clock and all days inculding Sundays and Holidays as per Special conditions of Contract and Technical Specifications and as per instructions of EIC complete as required (After expiry of 2 years DLP) I)1st Year ( 8.26% of amount of SITC of work of Escalatorof item no:1) | 6.00 | Job |  | 237888.00 | 1427328.00 | 389026.42 | 2334158.52 | 1427328.00 | Johnson Lifts Pvt Ltd
7.00 | All inclusive comprehensive maintenance contract for Escalator installed as per Item no. 01 of Subhead-I; including carrying out monthly servicing and complete preventive maintenance, attending to complaints/breakdowns, by providing all spares required, trained man power, tools to ensure the serviceability round the clock and all days inculding Sundays and Holidays as per Special conditions of Contract and Technical Specifications and as per instructions of EIC complete as required (After expiry of 2 years DLP) II)2nd Year ( 8.92% of amount of SITC of work of Escalator of item no:1) | 6.00 | Job |  | 256896.00 | 1541376.00 | 420110.86 | 2520665.16 | 1541376.00 | Johnson Lifts Pvt Ltd
8.00 | All inclusive comprehensive maintenance contract for Escalator installed as per Item no. 01 of Subhead-I; including carrying out monthly servicing and complete preventive maintenance, attending to complaints/breakdowns, by providing all spares required, trained man power, tools to ensure the serviceability round the clock and all days inculding Sundays and Holidays as per Special conditions of Contract and Technical Specifications and as per instructions of EIC complete as required (After expiry of 2 years DLP) III) 3rd Year( 9.63% of amount of SITC of work of Escalator of item no:1) | 6.00 | Job |  | 277344.00 | 1664064.00 | 453550.18 | 2721301.08 | 1664064.00 | Johnson Lifts Pvt Ltd
9.00 | All inclusive comprehensive maintenance contract for Escalator installed as per Item no. 01 of Subhead-I; including carrying out monthly servicing and complete preventive maintenance, attending to complaints/breakdowns, by providing all spares required, trained man power, tools to ensure the serviceability round the clock and all days inculding Sundays and Holidays as per Special conditions of Contract and Technical Specifications and as per instructions of EIC complete as required (After expiry of 2 years DLP) IV) 4th Year(10.41% of amount of SITC of work of Escalatorof item no:1) | 6.00 | Job |  | 299808.00 | 1798848.00 | 490286.33 | 2941717.98 | 1798848.00 | Johnson Lifts Pvt Ltd
10.00 | All inclusive comprehensive maintenance contract for Escalator installed as per Item no. 01 of Subhead-I; including carrying out monthly servicing and complete preventive maintenance, attending to complaints/breakdowns, by providing all spares required, trained man power, tools to ensure the serviceability round the clock and all days inculding Sundays and Holidays as per Special conditions of Contract and Technical Specifications and as per instructions of EIC complete as required (After expiry of 2 years DLP) V) 5th Year(11.24% of amount of SITC of work of Escalatorof item no:1) | 6.00 | Job |  | 323712.00 | 1942272.00 | 529377.36 | 3176264.16 | 1942272.00 | Johnson Lifts Pvt Ltd
11.00 | All inclusive comprehensive maintenance contract for Elevator installed as per of Subhead-II; including carrying out monthly servicing and complete preventive maintenance, attending to complaints/breakdowns, by providing all spares required, trained man power, tools to ensure the serviceability round the clock and all days inculding Sundays and Holidays as per Special conditions of Contract and Technical Specifications and as per instructions of EIC complete as required (After expiry of 2 years DLP). I) 1st Year( 5.9% of amount of SITC of work of Elevators of item no: 2 to 5) | 10.00 | Job |  | 120616.06 | 1206160.60 | 206959.62 | 2069596.20 | 1206160.60 | Johnson Lifts Pvt Ltd
12.00 | All inclusive comprehensive maintenance contract for Elevator installed as per of Subhead-II; including carrying out monthly servicing and complete preventive maintenance, attending to complaints/breakdowns, by providing all spares required, trained man power, tools to ensure the serviceability round the clock and all days inculding Sundays and Holidays as per Special conditions of Contract and Technical Specifications and as per instructions of EIC complete as required (After expiry of 2 years DLP) II)2nd Year( 6.49% of amount of SITC of work of Elevators of item no: 2 to 5) | 10.00 | Job |  | 132677.67 | 1326776.70 | 227655.58 | 2276555.80 | 1326776.70 | Johnson Lifts Pvt Ltd
13.00 | All inclusive comprehensive maintenance contract for Elevator installed as per of Subhead-II; including carrying out monthly servicing and complete preventive maintenance, attending to complaints/breakdowns, by providing all spares required, trained man power, tools to ensure the serviceability round the clock and all days inculding Sundays and Holidays as per Special conditions of Contract and Technical Specifications and as per instructions of EIC complete as required (After expiry of 2 years DLP) III) 3rd Year( 7.14% of amount of SITC of work of Elevators of item no: 2 to 5) | 10.00 | Job |  | 145965.88 | 1459658.80 | 250456.22 | 2504562.20 | 1459658.80 | Johnson Lifts Pvt Ltd
14.00 | All inclusive comprehensive maintenance contract for Elevator installed as per of Subhead-II; including carrying out monthly servicing and complete preventive maintenance, attending to complaints/breakdowns, by providing all spares required, trained man power, tools to ensure the serviceability round the clock and all days inculding Sundays and Holidays as per Special conditions of Contract and Technical Specifications and as per instructions of EIC complete as required (After expiry of 2 years DLP) IV) 4th Year( 7.85% of amount of SITC of work of Elevators of item no: 2 to 5) | 10.00 | Job |  | 160480.69 | 1604806.90 | 275361.53 | 2753615.30 | 1604806.90 | Johnson Lifts Pvt Ltd
15.00 | All inclusive comprehensive maintenance contract for Elevator installed as per of Subhead-II; including carrying out monthly servicing and complete preventive maintenance, attending to complaints/breakdowns, by providing all spares required, trained man power, tools to ensure the serviceability round the clock and all days inculding Sundays and Holidays as per Special conditions of Contract and Technical Specifications and as per instructions of EIC complete as required (After expiry of 2 years DLP) V) 5th Year( 8.64% of amount of SITC of work of Elevators of item no: 2 to 5) | 10.00 | job |  | 176630.98 | 1766309.80 | 303073.07 | 3030730.70 | 1766309.80 | Johnson Lifts Pvt Ltd
| Total in Figures |  |  |  |  | 53461000.80 |  | 89665647.10
Comparative Chart(eAuction)
Sl.No | Bidder Name | Auction Start Price | Quoted Rate in Figures and Words
|  |  | Bidder Price | Amount in Words
1 | Johnson Lifts Pvt Ltd | 53461001 | 53361001.00 | Five Crore Thirty Three Lakh Sixty One Thousand One
2 | Schindler India Private Limited | 53461001 | Not Quoted | Not Quoted
Lowest Amount Quoted BY: Johnson Lifts Pvt Ltd(5.3361001E7)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of New Integrated Terminal Building at VSI Airport, Port Blair. SH Provision of Escalators and Elevators Tender ID: 2020_AAI_56613_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Johnson Lifts Pvt Ltd | 53461000.80 | L1
| 2 | Schindler India Private Limited | 89665647.10 | L2