## BoQ1
Government eProcurement System Created By: ARUN KUMAR K Created Date/Time: 08-Oct-2020 05:43 PM Tender Title: Procurement of Tools, Plants and measuring instruments for LGBI Airport, Guwahati. Tender ID: 2020_AAI_56630_1
Tender Inviting Authority: Senior Manager (Engg – Elect), AAI, LGBI Airport, Guwahati, Assam – 781 015
Name of Work: Procurement of Tools & Plants and measuring instruments for LGBI Airport Guwahati.
Contract No: AAI/ENGG/SM(E-E)/GHY/NIT-06/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SUMER AND CO. REGD(GSTN-07AAGPJ0455L1ZO)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of Aluminium Extension Tiltable Tower ladder of 50 FT (extended height) and 20 FT (Closed height) in three fold design, sides made out of heavy duty Aluminium rectangular Zig-Zag type channel section, steps made out of aluminium corrugated tubing, aluminium cross scissor type supports, chequered platform of size 24" x 24" having load bearing capacity of minimum 120 kg, side rails and tool tray fiited on the top, heavy duty Hand operated winch gear machine with 8mm dia double steel wire ropes, mounted on M.S. Trolley base of size 8 ft x5ft made out of M.S channels and angles with rubber casted/polymer wheels, towbar, foldable jacks etc, including all accessories etc complete as required as per technical specifications. | 1.00 | Set |  | 280000.00 | 280000.00 | 280000.00 | SUMER AND CO. REGD
2.00 | Supply of Digital Temperature & Humidity meter with LCD display for measurement of indoor air quality (IAQ) having temperature range from - 20°C to +60°C, relative humidity range from 5% - 95% RH, provision of unit selection of °C/ °F, MAX/MIN, AVG., HOLD, AUTO POWER OFF, DEW POINT & WET BULB functions including all accessories etc., complete as required as per technical specifications. (Make : MECO Model : KM 918 or its equivalent make) | 1.00 | Each |  | 8300.00 | 8300.00 | 8300.00 | SUMER AND CO. REGD
3.00 | Supply of Digital Vernier caliper with LCD display and stainless steel body to provide accurate measurements of internal & external dimensions with range of 0-200 mm and resolution of 0.01mm, provision of unit selection of inch/mm, button functions for ON/OFF and ZERO/RESET, including all accessories etc., complete as required as per technical specifications. (Make : GROZ Model : EDC/8 or its equivalent make) | 3.00 | Each |  | 2905.00 | 8715.00 | 8715.00 | SUMER AND CO. REGD
4.00 | Supply of Digital Screwguage (Outside Micrometer) with LCD display to provide accurate measurement of outer diameter of object with range of 0 - 25 mm and resolution of 0.001mm, provision of unit selection of inch/mm, button functions for ON & OFF, including all accessories etc., as complete as required as per technical specifications. (Make : GROZ Model : MMED/1/65 or its equivalent make) | 2.00 | Each |  | 4046.25 | 8092.50 | 8092.50 | SUMER AND CO. REGD
5.00 | Supply of Portable Inverter type Arc Welding machine of 200A capacity (output current) suitable for operation on single phase 230 V, 50 Hz AC supply with protection against overheating along with accessories such as set of electrode holder, earth clamp, fast coupling plugs, cables, spare welding rods etc. complete as required as per technical specifications. | 1.00 | Each |  | 8818.75 | 8818.75 | 8818.75 | SUMER AND CO. REGD
6.00 | Supply of the Portable Dewatering Pumpset of Compression ignition Diesel engine, Horizontal, single cylinder, Air cooled, hand start operated, capable of discharging water of (8.2 - 11.7) LPS at head range of (24.2 - 18.4) meters with fuel tank, suitable dia flexible hose pipe of minimum 15 meters length for suction side, duly mounted on heavy duty rubber wheels, accessories such as Non-return foot valve, Bends/Couplings, clamps etc complete as required as per technical specifications. (Make : Kirloskar Varsha 4, Model : VA320-4 or its equivalent make) | 2.00 | Set |  | 7013.50 | 14027.00 | 14027.00 | SUMER AND CO. REGD
7.00 | Supply of PVC Heavy duty flexible hose pipe having good strength & flexibility of 65-80 mm nominal dia having smooth inside surface, excellent resistance to handle high pressure in standard lengths of 30 mtrs, suitable for Delivery size of the Diesel pump set compatible for Item No.6 along with the accessories such as Clamps, couplers for connecting hoses etc. complete as required. | 120.00 | Meters |  | 338.00 | 40560.00 | 40560.00 | SUMER AND CO. REGD
8.00 | Supply of Thyristor controlled Automatic Battery Chargers suitable for operation on single phase 230 V, 50 Hz AC supply capable of charging 12V & 24V batteries having float and boost facility, DC Ammeter, protection against over-load, short-circuit and reverse polarity, current adjustment knob, indications etc including all accessories etc complete as required as per technical specifications. (Make : ELAK, Model : AUTOMATIC CHARGER AC-04 or its equivalent make) | 2.00 | Each |  | 9545.00 | 19090.00 | 19090.00 | SUMER AND CO. REGD
9.00 | Supply of hand held GRASS/BRUSH Cutter Machine having 2 Teeth Blade Cutter of shoulder hung/backpack type, 4 stroke Petrol/Diesel Engine with recoil starter system, fuel tank etc including all accessories such as spare Blades etc., complete as required as per technical specifications. (Make : Honda Model : UMK435T U2NT or its equivalent make) | 2.00 | Each |  | 22000.00 | 44000.00 | 44000.00 | SUMER AND CO. REGD
10.00 | Supply of Heavy duty Breaker/Demolition Hammer suitable for operation on 230 V, 50 Hz AC supply having rated input power of 1700-1800 watt and impact energy of 41 Joules, robust design having extreme power for material removal, vibration control provision for reduction of harmful vibration including accessories such as tool box etc., complete as required as per technical specifications. (Make : Bosch GSH 16-30 Professional or its equivalent make) | 1.00 | Each |  | 57270.00 | 57270.00 | 57270.00 | SUMER AND CO. REGD
11.00 | Supply of electrically operated grinder/cutter machine suitable for operation on 230 V, 50 Hz AC supply having rated input power of 600-750 watt, hand held type with disc diameter of 100mm for cutting/grinding metals including all accessories, spare wheel blades etc., as complete as required as per technical specifications. (Make : Bosch GWS 600 Professional Angle Grinder or its equivalent make) | 2.00 | Set |  | 2639.40 | 5278.80 | 5278.80 | SUMER AND CO. REGD
12.00 | Supply of Impact Drill Machine suitable for operation on 230 V, 50 Hz AC supply having rated input power of 600-750 Watt and rated torque of 1.8Nm for drilling in masonary, wood, steel and concrete with variable speed operation including all accessories etc., as complete as required as per technical specifications. (Make: Bosch Model: GSB 13 RE or its equivalent make) | 1.00 | Each |  | 4046.25 | 4046.25 | 4046.25 | SUMER AND CO. REGD
13.00 | Supply of twist metal drill bit set comprising of 25 pieces drill bits made out of High Speed Steel of sizes varying from 1mm to 13mm diameter in a suitable carrying metal case compatible for Item No.12. (Make: Bosch 25 Pcs HSS-R-Metal Drill Bit Set or its equivalent make) | 1.00 | Set |  | 3735.00 | 3735.00 | 3735.00 | SUMER AND CO. REGD
14.00 | Supply of Bi-metal hole saw cutter set suitable for smooth cutting of holes on various metal surfaces, made out of steel, comprises of hole saw bits of different sizes 20/25/27/32/35/38/40/45/51/64/68 mm (11pcs) along with 2 nos of Hex Socket adapters, 1 nos. hex nut setter, suitable carrying case etc., compatible for Item No.12. (Make: Bosch or equivalent make) | 1.00 | Set |  | 2593.75 | 2593.75 | 2593.75 | SUMER AND CO. REGD
15.00 | Supply of spanner socket set comprising of Bihexagonal sockets made of hot upset forged high grade steel of sizes range from 8mm to 32 mm (22 sockets) along with accessories like Reversible ratchet, Extension bar, T-handle, Universal joint etc. for high torque impact applications etc., complete as required. (Make: Taparia Model: socket set S-14 MXL or its equivalent make) | 1.00 | Set |  | 3604.69 | 3604.69 | 3604.69 | SUMER AND CO. REGD
16.00 | Supply of Soldering and desoldering kit along with accessories such as Soldering iron, Full metal Desoldering Pump, Desoldering Bits of sizes 1.2mm and 1.6mm, Flux, flux cleaner, Delux Stand, Sponge etc., complete as required. | 1.00 | Set |  | 91.00 | 91.00 | 91.00 | SUMER AND CO. REGD
17.00 | Supply of hand operated type crimping tool kit suitable for crimping of following sizes of cable lugs/thimbles :
17.01 | 6-50 sq mm (Dieless type) (Make: Dowells, Model: SYT-09 or its equivalent make) | 1.00 | Each |  | 4357.50 | 4357.50 | 4357.50 | SUMER AND CO. REGD
17.02 | 25-400 sq mm (with hexagonal dies) (Make: Dowells, Model: SYT-400 or its equivalent make) | 1.00 | Each |  | 15562.50 | 15562.50 | 15562.50 | SUMER AND CO. REGD
18.00 | Supply of heavy duty adjustable pipe wrench with jaws drop forged from high grade steel, ductile cast iron handle of length 600 mm for higher torque applications, suitable for tightening/loosening threaded pipe or pipe assembly of diameter upto 90 mm. (Make: Taparia HPW 24 or its equivalent make) | 1.00 | Each |  | 2230.00 | 2230.00 | 2230.00 | SUMER AND CO. REGD
19.00 | Supply of High Voltage Discharge Rods made up of GFK (Fibre Glass Strenghtened Plastic) /FRP (Fibre Reinforced Plastic) for 3 Phase system (i.e, 3 Nos. rods), suitable for safe discharging and earthing upto 33 KV voltage grade equipped with 6 sqmm copper cable of 6 meter length with crocodile grounding clamp, long extendable grip handle of length 15 FT (approx.) and extra long safety clearance against physical contact with high voltage etc., complete as required. (Make: Meco, Model: 11-33 KV or its equivalent make) | 1.00 | Set |  | 10893.75 | 10893.75 | 10893.75 | SUMER AND CO. REGD
20.00 | Supply of Electrical Insulating Safety Gloves of size 10 and 3.4mm thickness, capable of handling high voltages upto 36 KV, made of natural Latex material conforming to IS 4770 : 1991(R2006) / EN 60903-2003 with upto date amendments. (Make: Honeywell 33KV Electrosoft 2091941 or its equivalent make) | 3.00 | Set |  | 518.75 | 1556.25 | 1556.25 | SUMER AND CO. REGD
21.00 | Supply of Electrical Insulating Safety Gloves of size 10 and 2.3mm thickness, capable of handling high voltages upto 17 KV, made of natural Latex material conforming to IS 4770 : 1991(R2006)/ EN 60903-2003 with upto date amendments. (Make: Honeywell 17KV Electrosoft Class 2 2091921 or its equivalent make) | 5.00 | Set |  | 680.00 | 3400.00 | 3400.00 | SUMER AND CO. REGD
22.00 | Supply of following lengths of measuring tape of different measuring lengths :
22.01 | 5 Meters of pocket steel measuring tape with Class II Accuracy, scratch guard coating and tape width not less than 19mm. | 5.00 | Each |  | 91.30 | 456.50 | 456.50 | SUMER AND CO. REGD
22.02 | 30 Meters long Steel measuring tape with Class II Accuracy, scratch guard coating and tape width not less than 13mm. | 2.00 | Each |  | 373.50 | 747.00 | 747.00 | SUMER AND CO. REGD
22.03 | 50 Meters long PVC coated fibre glass flexible measuring tape with durable winding mechanism and tape width not less than 13mm. | 3.00 | Each |  | 647.40 | 1942.20 | 1942.20 | SUMER AND CO. REGD
23.00 | Supply of Round Wire Guage made out of stainless/tempered steel to provide accurate measurements of the guage of the wires and GI sheets. | 3.00 | Each |  | 240.00 | 720.00 | 720.00 | SUMER AND CO. REGD
24.00 | Supply of Giant Indian National flag of size 20ft x 30ft in 100% Shiny knitted polyester fabric of 160 GSM with reinforced super-strong nylon webbing on all 4 sides & eye lets, double stitched on all sides with sleeves, UV protected colours, washable and durable etc. conforming to Flag code of India, 2002 and to be provided in sealed plastic drum. | 5.00 | Each |  | 15355.00 | 76775.00 | 76775.00 | SUMER AND CO. REGD
25.00 | Supply of Pick Axe made up of high durable iron with wooden handle of length 4.5 Ft. | 2.00 | Each |  | 1294.80 | 2589.60 | 2589.60 | SUMER AND CO. REGD
26.00 | Supply of Fawda (Grubbing hoe) with blade made up of high durable iron of tapered cutting edge, mouth width not less than 170mm, 4.5 ft long wooden handle for excavation of soil etc complete as required. | 2.00 | Each |  | 1867.50 | 3735.00 | 3735.00 | SUMER AND CO. REGD
27.00 | Supply of Crow bar made out of high durable & good quality steel of length 1.5 meters and minimum weight of 6 Kg. | 2.00 | Each |  | 1037.50 | 2075.00 | 2075.00 | SUMER AND CO. REGD
28.00 | Supply of High Durable Drums (Iron Barrels) of minimum thickness of 1.25mm having two screwed closure on the top, internal finishing with protective coating and outside stove enamelled/equivalent painting, suitable to store HSD oil of capacity 200 litres, conforming to IS standard of Grade B, IS : 1783 (Part 2) 1988 (Latest) etc complete as required. | 5.00 | Each |  | 2324.00 | 11620.00 | 11620.00 | SUMER AND CO. REGD
| Total in Figures |  |  |  |  | 646883.04
Lowest Amount Quoted BY: SUMER AND CO. REGD(646883.04)

## BOQ Summary
BOQ Summary Details Tender Title: Procurement of Tools, Plants and measuring instruments for LGBI Airport, Guwahati. Tender ID: 2020_AAI_56630_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SUMER AND CO. REGD | 646883.04 | L1