## BoQ1
Government eProcurement System Created By: Nandlal Ram Created Date/Time: 01-Oct-2020 01:57 PM Tender Title: Annual Maintenance Contract for Electrical and Mechanical Installation at ATS Technical Building and Operational Area at NSCBI Airport, Kolkata for the year 2020 to 2022 Tender ID: 2020_AAI_56740_1
Tender Inviting Authority: <AGM ( Engg.-Elect.)-I,RHQ,ER,Kolkata>
Name of Work: <Annual Maintenance Contract for Electrical & Mechanical Installation at ATS Technical Building and Operational Area at NSCBI Airport, Kolkata for the year 2020-2022.>
Contract No: <AAI/ER/Kol/Sub.Div.-I&II/E&M/NIT-05/2020-21>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | EASTERN POWER ENGINEERING(GSTN-18AGUPD0421A2ZX) |  | Sterling And Wilson Pvt. Ltd(GSTN-19AAACS9939D1Z1) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and maintenance of Internal and External E&M installations such as LT panels, building wiring, power cables, water pumps, water level control system, air-conditioning system etc. including attending complaints / faults/ breakdown, rectification and ensuring serviceability/ satisfactory working condition including operation of 2 nos. elevators at ATS technical building on round the clock basis and maintaining all records as per PMI schedule of special conditions of contract and as per the requirement of works. (The contractor has to engage the minimum man power including relievers etc. as per the special condition of contract or as per the instruction of Engineer-in-charge.)
1.10 | (a) For 1st Year (2020-21) | 12.00 | Months |  | 517693.00 | 6212316.00 | 423000.00 | 5076000.00 | 590000.00 | 7080000.00 | 5076000.00 | Sterling And Wilson Pvt. Ltd
1.20 | (b) For 2nd Year (2021-22) | 12.00 | Months |  | 517693.00 | 6212316.00 | 423000.00 | 5076000.00 | 590000.00 | 7080000.00 | 5076000.00 | Sterling And Wilson Pvt. Ltd
2.00 | Servicing of Electrical Switch gears by OEM:- Preventive maintenance as per OEM (L&T/Emerson/Siemens/Havells) standard of the Switchgears available in the L.T. Power panels followed by necessary relay calibration and submission of service report in prescribed format of OEM and as directed by Engineer-in-Charge.
2.10 | ACBs upto 1600A = 8 nos.
2.20 | (a) For 1st Year (2020-21) | 8.00 | Job |  | 2000.00 | 16000.00 | 1000.00 | 8000.00 | 4000.00 | 32000.00 | 8000.00 | Sterling And Wilson Pvt. Ltd
2.30 | (b) For 2nd Year (2021-22) | 8.00 | Job |  | 2000.00 | 16000.00 | 1000.00 | 8000.00 | 4000.00 | 32000.00 | 8000.00 | Sterling And Wilson Pvt. Ltd
2.40 | Auto Transfer Switch of 1000A = 1 Nos.
2.50 | (a) For 1st Year (2020-21) | 1.00 | Job |  | 4000.00 | 4000.00 | 1170.00 | 1170.00 | 3500.00 | 3500.00 | 1170.00 | Sterling And Wilson Pvt. Ltd
2.60 | (b) For 2nd Year (2021-22) | 1.00 | Job |  | 4000.00 | 4000.00 | 1200.00 | 1200.00 | 3500.00 | 3500.00 | 1200.00 | Sterling And Wilson Pvt. Ltd
3.00 | Lifting and lowering of 10 HP to 15 HP submerssible pump motor in open borewell by providing Chainpully and other arrangement including jointing of submerssible cable by providing new joint kit of size 2.5 sq. mm. to 10 sq. mm. submerssible cable etc complete as required and direction of engineer-In-Charge.
3.10 | (a) For 1st Year (2020-21) | 4.00 | Job |  | 2500.00 | 10000.00 | 2500.00 | 10000.00 | 4000.00 | 16000.00 | 10000.00 | EASTERN POWER ENGINEERING, Sterling And Wilson Pvt. Ltd
3.20 | (b) For 2nd Year (2021-22) | 4.00 | Job |  | 2500.00 | 10000.00 | 2500.00 | 10000.00 | 4000.00 | 16000.00 | 10000.00 | EASTERN POWER ENGINEERING, Sterling And Wilson Pvt. Ltd
4.00 | Annual comprehensive maintenance of all make AC units 1.5 Tr. capacity single or three phase window type at different location including providing all necessary consumable spares and up to its smooth performance as as per the special conditions of contract and particular specifications. (The contractor has to engage the minimum man power including relievers etc. as per the special condition of contract, particular specifications and as per the instruction of Engineer-in-charge.)
4.10 | (a) For 1st Year (2020-21) | 2.00 | Each Per Year |  | 600.00 | 1200.00 | 5000.00 | 10000.00 | 500.00 | 1000.00 | 1000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
4.20 | (b) For 2nd Year (2021-22) | 2.00 | Each Per Year |  | 600.00 | 1200.00 | 5000.00 | 10000.00 | 500.00 | 1000.00 | 1000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
5.00 | Annual comprehensive maintenance of all make AC units upto 1.5 Tr. capacity single phase or three phase split type AC at different location including providing all necessary consumable spares and up to its smooth performance as per the special conditions of contract and particular specifications. (The contractor has to engage the minimum man power including relievers etc. as per the special condition of contract, particular specifications and as per the instruction of Engineer-in-charge.)
5.10 | (a) For 1st Year (2020-21) | 23.00 | Each Per Year |  | 600.00 | 13800.00 | 5200.00 | 119600.00 | 2000.00 | 46000.00 | 13800.00 | EASTERN POWER ENGINEERING
5.20 | (b) For 2nd Year (2021-22) | 23.00 | Each Per Year |  | 600.00 | 13800.00 | 5200.00 | 119600.00 | 2000.00 | 46000.00 | 13800.00 | EASTERN POWER ENGINEERING
6.00 | Annual comprehensive maintenance of all make AC units of 2.0 Tr. capacity single phase or three phase split type AC at different location including providing all necessary consumable spares and up to its smooth performance as per the special conditions of contract and particular specifications. (The contractor has to engage the minimum man power including relievers etc. as per the special condition of contract, particular specifications and as per the instruction of Engineer-in-charge.)
6.10 | (a) For 1st Year (2020-21) | 87.00 | Each Per Year |  | 700.00 | 60900.00 | 6850.00 | 595950.00 | 2000.00 | 174000.00 | 60900.00 | EASTERN POWER ENGINEERING
6.20 | (b) For 2nd Year (2021-22) | 87.00 | Each Per Year |  | 700.00 | 60900.00 | 6850.00 | 595950.00 | 2000.00 | 174000.00 | 60900.00 | EASTERN POWER ENGINEERING
7.00 | Annual comprehensive maintenance of all make AC units of 3.0 Tr. capacity single or three phase slimline / high wall split type AC at different location including providing all necessary consumable spares and up to its smooth performance as per the special conditions of contract and particular specifications. (The contractor has to engage the minimum man power including relievers etc. as per the special condition of contract, particular specifications and as per the instruction of Engineer-in-charge.)
7.10 | (a) For 1st Year (2020-21) | 12.00 | Each Per Year |  | 1000.00 | 12000.00 | 7900.00 | 94800.00 | 3000.00 | 36000.00 | 12000.00 | EASTERN POWER ENGINEERING
7.20 | (b) For 2nd Year (2021-22) | 12.00 | Each Per Year |  | 1000.00 | 12000.00 | 7900.00 | 94800.00 | 3000.00 | 36000.00 | 12000.00 | EASTERN POWER ENGINEERING
8.00 | Dismantling of window / split ACs / slimline / highwall A/C units of capacity 1.5 Tr/ 2 Tr / 3 Tr, 1 ph/ 3 ph and transporting to AAI store as directed by EIC etc. complete as required.
8.10 | (a) For 1st Year (2020-21) | 10.00 | Job |  | 200.00 | 2000.00 | 100.00 | 1000.00 | 100.00 | 1000.00 | 1000.00 | Sterling And Wilson Pvt. Ltd, CIS GLOBAL INFRATECH PRIVATE LIMITED
8.20 | (b) For 2nd Year (2021-22) | 10.00 | Job |  | 200.00 | 2000.00 | 100.00 | 1000.00 | 100.00 | 1000.00 | 1000.00 | Sterling And Wilson Pvt. Ltd, CIS GLOBAL INFRATECH PRIVATE LIMITED
9.00 | Reinstallation, testing and commissioning including refrigerent charging of the window / split ACs / slimline / highwall A/C units of capacity 1.5 Tr/ 2 Tr / 3 Tr, 1 ph/ 3 ph as directed by E-I-C (Indoor & Outdoor unit will be issued by AAI)
9.10 | (a) For 1st Year (2020-21) | 5.00 | Job |  | 300.00 | 1500.00 | 868.00 | 4340.00 | 100.00 | 500.00 | 500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
9.20 | (b) For 2nd Year (2021-22) | 5.00 | Job |  | 300.00 | 1500.00 | 868.00 | 4340.00 | 100.00 | 500.00 | 500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
10.00 | Annual Comprehensive Maintenance Contract of bottom discharge air cooled Type Precision Air - Conditioning Systems (2nd and 3rd Floor of ATS Complex) with variable capacity scroll compressor, evaporator fan having electrically controlled commutator motor, DX cooling coil, micro processor controller, expansion valves, drivers, filters including attending breakdown calls within time as mentioned in SCC and supply of all accessories, as per manufacturer recommendation as directed by Engineer - in -charge. (Model No. of PACs :- PEX-135ECD/S/W/I/COM, Capacity:-8TR, Refregetent Gas - R407/R407C or equivalent suitable for the above Model)
10.10 | (a) For 1st Year (2020-21) | 25.00 | Each Per Year |  | 20000.00 | 500000.00 | 12500.00 | 312500.00 | 25000.00 | 625000.00 | 312500.00 | Sterling And Wilson Pvt. Ltd
10.20 | (b) For 2nd Year (2021-22) | 25.00 | Each Per Year |  | 20000.00 | 500000.00 | 12500.00 | 312500.00 | 25000.00 | 625000.00 | 312500.00 | Sterling And Wilson Pvt. Ltd
11.00 | Annual Comprehensive Maintenance contract for Aquaguard multifunction Hot & Cold type water cooler cum purifier. Model No.:- Hot & Cold RO UV Water Purifier
11.10 | (a) For 1st Year (2020-21) | 5.00 | Each Per Year |  | 1500.00 | 7500.00 | 5000.00 | 25000.00 | 1000.00 | 5000.00 | 5000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
11.20 | (b) For 2nd Year (2021-22) | 5.00 | Each Per Year |  | 1500.00 | 7500.00 | 5000.00 | 25000.00 | 1000.00 | 5000.00 | 5000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
12.00 | Annual Comprehensive Maintenance contract for Aquaguard storage cooler cum purifier. Model No.:- UV model 60/80
12.10 | (a) For 1st Year (2020-21) | 1.00 | Each Per Year |  | 5000.00 | 5000.00 | 7500.00 | 7500.00 | 1000.00 | 1000.00 | 1000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
12.20 | (b) For 2nd Year (2021-22) | 1.00 | Each Per Year |  | 5000.00 | 5000.00 | 7500.00 | 7500.00 | 1000.00 | 1000.00 | 1000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
13.00 | Annual Comprehensive maintenance contract of Aquaguard Green Pure Chill 80 SS RO+UV (or Equvalent) water cooler at various Operational Units & offices at NSCBI Airport, Kolkata including providing and repairing / replacing of faulty component, consumable spares and compressors etc as required. Model No.:- AG. GR. PURE CHILL 80 SS-RO+UV
13.10 | (a) For 1st Year (2020-21) | 8.00 | Each Per Year |  | 8000.00 | 64000.00 | 13000.00 | 104000.00 | 1000.00 | 8000.00 | 8000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
13.20 | (b) For 2nd Year (2021-22) | 8.00 | Each Per Year |  | 8000.00 | 64000.00 | 13000.00 | 104000.00 | 1000.00 | 8000.00 | 8000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
14.00 | Half Yearly Water testing (input raw water and purified water = 1 job) from different sites during the contract period.
14.10 | (a) For 1st Year (2020-21) | 22.00 | Job |  | 1500.00 | 33000.00 | 2400.00 | 52800.00 | 2500.00 | 55000.00 | 33000.00 | EASTERN POWER ENGINEERING
14.20 | (b) For 2nd Year (2021-22) | 22.00 | Job |  | 1500.00 | 33000.00 | 2400.00 | 52800.00 | 3000.00 | 66000.00 | 33000.00 | EASTERN POWER ENGINEERING
15.00 | Supply and installation of 24 inch IRON REMOVAL filter with FRP vessel with Back Flush facility as per site requirement. Item code :- GWPBR0WWCOM016 or similar
15.10 | (a) For 1st Year (2020-21) | 12.00 | Job |  | 6000.00 | 72000.00 | 5500.00 | 66000.00 | 2000.00 | 24000.00 | 24000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
15.20 | (b) For 2nd Year (2021-22) | 12.00 | Job |  | 6000.00 | 72000.00 | 5500.00 | 66000.00 | 2000.00 | 24000.00 | 24000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
16.00 | Annual Maintenance contract of addressable fire alarm system consisting of fire loop, addressable panel of Morely IAS ZX5e, Fire alarm PC station with Visualized Software, graphic display in computer, active repeater panel (07 nos approx), photo electric smoke detector (627 nos approx), Heat detector ( 28 nos approx), Manual cell point (36 nos approx), Response indicator (274 nos approx), Fault isolator (10 nos approx), Hooter (37 nos approx), Control realy module (02 nos approx), Monitor module (02 nos approx) including all smoke detector, response indicator, heat detector, manual cell point, hooter etc. as complete installed in 6th floor of ATS Building & maintenance of all FDA system with Speaker and day to day supervision of the whole system related to work including monthly servicing and periodical maintenance and attending breakdown maintenance as per the SCC from ground floor to 7th floor including tower, ELPA and 1st floor Annex portion at NSCBI Airport, Kolkata.(considering one skilled fire technician in general shift six days a week including holidays).
16.10 | (a) For 1st Year (2020-21) | 12.00 | Months |  | 25000.00 | 300000.00 | 30000.00 | 360000.00 | 30000.00 | 360000.00 | 300000.00 | EASTERN POWER ENGINEERING
16.20 | (b) For 2nd Year (2021-22) | 12.00 | Months |  | 25000.00 | 300000.00 | 30000.00 | 360000.00 | 30000.00 | 360000.00 | 300000.00 | EASTERN POWER ENGINEERING
17.00 | Operation and maintenance of Internal and External E&M installations such as HT/LT panels, transformers, power cables, pumps, DG sets, PAC, etc including attending complaints / faults/ breakdown, rectification and ensuring serviceability/ satisfactory working condition and maintaining all records as per PMI schedule as per the special conditions of contract and particular specifications, in shift basis round the clock as per the instruction of the Engineer-in- Charge or his authorized representative as per the requirement of works at various nav aid installations inside operational area. (The contractor has to engage the minimum man power including relievers etc. as per the special condition of contract, particular specifications and as per the instruction of Engineer-in-charge.)
17.10 | (a) For 1st Year (2020-21) | 12.00 | Months |  | 497815.00 | 5973780.00 | 468300.00 | 5619600.00 | 500000.00 | 6000000.00 | 5619600.00 | Sterling And Wilson Pvt. Ltd
17.20 | (b) For 2nd Year (2021-22) | 12.00 | Months |  | 497815.00 | 5973780.00 | 468300.00 | 5619600.00 | 500000.00 | 6000000.00 | 5619600.00 | Sterling And Wilson Pvt. Ltd
18.00 | Annual comprehensive maintenance of all make AC units upto 1.5 Tr. capacity single phase or three phase split type AC at different location including providing all necessary consumable spares and up to its smooth performance as per the special conditions of contract and particular specifications.
18.10 | (a) For 1st Year (2020-21) | 15.00 | Each Per Year |  | 600.00 | 9000.00 | 3000.00 | 45000.00 | 2000.00 | 30000.00 | 9000.00 | EASTERN POWER ENGINEERING
18.20 | (b) For 2nd Year (2021-22) | 15.00 | Each Per Year |  | 600.00 | 9000.00 | 3000.00 | 45000.00 | 2000.00 | 30000.00 | 9000.00 | EASTERN POWER ENGINEERING
19.00 | Annual comprehensive maintenance of all make AC units of 2.0 Tr. capacity single phase or three phase split type AC at different location including providing all necessary consumable spares and up to its smooth performance as per the special conditions of contract and particular specifications. (The contractor has to engage the minimum man power including relievers etc. as per the special condition of contract, particular specifications and as per the instruction of Engineer-in-charge.)
19.10 | (a) For 1st Year (2020-21) | 41.00 | Each Per Year |  | 700.00 | 28700.00 | 5000.00 | 205000.00 | 1100.00 | 45100.00 | 28700.00 | EASTERN POWER ENGINEERING
19.20 | (b) For 2nd Year (2021-22) | 41.00 | Each Per Year |  | 700.00 | 28700.00 | 5000.00 | 205000.00 | 1100.00 | 45100.00 | 28700.00 | EASTERN POWER ENGINEERING
20.00 | DSR item (Rate will be considered % above / below of or equal to 100% of DSR 2018 E&M rate). (for Sub. Div.-I & Sub. Div.-II) The execution of Delhi Schedule of Rates (E&M) 2018 Items as when required basis. ‬ Example for quoting the rate:- (i)Agency Quoting Rs.22,50,000‬.00 in the Rate stands for 10% below the Estimate amounting of Rs.25,00,000.00 net amount will be ‭22,50,000‬.00 and payement will be made 10% below on DSR 2018 rate against items.‬‬‬‬‬‬‬‬‬‬‬‬‬‬ (ii)Agency Quoting Rs. ‭27,50,000‬‬.00 in the Rate stands for 10% above the Estimate amounting of Rs.25,00,000.00 net amount will be ‭27,50,000‬‬.00 and payement will be made 10% above on DSR 2018 rate against items.‬‬‬‬ ‬‬‬‬‬‬‬‬‬‬‬‬‬‬‬‬‬ NOTE:- 1) Quoted rate should be in amount not in percentage. 2) As per DSR 2018 total amount of work to be executed amounted to Rs. 25,00,000.00 in 24 months. 3) The percentage will be calculated against quoted amount with respect to Rs. 25,00,000.00.
20.10 | For 24 Months | 1.00 | Job |  | 1750000.00 | 1750000.00 | 1500000.00 | 1500000.00 | 2000000.00 | 2000000.00 | 1500000.00 | Sterling And Wilson Pvt. Ltd
21.00 | Providing AC vehicles not less than 1900 CC capacity and not more than 5 years old (Scorpio / Bollero / Inova/ Tata Sumo) including necessary fuel, permit & necessary airport entry pass to run the vehicle inside the operational and Non-operational areas alongwith driver under skilled category for all days including saturday, sunday & holidays for round the clock basis throughout the year with average run of 150 KM daily for attending complaints, carry out the maintenance works related to E & M installations, attending breakdown calls etc as per site requirement and as directed by Engineer-In-Charge.
21.10 | (a) For 1st Year (2020-21) | 12.00 | Months |  | 91000.00 | 1092000.00 | 100000.00 | 1200000.00 | 40000.00 | 480000.00 | 480000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
21.20 | (b) For 2nd Year (2021-22) | 12.00 | Months |  | 91000.00 | 1092000.00 | 100000.00 | 1200000.00 | 45000.00 | 540000.00 | 540000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
| Total in Figures |  |  |  |  | 30587392.00 |  | 29336550.00 |  | 32117200.00
Lowest Amount Quoted BY: Sterling And Wilson Pvt. Ltd(29336550.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance Contract for Electrical and Mechanical Installation at ATS Technical Building and Operational Area at NSCBI Airport, Kolkata for the year 2020 to 2022 Tender ID: 2020_AAI_56740_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Sterling And Wilson Pvt. Ltd | 29336550.00 | L1
| 2 | EASTERN POWER ENGINEERING | 30587392.00 | L2
| 3 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 32117200.00 | L3