## BoQ1
Government eProcurement System Created By: SREEDHAR P V Created Date/Time: 13-Oct-2020 04:30 PM Tender Title: Provision of Air-Conditioning Units for Operational Offices at AAI, Technical Block, HAL Airport, Bengaluru Tender ID: 2020_AAI_56811_1
Tender Inviting Authority: Asst.General Manager (Engg. – Electrical), AAI, Bangalore
Name of Work: Provision of Air-Conditioning Units for Operational Offices at AAI, Technical Block Airport, Bengaluru
Contract No: 2020_AAI_56811
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VOLKS ENERGIE PVT LTD(GSTN-07AADCV9396C1ZZ) |  | COOL STAR(GSTN-29AFJPP1758A1ZE) |  | SRI RAJARAJESHWARI ELECTRICALS(GSTN-29AINPB0160H2ZG)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SSITC of 1.5 Ton Inverter type 5 star Air-Conditioning consisting of single room unit (evaporator unit) with cordless remote control and one number outdoor condensing unit comprising of sealed rotary type compressor suitable for operation on 230V, 50Hz. AC supply and non CFC refrigerant like R-410A or equivalent capable of performing (a) cooling (b) de-humidifying (c) Air -Circulating (d) filtering including fixing the outdoor condenser unit on a raised suitable pedestals duly painted/Metal Stand as per site requirement (supply and fixing of Pedestals/Metal Stand included in the scope) and fixing of Evaporator unit including providing and making inter connections between evaporator unit and condensing unit with standard length offered by OEM including civil work such as driiling for hole, painting, finishing with the same and interconnection of pipelines/refrigerant lines and control cables comprising of the following including first charge of refrigerant etc., complete as required. (Make: Voltas/ Blue star/Carrier/LG) a) Suitable drain pipe of heavy duty PVC or as per OEM specification. b) Suitable Insulated copper pipe for liquid line or as per OEM specification. c) Suitable copper pipe for suction or as per OEM specification. d) Supply and Fixing of Heavy duty Rigid type PVC pipe / PVC Trunking of suitable size for covering in the liquid line, suction line and multi strand copper cable or as per OEM specification. | 19.00 | Job |  | 33500.00 | 636500.00 | 34000.00 | 646000.00 | 40411.00 | 767809.00 | 636500.00 | VOLKS ENERGIE PVT LTD
2.00 | SITC of 2 Ton Inverter type 5 star Air-Conditioning consisting of single room unit (evaporator unit) with cordless remote control and one number outdoor condensing unit comprising of sealed rotary type compressor suitable for operation on 230V, 50Hz. AC supply and non CFC refrigerant like R-410A or equivalent capable of performing (a) cooling (b) de-humidifying (c) Air -Circulating (d) filtering including fixing the outdoor condenser unit on a raised suitable pedestals duly painted/Metal Stand as per site requirement (supply and fixing of Pedestals/Metal Stand included in the scope) and fixing of Evaporator unit including providing and making inter connections between evaporator unit and condensing unit up to a length of 5 mtrs. including civil work such as driiling for hole, painting, finishing with the same and interconnection of pipelines/refrigerant lines and control cables comprising of the following including first charge of refrigerant etc., complete as required. (Make: Voltas/ Blue star/Carrier/LG) a) Suitable drain pipe of heavy duty PVC or as per OEM specification. b) Suitable Insulated copper pipe for liquid line or as per OEM specification. c) Suitable copper pipe for suction or as per OEM specification. d) Supply and Fixing of Heavy duty Rigid type PVC pipe / PVC Trunking of suitable size for covering in the liquid line, suction line and multi strand copper cable or as per OEM specification. | 2.00 | Job |  | 48000.00 | 96000.00 | 47500.00 | 95000.00 | 37000.00 | 74000.00 | 74000.00 | SRI RAJARAJESHWARI ELECTRICALS
3.00 | Supply and fixing of following for interconnections between evaporator unit and condensing unit mentioned in item no 01& 02 (extra length if required) complete as required
3.10 | 1" Drain pipe for heavy duty PVC pipe or as per OEM specification for the item no 1 & 2 | 42.00 | Mtr |  | 100.00 | 4200.00 | 100.00 | 4200.00 | 50.00 | 2100.00 | 2100.00 | SRI RAJARAJESHWARI ELECTRICALS
3.20 | 1/4" dia insulated copper pipe for liquid line or as per OEM specification for item no 1 & 2 5/8" dia insulated copper pipe for liquid line or as per OEM specification for item no 1 & 2 | 42.00 | Mtr |  | 650.00 | 27300.00 | 400.00 | 16800.00 | 400.00 | 16800.00 | 16800.00 | COOL STAR, SRI RAJARAJESHWARI ELECTRICALS
3.30 | Supply and fixing PVC Casing / Cappimg trunking 25 MM X 15 MM | 42.00 | Mtr |  | 400.00 | 16800.00 | 400.00 | 16800.00 | 35.00 | 1470.00 | 1470.00 | SRI RAJARAJESHWARI ELECTRICALS
4.00 | Supply and fixing of 5KVA Voltage stabilizer wall mounting type suitable for 1.5/2 ton split A/C & Inverter type units suitable for operation on 230V, 50Hz. AC supply capable of performing with working voltage range 170 Volt to 270 Volt. (Make : V-Guard, Model No:VG 500 or similar model among approved makes). | 3.00 | Each |  | 2500.00 | 7500.00 | 2500.00 | 7500.00 | 1200.00 | 3600.00 | 3600.00 | SRI RAJARAJESHWARI ELECTRICALS
5.00 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A, “C” curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required.. | 3.00 | Each |  | 1400.00 | 4200.00 | 1500.00 | 4500.00 | 363.00 | 1089.00 | 1089.00 | SRI RAJARAJESHWARI ELECTRICALS
| Total in Figures |  |  |  |  | 792500.00 |  | 790800.00 |  | 866868.00
Lowest Amount Quoted BY: COOL STAR(790800.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Air-Conditioning Units for Operational Offices at AAI, Technical Block, HAL Airport, Bengaluru Tender ID: 2020_AAI_56811_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | COOL STAR | 790800.00 | L1
| 2 | VOLKS ENERGIE PVT LTD | 792500.00 | L2
| 3 | SRI RAJARAJESHWARI ELECTRICALS | 866868.00 | L3