## BoQ1
Government eProcurement System Created By: Tarak Das Created Date/Time: 21-Oct-2020 03:43 PM Tender Title: Construction of Substation building and Tender ID: 2020_AAI_57043_1
Tender Inviting Authority: AGM(E-C)
Name of Work: Substation for augmentation of Power supply on Eastern site of Runway (C+E) at NSCBI Airport, Kolkata. SH : Construction of Substation building and Perimeter Road near new Hangars.
Contract No: <Enter Contract No Details>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | PABSCON(GSTN-19AADFP7887K1ZD) |  | L K BUILDERS(GSTN-19AJLPP6631L3ZH) |  | S.Singh and Company(GSTN-23ANBPS2770H1Z2) |  | M/S S.B.CONSTRUCTION(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. For all kind of soil. | 1000.00 | cum |  | 50.00 | 50000.00 | 40.00 | 40000.00 | 200.00 | 200000.00 | 165.00 | 165000.00 | 40000.00 | L K BUILDERS
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, lift up to 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. For All kinds of soil. | 225.00 | cum |  | 63.25 | 14231.25 | 60.00 | 13500.00 | 180.00 | 40500.00 | 225.00 | 50625.00 | 13500.00 | L K BUILDERS
3.00 | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials. | 200.00 | cum |  | 17.25 | 3450.00 | 20.00 | 4000.00 | 90.00 | 18000.00 | 80.00 | 16000.00 | 3450.00 | PABSCON
4.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 900.00 | cum |  | 40.25 | 36225.00 | 40.00 | 36000.00 | 120.00 | 108000.00 | 95.00 | 85500.00 | 36000.00 | L K BUILDERS
5.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 2300.00 | cum |  | 1150.00 | 2645000.00 | 1100.00 | 2530000.00 | 2800.00 | 6440000.00 | 1850.00 | 4255000.00 | 2530000.00 | L K BUILDERS
6.00 | Brick work with with clay flyash F.P.S. (non modular) brick of class designation 7.5 upto plinth level in Cement mortar 1:6 (1 cement : 6 coarse sand). | 70.00 | Cum |  | 5060.00 | 354200.00 | 5540.00 | 387800.00 | 5700.00 | 399000.00 | 6250.00 | 437500.00 | 354200.00 | PABSCON
7.00 | Brick work with clay flyash F.P.S. (non modular) brick of class designation 7.5 in superstructure above plinth level up to floor five level in :Cement mortar 1:6 (1 cement : 6 coarse sand). | 260.00 | Cum |  | 5060.00 | 1315600.00 | 5600.00 | 1456000.00 | 5900.00 | 1534000.00 | 6400.00 | 1664000.00 | 1315600.00 | PABSCON
8.00 | Single Brick Flat Soling of traditional clay bricks including ramming and dressing bed to proper level and filling joints with local sand. | 925.00 | sqm |  | 333.50 | 308487.50 | 300.00 | 277500.00 | 700.00 | 647500.00 | 480.00 | 444000.00 | 277500.00 | L K BUILDERS
9.00 | Half brick masonry with non modular fly ash bricks of class designation 10, conformingio IS :12894, in super structure above plinth and upto floor V level. Cement mortar 1 : 4 (1 cement : 4 coarse sand) | 60.00 | sqm |  | 655.50 | 39330.00 | 700.00 | 42000.00 | 1100.00 | 66000.00 | 875.00 | 52500.00 | 39330.00 | PABSCON
10.00 | Providing and laying in position ready mixed M-25 grade concrete for reinforced cement concrete work, using cement content as per approved design mix, manufactured in fully automatic batching plant and transported to site of work in transit mixer for all leads, having continuous agitated mixer, manufactured as per mix design of specified grade for reinforced cement concrete work, including pumping of R.M.C. from transit mixer to site of laying , excluding the cost of centering, shuttering finishing and reinforcement, including cost of admixtures in recommended proportions as per IS : 9103 to accelerate/ retard setting of concrete,improve workability without impairing strength and durability as per direction of the Engineer-in-charge. (Note :- Cement content considered in this item is @ 330 kg/cum. Excess/less cement used as per design mix is payable/recoverable separately). All works above plinth level upto floor V level. | 280.00 | cum |  | 4700.00 | 1316000.00 | 5250.00 | 1470000.00 | 7200.00 | 2016000.00 | 7150.00 | 2002000.00 | 1316000.00 | PABSCON
11.00 | Providing and laying in position ready mixed M-25 grade concrete for reinforced cement concrete work, using cement content as per approved design mix, manufactured in fully automatic batching plant and transported to site of work in transit mixer for all leads, having continuous agitated mixer, manufactured as per mix design of specified grade for reinforced cement concrete work, including pumping of R.M.C. from transit mixer to site of laying , excluding the cost of centering, shuttering finishing and reinforcement, including cost of admixtures in recommended proportions as per IS : 9103 to accelerate/ retard setting of concrete,improve workability without impairing strength and durability as per direction of the Engineer-in-charge. (Note :- Cement content considered in this item is @ 330 kg/cum. Excess/less cement used as per design mix is payable/recoverable separately). All works upto plinth level. | 290.00 | cum |  | 4600.00 | 1334000.00 | 4600.00 | 1334000.00 | 7550.00 | 2189500.00 | 7375.00 | 2138750.00 | 1334000.00 | PABSCON, L K BUILDERS
12.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500 D or more. | 35000.00 | kg |  | 54.00 | 1890000.00 | 54.00 | 1890000.00 | 72.00 | 2520000.00 | 68.00 | 2380000.00 | 1890000.00 | PABSCON, L K BUILDERS
13.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500 D or more. | 33000.00 | kg |  | 55.00 | 1815000.00 | 54.00 | 1782000.00 | 72.00 | 2376000.00 | 71.00 | 2343000.00 | 1782000.00 | L K BUILDERS
14.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Foundations, footings, bases of columns, etc. for mass concrete. | 140.00 | sqm |  | 258.75 | 36225.00 | 100.00 | 14000.00 | 330.00 | 46200.00 | 425.00 | 59500.00 | 14000.00 | L K BUILDERS
15.00 | Centering and shuttering for Columns, Pillars, Piers, Abutments, Posts and Struts including strutting, propping etc. and removal of form for all heights. | 400.00 | sqm |  | 373.75 | 149500.00 | 100.00 | 40000.00 | 330.00 | 132000.00 | 475.00 | 190000.00 | 40000.00 | L K BUILDERS
16.00 | Centering & shuttering including strutting, propping etc & removal of form for all heights for Suspended floors, roofs, landings, balconies and access platform. | 1250.00 | sqm |  | 391.00 | 488750.00 | 100.00 | 125000.00 | 420.00 | 525000.00 | 450.00 | 562500.00 | 125000.00 | L K BUILDERS
17.00 | Centering & shuttering including strutting, propping etc & removal of form for for all heights for Lintels, Beams,Chajja, plinth beams, girders, bressumers and cantilevers. | 750.00 | sqm |  | 345.00 | 258750.00 | 100.00 | 75000.00 | 370.00 | 277500.00 | 485.00 | 363750.00 | 75000.00 | L K BUILDERS
18.00 | Providing and laying (1st quality) polythene sheet (separation membrane) 200 microns thick on the base course with overlaps of not less than 100mm longitudinally and 150mm transversely complete as per directions and satisfaction of Engineer-in-charge. | 7500.00 | sqm |  | 34.50 | 258750.00 | 35.00 | 262500.00 | 90.00 | 675000.00 | 25.00 | 187500.00 | 187500.00 | M/S S.B.CONSTRUCTION
19.00 | Providing and laying in position cement concrete of 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) excluding the cost of centering and shuttering - All work up to plinth level. | 130.00 | cum |  | 4197.50 | 545675.00 | 3900.00 | 507000.00 | 5900.00 | 767000.00 | 6200.00 | 806000.00 | 507000.00 | L K BUILDERS
20.00 | Providing and laying in position cement concrete of 1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size) excluding the cost of centering and shuttering - All work up to plinth level. | 150.00 | cum |  | 5060.00 | 759000.00 | 4500.00 | 675000.00 | 6300.00 | 945000.00 | 6850.00 | 1027500.00 | 675000.00 | L K BUILDERS
21.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 20.00 | cum |  | 12650.00 | 253000.00 | 7000.00 | 140000.00 | 7600.00 | 152000.00 | 8500.00 | 170000.00 | 140000.00 | L K BUILDERS
22.00 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. ( After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. ( Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. ( The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test. All above operations to be done in order and as directed and specified by the Engineer-in-Charge. With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | 925.00 | Sqm |  | 529.00 | 489325.00 | 600.00 | 555000.00 | 1250.00 | 1156250.00 | 985.00 | 911125.00 | 489325.00 | PABSCON
23.00 | 12 mm cement plaster of mix of mix 1:6 (1 cement: 6 fine sand). | 1300.00 | Sqm |  | 138.00 | 179400.00 | 150.00 | 195000.00 | 200.00 | 260000.00 | 190.00 | 247000.00 | 179400.00 | PABSCON
24.00 | 15mm cement plaster on rough side of mix 1:6 (1 cement: 6 fine sand) | 1300.00 | Sqm |  | 155.25 | 201825.00 | 200.00 | 260000.00 | 220.00 | 286000.00 | 200.00 | 260000.00 | 201825.00 | PABSCON
25.00 | 6 mm cement plaster of mix 1:3 (1 cement : 3 fine sand). | 1200.00 | sqm |  | 138.00 | 165600.00 | 120.00 | 144000.00 | 180.00 | 216000.00 | 190.00 | 228000.00 | 144000.00 | L K BUILDERS
26.00 | Neat cement punning | 550.00 | Sqm |  | 17.25 | 9487.50 | 70.00 | 38500.00 | 90.00 | 49500.00 | 50.00 | 27500.00 | 9487.50 | PABSCON
27.00 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade for new work (two or more coats) over and including priming coat with cement primer. | 2500.00 | sqm |  | 89.70 | 224250.00 | 70.00 | 175000.00 | 110.00 | 275000.00 | 85.00 | 212500.00 | 175000.00 | L K BUILDERS
28.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete | 2500.00 | sqm |  | 63.25 | 158125.00 | 70.00 | 175000.00 | 90.00 | 225000.00 | 80.00 | 200000.00 | 158125.00 | PABSCON
29.00 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade for new work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm). | 1050.00 | Sqm |  | 96.60 | 101430.00 | 80.00 | 84000.00 | 125.00 | 131250.00 | 115.00 | 120750.00 | 84000.00 | L K BUILDERS
30.00 | Applying priming coat with ready mixed pink or Grey primer of approved brand and manufacture on wood work (hard and soft wood) | 40.00 | Sqm |  | 46.00 | 1840.00 | 40.00 | 1600.00 | 100.00 | 4000.00 | 40.00 | 1600.00 | 1600.00 | L K BUILDERS, M/S S.B.CONSTRUCTION
31.00 | Painting with synthetic enamel paint of two or more coat of approved brand and manufacture to give an even shade. | 120.00 | sqm |  | 48.30 | 5796.00 | 70.00 | 8400.00 | 150.00 | 18000.00 | 75.00 | 9000.00 | 5796.00 | PABSCON
32.00 | Providing and laying vitrified floor tiles of size 600 X 600 (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joints with white cement and matching pigments etc., complete. | 620.00 | sqm |  | 954.50 | 591790.00 | 800.00 | 496000.00 | 1050.00 | 651000.00 | 1250.00 | 775000.00 | 496000.00 | L K BUILDERS
33.00 | Providing and laying Vitrified tiles of size 600 X 600 (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joint with white cement & matching pigments etc. complete. | 40.00 | sqm |  | 1144.25 | 45770.00 | 1200.00 | 48000.00 | 1050.00 | 42000.00 | 1350.00 | 54000.00 | 42000.00 | S.Singh and Company
34.00 | 52 mm thick cement concrete flooring with concrete hardener topping, under layer 40 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) and top layer 12 mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate 6 mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacturer's specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. | 260.00 | sqm |  | 339.25 | 88205.00 | 400.00 | 104000.00 | 800.00 | 208000.00 | 750.00 | 195000.00 | 88205.00 | PABSCON
35.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately). For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15). | 250.00 | kg |  | 402.50 | 100625.00 | 420.00 | 105000.00 | 460.00 | 115000.00 | 650.00 | 162500.00 | 100625.00 | PABSCON
36.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5.50 mm thickness . | 30.00 | Sqm |  | 1060.30 | 31809.00 | 900.00 | 27000.00 | 550.00 | 16500.00 | 450.00 | 13500.00 | 13500.00 | M/S S.B.CONSTRUCTION
37.00 | Providing and fixing ISI marked flush door shutters 35 mm thick including ISI marked Stainless Steel butt hinges, necessary screws conforming to IS :2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | 20.00 | Sqm. |  | 1880.25 | 37605.00 | 2500.00 | 50000.00 | 2800.00 | 56000.00 | 2950.00 | 59000.00 | 37605.00 | PABSCON
38.00 | Providing and fixing aluminium extruded section body tubular type hydraulic door closer (having brand logo with IS : 3564 or as per the approaved make, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 9.00 | Each |  | 1380.00 | 12420.00 | 1200.00 | 10800.00 | 3000.00 | 27000.00 | 1600.00 | 14400.00 | 10800.00 | L K BUILDERS
39.00 | Providing and fixing 125 mm aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete. | 18.00 | Each |  | 92.00 | 1656.00 | 150.00 | 2700.00 | 320.00 | 5760.00 | 125.00 | 2250.00 | 1656.00 | PABSCON
40.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 250x10 mm. | 18.00 | each |  | 80.50 | 1449.00 | 150.00 | 2700.00 | 180.00 | 3240.00 | 150.00 | 2700.00 | 1449.00 | PABSCON
41.00 | Steel work welded In gratings, frames, window grill, guard bar, ladder, railings, brackets, gates and similar works with built up sections/ framed work including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | 2100.00 | kg |  | 92.00 | 193200.00 | 80.00 | 168000.00 | 95.00 | 199500.00 | 120.00 | 252000.00 | 168000.00 | L K BUILDERS
42.00 | Steel work welded in stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete with built up sections/ framed work including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | 2700.00 | kg |  | 69.00 | 186300.00 | 80.00 | 216000.00 | 95.00 | 256500.00 | 130.00 | 351000.00 | 186300.00 | PABSCON
43.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 1000.00 | kg |  | 72.45 | 72450.00 | 80.00 | 80000.00 | 95.00 | 95000.00 | 130.00 | 130000.00 | 72450.00 | PABSCON
44.00 | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 - part 1 and M.S. top cover of required thickness for rolling shutters. 80x0.90 mm M.S. laths with 0.90 mm thick top cover | 40.00 | sqm |  | 3105.00 | 124200.00 | 3000.00 | 120000.00 | 5800.00 | 232000.00 | 3200.00 | 128000.00 | 120000.00 | L K BUILDERS
45.00 | Providing and fixing ball bearing for rolling shutters. | 3.00 | Each |  | 1725.00 | 5175.00 | 800.00 | 2400.00 | 6000.00 | 18000.00 | 1500.00 | 4500.00 | 2400.00 | L K BUILDERS
46.00 | Extra for providing mechanical device chain and crank operation for operating rolling shutters. Exceeding 10.00 sqm and upto 16.80 sqm in the area | 40.00 | sqm |  | 115.00 | 4600.00 | 125.00 | 5000.00 | 10000.00 | 400000.00 | 350.00 | 14000.00 | 4600.00 | PABSCON
47.00 | Extra for providing grilled rolling shutters manufactured out of 8 mm dia M.S. bar instead of laths as per design approved by Engineer-in- charge, (area of grill to be measured). | 24.00 | sqm |  | 230.00 | 5520.00 | 3000.00 | 72000.00 | 2500.00 | 60000.00 | 550.00 | 13200.00 | 5520.00 | PABSCON
48.00 | Providing and fixing on wall face unplasticised - 110 mm dia. rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion: (i) Single socketed pipes. | 150.00 | m |  | 230.00 | 34500.00 | 220.00 | 33000.00 | 500.00 | 75000.00 | 550.00 | 82500.00 | 33000.00 | L K BUILDERS
49.00 | Providing and fixing on wall face unplasticised - PVC moulded fitting/accessories for unplasticised - Rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS:5382 leaving 10 mm gap for thermal expansion. 110 mm Bend 87.5 deg | 24.00 | each |  | 143.75 | 3450.00 | 250.00 | 6000.00 | 200.00 | 4800.00 | 475.00 | 11400.00 | 3450.00 | PABSCON
50.00 | Providing and fixing on wall face unplasticised - PVC moulded fitting/accessories for unplasticised - Rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS:5382 leaving 10 mm gap for thermal expansion. 110 mm Shoe(Plain) | 24.00 | each |  | 149.50 | 3588.00 | 300.00 | 7200.00 | 180.00 | 4320.00 | 450.00 | 10800.00 | 3588.00 | PABSCON
51.00 | Providing and fixing unplasticised - 110 mm diameter PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50 x 50 x 50mm hard wood plugs, screwed with M.S. screws of required length including cutting brick work and fixing in cement mortar 1:4 (1Cement : 4Coarse sand) and making good the wall etc. complete. | 144.00 | Each |  | 28.75 | 4140.00 | 80.00 | 11520.00 | 200.00 | 28800.00 | 100.00 | 14400.00 | 4140.00 | PABSCON
52.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | 20.00 | Sqm |  | 690.00 | 13800.00 | 1000.00 | 20000.00 | 900.00 | 18000.00 | 950.00 | 19000.00 | 13800.00 | PABSCON
53.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 90.00 | Sqm |  | 707.25 | 63652.50 | 800.00 | 72000.00 | 900.00 | 81000.00 | 1000.00 | 90000.00 | 63652.50 | PABSCON
54.00 | Providing and fixing white Vitreous China Wash basin size 630x450 mm or above (of approved model of parryware/ approved model of Cera or equivalent make) with a single 15 mm C.P. brass pillar tap (of JAQUAR or parryware or Mark or equivalent make) with G.I. brackets, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require. | 2.00 | each |  | 3450.00 | 6900.00 | 3000.00 | 6000.00 | 4800.00 | 9600.00 | 1850.00 | 3700.00 | 3700.00 | M/S S.B.CONSTRUCTION
55.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with ISI marked black solid plastic seat and lid, 10 litre low level white P.V.C. flushing cistern (of parryware or cera or equivalent), including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required. W.C. pan | 2.00 | each |  | 2645.00 | 5290.00 | 4000.00 | 8000.00 | 15000.00 | 30000.00 | 3012.00 | 6024.00 | 5290.00 | PABSCON
56.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required. White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 1.00 | each |  | 2415.00 | 2415.00 | 4000.00 | 4000.00 | 10000.00 | 10000.00 | 2400.00 | 2400.00 | 2400.00 | M/S S.B.CONSTRUCTION
57.00 | Providing & Fixing of white vitreous urinal of size 590 X 400 X 380 of "New Magnum" of parryware or equivalent with C.P. flush pipe, PVC urinal spreader, waste fittings, waste pipe and other couplings complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required. C.P. flush pipe, PVC urinal spreader, waste fittings, waste pipe and other couplings are required to be compatible with the urinal model. | 2.00 | Each |  | 3795.00 | 7590.00 | 12000.00 | 24000.00 | 6000.00 | 12000.00 | 4255.00 | 8510.00 | 7590.00 | PABSCON
58.00 | Providing and fixing stone slab of Granite Stone of approved shade with table rubbed, edges rounded and polished, of size 75x50 cm deep and 1.8 cm thick, fixed in urinal partitions by cutting a chase of appropriate width with chase cutter and embedding the stone in the chase with epoxy grout or with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6 mm nominal size) as per direction of Engineer-in-charge and finished smooth. | 2.00 | sqm |  | 2530.00 | 5060.00 | 4000.00 | 8000.00 | 6000.00 | 12000.00 | 2850.00 | 5700.00 | 5060.00 | PABSCON
59.00 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms: 15 mm nominal bore. | 2.00 | each |  | 517.50 | 1035.00 | 1200.00 | 2400.00 | 1600.00 | 3200.00 | 1350.00 | 2700.00 | 1035.00 | PABSCON
60.00 | Supply, fitting & fixing of CP 2-way bib Cock - 15 mm of " Code No.5041 & Model - FLORENTINE of JAQUAR" or similar brand as approved. | 2.00 | Each |  | 805.00 | 1610.00 | 1000.00 | 2000.00 | 2000.00 | 4000.00 | 1000.00 | 2000.00 | 1610.00 | PABSCON
61.00 | Supplying, fitting and fixing of Hand Shower (Health Faucet) with 1mtr Fexible Tube with Wall Hook (Equivalent to Code No. 573 & Model -ALLIED of Jaquar or similar approved brand and make). | 3.00 | each |  | 1380.00 | 4140.00 | 1000.00 | 3000.00 | 2000.00 | 6000.00 | 1000.00 | 3000.00 | 3000.00 | L K BUILDERS, M/S S.B.CONSTRUCTION
62.00 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. 15 mm nominal bore. | 7.00 | each |  | 586.50 | 4105.50 | 800.00 | 5600.00 | 1400.00 | 9800.00 | 700.00 | 4900.00 | 4105.50 | PABSCON
63.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size 453x357mm with plastic moulded frame of approved make and shade. | 2.00 | each |  | 862.50 | 1725.00 | 1000.00 | 2000.00 | 2200.00 | 4400.00 | 550.00 | 1100.00 | 1100.00 | M/S S.B.CONSTRUCTION
64.00 | Providing and fixing 100 mm sand cast iron grating for gully, floor or Nahani trap. | 4.00 | each |  | 517.50 | 2070.00 | 100.00 | 400.00 | 420.00 | 1680.00 | 120.00 | 480.00 | 400.00 | L K BUILDERS
65.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 2000.00 | per litre |  | 10.35 | 20700.00 | 12.00 | 24000.00 | 30.00 | 60000.00 | 16.00 | 32000.00 | 20700.00 | PABSCON
66.00 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : 15 mm dia nominal bore. | 10.00 | m |  | 184.00 | 1840.00 | 300.00 | 3000.00 | 400.00 | 4000.00 | 253.00 | 2530.00 | 1840.00 | PABSCON
67.00 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : 20 mm dia nominal bore | 10.00 | m |  | 218.50 | 2185.00 | 400.00 | 4000.00 | 400.00 | 4000.00 | 310.00 | 3100.00 | 2185.00 | PABSCON
68.00 | Providing and fixing brass stop cock of approved quality. 20 mm nominal bore. | 2.00 | each |  | 460.00 | 920.00 | 2000.00 | 4000.00 | 1200.00 | 2400.00 | 700.00 | 1400.00 | 920.00 | PABSCON
69.00 | Providing and fixing G.I. Pipe of 25mm NB complete with GI fittings (such as bends, tees, elbows, reducers, crosses, plugs, sockets, nipples, nuts etc.) and clamps, including cutting and making good the walls etc.(internal works & Exposed on wall). | 40.00 | m |  | 281.75 | 11270.00 | 450.00 | 18000.00 | 500.00 | 20000.00 | 482.00 | 19280.00 | 11270.00 | PABSCON
70.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 25 mm nominal bore. | 2.00 | each |  | 1495.00 | 2990.00 | 800.00 | 1600.00 | 3400.00 | 6800.00 | 1296.00 | 2592.00 | 1600.00 | L K BUILDERS
71.00 | Providing and fixing 40mm G.I.Pipe complete with GI fittings (such as bends, tees, elbows, reducers, crosses, plugs, sockets, nipples, nuts etc.) including trenching and refilling etc.(external work/ underground work). | 110.00 | m |  | 414.00 | 45540.00 | 500.00 | 55000.00 | 600.00 | 66000.00 | 844.00 | 92840.00 | 45540.00 | PABSCON
72.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 40 mm nominal bore. | 2.00 | each |  | 1840.00 | 3680.00 | 1200.00 | 2400.00 | 4000.00 | 8000.00 | 2295.00 | 4590.00 | 2400.00 | L K BUILDERS
73.00 | Providing and fixing 100 mm dia. soil, waste and vent pipes : Sand cast iron S&S pipe as per IS: 1729. The rate shall include the cost of all labour, materials ,lead caulk jointing, short pieces etc exlcuding fittings like bend, door tee, floor trap etc. [The pipes shall be measured along the center line when fixed in position exclcuding the fittings] | 15.00 | Meter |  | 920.00 | 13800.00 | 400.00 | 6000.00 | 400.00 | 6000.00 | 475.00 | 7125.00 | 6000.00 | L K BUILDERS, S.Singh and Company
74.00 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 100 mm dia Sand cast iron S&S as per IS - 1729 . | 4.00 | each |  | 609.50 | 2438.00 | 500.00 | 2000.00 | 400.00 | 1600.00 | 397.00 | 1588.00 | 1588.00 | M/S S.B.CONSTRUCTION
75.00 | Providing and fixing double equal junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete :100x100x100x100 mm.Sand cast iron S&S as per IS - 1729 | 1.00 | each |  | 1207.50 | 1207.50 | 1000.00 | 1000.00 | 640.00 | 640.00 | 558.00 | 558.00 | 558.00 | M/S S.B.CONSTRUCTION
76.00 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 100x100x100 mm Sand cast iron S&S as per IS - 1729. | 3.00 | each |  | 1092.50 | 3277.50 | 800.00 | 2400.00 | 450.00 | 1350.00 | 365.00 | 1095.00 | 1095.00 | M/S S.B.CONSTRUCTION
77.00 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : 200 mm diameter | 50.00 | Meter |  | 632.50 | 31625.00 | 450.00 | 22500.00 | 650.00 | 32500.00 | 680.00 | 34000.00 | 22500.00 | L K BUILDERS
78.00 | Filling, Levelling and grading low lying areas / ditches with earth etc deposited at site by excavation from heaps of earth / trenches of drain, road etc including watering, consolidating and dressing all complete as per direction of engineer in Charge. | 14000.00 | cum |  | 50.00 | 700000.00 | 100.00 | 1400000.00 | 320.00 | 4480000.00 | 280.00 | 3920000.00 | 700000.00 | PABSCON
79.00 | Consolidation of earth/subgrade with vibratory earth/soil compactor of 8 to 10 tonne capacity including making good the undulations etc with earth and re-rolling the subgrade. | 9000.00 | sqm |  | 6.90 | 62100.00 | 10.00 | 90000.00 | 160.00 | 1440000.00 | 50.00 | 450000.00 | 62100.00 | PABSCON
80.00 | Providing and laying graded granular material (moorum) in layers not exceeding 20cm (compacted) in thickness including breaking clods, watering and consolidating each layer with vibratory road roller of minimum 80 to 100 KN static weight with plain drum, under optimum moisture content (+1% to -2% of the OMC) to give density not less than 95% of the maximum modified standard proctor density including leveling, fine dresssing to the required camber, grade and slope etc.Complete as directed by Engineer-in-charge (payment to be made for the compacted quantity only.) Note: The moorum shall meet the specifications as per MORT&H ( Ministry of Road Transport & Highway) and the material passing 425 micron ( .425 mm) sieve, when tested according to IS:2720 ( Part-5) shall have liquid limit and plasticity index not more than 25 and 6 percent respectively. | 3200.00 | cum |  | 1200.00 | 3840000.00 | 1000.00 | 3200000.00 | 930.00 | 2976000.00 | 1650.00 | 5280000.00 | 2976000.00 | S.Singh and Company
81.00 | Construction of granular sub-base by providing close graded Material conforming to specifications, mixing in a mechanical mix plant at OMC, carriage of mixed material by tippers to work site, for all leads and lifts, spreading in uniform layers of specified thickness with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. With material conforming to Grade-I (size range 75 mm to 0.075 mm) having CBR Value-30. | 2100.00 | cum |  | 2000.00 | 4200000.00 | 1900.00 | 3990000.00 | 1900.00 | 3990000.00 | 3380.00 | 7098000.00 | 3990000.00 | L K BUILDERS, S.Singh and Company
82.00 | Construction of dry lean cement concrete sub base over a prepared sub-grade with coarse and fine aggregate conforming to IS:383, the size of coarse aggregate not exceeding 25 mm, aggregate cement ratio not to exceed 15:1, aggregate gradation after blending to be as per specifications, cement content not to be less than 150 Kg/cum, optimum moisture content to be determined during trial length construction, concrete strength not to be less than 10 Mpa at 7 days, mixed in a batching plant, transported to site, for all leads & lifts, laid with a mechanical paver, compacting with 8-10 tonne vibratory roller, finishing and curing etc. complete as per direction of Engineer- in- charge. | 780.00 | cum |  | 3100.00 | 2418000.00 | 4500.00 | 3510000.00 | 5900.00 | 4602000.00 | 5480.00 | 4274400.00 | 2418000.00 | PABSCON
83.00 | Providing & laying Pavement Quality Concrete (PQC) produced in a batching plant having a characteristic flexural strength i.e. minimum flexural strength of 4.1MPa at 28 days using 350 kg of ordinary portland cement of 43 grade per cum of finished concrete, fine aggregate, graded stone aggregates of 40 mm nominal size in approprite proportions as per specification and job mix formula, laid in panels as per drawings / design as approaved by the Engineer in charge and particular specification. The item for execution shall also include the following operation. i) Mechanically cutting dummy joints 3 mm wide x 1/3 rd thickness of slab which is subsequently widened to 10 mm for the top 25mm depth and construction joints 10 mm wide x 25 mm deep as per specification. ii) Filling polysulphide sealant in dummy , construction and expansion joints including providing closed cell polyethlene foam back-up rod, and painting side of joints with polysulphide primer etc complete. (to be paid seperately under respec item) Note : For purpose of tendering , the qty of cement used for one cum of finished concrete may be assumed as 350 kg. If the actual quantity of cement reqiured as per laboratory mix design varies from the qty assumed above , necessary cost adjustment for deviation in the qty of cement as per mix design , if any shall be done as per the rate of cement in actual supply voucher from manufacturer/ authorised dealer at the of execution. In the case of authorised distributor, the rate may be authenticated by the manufacturer. Cement concrete manufactured in automatic batching plant (RMC plant) i.e transportation to site in transit mixer. | 1875.00 | cum |  | 4750.00 | 8906250.00 | 5850.00 | 10968750.00 | 7170.00 | 13443750.00 | 10150.00 | 19031250.00 | 8906250.00 | PABSCON
84.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 1100.00 | quintal |  | 0.00 | 0.00 | 400.00 | 440000.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | PABSCON, M/S S.B.CONSTRUCTION, S.Singh and Company
85.00 | Providing and laying in position 25mm thick pre-moulded precut 45 mm from top (to be removed at the time of filling of polysulphide sealant)polymer based (Expanded polyethylene sheet) expan- sion joint filler sheets (Capcell HD-100 or equivalent of density 100kg./ cum 10%) in expansion joints of rigid pavements as per manufactures' specification and direction and satisfaction of the Engineer-in-Charge. (Note: mode of measurement shall be length of joints multiplied by depth of filler board including precut portion.) | 7.00 | Sqm |  | 874.00 | 6118.00 | 1200.00 | 8400.00 | 600.00 | 4200.00 | 550.00 | 3850.00 | 3850.00 | M/S S.B.CONSTRUCTION
86.00 | Providing and laying in position polysulphide sealant of approved brand conforming to BS-5212-1990 or IS 11433-1995, in expansion/ construction/ dummy joints including rounding off edges, applying 2 coats of approved primer campatible with the brand of polysulphide and preparing the surface and applying masking tape along the edge of the joints to prevent aacidental spillage of sealant on top surface to give neat finish to the sealant and removing the masking tape after application of sealant etc. complete as per direction of Engineer-in-charge & particular specifications. [ note: for purpose of payment, quantity (length x width x depth) of polysulphide sealant only will be measured.] a) Expansion joints 25mmwide x 10mm deep over 30mm dia. closed cell polyethelene foam back-up rod, as per manufacturers specifications. b) Construction joint 10mm wide x 10mm deep over 12mm dia. closed cell polyethelene foam back-up rod, as per manufacturers specifications. c) Dummy joint 10mm wide x 10mm deep over 12mm dia. closed cell polyethelene foam back-up rod, as per manufacturers specifications. | 250000.00 | cucm |  | 1.25 | 312500.00 | 1.00 | 250000.00 | 3.00 | 750000.00 | 5.75 | 1437500.00 | 250000.00 | L K BUILDERS
87.00 | Providing, laying, spreading and compacting graded stone aggregate (size range 53 mm to 0.075 mm ) to wet mix macadam (WMM) specification including premixing the material with water at OMC in for all leads & lifts, laying in uniform layers with mechanical paverfinisher in sub- base / base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achievethe desired density, complete as per specifications and directions of Engineer-in-Charge. | 220.00 | cum |  | 2702.50 | 594550.00 | 2200.00 | 484000.00 | 2400.00 | 528000.00 | 8575.00 | 1886500.00 | 484000.00 | L K BUILDERS
88.00 | Providing and laying non-pressure NP3 class R.C.C. Pipes conforming to IS 458 with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 250 mm dia. R.C.C. pipe. | 100.00 | m |  | 805.00 | 80500.00 | 350.00 | 35000.00 | 950.00 | 95000.00 | 508.00 | 50800.00 | 35000.00 | L K BUILDERS
89.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks In foot path, park & lawns driveway or light & traffic parking etc. of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of course sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand, all complete as per manufacturer's specifications & direction of Engineer-in-Charge. 60mm thick Cement concrete paver block of M-35 grade with approved colour, design & pattern | 730.00 | sqm |  | 575.00 | 419750.00 | 750.00 | 547500.00 | 700.00 | 511000.00 | 1275.00 | 930750.00 | 419750.00 | PABSCON
90.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface I recessed steel conduit, with modular switch, modular plate, suitable Gl box and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. | 131.00 | Points |  | 1207.50 | 158182.50 | 900.00 | 117900.00 | 800.00 | 104800.00 | 741.00 | 97071.00 | 97071.00 | M/S S.B.CONSTRUCTION
91.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 No. 4 sq. mm FRLS PVC nsulated copper conductor single core cable for loop earthing as required. | 810.00 | Mtrs |  | 172.50 | 139725.00 | 220.00 | 178200.00 | 400.00 | 324000.00 | 156.00 | 126360.00 | 126360.00 | M/S S.B.CONSTRUCTION
92.00 | Wiring for circuit / submain with following sizes of PVC. insulated copper conductor multi stranded single core FR cable in surface / recessed steel conduit as reqd. (a) 2 x 2.5 sq.mm + 1 X 2.5 sq mm earth wire. | 155.00 | Mtrs. |  | 155.25 | 24063.75 | 180.00 | 27900.00 | 350.00 | 54250.00 | 67.60 | 10478.00 | 10478.00 | M/S S.B.CONSTRUCTION
93.00 | Supply of surface mounted following LED light fixture suitable for 230 volt 50 Hz A.C supply etc. as reqd.
93.01 | Havells cat. No. Consta LED 40 W or similar fixture of Approved make list). | 14.00 | Each |  | 3335.00 | 46690.00 | 3250.00 | 45500.00 | 5000.00 | 70000.00 | 7410.00 | 103740.00 | 45500.00 | L K BUILDERS
93.02 | Havells cat. No. Photon Ultra 18W+Regal Batten or similar fixture of Approved make list). | 7.00 | Each |  | 632.50 | 4427.50 | 700.00 | 4900.00 | 2700.00 | 18900.00 | 728.00 | 5096.00 | 4427.50 | PABSCON
93.03 | Havells cat. No. Baybrite Saucer 80W or similar fixture of Approved make list). | 30.00 | Each |  | 8625.00 | 258750.00 | 7000.00 | 210000.00 | 16000.00 | 480000.00 | 9620.00 | 288600.00 | 210000.00 | L K BUILDERS
94.00 | Supply of 1400 mm sweep ceiling fans of approved makes of following size capacitor type complete with 30 cms.down rod canopies, hanging shackles, blades and speed regulator (electronic type) suitable for use on 220 / 240 volts 50 hz single phase AC supply confirming to ISS: 374 / 1979 with upto date amendments (Class - I) along with all accessories as required. | 60.00 | Nos. |  | 1725.00 | 103500.00 | 2300.00 | 138000.00 | 4500.00 | 270000.00 | 2535.00 | 152100.00 | 103500.00 | PABSCON
95.00 | Supply of 450 mm sweeps 1 phase, 900 rpm heavy duty exhaust fan complete with all accessories etc as reqd. | 20.00 | Nos. |  | 3565.00 | 71300.00 | 4400.00 | 88000.00 | 4700.00 | 94000.00 | 4940.00 | 98800.00 | 71300.00 | PABSCON
96.00 | Supplying and fixing suitable size Gl box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 27.00 | Nos. |  | 289.80 | 7824.60 | 290.00 | 7830.00 | 350.00 | 9450.00 | 299.00 | 8073.00 | 7824.60 | PABSCON
97.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5 / 6 & 15 / 16 amps modular socket outlet and 15 / 16 amps modular switch, connection etc. as required. | 27.00 | Nos. |  | 391.00 | 10557.00 | 350.00 | 9450.00 | 350.00 | 9450.00 | 539.50 | 14566.50 | 9450.00 | L K BUILDERS, S.Singh and Company
98.00 | Supplying and fixing 30 amps, 415 volts, TPN industrial type, socket outlet, with 4 pole and earth, metal enclosed plug top along with 30 amps "C" curve, TPMCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 4.00 | Nos. |  | 1265.00 | 5060.00 | 1100.00 | 4400.00 | 4200.00 | 16800.00 | 4420.00 | 17680.00 | 4400.00 | L K BUILDERS
99.00 | Supplying & fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as reqd. | 60.00 | Nos. |  | 410.55 | 24633.00 | 300.00 | 18000.00 | 1600.00 | 96000.00 | 585.00 | 35100.00 | 18000.00 | L K BUILDERS
100.00 | Installation, testing and commissioning of pre-wired, LED fitting / compact fluorescent fitting of all types, complete with all accessories and tube etc. directly on ceiling / wall, including connection with 1.5 sq. mm FR PVC insulated, copper conductor, single core cable and earthing etc. as required. | 51.00 | Nos. |  | 80.50 | 4105.50 | 150.00 | 7650.00 | 350.00 | 17850.00 | 78.00 | 3978.00 | 3978.00 | M/S S.B.CONSTRUCTION
101.00 | Supplying and fixing of 32 mm dia X 2.00 metres long G. I. pipe (medium class) bracket for mounting of fluorescent I HPMV I HPSV street light fitting on pole including bending the pipe to the required shape, 2 nos 40 mm X 3 mm flat iron clamps with nuts, bolts and washer, painting the flat iron with primer and finish paint etc. as required. | 6.00 | Nos. |  | 695.75 | 4174.50 | 900.00 | 5400.00 | 3000.00 | 18000.00 | 663.00 | 3978.00 | 3978.00 | M/S S.B.CONSTRUCTION
102.00 | Fabrication, supplying, installation, testing and commissioning of weather proof junction box made up of 2 mm. thick MS sheet with two coats of red oxide paint and two coats of finished paint consisting of 20 A connector terminal with 6 A protection MCB with rubber gasket, gland plate, shade at one side interconnection complete as required. | 6.00 | Nos. |  | 517.50 | 3105.00 | 800.00 | 4800.00 | 2500.00 | 15000.00 | 169.00 | 1014.00 | 1014.00 | M/S S.B.CONSTRUCTION
103.00 | Installation, testing and commissioning of ceiling fan / wall fan including wiring the down rod of standard length (30 cm) with 1.5 sq mm., FR PVC insulated, copper conductor, multi stranded single core cable. etc. as reqd. including numbering with paint. | 60.00 | Nos. |  | 172.50 | 10350.00 | 200.00 | 12000.00 | 3200.00 | 192000.00 | 65.00 | 3900.00 | 3900.00 | M/S S.B.CONSTRUCTION
104.00 | Installation of exhaust fan up to 450 mm sweep in the existing opening including making the hole to suit the size to the size of the above fan, making good the damages, connections with 3C x 1.5 sq mm PVC insulated PVC sheathed multi stranded cable, earthing the body with bare copper conductor, testing, commissioning etc.as reqd along with supply and fixing louvers / shutters complete with frame etc.as reqd.including numbering with paint. | 20.00 | Nos. |  | 977.50 | 19550.00 | 250.00 | 5000.00 | 1000.00 | 20000.00 | 130.00 | 2600.00 | 2600.00 | M/S S.B.CONSTRUCTION
105.00 | Supplying and fixing following ways surface / recess mounting, vertical type, 415 V, TP&N MCB distribution board of sheet steel, dust protected, duly powder painted inclusive of 200 A, tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer & RCCB) as required. - 4 way, Double door. | 2.00 | No. |  | 3047.50 | 6095.00 | 5100.00 | 10200.00 | 1100.00 | 2200.00 | 17550.00 | 35100.00 | 2200.00 | S.Singh and Company
106.00 | Supplying and fixing following ways surface / recess mounting, vertical type, 415 V, TP&N MCB distribution board of sheet steel, dust protected, duly powder painted inclusive of 200 A, tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer & RCCB) as required. - 8 way, Double door. | 3.00 | No. |  | 17825.00 | 53475.00 | 5100.00 | 15300.00 | 2600.00 | 7800.00 | 20800.00 | 62400.00 | 7800.00 | S.Singh and Company
107.00 | Supplying & fixing 5 amps. to 32 amps. rating, 240 / 415 volts, 10 kA, C curve miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing & commissioning etc. as reqd. - Single Pole. | 96.00 | No. |  | 149.50 | 14352.00 | 180.00 | 17280.00 | 450.00 | 43200.00 | 249.60 | 23961.60 | 14352.00 | PABSCON
108.00 | Supplying and Fixing following rating miniature circuit breaker of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required - 63 amps, 4 pole RCCB, 100 mA | 5.00 | No. |  | 2875.00 | 14375.00 | 2300.00 | 11500.00 | 6000.00 | 30000.00 | 4550.00 | 22750.00 | 11500.00 | L K BUILDERS
109.00 | Supplying and fixing following rating, four pole, 415 volts, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as reqd.. - 63 Amps. | 5.00 | No. |  | 805.00 | 4025.00 | 700.00 | 3500.00 | 6000.00 | 30000.00 | 1950.00 | 9750.00 | 3500.00 | L K BUILDERS
110.00 | Providing and fixing of MS enclosure on wall of size not less than 500 mm (W) x 750 mm (L) x 250 mm (D), fabricated with 14 SWG MS sheet, dust protected, duly powder painted having hinged door on the front with locking arrangement. Providing and fixing the following switchgears and accessories inside the enclosure including all interconnections by using copper flexible cable of suitable size and capacity with proper socketing etc. and necessary earthing etc. as required. a) Neutral Terminal (Al. Strip) on suitable insulator support - 1 set. | 1.00 | Set |  | 8625.00 | 8625.00 | 6000.00 | 6000.00 | 18000.00 | 18000.00 | 32500.00 | 32500.00 | 6000.00 | L K BUILDERS
111.00 | Supply of following size XLPE insulated & PVC sheathed armoured electric cables with al. cond. for working voltage 1100 volts to IS :7098 (part-1).
111.01 | 2 core 6 sq. mm. | 250.00 | Mtrs. |  | 69.00 | 17250.00 | 77.00 | 19250.00 | 450.00 | 112500.00 | 93.60 | 23400.00 | 17250.00 | PABSCON
111.02 | 4 core 35 sq. mm. | 100.00 | Mtrs. |  | 151.80 | 15180.00 | 100.00 | 10000.00 | 2500.00 | 250000.00 | 247.00 | 24700.00 | 10000.00 | L K BUILDERS
112.00 | Laying & fixing of one number XLPE insulated & PVC sheathed aluminum conductor armoured power cable of 1.1 KV grade of size not exceeding 35 sq. mm.on surface as reqd. | 350.00 | Mtrs. |  | 34.50 | 12075.00 | 40.00 | 14000.00 | 290.00 | 101500.00 | 58.50 | 20475.00 | 12075.00 | PABSCON
113.00 | Supplying and making end termination with brass compression gland and aluminum lugs for following size of XLPE insulated & PVC sheathed aluminum conductor cable of 1.1 KV grade as required.
113.01 | 2 core 6 sq. mm. | 14.00 | Sets |  | 80.50 | 1127.00 | 150.00 | 2100.00 | 290.00 | 4060.00 | 104.00 | 1456.00 | 1127.00 | PABSCON
113.02 | 4 core 35 sq. mm. | 10.00 | Sets |  | 109.25 | 1092.50 | 200.00 | 2000.00 | 290.00 | 2900.00 | 143.00 | 1430.00 | 1092.50 | PABSCON
114.00 | Earthing with G.I. earth pipe 4.5 meter long, 40 mm dia. including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. without charcoal / coke and salt as required. | 10.00 | Sets. |  | 10350.00 | 103500.00 | 4000.00 | 40000.00 | 7000.00 | 70000.00 | 2860.00 | 28600.00 | 28600.00 | M/S S.B.CONSTRUCTION
115.00 | Supplying and fixing 25 mm. x 5 mm GI strip in 40 mm dia. GI pipe from earth electrode including connection with GI nut, bolt, spring washer, excavation and refilling etc. as reqd. | 25.00 | Mtrs. |  | 40.25 | 1006.25 | 440.00 | 11000.00 | 550.00 | 13750.00 | 377.00 | 9425.00 | 1006.25 | PABSCON
116.00 | Providing and fixing 25 mm. x 5 mm GI strip on surface or in recess for connections etc. as reqd. | 75.00 | Mtrs. |  | 46.00 | 3450.00 | 175.00 | 13125.00 | 550.00 | 41250.00 | 175.50 | 13162.50 | 3450.00 | PABSCON
117.00 | Supply, installation, testing and commissioning of minimum 80 ltr. storage complete stainless steel body, water cooler cum purifier with 20" iron remover having min. 60 ltr. cooling capacity and min. 80 ltr. storage capacity, water outlet 60 ltr. per hour, refrigerant used R- 22, compressor, storage tank material SS304 or better, Body material SS304 complete, number of water outlet minimum two - 1No. for cold water & 1No. for normal water, operating supply 230V +/- 10% AC, 50 Hz. The equipment should have fault indication, visual controls (LEDs), water flow switch, UV auto shut off,etc. as required. | 2.00 | Each |  | 80500.00 | 161000.00 | 54000.00 | 108000.00 | 8500.00 | 17000.00 | 143000.00 | 286000.00 | 17000.00 | S.Singh and Company
| Total in Figures |  |  |  |  | 40069964.35 |  | 42700255.00 |  | 62983200.00 |  | 70191756.60
Lowest Amount Quoted BY: PABSCON(40069964.35)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Substation building and Tender ID: 2020_AAI_57043_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | PABSCON | 40069964.35 | L1
| 2 | L K BUILDERS | 42700255.00 | L2
| 3 | S.Singh and Company | 62983200.00 | L3
| 4 | M/S S.B.CONSTRUCTION | 70191756.60 | L4