## BoQ1
Government eProcurement System Created By: Debdeep Dutta Created Date/Time: 16-Oct-2020 02:40 PM Tender Title: ARMO20-22 SH Annual Operation and Comprehensive Maintenance Contract of HVAC system including Split AC VRF System Water coolers Water dispensers BMS system etc at Goa Airport Tender ID: 2020_AAI_57047_1
Tender Inviting Authority: Jt. Gen. Manager (Engg-E)
Name of Work: ARMO: 2020-2022. SH: Annual Operation & Comprehensive maintenance contract of HVAC system including Split A/C, VRF System, Water coolers, Water dispensors, BMS system etc at Goa Airport.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ANOOP REFRIGERATION(GSTN-09AAGFA4646N1Z1) |  | Supertech Engineers(GSTN-07AAMPS2459M1ZZ) |  | Blue Star Limited(GSTN-27AAACB4487D1ZS) |  | AIRTEK HVAC LLP(GSTN-27ABCFA1858K1ZB) |  | Voltas Ltd(GSTN-27AAACV2809D1ZM)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual Operation & routine maintenance contract of HVAC system comprising of 4 Nos. X 600 TR capacity Centrifugal Air-conditioning chiller Plant , cooling tower ( 4 No X 720 TR), Primary & Secondary chilled water pumps, condenser water pumps, AHUs, CSUs, FCUs, AHF, Ventilating fan, grilles , diffusers, Inline fans, lift & stair case pressurisation fans, smoke extraction fans, Ductable AC, split AC units, electrical Panels, Control Panels, VFD's, BMS system etc by providing specified manpower as per conditions of contract . Shift management includes operation of equipments, monitoring, recording various parameters, upkeeping, routine maintenance as per detailed technical specification, schedule, special conditions of contract up to the satisfaction of Engineer-InCharge complete as required. | 24.00 | Months |  | 770033.00 | 18480792.00 | 922000.00 | 22128000.00 | 808311.00 | 19399464.00 | 710000.00 | 17040000.00 | 788600.00 | 18926400.00 | 17040000.00 | AIRTEK HVAC LLP
2.00 | Comprehensive maintenance of 4 Nos. X 600 TR capacity water cooled centrifugal chiller of Carrier Make as detailed in Annexure-"A" including, supply and fixing / repair / replacement of defective components, gas charging as and when required, replacement of oill filters once in a year, Replacement of Oil reclaim refrigerant filters once in a year, carrying out preventive and breakdown maintenance as per manufacturer's & AAI guidelines, troubleshooting of faults , providing all replacement spares & consumables, maintenance of records/documentation etc as per special conditions of contract complete as required. | 24.00 | Months |  | 170000.00 | 4080000.00 | 105000.00 | 2520000.00 | 110400.00 | 2649600.00 | 265000.00 | 6360000.00 | 52750.00 | 1266000.00 | 1266000.00 | Voltas Ltd
3.00 | Comprehensive maintenance of all ancillary equipments, machineries and accessories of HVAC system comprising of Primary & Secondary chilled water pumps, condenser water pumps, Cooling towers, AHUs, CSUs, FCUs, AHFs, Ventilating fans, Inline fans, lift & stair case pressurisation fans, smoke extraction fans, Ductable split AC units, electrical Panels, Control Panels, VFD's, Chilled water & condensor water piping, ducting, insulation, grilles , diffusers, power cable, control cable etc as per detailed equipment list in Annexure-"B". The work includes preventive and breakdown maintenance as per manufacturer's & AAI guidelines, painting of exposed metal parts once a year, repair/replacement of defective components, troubleshooting of faults, providing all replacement spares and consumables including inter connecting cables, maintaining of records/documentation etc to ensure serviceablity and smooth operation of HVAC system as per special conditions of contract, specifications complete as required. Monthly visit of HVAC consultant for evaluating equipment performance as per special condition of 33 (page no. 150) | 24.00 | Months |  | 69000.00 | 1656000.00 | 40000.00 | 960000.00 | 133333.00 | 3199992.00 | 35000.00 | 840000.00 | 52350.00 | 1256400.00 | 840000.00 | AIRTEK HVAC LLP
4.00 | Quterly Visit by OEM/ Authorized dealer of OEM etc as required for Maintenance of the Building Management System comprising of PC's, monitors, printers, DDC panels, system integration units, BMS software, sensors and field devices, interconnecting cable etc as per the detailed equipment list in Annexure "C". In case of breakdown, visit to be arranged within 48 hrs. Material required will not be covered. | 8.00 | Visit |  | 20000.00 | 160000.00 | 25000.00 | 200000.00 | 35000.00 | 280000.00 | 5500.00 | 44000.00 | 15550.00 | 124400.00 | 44000.00 | AIRTEK HVAC LLP
5.00 | Treatment and analysis of HVAC condensor water including providing of chemicals and regular dosing for cooling tower water (condensor water) of 600TR x 4 capacity AC plant (Cooling tower 4 Nos of 720TR rating) so as to maintain all parameters and performance within permissible limits and as per the attached list of chemical products and their minimum consumable quantity as mentioned in the conditions of contract . The work shall be carried out as per attached technical specification / special conditions of contract and up to the satisfaction of E-I-C. | 24.00 | Months |  | 12000.00 | 288000.00 | 18500.00 | 444000.00 | 50820.00 | 1219680.00 | 5500.00 | 132000.00 | 25200.00 | 604800.00 | 132000.00 | AIRTEK HVAC LLP
6.00 | Treatment and analysis of HVAC chilled water including providing of chemicals and regular dosing of chemicals for chilled water system of 600TR x 4 capacity AC plant so as to maintain all parameters and performance within permissible limits and as per the attached list of chemical products and their minimum consumable quantity as mentioned in the conditions of contract . The work shall be carried out as per attached technical specification / special conditions of contract and up to the satisfaction of E-I-C. | 24.00 | Months |  | 12000.00 | 288000.00 | 9500.00 | 228000.00 | 11391.00 | 273384.00 | 5500.00 | 132000.00 | 13125.00 | 315000.00 | 132000.00 | AIRTEK HVAC LLP
7.00 | Comprehensive maintenance contract of window / split type air-conditioners of all makes of 1.5 ton - 2.0 ton capacity with single phase supply at different locations including providing / replacement of all faulty components / consumables/ spares etc as and when required as per the site requirements including servicing the existing voltage stabilizers etc as required.
7.01 | First Year | 50.00 | Each Per Annum |  | 1488.00 | 74400.00 | 1200.00 | 60000.00 | 2500.00 | 125000.00 | 2500.00 | 125000.00 | 2660.00 | 133000.00 | 60000.00 | Supertech Engineers
7.02 | Second Year | 50.00 | Each Per Annum |  | 1488.00 | 74400.00 | 1250.00 | 62500.00 | 2800.00 | 140000.00 | 2500.00 | 125000.00 | 2660.00 | 133000.00 | 62500.00 | Supertech Engineers
8.00 | Comprehensive maintenance contract of split/ multi-split type airconditioners of all makes of 3.0 ton capacity with 3 phase supply including providing / replacement of faulty components / consumables / spares etc as and when required as per the site requirements including the servicing existing voltage stabilizers etc as required.
8.01 | First Year | 48.00 | Each Per Annum |  | 3300.00 | 158400.00 | 1350.00 | 64800.00 | 4000.00 | 192000.00 | 2500.00 | 120000.00 | 3660.00 | 175680.00 | 64800.00 | Supertech Engineers
8.02 | Second Year | 48.00 | Each Per Annum |  | 3300.00 | 158400.00 | 1450.00 | 69600.00 | 4300.00 | 206400.00 | 2500.00 | 120000.00 | 3660.00 | 175680.00 | 69600.00 | Supertech Engineers
9.00 | Comprehensive maintenance contract of water coolers of all makes of 40/80 and 80/120 ltr. etc Capacity respectively, at different locations including providing or replacement of faulty components / consumables / spares etc when required as per the requirements.
9.01 | First Year | 9.00 | Each Per Annum |  | 3000.00 | 27000.00 | 2350.00 | 21150.00 | 4500.00 | 40500.00 | 5000.00 | 45000.00 | 5550.00 | 49950.00 | 21150.00 | Supertech Engineers
9.02 | Second Year | 9.00 | Each Per Annum |  | 5000.00 | 45000.00 | 2450.00 | 22050.00 | 4800.00 | 43200.00 | 5000.00 | 45000.00 | 6200.00 | 55800.00 | 22050.00 | Supertech Engineers
10.00 | Comprehensive maintenance contract of self standing water dispenser of all makes at different locations including providing or replacement of faulty components / consumables / spares etc when required as per the requirements.
10.01 | First Year | 3.00 | Each Per Annum |  | 1800.00 | 5400.00 | 2350.00 | 7050.00 | 1500.00 | 4500.00 | 7500.00 | 22500.00 | 5550.00 | 16650.00 | 4500.00 | Blue Star Limited
10.02 | Second Year | 3.00 | Each Per Annum |  | 1800.00 | 5400.00 | 2400.00 | 7200.00 | 1500.00 | 4500.00 | 7500.00 | 22500.00 | 6200.00 | 18600.00 | 4500.00 | Blue Star Limited
11.00 | Comprehensive maintenance contract of water Purifier of all makes at different locations including providing or replacement of faulty components / consumables / spares etc when required as per the requirements.
11.01 | First Year | 5.00 | Each Per Annum |  | 4500.00 | 22500.00 | 3850.00 | 19250.00 | 3500.00 | 17500.00 | 7500.00 | 37500.00 | 6650.00 | 33250.00 | 17500.00 | Blue Star Limited
11.02 | Second Year | 5.00 | Each Per Annum |  | 4500.00 | 22500.00 | 3950.00 | 19750.00 | 3500.00 | 17500.00 | 7500.00 | 37500.00 | 7350.00 | 36750.00 | 17500.00 | Blue Star Limited
12.00 | Comprehensive maintenance contract for VRF (Variable Refrigerant Flow) system consisting of 16 nos. 1.5 ton high wall mounting indoor units, 2 nos. cassette type indoor units and 2 nos. 16 HP capacity air cooled out door units including all related accessories installed in cargo complex at Goa Airport on monthly basis. The work includes providing & replacement of all faulty component / consumables spares, compressors etc. as required. | 24.00 | Months |  | 4050.00 | 97200.00 | 12500.00 | 300000.00 | 5867.00 | 140808.00 | 8000.00 | 192000.00 | 7110.00 | 170640.00 | 97200.00 | ANOOP REFRIGERATION
13.00 | Comprehensive maintenance contract for VRF (Variable Refrigerant Flow) system consisting of 39 nos. indoor units varying from 1 Ton - 2 Ton rating, and 3 nos. 22 HP capacity air cooled out door units including all related accessories installed in new admin block at Goa Airport on monthly basis. The work includes providing & replacement of all faulty component / consumables spares, compressors etc. as required. | 24.00 | Months |  | 8775.00 | 210600.00 | 14500.00 | 348000.00 | 12100.00 | 290400.00 | 7500.00 | 180000.00 | 14650.00 | 351600.00 | 180000.00 | AIRTEK HVAC LLP
14.00 | Replacement of old worn out AHU air filters with new filter of box type, pre-filter, 10 micron (90% efficiency) of following sizes (old defective filters shall be retained by the agency and credit for the same shall be considered while quoting)
14.01 | 610X610X48 | 802.00 | Each |  | 342.00 | 274284.00 | 780.00 | 625560.00 | 847.00 | 679294.00 | 950.00 | 761900.00 | 520.00 | 417040.00 | 274284.00 | ANOOP REFRIGERATION
14.02 | 600X600X48 | 40.00 | Each |  | 342.00 | 13680.00 | 750.00 | 30000.00 | 847.00 | 33880.00 | 850.00 | 34000.00 | 520.00 | 20800.00 | 13680.00 | ANOOP REFRIGERATION
14.03 | 600X400X48 | 16.00 | Each |  | 300.00 | 4800.00 | 570.00 | 9120.00 | 828.00 | 13248.00 | 850.00 | 13600.00 | 480.00 | 7680.00 | 4800.00 | ANOOP REFRIGERATION
14.04 | 305X610X48 | 47.00 | Each |  | 270.00 | 12690.00 | 480.00 | 22560.00 | 797.00 | 37459.00 | 750.00 | 35250.00 | 368.00 | 17296.00 | 12690.00 | ANOOP REFRIGERATION
14.05 | 610X305X48 | 118.00 | Each |  | 240.00 | 28320.00 | 480.00 | 56640.00 | 797.00 | 94046.00 | 850.00 | 100300.00 | 368.00 | 43424.00 | 28320.00 | ANOOP REFRIGERATION
14.06 | 305X305X48 | 28.00 | Each |  | 210.00 | 5880.00 | 480.00 | 13440.00 | 746.00 | 20888.00 | 850.00 | 23800.00 | 260.00 | 7280.00 | 5880.00 | ANOOP REFRIGERATION
14.07 | 500X505X48 | 12.00 | Each |  | 330.00 | 3960.00 | 350.00 | 4200.00 | 809.00 | 9708.00 | 850.00 | 10200.00 | 510.00 | 6120.00 | 3960.00 | ANOOP REFRIGERATION
14.08 | 600X505X48 | 8.00 | Each |  | 360.00 | 2880.00 | 710.00 | 5680.00 | 834.00 | 6672.00 | 850.00 | 6800.00 | 520.00 | 4160.00 | 2880.00 | ANOOP REFRIGERATION
14.09 | 300X610X48 | 14.00 | Each |  | 288.00 | 4032.00 | 650.00 | 9100.00 | 797.00 | 11158.00 | 850.00 | 11900.00 | 368.00 | 5152.00 | 4032.00 | ANOOP REFRIGERATION
14.10 | 610X300X48 | 4.00 | Each |  | 288.00 | 1152.00 | 480.00 | 1920.00 | 797.00 | 3188.00 | 850.00 | 3400.00 | 368.00 | 1472.00 | 1152.00 | ANOOP REFRIGERATION
15.00 | Replacement of chiller compressor lube oil by charging with newly supplied Polyester based synthetic compressor oil suitable for Carrier make , Model 19XR5052436LDH52 including draining out old oil , temporary transfer of refrigerant to condensor vessel / pump out storage, testing and commissioning of chiller after oil replacement etc complete as required as per OEM specifications (credit of old used oil shall be considered while quoting) . | 180.00 | Litre |  | 1550.00 | 279000.00 | 4400.00 | 792000.00 | 2742.00 | 493560.00 | 1600.00 | 288000.00 | 1810.00 | 325800.00 | 279000.00 | ANOOP REFRIGERATION
16.00 | Replacement of following size defective valves with CI body butterfly valves for condensor / chilled water piping including dismantling of faulty valve, supply & erection of newly supplied valve , making good the damages like insulation & gasket etc complete as required (credit for old dismantled valve shall be considered while quoting)
16.01 | 500 mm dia valve | 3.00 | Each |  | 33055.00 | 99165.00 | 45000.00 | 135000.00 | 62074.00 | 186222.00 | 45000.00 | 135000.00 | 44495.00 | 133485.00 | 99165.00 | ANOOP REFRIGERATION
16.02 | 400 mm dia valve | 3.00 | Each |  | 18700.00 | 56100.00 | 25000.00 | 75000.00 | 46676.00 | 140028.00 | 40000.00 | 120000.00 | 27985.00 | 83955.00 | 56100.00 | ANOOP REFRIGERATION
16.03 | 350 mm dia valve | 1.00 | Each |  | 14158.00 | 14158.00 | 21000.00 | 21000.00 | 37188.00 | 37188.00 | 33500.00 | 33500.00 | 21250.00 | 21250.00 | 14158.00 | ANOOP REFRIGERATION
16.04 | 300 mm dia valve | 8.00 | Each |  | 5929.00 | 47432.00 | 20000.00 | 160000.00 | 21733.00 | 173864.00 | 16500.00 | 132000.00 | 10725.00 | 85800.00 | 47432.00 | ANOOP REFRIGERATION
16.05 | 250 mm dia valve | 6.00 | Each |  | 4428.00 | 26568.00 | 12500.00 | 75000.00 | 16182.00 | 97092.00 | 11500.00 | 69000.00 | 8325.00 | 49950.00 | 26568.00 | ANOOP REFRIGERATION
16.06 | 200 mm dia valve | 1.00 | Each |  | 3397.00 | 3397.00 | 8000.00 | 8000.00 | 9378.00 | 9378.00 | 9500.00 | 9500.00 | 3660.00 | 3660.00 | 3397.00 | ANOOP REFRIGERATION
16.07 | 150 mm dia valve | 2.00 | Each |  | 1834.00 | 3668.00 | 5000.00 | 10000.00 | 6571.00 | 13142.00 | 7500.00 | 15000.00 | 1815.00 | 3630.00 | 3630.00 | Voltas Ltd
17.00 | Replacement of defective industrial type pressure guage for condensor/chiller line including dismantling of faulty pressure guage, supply and installation of new pressure guages making good the damages like insulation etc complete as required (credit for old dismantled guage shall be considered while quoting) | 75.00 | Each |  | 480.00 | 36000.00 | 1550.00 | 116250.00 | 1195.00 | 89625.00 | 1450.00 | 108750.00 | 970.00 | 72750.00 | 36000.00 | ANOOP REFRIGERATION
18.00 | Supply, fabrication, installation, testing and commissioning of site fabricated GSS sheet metal ducting complete with gaskets, elbows, hangers, anchor fastener, supports etc. including drawings and specifications of following sheet thickness complete as required. Thickness 0.60 mm sheet. | 400.00 | Sq.mtr |  | 720.00 | 288000.00 | 750.00 | 300000.00 | 940.00 | 376000.00 | 850.00 | 340000.00 | 1067.00 | 426800.00 | 288000.00 | ANOOP REFRIGERATION
19.00 | Comprehensive maintenance contract for VRF (Variable Refrigerant Flow) system consisting of 5 nos. indoor units - 2 Ton capacity, and 2 nos. Casette unit of 3 Ton capacity and 22 HP capacity air cooled out door units including all related accessories installed in Apron control room, etc at Goa Airport on monthly basis. The work includes providing & replacement of all faulty component / consumables spares, compressors etc. as required. | 12.00 | Month |  | 667.00 | 8004.00 | 13000.00 | 156000.00 | 2017.00 | 24204.00 | 9500.00 | 114000.00 | 4900.00 | 58800.00 | 8004.00 | ANOOP REFRIGERATION
| Total in Figures |  |  |  |  | 27067162.00 |  | 30107820.00 |  | 30794272.00 |  | 27985900.00 |  | 25639904.00
Lowest Amount Quoted BY: Voltas Ltd(25639904.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO20-22 SH Annual Operation and Comprehensive Maintenance Contract of HVAC system including Split AC VRF System Water coolers Water dispensers BMS system etc at Goa Airport Tender ID: 2020_AAI_57047_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Voltas Ltd | 25639904.00 | L1
| 2 | ANOOP REFRIGERATION | 27067162.00 | L2
| 3 | AIRTEK HVAC LLP | 27985900.00 | L3
| 4 | Supertech Engineers | 30107820.00 | L4
| 5 | Blue Star Limited | 30794272.00 | L5