## BoQ1
Government eProcurement System Created By: JOSEPHINE JULIANA Created Date/Time: 16-Oct-2020 11:35 AM Tender Title: SUPPLY OF ELECTRICAL SPARES FOR DAY-TO-DAY MAINTENANCE WORKS Tender ID: 2020_AAI_57877_1
Tender Inviting Authority: ASST. GEN. MANAGER ENGG-ELECT.
Name of Work: ARMO of E&M installations at VSI Airport Port Blair for the year 2020-21. SH : Supply of Electrical Spares for Day-to-Day Maintenance works.
E Bid No: 2020_AAI_57877_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHREE NURSING TIMBER AND ELECTRIC STORES(GSTN-19AEPPM5719K1ZS) |  | BLUE CHIP CONSULTANCY SERVICE(GSTN-35AKGPK3452Q1ZQ) |  | SHREE GOURI ELECTRIC ENTERPRISE(GSTN-19ADDPB4683J1ZE) |  | Kakolil Trade Agencies(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following sizes PVC insulated Industrial Grade single core copper conductor (Unsheathed) flexible HRFR wire of 1100 volts conforming to relevant IS: 694 of standard length etc as required.
1.01 | 1.5 sq. mm (Coil of 90 Mtrs) | 10.00 | Coils | 100.00 | 1160.00 | 11600.00 | 1420.00 | 14200.00 | 1359.00 | 13590.00 | 1410.00 | 14100.00 | 11600.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
1.02 | 2.5 sq. mm (Coil of 90 Mtrs) | 10.00 | Coils | 100.00 | 1856.00 | 18560.00 | 2040.00 | 20400.00 | 2086.00 | 20860.00 | 2410.00 | 24100.00 | 18560.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
2.00 | Supply of Multicore Round PVC insulated and FR PVC round sheathed copper condutor flexible industrial cable of 1100 volts grade conforming to relevant IS: 694 with up to date ammendment of standard size and of following size
2.01 | 3 X 1.5 sq.mm (Coil of 100 Mtrs) | 5.00 | Coils | 100.00 | 3996.00 | 19980.00 | 4550.00 | 22750.00 | 4635.00 | 23175.00 | 5398.00 | 26990.00 | 19980.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
2.02 | 3 X 2.5 sq.mm (Coil of 100 Mtrs) | 15.00 | Coils | 100.00 | 6312.00 | 94680.00 | 7550.00 | 113250.00 | 7472.00 | 112080.00 | 8500.00 | 127500.00 | 94680.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
2.03 | 4 X 4 sq.mm (Coil of 100 Mtrs) | 3.00 | Coils | 100.00 | 12820.00 | 38460.00 | 13800.00 | 41400.00 | 13657.00 | 40971.00 | 17230.00 | 51690.00 | 38460.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
2.04 | 6 X 4 sq.mm (Coil of 100 Mtrs) | 2.00 | Coils | 100.00 | 22680.00 | 45360.00 | 23200.00 | 46400.00 | 24085.00 | 48170.00 | 28046.00 | 56092.00 | 45360.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
3.00 | Supply of following capacity MCB's/Isolator suitable for operation on 230V / 415V 50Hz AC supply etc as required.
3.01 | Single Pole MCB 16 Amp 'B' series | 10.00 | Nos. | 100.00 | 125.00 | 1250.00 | 160.00 | 1600.00 | 135.00 | 1350.00 | 142.00 | 1420.00 | 1250.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
3.02 | Single Pole MCB 32 Amp 'B' series | 30.00 | Nos. | 100.00 | 125.00 | 3750.00 | 160.00 | 4800.00 | 135.00 | 4050.00 | 142.00 | 4260.00 | 3750.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
3.03 | Double Pole MCB 32 Amp 'B' series | 30.00 | Nos. | 100.00 | 380.00 | 11400.00 | 510.00 | 15300.00 | 408.00 | 12240.00 | 606.00 | 18180.00 | 11400.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
3.04 | 63 Amp TPN MCB 'B' series | 10.00 | Nos. | 100.00 | 1211.00 | 12110.00 | 1575.00 | 15750.00 | 1296.00 | 12960.00 | 1495.00 | 14950.00 | 12110.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
3.05 | 3-pole MCB 32A 'C' series | 10.00 | Nos. | 100.00 | 621.00 | 6210.00 | 810.00 | 8100.00 | 666.00 | 6660.00 | 1350.00 | 13500.00 | 6210.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
3.06 | 3-pole MCB 63A 'C' series | 5.00 | Nos. | 100.00 | 950.00 | 4750.00 | 1370.00 | 6850.00 | 1017.00 | 5085.00 | 1690.00 | 8450.00 | 4750.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
3.07 | Single Pole MCB 20 Amp 'C' series | 10.00 | Nos. | 100.00 | 125.00 | 1250.00 | 170.00 | 1700.00 | 135.00 | 1350.00 | 160.00 | 1600.00 | 1250.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
3.08 | 63 Amp Two pole MCB 'C' series | 5.00 | Nos. | 100.00 | 612.00 | 3060.00 | 810.00 | 4050.00 | 656.00 | 3280.00 | 990.00 | 4950.00 | 3060.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
3.09 | 25Amp single pole MCB 'C' series | 20.00 | Nos. | 100.00 | 125.00 | 2500.00 | 140.00 | 2800.00 | 135.00 | 2700.00 | 160.00 | 3200.00 | 2500.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
4.00 | Supply of 1 phase Energy meter,ISI marked as required. (5A -32A) | 10.00 | Nos. | 100.00 | 607.00 | 6070.00 | 1700.00 | 17000.00 | 750.00 | 7500.00 | 2200.00 | 22000.00 | 6070.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
5.00 | Supply of Sheet metal SPN double door distribution boards
5.01 | 4 Way | 4.00 | Nos. | 100.00 | 755.00 | 3020.00 | 1200.00 | 4800.00 | 807.00 | 3228.00 | 1050.00 | 4200.00 | 3020.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
5.02 | 6 Way | 2.00 | Nos. | 100.00 | 844.00 | 1688.00 | 1360.00 | 2720.00 | 821.00 | 1642.00 | 1210.00 | 2420.00 | 1642.00 | SHREE GOURI ELECTRIC ENTERPRISE
6.00 | Supply of following switch / sockets and other miscellaneous items as per approved makes of AAI
6.01 | 6 Amps Piano type switch (1 way) | 100.00 | Nos. | 100.00 | 13.00 | 1300.00 | 19.00 | 1900.00 | 15.00 | 1500.00 | 18.00 | 1800.00 | 1300.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
6.02 | 5/6 Amps Piano type Socket | 50.00 | Nos. | 100.00 | 25.00 | 1250.00 | 30.00 | 1500.00 | 27.00 | 1350.00 | 32.00 | 1600.00 | 1250.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
6.03 | 5/6 Amps 3 pin Plug top | 60.00 | Nos. | 100.00 | 43.00 | 2580.00 | 54.00 | 3240.00 | 50.00 | 3000.00 | 45.00 | 2700.00 | 2580.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
6.04 | 15/16 Amps 3 pin Plug top | 60.00 | Nos. | 100.00 | 58.00 | 3480.00 | 70.00 | 4200.00 | 66.00 | 3960.00 | 65.00 | 3900.00 | 3480.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
6.05 | 5/6 Amps Combined Switch and Socket with plastic box (two fixing holes) | 50.00 | Nos. | 100.00 | 81.00 | 4050.00 | 100.00 | 5000.00 | 48.00 | 2400.00 | 115.00 | 5750.00 | 2400.00 | SHREE GOURI ELECTRIC ENTERPRISE
6.06 | 20/10 Amps Combined Switch and Socket with plastic box (two fixing holes) | 70.00 | Nos. | 100.00 | 126.00 | 8820.00 | 155.00 | 10850.00 | 84.00 | 5880.00 | 165.00 | 11550.00 | 5880.00 | SHREE GOURI ELECTRIC ENTERPRISE
6.07 | Electronic two module 100W deluxe rotary step type fan regulator (Switch Type) | 60.00 | Nos. | 100.00 | 74.00 | 4440.00 | 195.00 | 11700.00 | 239.00 | 14340.00 | 360.00 | 21600.00 | 4440.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
6.08 | Handy / Add-on power extension box with 02 Nos. luminus 16A switch with 01 No. 6A multisocket & 02 Nos. 6/16A sockets with protected extension boxes IP 40 with 2.5 mtr long wire. | 10.00 | Nos. | 100.00 | 1620.00 | 16200.00 | 1370.00 | 13700.00 | 818.00 | 8180.00 | 600.00 | 6000.00 | 6000.00 | Kakolil Trade Agencies
6.09 | Handy / Add-on power extension box with 02 Nos. luminus 6A switch with 04 Nos. 6A multisocket with protected extension boxes IP 40 with 2.5 mtr long wire. | 10.00 | Nos. | 100.00 | 1620.00 | 16200.00 | 1200.00 | 12000.00 | 546.00 | 5460.00 | 425.00 | 4250.00 | 4250.00 | Kakolil Trade Agencies
7.00 | Supply of following size ISI marked PVC casing caping / Conduit pipe etc.
7.01 | 25 X 10 mm casing caping medium class as per relevant IS (2 meter length) | 200.00 | Nos. | 100.00 | 38.00 | 7600.00 | 50.00 | 10000.00 | 70.00 | 14000.00 | 46.00 | 9200.00 | 7600.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
7.02 | 20 mm PVC conduit pipe medium class as per relevant IS (3 meter length) | 50.00 | Nos. | 100.00 | 47.00 | 2350.00 | 60.00 | 3000.00 | 195.00 | 9750.00 | 45.00 | 2250.00 | 2250.00 | Kakolil Trade Agencies
7.03 | 25 mm PVC conduit pipe medium class as per relevant IS (3 meter length) | 50.00 | Nos. | 100.00 | 68.00 | 3400.00 | 75.00 | 3750.00 | 238.00 | 11900.00 | 52.00 | 2600.00 | 2600.00 | Kakolil Trade Agencies
8.00 | Supply of Capacitors of following rating to operate on 240V, 50 Hz AC supply etc. as required. 2.5 MFD (for fan) | 150.00 | Nos. | 100.00 | 24.00 | 3600.00 | 48.00 | 7200.00 | 43.00 | 6450.00 | 30.00 | 4500.00 | 3600.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
9.00 | Supply of 18W/20W LED T8 tubular lamp | 500.00 | Nos. | 100.00 | 405.00 | 202500.00 | 300.00 | 150000.00 | 286.00 | 143000.00 | 450.00 | 225000.00 | 143000.00 | SHREE GOURI ELECTRIC ENTERPRISE
10.00 | Supply of 18W /20W LED T8 tubular lamp fitting with extruded aluminium / PC body and PC diffuser complete with inbuilt driver | 20.00 | Nos. | 100.00 | 540.00 | 10800.00 | 320.00 | 6400.00 | 417.00 | 8340.00 | 550.00 | 11000.00 | 6400.00 | BLUE CHIP CONSULTANCY SERVICE
11.00 | Supply of 10W LED bulb | 100.00 | Nos. | 100.00 | 121.00 | 12100.00 | 195.00 | 19500.00 | 100.00 | 10000.00 | 100.00 | 10000.00 | 10000.00 | SHREE GOURI ELECTRIC ENTERPRISE, Kakolil Trade Agencies
12.00 | Supply of Screw, GI Clamp, Wall Grip etc, as required.
12.01 | Screw 1" inch (200 piece per Box) | 20.00 | Nos. | 100.00 | 141.00 | 2820.00 | 170.00 | 3400.00 | 109.00 | 2180.00 | 150.00 | 3000.00 | 2180.00 | SHREE GOURI ELECTRIC ENTERPRISE
12.02 | Screw 1½" inch (100 piece per Box) | 10.00 | Pkt | 100.00 | 113.00 | 1130.00 | 260.00 | 2600.00 | 48.00 | 480.00 | 80.00 | 800.00 | 480.00 | SHREE GOURI ELECTRIC ENTERPRISE
12.03 | Screw 2" inch (100 piece per Box) | 10.00 | Pkt | 100.00 | 182.00 | 1820.00 | 400.00 | 4000.00 | 76.00 | 760.00 | 100.00 | 1000.00 | 760.00 | SHREE GOURI ELECTRIC ENTERPRISE
12.04 | GI Clamp (20 mm) | 300.00 | Pkt | 100.00 | 162.00 | 48600.00 | 200.00 | 60000.00 | 177.00 | 53100.00 | 160.00 | 48000.00 | 48000.00 | Kakolil Trade Agencies
12.05 | Wall grip (8 No.) | 80.00 | Pkt | 100.00 | 202.00 | 16160.00 | 44.00 | 3520.00 | 30.00 | 2400.00 | 28.00 | 2240.00 | 2240.00 | Kakolil Trade Agencies
13.00 | Supply of Multi plug Adapter 5/6A ISI marked as required | 15.00 | Nos. | 100.00 | 54.00 | 810.00 | 145.00 | 2175.00 | 62.00 | 930.00 | 250.00 | 3750.00 | 810.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
14.00 | Supply of Multi plug Adapter 15/16A ISI marked as required | 15.00 | Nos. | 100.00 | 91.00 | 1365.00 | 250.00 | 3750.00 | 123.00 | 1845.00 | 350.00 | 5250.00 | 1365.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
15.00 | Supply of Batten Holder ISI marked as required. | 20.00 | Nos. | 100.00 | 28.00 | 560.00 | 48.00 | 960.00 | 35.00 | 700.00 | 32.00 | 640.00 | 560.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
16.00 | Supply of Pendant Holder ISI marked as required. | 20.00 | Nos. | 100.00 | 25.00 | 500.00 | 34.00 | 680.00 | 27.00 | 540.00 | 28.00 | 560.00 | 500.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
17.00 | Supply of 14W LED Mirror Light ISI marked as required similar to Crompton Make cat ref. LCL-14-CDL,230V, 50Hz . | 5.00 | Nos. | 100.00 | 1350.00 | 6750.00 | 1460.00 | 7300.00 | 477.00 | 2385.00 | 1100.00 | 5500.00 | 2385.00 | SHREE GOURI ELECTRIC ENTERPRISE
18.00 | Supply of Emergency Light ISI marked as required | 5.00 | Nos. | 100.00 | 2126.00 | 10630.00 | 3100.00 | 15500.00 | 1432.00 | 7160.00 | 750.00 | 3750.00 | 3750.00 | Kakolil Trade Agencies
| Total in Figures |  |  |  |  | 677513.00 |  | 711695.00 |  | 642881.00 |  | 797792.00
Lowest Amount Quoted BY: SHREE GOURI ELECTRIC ENTERPRISE(642881.00)

## BOQ Summary
BOQ Summary Details Tender Title: SUPPLY OF ELECTRICAL SPARES FOR DAY-TO-DAY MAINTENANCE WORKS Tender ID: 2020_AAI_57877_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SHREE GOURI ELECTRIC ENTERPRISE | 642881.00 | L1
| 2 | SHREE NURSING TIMBER AND ELECTRIC STORES | 677513.00 | L2
| 3 | BLUE CHIP CONSULTANCY SERVICE | 711695.00 | L3
| 4 | Kakolil Trade Agencies | 797792.00 | L4