## BoQ1
Government eProcurement System Created By: GUNDA SHIVA KUMAR Created Date/Time: 19-Oct-2020 01:06 PM Tender Title: Provision of Roof Top Solar plant above new CCR Hall at Coimbatore International Airport Tender ID: 2020_AAI_57984_1
Tender Inviting Authority: Sr.Manager (E-E), Airports Authority of India, Coimbatore International Airport, Coimbatore - 641014.
Name of Work: Provision of Roof Top Solar plant above new CCR Hall at Coimbatore International Airport.
Contract No: 2020_AAI_57984_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Arcedo Systems(GSTN-36ABGFA9411L1Z9) |  | BOUNDLESS ENVIRONMEMNT RESOURCE SOLUTION PVT. LTD.(GSTN-07AAGCB6883K1Z5) |  | SM RENERGY PRIVATE LIMITED(GSTN-NA) |  | Viridis Engineering India Pvt Ltd(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, detailed engineering, manufacturing, supply, installation testing and commissioning of Grid connected Rooftop Solar power plant on the existing GI roof with 50kWp inverter rating with overloading capacity and panels of min. 110% higher than the inverter rating, reverse power protection, Synchronizer suitable for existing supply , landing facility, AC & DC cables, MC4 connectors, communication data cables, array structure and arrangements for mounting shall be made of Aluminium 6063- T6 grade virgin material on the metal roof, weather monitoring system, cabling on cable tray / conduit, advance lightening system, with 3 nos. for Lightening protection, 2 nos AC earthing, 4 nos. DC earthing and, remote monitoring facility with suitable supporting equipment, LT cabling and necessary modifications to the esisting LT power supply system with HT panel at situated approx. 100 mtr away etc. as per specifications i/c transportation, insurance, transit insurance, required mounting arrangements, walkways of FRP and their anti-leak mounting arrangements, making necessary Panel arrangement on the GI roof etc, storage of materials, glare analysis, statutory clearances from TEDA/ TANGEDCO & approvals etc and any other items or accessories required for successful commissioning of power plant etc. as per technical specifications. | 1.00 | Job |  | 1975000.00 | 1975000.00 | 2110000.00 | 2110000.00 | 2311197.37 | 2311197.37 | 2801237.00 | 2801237.00 | 1975000.00 | Arcedo Systems
| Total in Figures |  |  |  |  | 1975000.00 |  | 2110000.00 |  | 2311197.37 |  | 2801237.00
Lowest Amount Quoted BY: Arcedo Systems(1975000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Roof Top Solar plant above new CCR Hall at Coimbatore International Airport Tender ID: 2020_AAI_57984_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Arcedo Systems | 1975000.00 | L1
| 2 | BOUNDLESS ENVIRONMEMNT RESOURCE SOLUTION PVT. LTD. | 2110000.00 | L2
| 3 | SM RENERGY PRIVATE LIMITED | 2311197.37 | L3
| 4 | Viridis Engineering India Pvt Ltd | 2801237.00 | L4