## BoQ1
Government eProcurement System Created By: Elina Ghosh Created Date/Time: 29-Oct-2020 01:47 PM Tender Title: Annual O and M Contract of E and M Installations and CMC of ACs and Water Purifier n Coolers at Bagdogra Airport for 2 years Tender ID: 2020_AAI_58009_2
Tender Inviting Authority: Elina Ghosh, AGM (E-E), AAI, NSCBI Airport, Kolkata - 52.
Name of Work:
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Youngmen Traders(GSTN-19AEIPB6323B1ZZ) |  | A R Rural Electricals(GSTN-19ADTPM5412E1ZD) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | Voltas Limited(GSTN-19AAACV2809D1ZJ) |  | ABHISHEK ASSOCIATES(GSTN-24ADZPD4239Q1ZT)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH -I : OPERATION & MAINTENANCE OF E & M INSTALLATIONS Operation & Maintenance of Electrical & Mechanical installations including Fire Alarm and Fire Fighting System of Operational and Non-Operational areas including periodical maintenance, repairs, attending to complaints /fault /breakdowns and taking rectification action, ensuring serviceability / satisfactory working condition of the entire system, maintenance of records/documentation etc. on all days including Sundays and holidays on round the clock basis.as per the detailed specifications, terms and conditions covered under this contract etc. complete as required. | 24.00 | Month |  | 395000.00 | 9480000.00 | 420000.00 | 10080000.00 | 450000.00 | 10800000.00 | 414390.00 | 9945360.00 | 420944.00 | 10102656.00 | 9480000.00 | Youngmen Traders
2.00 | SH -II : FILTRATION OF TRANSFORMER OIL AND OTHER MAINTENANCE WORKS Complete items of CPWD schedule of rates (electrical) internal & External- 2018 (Note: 1 Please refer particular specification clause no. 14 for Guidance of quoting rate for this item, 2 As per DSR 2018 total amount of work to be executed amounting to ₹ 2,00,000/- in 24 months ) | 1.00 | Job |  | 180000.00 | 180000.00 | 200000.00 | 200000.00 | 180000.00 | 180000.00 | 300000.00 | 300000.00 | 140000.00 | 140000.00 | 140000.00 | ABHISHEK ASSOCIATES
3.00 | Filtration of transformer oil in 1.25 MVA, 11KV / 415 V transformer including testing of transformer oil (acidity, moisture etc.) before and after filtration, confirming to latest indian standard at site till the reach of satisfactory di-electric strength of 50KV or above and submitting the report, replacement of silica gel of transformer etc as complete as required. a) First Year | 2.00 | Job |  | 4000.00 | 8000.00 | 4650.00 | 9300.00 | 21750.00 | 43500.00 | 250000.00 | 500000.00 | 6000.00 | 12000.00 | 8000.00 | Youngmen Traders
4.00 | b) Second Year | 2.00 | Job |  | 4000.00 | 8000.00 | 4650.00 | 9300.00 | 21750.00 | 43500.00 | 200000.00 | 400000.00 | 6000.00 | 12000.00 | 8000.00 | Youngmen Traders
5.00 | Top up the Transformers ISI with marked Transformer oil during filtration as per site requirement etc complete as required. | 100.00 | Ltr. |  | 130.00 | 13000.00 | 150.00 | 15000.00 | 175.00 | 17500.00 | 700.00 | 70000.00 | 215.00 | 21500.00 | 13000.00 | Youngmen Traders
6.00 | Repairing including rewinding and replacement of bearings of ceiling fan/wall fan/ exhaust fan of all make/model/type including transporting from the AAI store (as may be required) and returning back after thorough service etc as complete as required. (Dismantled copper wire need not return to AAI) | 30.00 | Nos. |  | 350.00 | 10500.00 | 500.00 | 15000.00 | 450.00 | 13500.00 | 1000.00 | 30000.00 | 550.00 | 16500.00 | 10500.00 | Youngmen Traders
7.00 | Repairing including rewinding and replacement of bearings of AirCirculators/ Pedestal fan of all make/model/type including transporting from the AAI store (as may be required) and returning back after thorough service etc as complete as required. (Dismantled copper wire need not return to AAI) | 20.00 | Nos. |  | 900.00 | 18000.00 | 1200.00 | 24000.00 | 870.00 | 17400.00 | 1000.00 | 20000.00 | 1200.00 | 24000.00 | 17400.00 | CENTRE TAP ENGINEERING
8.00 | Repairing including rewinding and replacement of bearings of three phase monoblock pump set upto 5HP rating of all make/model/type including transporting from the AAI store (as may be required) and returning back after thorough etc as complete as required. (Dismantled copper wire need not return to AAI) | 5.00 | Nos. |  | 4500.00 | 22500.00 | 8000.00 | 40000.00 | 2610.00 | 13050.00 | 5000.00 | 25000.00 | 6000.00 | 30000.00 | 13050.00 | CENTRE TAP ENGINEERING
9.00 | Repairing including rewinding and replacement of bearings of three phase submersible pump set upto 5HP of all make/model/type including transporting from the AAI store (as may be required) and returning back after thorough service etc. as complete as required. (Dismantled copper wire need not return to AAI) | 2.00 | Nos. |  | 5500.00 | 11000.00 | 8000.00 | 16000.00 | 3900.00 | 7800.00 | 8000.00 | 16000.00 | 6000.00 | 12000.00 | 7800.00 | CENTRE TAP ENGINEERING
10.00 | Lifting and lowering of submersible pump set of various capacities alongwith GI pipes from a depth upto 200m due to defect in existing pump set on urgent basis within a short notice including connection of cable, jointing of cable etc with successful testing & commissioning etc as complete as required. | 2.00 | Jobs |  | 4800.00 | 9600.00 | 10000.00 | 20000.00 | 35000.00 | 70000.00 | 15000.00 | 30000.00 | 13500.00 | 27000.00 | 9600.00 | Youngmen Traders
11.00 | Providing synthetic enamel paint of approved brand and manufacturer by spray painting method after thorough cleaning of existing LT panels/feeder pillars in installed condition including minor repair and providing red oxide primer as per site requirement and upto the satisfaction of EIC etc as complete as required. | 50.00 | Sqm |  | 250.00 | 12500.00 | 500.00 | 25000.00 | 260.00 | 13000.00 | 1500.00 | 75000.00 | 650.00 | 32500.00 | 12500.00 | Youngmen Traders
12.00 | Providing synthetic enamel paint of approved brand and manufacturer by spray painting method after thorough cleaning of existing street poles (upto 11 m) installed including minor repair and providing red oxide primer as per site requirement and upto the satisfaction of EIC etc as complete as required. | 30.00 | Nos. |  | 525.00 | 15750.00 | 1500.00 | 45000.00 | 450.00 | 13500.00 | 5000.00 | 150000.00 | 1600.00 | 48000.00 | 13500.00 | CENTRE TAP ENGINEERING
13.00 | SH-III : CMC OF ACs AND WATER PURIFIER/ COOLERS Comprehensive maintenance of single/three phase, High Wall/Tower/Ductable Type Split AC of following capacity of all makes and models/types with voltage stabilizers (if installed) at different locations including providing two numbers manpowers (one technician & one helper) in two shifts for all days with all necessary consumables and maintenance spares etc. as complete as required as per special conditions. i) First Year a) a) 1.5 TR, Single Phase High Wall Split AC | 48.00 | Nos. |  | 6800.00 | 326400.00 | 4000.00 | 192000.00 | 2600.00 | 124800.00 | 3000.00 | 144000.00 | 3600.00 | 172800.00 | 124800.00 | CENTRE TAP ENGINEERING
14.00 | b) 2 TR, Single Phase High Wall Split AC | 9.00 | Nos. |  | 7500.00 | 67500.00 | 4000.00 | 36000.00 | 3600.00 | 32400.00 | 4000.00 | 36000.00 | 3800.00 | 34200.00 | 32400.00 | CENTRE TAP ENGINEERING
15.00 | c) 2 TR, Single Phase Floor Mounted (Tower Type) Split AC | 3.00 | Nos. |  | 7700.00 | 23100.00 | 8000.00 | 24000.00 | 3600.00 | 10800.00 | 4000.00 | 12000.00 | 4500.00 | 13500.00 | 10800.00 | CENTRE TAP ENGINEERING
16.00 | d)1.5 TR, Three Phase High Wall Split AC | 2.00 | Nos. |  | 7700.00 | 15400.00 | 4000.00 | 8000.00 | 2600.00 | 5200.00 | 3000.00 | 6000.00 | 4500.00 | 9000.00 | 5200.00 | CENTRE TAP ENGINEERING
17.00 | e) 2 TR, Three Phase High Wall Split AC | 1.00 | No. |  | 7700.00 | 7700.00 | 4000.00 | 4000.00 | 3600.00 | 3600.00 | 4000.00 | 4000.00 | 5000.00 | 5000.00 | 3600.00 | CENTRE TAP ENGINEERING
18.00 | f) 3 TR, Three Phase Split AC (Tower Type) | 3.00 | Nos. |  | 8200.00 | 24600.00 | 8000.00 | 24000.00 | 4600.00 | 13800.00 | 6000.00 | 18000.00 | 5500.00 | 16500.00 | 13800.00 | CENTRE TAP ENGINEERING
19.00 | g) 3 TR, Three Phase Ductable AC | 3.00 | Nos. |  | 8200.00 | 24600.00 | 8500.00 | 25500.00 | 4600.00 | 13800.00 | 6000.00 | 18000.00 | 9850.00 | 29550.00 | 13800.00 | CENTRE TAP ENGINEERING
20.00 | h) 4 TR, Three Phase Floor Mounted Split AC (Tower Type) | 66.00 | Nos. |  | 8500.00 | 561000.00 | 9000.00 | 594000.00 | 5200.00 | 343200.00 | 8000.00 | 528000.00 | 10000.00 | 660000.00 | 343200.00 | CENTRE TAP ENGINEERING
21.00 | ii) Second Year a) 1.5 TR, Single Phase High Wall Split AC | 48.00 | Nos. |  | 7000.00 | 336000.00 | 4400.00 | 211200.00 | 2600.00 | 124800.00 | 3000.00 | 144000.00 | 3950.00 | 189600.00 | 124800.00 | CENTRE TAP ENGINEERING
22.00 | b) 2 TR, Single Phase High Wall Split AC | 9.00 | Nos. |  | 7500.00 | 67500.00 | 4400.00 | 39600.00 | 3600.00 | 32400.00 | 4000.00 | 36000.00 | 4000.00 | 36000.00 | 32400.00 | CENTRE TAP ENGINEERING
23.00 | c) 2 TR, Single Phase Floor Mounted (Tower Type) Split AC | 3.00 | Nos. |  | 7700.00 | 23100.00 | 8800.00 | 26400.00 | 3600.00 | 10800.00 | 4000.00 | 12000.00 | 4950.00 | 14850.00 | 10800.00 | CENTRE TAP ENGINEERING
24.00 | d)1.5 TR, Three Phase High Wall Split AC | 2.00 | Nos. |  | 7700.00 | 15400.00 | 4400.00 | 8800.00 | 2600.00 | 5200.00 | 3000.00 | 6000.00 | 4950.00 | 9900.00 | 5200.00 | CENTRE TAP ENGINEERING
25.00 | e) 2 TR, Three Phase High Wall Split AC | 1.00 | No. |  | 7700.00 | 7700.00 | 4400.00 | 4400.00 | 3600.00 | 3600.00 | 4000.00 | 4000.00 | 5500.00 | 5500.00 | 3600.00 | CENTRE TAP ENGINEERING
26.00 | f) 3 TR, Three Phase Split AC (Tower Type) | 3.00 | Nos. |  | 8500.00 | 25500.00 | 8800.00 | 26400.00 | 4600.00 | 13800.00 | 6000.00 | 18000.00 | 6000.00 | 18000.00 | 13800.00 | CENTRE TAP ENGINEERING
27.00 | g) 3 TR, Three Phase Ductable AC | 3.00 | Nos. |  | 8500.00 | 25500.00 | 10000.00 | 30000.00 | 4600.00 | 13800.00 | 6000.00 | 18000.00 | 10800.00 | 32400.00 | 13800.00 | CENTRE TAP ENGINEERING
28.00 | h) 4 TR, Three Phase Floor Mounted Split AC (Tower Type) | 66.00 | Nos. |  | 8000.00 | 528000.00 | 9500.00 | 627000.00 | 5200.00 | 343200.00 | 8000.00 | 528000.00 | 11000.00 | 726000.00 | 343200.00 | CENTRE TAP ENGINEERING
29.00 | Dismantling and reinstallation of split Airconditioners (Both indoor and outdoor unit as required) of different make and capacity installed at different locations of the airport including gas charging, making foundation/fixing iron angle etc complete as required. a) High Wall Split type AC Upto 2 TR | 10.00 | Nos. |  | 3000.00 | 30000.00 | 1000.00 | 10000.00 | 2600.00 | 26000.00 | 2000.00 | 20000.00 | 50.00 | 500.00 | 500.00 | ABHISHEK ASSOCIATES
30.00 | b) Floor Mounter Split Type Tower AC upto 4 TR | 10.00 | Nos. |  | 3500.00 | 35000.00 | 100.00 | 1000.00 | 4350.00 | 43500.00 | 2000.00 | 20000.00 | 70.00 | 700.00 | 700.00 | ABHISHEK ASSOCIATES
31.00 | Extra for Supply and Laying of suitable size Cu piping along with thermal insulation & protective tape and FRLS PVC insulated multi core Cu conductor cable for connection between indoor and outdoor unit etc. complete as required for following type of ACs. a) High Wall Split type AC Upto 2 TR | 50.00 | Meter |  | 700.00 | 35000.00 | 350.00 | 17500.00 | 350.00 | 17500.00 | 700.00 | 35000.00 | 250.00 | 12500.00 | 12500.00 | ABHISHEK ASSOCIATES
32.00 | b) Floor Mounter Split Type Tower AC upto 4 TR | 50.00 | Meter |  | 900.00 | 45000.00 | 500.00 | 25000.00 | 390.00 | 19500.00 | 800.00 | 40000.00 | 350.00 | 17500.00 | 17500.00 | ABHISHEK ASSOCIATES
33.00 | Comprehensive maintenance of standalone Water Purifiers installed at different locations including providing all necessary consumables and spares etc. as complete as required as per special conditions. (Maintenance should be done through OEM's Authorized dealer in the name of AAI and original maintenance contract receipt should be submitted to AAI) i) First Year a) Make: Eureka Forbes, Model: Hi-Flo (AG-200) | 7.00 | Nos. |  | 3500.00 | 24500.00 | 11000.00 | 77000.00 | 2600.00 | 18200.00 | 10000.00 | 70000.00 | 9000.00 | 63000.00 | 18200.00 | CENTRE TAP ENGINEERING
34.00 | ii) Second Year a) Make: Eureka Forbes, Model: Hi-Flo (AG-200) | 7.00 | Nos. |  | 3200.00 | 22400.00 | 12000.00 | 84000.00 | 2600.00 | 18200.00 | 10000.00 | 70000.00 | 9500.00 | 66500.00 | 18200.00 | CENTRE TAP ENGINEERING
35.00 | Comprehensive maintenance of Aquaguard Cooler cum Purifier installed at different locations including providing all necessary consumables and spares etc. as complete as required as per special conditions. (Maintenance should be done through OEM/Authorized dealer in the name of AAI and original maintenance contract receipt should be submitted to AAI) i) First Year a) Make: Eureka Forbes, Model: AGCCP (PG-600) | 1.00 | No. |  | 7500.00 | 7500.00 | 16000.00 | 16000.00 | 7000.00 | 7000.00 | 10000.00 | 10000.00 | 9000.00 | 9000.00 | 7000.00 | CENTRE TAP ENGINEERING
36.00 | ii) Second Year a) Make: Eureka Forbes, Model: AGCCP (PG-600) | 1.00 | No. |  | 6500.00 | 6500.00 | 17000.00 | 17000.00 | 7000.00 | 7000.00 | 10000.00 | 10000.00 | 9500.00 | 9500.00 | 6500.00 | Youngmen Traders
37.00 | Comprehensive maintenance of Industrial type Water Puirifier Cum Cooler (60/80 ltrs.) installed at different locations including providing all necessary consumables and spares etc. as complete as required as per special conditions. (Maintenance should be done through OEM/Authorized dealer in the name of AAI and original maintenance contract receipt should be submitted to AAI) i) First Year a) Make: Eureka Forbes, Model: 80PSS | 6.00 | Nos. |  | 11500.00 | 69000.00 | 10000.00 | 60000.00 | 26000.00 | 156000.00 | 10000.00 | 60000.00 | 9500.00 | 57000.00 | 57000.00 | ABHISHEK ASSOCIATES
38.00 | ii) Second Year a) Make: Eureka Forbes, Model: 80PSS | 6.00 | Nos. |  | 11000.00 | 66000.00 | 12000.00 | 72000.00 | 26000.00 | 156000.00 | 10000.00 | 60000.00 | 10000.00 | 60000.00 | 60000.00 | Voltas Limited, ABHISHEK ASSOCIATES
39.00 | Comprehensive maintenance of water coolers of all makes of different capacity installed at different locations including providing all necessary consumables and spares etc. as complete as required as per special conditions. i) First Year a) 60/120 ltrs. | 1.00 | No. |  | 3800.00 | 3800.00 | 11000.00 | 11000.00 | 8700.00 | 8700.00 | 10000.00 | 10000.00 | 10500.00 | 10500.00 | 3800.00 | Youngmen Traders
40.00 | b) 150/150 ltrs. | 4.00 | Nos. |  | 4800.00 | 19200.00 | 11000.00 | 44000.00 | 13000.00 | 52000.00 | 10000.00 | 40000.00 | 11000.00 | 44000.00 | 19200.00 | Youngmen Traders
41.00 | ii) Second Year a) 60/120 ltrs. | 1.00 | No. |  | 3800.00 | 3800.00 | 12844.00 | 12844.00 | 8700.00 | 8700.00 | 10000.00 | 10000.00 | 10500.00 | 10500.00 | 3800.00 | Youngmen Traders
42.00 | b) 150/150 ltrs. | 4.00 | Nos. |  | 5200.00 | 20800.00 | 12000.00 | 48000.00 | 13000.00 | 52000.00 | 10000.00 | 40000.00 | 11000.00 | 44000.00 | 20800.00 | Youngmen Traders
43.00 | SH-IV : FIRE ALARM & FIRE FIGHTING Service visit through OEM/Specialised Agency for carrying out servicing/maintenance of Complete FAD System with all detectors/Fire alrarm panel(installed in terminal building / power house/ admin building) and complete checking of fire fighting system in case of breakdown/ emergency/ as and when required and submission of service / maintenance report of OEM or Specialized Agency complete in all respect. a) First year | 6.00 | Jobs |  | 35000.00 | 210000.00 | 25000.00 | 150000.00 | 45000.00 | 270000.00 | 50000.00 | 300000.00 | 27000.00 | 162000.00 | 150000.00 | A R Rural Electricals
44.00 | b) Second year | 6.00 | Jobs |  | 40000.00 | 240000.00 | 28000.00 | 168000.00 | 45000.00 | 270000.00 | 50000.00 | 300000.00 | 28000.00 | 168000.00 | 168000.00 | A R Rural Electricals, ABHISHEK ASSOCIATES
| Total in Figures |  |  |  |  | 12706350.00 |  | 13193244.00 |  | 13458250.00 |  | 14188360.00 |  | 13186156.00
Lowest Amount Quoted BY: Youngmen Traders(12706350.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual O and M Contract of E and M Installations and CMC of ACs and Water Purifier n Coolers at Bagdogra Airport for 2 years Tender ID: 2020_AAI_58009_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Youngmen Traders | 12706350.00 | L1
| 2 | ABHISHEK ASSOCIATES | 13186156.00 | L2
| 3 | A R Rural Electricals | 13193244.00 | L3
| 4 | CENTRE TAP ENGINEERING | 13458250.00 | L4
| 5 | Voltas Limited | 14188360.00 | L5