## BoQ1
Government eProcurement System Created By: Hemant Bhavsar Created Date/Time: 28-Oct-2020 12:52 PM Tender Title: Operation and Comprehensive Maintenance of HVAC System of T-2 and ITL at S.V.P.I. Airport, Ahmedabad (Year 2020-21) Tender ID: 2020_AAI_58089_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg.-Elect), Airports Authority of India, S.V.P.I. Airport, Ahmedabad
Name of Work: Operation & Comprehensive Maintenance of HVAC System of T-2 & ITL at S.V.P.I. Airport, Ahmedabad (Year 2020-21).
Contract No: 079-22858057
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AIRON CORPORTION(GSTN-24AAFFA7652R1ZY) |  | Supertech Engineers(GSTN-07AAMPS2459M1ZZ) |  | UNIQUE ENGINEERS PVT. LTD.(GSTN-07AAACU4101B1Z4)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and upkeeping of HVAC system, Air curtains & Split ACs of T-2 and ITL involving operation, maintaining records/ documentation as per the scope of work and terms & conditions of contract on all days including sundays & holidays of the month on round the clock basis etc complete all as required. The details of man power to be deployed in each shift of 8 hrs. The list of Equipments to be operated and upkeeped shall be as per special condition of contract. | 12.00 | Month |  | 631545.00 | 7578540.00 | 575900.00 | 6910800.00 | 517000.00 | 6204000.00 | 6204000.00 | UNIQUE ENGINEERS PVT. LTD.
2.00 | Comprehensive maintenance of all equipments, machineries and accessories related to HVAC system of T-2 & ITL as detailed in the special condition of contract which includes repair, replacement of defective components, carrying preventive maintenance as per manufacturer's & AAI guidelines, maintaining records/documentation, supplying consumables for electrical and mechanical maintenance i/c. maintaining softening plant, chemical dosing to keep condensor water quality within permissible limit as per OEM standard etc complete all as required. The work shall be carried out as per the detailed specification, terms & conditions of contract. | 12.00 | Month |  | 109296.00 | 1311552.00 | 95000.00 | 1140000.00 | 300000.00 | 3600000.00 | 1140000.00 | Supertech Engineers
3.00 | Carrying out Quarterly Inspection of Diakin/McQuay make following Chillers from Original Equipment Manufacturer (OEM) and submission of Quarterly Inspection Reports to Engineer-In-Charge as specified in SCC & Technical Specifications. a) 425 TR Centrifugal Chillers - 6 Nos. | 4.00 | Each |  | 106675.00 | 426700.00 | 192975.00 | 771900.00 | 25000.00 | 100000.00 | 100000.00 | UNIQUE ENGINEERS PVT. LTD.
4.00 | Carrying out Quarterly Inspection of Diakin/McQuay make following Chillers from Original Equipment Manufacturer (OEM) and submission of Quarterly Inspection Reports to Engineer-In-Charge as specified in SCC & Technical Specifications. b) 220 TR Screw Chillers - 2 Nos. | 4.00 | Each |  | 80825.00 | 323300.00 | 50000.00 | 200000.00 | 25000.00 | 100000.00 | 100000.00 | UNIQUE ENGINEERS PVT. LTD.
5.00 | One time Overhauling & Servicing of following capacity of L&T Make U Power type ACBs along with all protection relays, testing of protection release of ACBs through secondary injection method wherever applicable, checking of IR value, functional check of all relays, cleaning of all contacts and carrying out all other necessary maintenance works followed with submission of Reports etc. from OEM or his Authorized Service Provider complete as required and as specified. a) 1600 A (U-Power, UN-16S / 16N) | 4.00 | Each |  | 3500.00 | 14000.00 | 5000.00 | 20000.00 | 35000.00 | 140000.00 | 14000.00 | AIRON CORPORTION
6.00 | One time Overhauling & Servicing of following capacity of L&T Make U Power type ACBs along with all protection relays, testing of protection release of ACBs through secondary injection method wherever applicable, checking of IR value, functional check of all relays, cleaning of all contacts and carrying out all other necessary maintenance works followed with submission of Reports etc. from OEM or his Authorized Service Provider complete as required and as specified. b) 2500 A (U-Power, UN-25S) | 3.00 | Each |  | 3500.00 | 10500.00 | 6000.00 | 18000.00 | 35000.00 | 105000.00 | 10500.00 | AIRON CORPORTION
7.00 | One time Overhauling & Servicing of following capacity of L&T Make U Power type ACBs along with all protection relays, testing of protection release of ACBs through secondary injection method wherever applicable, checking of IR value, functional check of all relays, cleaning of all contacts and carrying out all other necessary maintenance works followed with submission of Reports etc. from OEM or his Authorized Service Provider complete as required and as specified. c) 3200 A (U-Power, UN-32S) | 3.00 | Each |  | 3500.00 | 10500.00 | 6500.00 | 19500.00 | 35000.00 | 105000.00 | 10500.00 | AIRON CORPORTION
8.00 | Supply & Fixing of Maintenance Kit at the time of Overhauling and Servicing of above mentioned various capacities L&T Make U Power type ACBs from OEM or his Authorized Service Provider complete as required and as specified. | 10.00 | Each |  | 800.00 | 8000.00 | 6500.00 | 65000.00 | 25000.00 | 250000.00 | 8000.00 | AIRON CORPORTION
9.00 | Annual Comprehensive maintenance of 3 TR slim pack split AC including repair / replacement of defective components by providing all necessary consumables & spares, carrying preventive and routine maintenance, maintaining records etc complete all as required. The work shall be carried out as per the detailed specification, terms & conditions of contract. | 7.00 | Each per Annum |  | 900.00 | 6300.00 | 1200.00 | 8400.00 | 5000.00 | 35000.00 | 6300.00 | AIRON CORPORTION
10.00 | Annual Comprehensive maintenance of following capacity of split AC including repair / replacement of defective components by providing all necessary consumables & spares, carrying preventive and routine maintenance, maintaining records etc complete all as required. The work shall be carried out as per the detailed specification, terms & conditions of contract. a) 1.5 TR | 9.00 | Each per Annum |  | 200.00 | 1800.00 | 700.00 | 6300.00 | 2500.00 | 22500.00 | 1800.00 | AIRON CORPORTION
11.00 | Annual Comprehensive maintenance of following capacity of split AC including repair / replacement of defective components by providing all necessary consumables & spares, carrying preventive and routine maintenance, maintaining records etc complete all as required. The work shall be carried out as per the detailed specification, terms & conditions of contract. b) 2 TR | 7.00 | Each per Annum |  | 250.00 | 1750.00 | 900.00 | 6300.00 | 4000.00 | 28000.00 | 1750.00 | AIRON CORPORTION
12.00 | Annual Comprehensive maintenance of following capacity of split AC including repair / replacement of defective components by providing all necessary consumables & spares, carrying preventive and routine maintenance, maintaining records etc complete all as required. The work shall be carried out as per the detailed specification, terms & conditions of contract. c) 4 TR (Cassette type) | 6.00 | Each per Annum |  | 1000.00 | 6000.00 | 1200.00 | 7200.00 | 8000.00 | 48000.00 | 6000.00 | AIRON CORPORTION
13.00 | Annual Comprehensive maintenance of following capacity of split AC including repair / replacement of defective components by providing all necessary consumables & spares, carrying preventive and routine maintenance, maintaining records etc complete all as required. The work shall be carried out as per the detailed specification, terms & conditions of contract. a) 2 TR Daikin Make - 30 Nos. Note:- CMC of this item will commence from 01.06.2021 onwards. | 5.00 | Month |  | 300.00 | 1500.00 | 150.00 | 750.00 | 10000.00 | 50000.00 | 750.00 | Supertech Engineers
14.00 | Annual Comprehensive maintenance of storage type water coolers of following capacity including repair / replacement of defective components such as compressor, gas charging and other accessories including 4 L filters (ION Exchange Make) by providing all necessary consumables & spares, carrying preventive and routine maintenance, maintaining records etc complete all as required. The work shall be carried out as per the detailed specification, terms & conditions of contract. a) 150/150 LPH | 1.00 | Each per Annum |  | 1000.00 | 1000.00 | 6500.00 | 6500.00 | 10000.00 | 10000.00 | 1000.00 | AIRON CORPORTION
15.00 | Annual Comprehensive maintenance of storage type water coolers of following capacity including repair / replacement of defective components such as compressor, gas charging and other accessories including RO of 50 LPH Capacity by providing all necessary consumables & spares, carrying preventive and routine maintenance, maintaining records etc complete all as required. The work shall be carried out as per the detailed specification, terms & conditions of contract. a) 40/80 LPH | 7.00 | Each per Annum |  | 500.00 | 3500.00 | 5500.00 | 38500.00 | 10000.00 | 70000.00 | 3500.00 | AIRON CORPORTION
16.00 | Supply of PVC modular Honeycomb type fills having thickness not less than 0.2mm having size 600 X 300 X 150 mm. The supplied fills shall be suitable for existing cooling tower housing of MIHIR and Bell makes respectively having flute size of approximately 12.5mm complete all as required and as specified. | 1500.00 | Each |  | 126.00 | 189000.00 | 115.00 | 172500.00 | 600.00 | 900000.00 | 172500.00 | Supertech Engineers
17.00 | Annual Comprehensive maintenance of Air Curtains of 1.0 Meter (Make - Almonard, Model No. - EHV-1MT) including repair / replacement of defective components by providing all necessary consumables & spares, carrying preventive and routine maintenance, maintaining records etc complete all as required. The work shall be carried out as per the detailed specification, terms & conditions of contract. | 6.00 | Each per Annum |  | 300.00 | 1800.00 | 500.00 | 3000.00 | 3000.00 | 18000.00 | 1800.00 | AIRON CORPORTION
18.00 | Annual Comprehensive maintenance of Air Curtains of 4.0 Feet (Make - Almonard, Model No. - EHV-4) including repair / replacement of defective components by providing all necessary consumables & spares, carrying preventive and routine maintenance, maintaining records etc complete all as required. The work shall be carried out as per the detailed specification, terms & conditions of contract. | 12.00 | Each per Annum |  | 300.00 | 3600.00 | 500.00 | 6000.00 | 2000.00 | 24000.00 | 3600.00 | AIRON CORPORTION
19.00 | Comprehensive maintenance of following Air Curtains including repair / replacement of defective components by providing all necessary consumables & spares, carrying preventive and routine maintenance, maintaining records etc complete all as required. The work shall be carried out as per the detailed specification, terms & conditions of contract. a) Length of 6.0 Feet, Make - Almonard and Model No. - EHV-6 - 3 Nos. | 12.00 | Month |  | 115.00 | 1380.00 | 500.00 | 6000.00 | 6000.00 | 72000.00 | 1380.00 | AIRON CORPORTION
20.00 | Comprehensive maintenance of following Air Curtains including repair / replacement of defective components by providing all necessary consumables & spares, carrying preventive and routine maintenance, maintaining records etc complete all as required. The work shall be carried out as per the detailed specification, terms & conditions of contract. b) Length of 6.0 Feet, Make - Techno, Model No. - TMS-SR) - 3 Nos. Note:- CMC of this item will commence from 01.06.2021 onwards. | 5.00 | Month |  | 95.00 | 475.00 | 500.00 | 2500.00 | 6000.00 | 30000.00 | 475.00 | AIRON CORPORTION
| Total in Figures |  |  |  |  | 9901197.00 |  | 9409150.00 |  | 11911500.00
Lowest Amount Quoted BY: Supertech Engineers(9409150.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and Comprehensive Maintenance of HVAC System of T-2 and ITL at S.V.P.I. Airport, Ahmedabad (Year 2020-21) Tender ID: 2020_AAI_58089_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Supertech Engineers | 9409150.00 | L1
| 2 | AIRON CORPORTION | 9901197.00 | L2
| 3 | UNIQUE ENGINEERS PVT. LTD. | 11911500.00 | L3